**ENGLISH TEMPLATE FOR PROCESSING OR DISPOSAL NEW/RENEWAL/AMENDMENT APPLICATIONS**

*The following summary is provided for this pending water quality permit application being reviewed by the Texas Commission on Environmental Quality as required by 30 Texas Administrative Code Chapter 39. The information provided in this summary may change during the technical review of the application and are not federal enforceable representations of the permit application*.

Magna-Flow International, Inc (CN600310221) operates Mount Houston Road MUD WWTP Sludge Processing Site (RN102340288). a processing site of blend sludge from numerous facilities then dewaters the combined sludge. The facility is located 2265 Stuebner Park Lane, in Houston, Harris County, Texas 77038.

The Mount Houston MUD WWTP Sludge Processing Site blends sludge from numerous facilities then dewaters the combined sludge via a belt press prior to transporting to a TCEQ permitted landfill or permitted composting facility. This permit will not authorize a discharge of pollutants into water in the state.

The processing sludge unit is expected to contain arsenic, cadmium, chromium, copper, lead, mercury, molybdenum, nickel, selenium, zinc, polychlorinated biphenyls. Examples of best management practices implemented by Magna-Flow International, Inc. include but are not limited to: monitoring of metal pollutants.