**Section 15. Plain Language Summary (Instructions Page 40)**

If you are subject to the alternative language notice requirements in [30 Texas Administrative Code §39.426](https://texreg.sos.state.tx.us/public/readtac$ext.TacPage?sl=T&app=9&p_dir=N&p_rloc=66532&p_tloc=&p_ploc=1&pg=17&p_tac=&ti=30&pt=1&ch=39&rl=351), **you must provide a translated copy of the completed plain language summary in the appropriate alternative language as part of your application package**. For your convenience, a Spanish template has been provided below.

**ENGLISH TEMPLATE FOR TPDES or TLAP NEW/RENEWAL/AMENDMENT APPLICATIONS**

**DOMESTIC WASTEWATER**

*The following summary is provided for this pending water quality permit application being reviewed by the Texas Commission on Environmental Quality as required by 30 Texas Administrative Code Chapter 39. The information provided in this summary may change during the technical review of the application and are not federal enforceable representations of the permit application*.

BL 374 LLC (CN606181915) proposes to operate Tarrant County MUD No. 2 Wastewater Treatment Facility (RN111810032), an activated sludge process plant operated in conventional mode with nitrification. The facility will be located approximately 0.6 miles northeast of the intersection of Bennett Lawson Road and Gibson Cemetery Road, in Tarrant County, TX 76063.

This application is for a new permit to discharge treated domestic wastewater at a daily average flow not to exceed 490,000 gallons per day via Outfall 001.

Discharges from the facility are expected to contain five-day carbonaceous biochemical oxygen demand (CBOD5), total suspended solids (TSS), ammonia nitrogen (NH3-N) and *E coli*. Domestic wastewater will be treated bya conventional activated sludge process with nitrification. Treatment units will include aeration basins, a final clarifier, aerobic digesters, and a chlorine contact chamber.