English PLS:

Brazos Regional Public Utility Agency (CN604099465 ) operates the Surface Water and Treatment System (SWATS) RN101222180. an ultra filtration (UF) and reverse osmosis (RO) water treatment plant which provides drinking water to one or more utility districts. The facility is located 5912 Matlock Rd, in Granbury, Hood County, Texas 76049. A permit renewal is requested. A revised flow diagram is included with the application, although the wastewaters streams are not altered.

Discharges from the facility are expected to contain chlorides and sulfates. The water treatment wastesinclude, but are not limited to, reverse osmosis reject water, neutralized clean-in-place wastewater from the reverse osmosis and ultrafiltration units, ultrafiltration backwash wastewater, dual-media filters backwash wastewater, and decant water from the sludge holding tanks.