**DOMESTIC WASTEWATER PLS**

*The following summary is provided for this pending water quality permit application being reviewed by the Texas Commission on Environmental Quality as required by 30 Texas Administrative Code Chapter 39. The information provided in this summary may change during the technical review of the application and are not federal enforceable representations of the permit application*.

City of Graham (CN600338479 ) operates City of Graham WWTP RN 101916880. a wastewater treatment plant. The facility is located at 1050 Sewer Plant Rd, in Graham, Young County, Texas 76450.

Renewal application to discharge 2.1 MGD design flow of treated domestic wastewater.

Discharges from the facility are expected to contain carbonaceous biochemical oxygen demand (CBOD), dissolved oxygen (DO), total suspended solids (TSS), ammonia nitrogen (NH3-N), and Escherichia coli (E. coli).Domestic wastewater is treated by *conventional activated sludge treamtent*.