ENGLISH TEMPLATE FOR TPDES or TLAP NEW /RENEW AL/ AMENDMENT APPLICATIONS INDUSTRIAL WASTEWATER/STORMW ATER

The following summary is provided for this pending water quality permit application being reviewed by the Texas Commission on Environmental Quality as required by 30 Texas Administrative Code Chapter 39. The information provided in this summary may change during the technical review of the application and are not federal enforceable representations of the permit application.

Military Highway Water Supply Corporation (CN600666390) operates the Las Rusias Water Treatment Plant RN106843956. an industrial water treatment facility. The facility is located Located approximately 0.25 east of the intersection of Farm-to-Market Road 1479 (Rangerville Road) and U.S. Highway 281, adjacent to the eastbound side of U.S. High.way 281,., in Los Indios, Cameron County, Texas 78567. Request for renewal of industrial wastewater permit authorizing the discharge of 1.44 MGD of treated wastewater per da.

Discharges from the facility are expected to containTotal Dissolved Solids . .Industrial water treatment wastes are treated by Microfiltration and reverse osmosis treatment to remove constituents from ground water. The chemicals used do not affect the guality of product water, the product water is for drinking purposes. Chemicals used are sulfuric acid and caustic soda for pH control, scale inhibitors and corrosion inhibitors.