## Sheet1
EntryID | CertificateID | LabIdNo | LabEPA_Number | LabName | Address | EffectiveDate | RemoveDate | Status | Discipline | MatrixName | ProgramName | AltAnalyteName | AltMethodName | ApplicationType | ApprovedCFR | ApprovedState | MatrixProgram | AccreditationEnd
1870517 | T104704277-23-25 | 2367 | TX01581 | City of Houston - Drinking Water Regulatory Compliance Laboratory | 1770 Sidney Street, Annex Building Houston, TX 77023-3016 | 2009-07-07 |  | Certified |  | Drinking Water |  | Hardness | EPA 130.2 |  | FALSE | FALSE |  | 2023-12-31
1870518 | T104704277-23-25 | 2367 | TX01581 | City of Houston - Drinking Water Regulatory Compliance Laboratory | 1770 Sidney Street, Annex Building Houston, TX 77023-3016 | 2009-07-07 |  | Certified |  | Drinking Water |  | Residue-filterable (TDS) | EPA 160.1 |  | FALSE | FALSE |  | 2023-12-31
1870519 | T104704277-23-25 | 2367 | TX01581 | City of Houston - Drinking Water Regulatory Compliance Laboratory | 1770 Sidney Street, Annex Building Houston, TX 77023-3016 | 2009-07-07 |  | Certified |  | Drinking Water |  | Residue-nonfilterable (TSS) | EPA 160.2 |  | FALSE | FALSE |  | 2023-12-31
1870520 | T104704277-23-25 | 2367 | TX01581 | City of Houston - Drinking Water Regulatory Compliance Laboratory | 1770 Sidney Street, Annex Building Houston, TX 77023-3016 | 2021-12-17 |  | Certified |  | Drinking Water |  | Silica as SiO2 | EPA 200.7 | Renewal | FALSE | FALSE |  | 2023-12-31
1870521 | T104704277-23-25 | 2367 | TX01581 | City of Houston - Drinking Water Regulatory Compliance Laboratory | 1770 Sidney Street, Annex Building Houston, TX 77023-3016 | 2023-01-05 |  | Certified |  | Drinking Water |  | Lithium | EPA 200.7 | Amendment | FALSE | FALSE |  | 2023-12-31
1870522 | T104704277-23-25 | 2367 | TX01581 | City of Houston - Drinking Water Regulatory Compliance Laboratory | 1770 Sidney Street, Annex Building Houston, TX 77023-3016 | 2014-11-07 |  | Certified |  | Drinking Water |  | Iron | EPA 200.7 | Amendment | FALSE | FALSE |  | 2023-12-31
1870523 | T104704277-23-25 | 2367 | TX01581 | City of Houston - Drinking Water Regulatory Compliance Laboratory | 1770 Sidney Street, Annex Building Houston, TX 77023-3016 | 2014-11-07 |  | Certified |  | Drinking Water |  | Manganese | EPA 200.7 | Amendment | FALSE | FALSE |  | 2023-12-31
1870524 | T104704277-23-25 | 2367 | TX01581 | City of Houston - Drinking Water Regulatory Compliance Laboratory | 1770 Sidney Street, Annex Building Houston, TX 77023-3016 | 2018-09-07 |  | Certified |  | Drinking Water |  | Sodium | EPA 200.7 | Amendment | FALSE | FALSE |  | 2023-12-31
1870525 | T104704277-23-25 | 2367 | TX01581 | City of Houston - Drinking Water Regulatory Compliance Laboratory | 1770 Sidney Street, Annex Building Houston, TX 77023-3016 | 2014-11-07 |  | Certified |  | Drinking Water |  | Thallium | EPA 200.8 | Amendment | FALSE | FALSE |  | 2023-12-31
1870526 | T104704277-23-25 | 2367 | TX01581 | City of Houston - Drinking Water Regulatory Compliance Laboratory | 1770 Sidney Street, Annex Building Houston, TX 77023-3016 | 2014-11-07 |  | Certified |  | Drinking Water |  | Copper | EPA 200.8 | Amendment | FALSE | FALSE |  | 2023-12-31
1870527 | T104704277-23-25 | 2367 | TX01581 | City of Houston - Drinking Water Regulatory Compliance Laboratory | 1770 Sidney Street, Annex Building Houston, TX 77023-3016 | 2014-11-07 |  | Certified |  | Drinking Water |  | Zinc | EPA 200.8 | Amendment | FALSE | FALSE |  | 2023-12-31
1870528 | T104704277-23-25 | 2367 | TX01581 | City of Houston - Drinking Water Regulatory Compliance Laboratory | 1770 Sidney Street, Annex Building Houston, TX 77023-3016 | 2014-11-07 |  | Certified |  | Drinking Water |  | Silver | EPA 200.8 | Amendment | FALSE | FALSE |  | 2023-12-31
1870529 | T104704277-23-25 | 2367 | TX01581 | City of Houston - Drinking Water Regulatory Compliance Laboratory | 1770 Sidney Street, Annex Building Houston, TX 77023-3016 | 2014-11-07 |  | Certified |  | Drinking Water |  | Selenium | EPA 200.8 | Amendment | FALSE | FALSE |  | 2023-12-31
1870530 | T104704277-23-25 | 2367 | TX01581 | City of Houston - Drinking Water Regulatory Compliance Laboratory | 1770 Sidney Street, Annex Building Houston, TX 77023-3016 | 2014-11-07 |  | Certified |  | Drinking Water |  | Lead | EPA 200.8 | Amendment | FALSE | FALSE |  | 2023-12-31
1870531 | T104704277-23-25 | 2367 | TX01581 | City of Houston - Drinking Water Regulatory Compliance Laboratory | 1770 Sidney Street, Annex Building Houston, TX 77023-3016 | 2014-11-07 |  | Certified |  | Drinking Water |  | Barium | EPA 200.8 | Amendment | FALSE | FALSE |  | 2023-12-31
1870532 | T104704277-23-25 | 2367 | TX01581 | City of Houston - Drinking Water Regulatory Compliance Laboratory | 1770 Sidney Street, Annex Building Houston, TX 77023-3016 | 2014-11-07 |  | Certified |  | Drinking Water |  | Arsenic | EPA 200.8 | Amendment | FALSE | FALSE |  | 2023-12-31
1870533 | T104704277-23-25 | 2367 | TX01581 | City of Houston - Drinking Water Regulatory Compliance Laboratory | 1770 Sidney Street, Annex Building Houston, TX 77023-3016 | 2014-11-07 |  | Certified |  | Drinking Water |  | Nickel | EPA 200.8 | Amendment | FALSE | FALSE |  | 2023-12-31
1870534 | T104704277-23-25 | 2367 | TX01581 | City of Houston - Drinking Water Regulatory Compliance Laboratory | 1770 Sidney Street, Annex Building Houston, TX 77023-3016 | 2014-11-07 |  | Certified |  | Drinking Water |  | Antimony | EPA 200.8 | Amendment | FALSE | FALSE |  | 2023-12-31
1870535 | T104704277-23-25 | 2367 | TX01581 | City of Houston - Drinking Water Regulatory Compliance Laboratory | 1770 Sidney Street, Annex Building Houston, TX 77023-3016 | 2021-12-17 |  | Certified |  | Drinking Water |  | Beryllium | EPA 200.8 | Renewal | FALSE | FALSE |  | 2023-12-31
1870536 | T104704277-23-25 | 2367 | TX01581 | City of Houston - Drinking Water Regulatory Compliance Laboratory | 1770 Sidney Street, Annex Building Houston, TX 77023-3016 | 2014-11-07 |  | Certified |  | Drinking Water |  | Chromium | EPA 200.8 | Amendment | FALSE | FALSE |  | 2023-12-31
1870537 | T104704277-23-25 | 2367 | TX01581 | City of Houston - Drinking Water Regulatory Compliance Laboratory | 1770 Sidney Street, Annex Building Houston, TX 77023-3016 | 2014-11-07 |  | Certified |  | Drinking Water |  | Cadmium | EPA 200.8 | Amendment | FALSE | FALSE |  | 2023-12-31
1870538 | T104704277-23-25 | 2367 | TX01581 | City of Houston - Drinking Water Regulatory Compliance Laboratory | 1770 Sidney Street, Annex Building Houston, TX 77023-3016 | 2009-07-07 |  | Certified |  | Drinking Water |  | Fluoride | EPA 300.0 |  | FALSE | FALSE |  | 2023-12-31
1870539 | T104704277-23-25 | 2367 | TX01581 | City of Houston - Drinking Water Regulatory Compliance Laboratory | 1770 Sidney Street, Annex Building Houston, TX 77023-3016 | 2009-07-07 |  | Certified |  | Drinking Water |  | Chloride | EPA 300.0 |  | FALSE | FALSE |  | 2023-12-31
1870540 | T104704277-23-25 | 2367 | TX01581 | City of Houston - Drinking Water Regulatory Compliance Laboratory | 1770 Sidney Street, Annex Building Houston, TX 77023-3016 | 2009-07-07 |  | Certified |  | Drinking Water |  | Sulfate | EPA 300.0 |  | FALSE | FALSE |  | 2023-12-31
1870541 | T104704277-23-25 | 2367 | TX01581 | City of Houston - Drinking Water Regulatory Compliance Laboratory | 1770 Sidney Street, Annex Building Houston, TX 77023-3016 | 2009-07-07 |  | Certified |  | Drinking Water |  | Nitrate as N | EPA 300.0 |  | FALSE | FALSE |  | 2023-12-31
1870542 | T104704277-23-25 | 2367 | TX01581 | City of Houston - Drinking Water Regulatory Compliance Laboratory | 1770 Sidney Street, Annex Building Houston, TX 77023-3016 | 2009-07-07 |  | Certified |  | Drinking Water |  | Nitrite as N | EPA 300.0 |  | FALSE | FALSE |  | 2023-12-31
1870543 | T104704277-23-25 | 2367 | TX01581 | City of Houston - Drinking Water Regulatory Compliance Laboratory | 1770 Sidney Street, Annex Building Houston, TX 77023-3016 | 2009-07-07 |  | Certified |  | Drinking Water |  | Bromide | EPA 300.0 |  | FALSE | FALSE |  | 2023-12-31
1870544 | T104704277-23-25 | 2367 | TX01581 | City of Houston - Drinking Water Regulatory Compliance Laboratory | 1770 Sidney Street, Annex Building Houston, TX 77023-3016 | 2009-07-07 |  | Certified |  | Drinking Water |  | 1,1,2-Trichloroethane | EPA 524.2 |  | FALSE | FALSE |  | 2023-12-31
1870545 | T104704277-23-25 | 2367 | TX01581 | City of Houston - Drinking Water Regulatory Compliance Laboratory | 1770 Sidney Street, Annex Building Houston, TX 77023-3016 | 2009-07-07 |  | Certified |  | Drinking Water |  | Xylene (total) | EPA 524.2 |  | FALSE | FALSE |  | 2023-12-31
1870546 | T104704277-23-25 | 2367 | TX01581 | City of Houston - Drinking Water Regulatory Compliance Laboratory | 1770 Sidney Street, Annex Building Houston, TX 77023-3016 | 2009-07-07 |  | Certified |  | Drinking Water |  | Ethylbenzene | EPA 524.2 |  | FALSE | FALSE |  | 2023-12-31
1870547 | T104704277-23-25 | 2367 | TX01581 | City of Houston - Drinking Water Regulatory Compliance Laboratory | 1770 Sidney Street, Annex Building Houston, TX 77023-3016 | 2009-07-07 |  | Certified |  | Drinking Water |  | trans-1,2-Dichloroethylene | EPA 524.2 |  | FALSE | FALSE |  | 2023-12-31
1870548 | T104704277-23-25 | 2367 | TX01581 | City of Houston - Drinking Water Regulatory Compliance Laboratory | 1770 Sidney Street, Annex Building Houston, TX 77023-3016 | 2009-07-07 |  | Certified |  | Drinking Water |  | Styrene | EPA 524.2 |  | FALSE | FALSE |  | 2023-12-31
1870549 | T104704277-23-25 | 2367 | TX01581 | City of Houston - Drinking Water Regulatory Compliance Laboratory | 1770 Sidney Street, Annex Building Houston, TX 77023-3016 | 2009-07-07 |  | Certified |  | Drinking Water |  | Tetrachloroethylene (Perchloroethylene) | EPA 524.2 |  | FALSE | FALSE |  | 2023-12-31
1870550 | T104704277-23-25 | 2367 | TX01581 | City of Houston - Drinking Water Regulatory Compliance Laboratory | 1770 Sidney Street, Annex Building Houston, TX 77023-3016 | 2009-07-07 |  | Certified |  | Drinking Water |  | Toluene | EPA 524.2 |  | FALSE | FALSE |  | 2023-12-31
1870551 | T104704277-23-25 | 2367 | TX01581 | City of Houston - Drinking Water Regulatory Compliance Laboratory | 1770 Sidney Street, Annex Building Houston, TX 77023-3016 | 2009-07-07 |  | Certified |  | Drinking Water |  | 1,2,4-Trichlorobenzene | EPA 524.2 |  | FALSE | FALSE |  | 2023-12-31
1870552 | T104704277-23-25 | 2367 | TX01581 | City of Houston - Drinking Water Regulatory Compliance Laboratory | 1770 Sidney Street, Annex Building Houston, TX 77023-3016 | 2009-07-07 |  | Certified |  | Drinking Water |  | 1,1,1-Trichloroethane | EPA 524.2 |  | FALSE | FALSE |  | 2023-12-31
1870553 | T104704277-23-25 | 2367 | TX01581 | City of Houston - Drinking Water Regulatory Compliance Laboratory | 1770 Sidney Street, Annex Building Houston, TX 77023-3016 | 2009-07-07 |  | Certified |  | Drinking Water |  | Trichloroethene (Trichloroethylene) | EPA 524.2 |  | FALSE | FALSE |  | 2023-12-31
1870554 | T104704277-23-25 | 2367 | TX01581 | City of Houston - Drinking Water Regulatory Compliance Laboratory | 1770 Sidney Street, Annex Building Houston, TX 77023-3016 | 2009-07-07 |  | Certified |  | Drinking Water |  | Total trihalomethanes | EPA 524.2 |  | FALSE | FALSE |  | 2023-12-31
1870555 | T104704277-23-25 | 2367 | TX01581 | City of Houston - Drinking Water Regulatory Compliance Laboratory | 1770 Sidney Street, Annex Building Houston, TX 77023-3016 | 2009-07-07 |  | Certified |  | Drinking Water |  | Vinyl chloride | EPA 524.2 |  | FALSE | FALSE |  | 2023-12-31
1870556 | T104704277-23-25 | 2367 | TX01581 | City of Houston - Drinking Water Regulatory Compliance Laboratory | 1770 Sidney Street, Annex Building Houston, TX 77023-3016 | 2009-07-07 |  | Certified |  | Drinking Water |  | m+p-xylene | EPA 524.2 |  | FALSE | FALSE |  | 2023-12-31
1870557 | T104704277-23-25 | 2367 | TX01581 | City of Houston - Drinking Water Regulatory Compliance Laboratory | 1770 Sidney Street, Annex Building Houston, TX 77023-3016 | 2009-07-07 |  | Certified |  | Drinking Water |  | 1,2-Dichlorobenzene | EPA 524.2 |  | FALSE | FALSE |  | 2023-12-31
1870558 | T104704277-23-25 | 2367 | TX01581 | City of Houston - Drinking Water Regulatory Compliance Laboratory | 1770 Sidney Street, Annex Building Houston, TX 77023-3016 | 2009-07-07 |  | Certified |  | Drinking Water |  | Carbon tetrachloride | EPA 524.2 |  | FALSE | FALSE |  | 2023-12-31
1870559 | T104704277-23-25 | 2367 | TX01581 | City of Houston - Drinking Water Regulatory Compliance Laboratory | 1770 Sidney Street, Annex Building Houston, TX 77023-3016 | 2009-07-07 |  | Certified |  | Drinking Water |  | 1,4-Dichlorobenzene | EPA 524.2 |  | FALSE | FALSE |  | 2023-12-31
1870560 | T104704277-23-25 | 2367 | TX01581 | City of Houston - Drinking Water Regulatory Compliance Laboratory | 1770 Sidney Street, Annex Building Houston, TX 77023-3016 | 2009-07-07 |  | Certified |  | Drinking Water |  | 1,2-Dichloroethane (Ethylene dichloride) | EPA 524.2 |  | FALSE | FALSE |  | 2023-12-31
1870561 | T104704277-23-25 | 2367 | TX01581 | City of Houston - Drinking Water Regulatory Compliance Laboratory | 1770 Sidney Street, Annex Building Houston, TX 77023-3016 | 2009-07-07 |  | Certified |  | Drinking Water |  | Benzene | EPA 524.2 |  | FALSE | FALSE |  | 2023-12-31
1870562 | T104704277-23-25 | 2367 | TX01581 | City of Houston - Drinking Water Regulatory Compliance Laboratory | 1770 Sidney Street, Annex Building Houston, TX 77023-3016 | 2009-07-07 |  | Certified |  | Drinking Water |  | Methylene chloride (Dichloromethane) | EPA 524.2 |  | FALSE | FALSE |  | 2023-12-31
1870563 | T104704277-23-25 | 2367 | TX01581 | City of Houston - Drinking Water Regulatory Compliance Laboratory | 1770 Sidney Street, Annex Building Houston, TX 77023-3016 | 2009-07-07 |  | Certified |  | Drinking Water |  | Chlorobenzene | EPA 524.2 |  | FALSE | FALSE |  | 2023-12-31
1870564 | T104704277-23-25 | 2367 | TX01581 | City of Houston - Drinking Water Regulatory Compliance Laboratory | 1770 Sidney Street, Annex Building Houston, TX 77023-3016 | 2009-07-07 |  | Certified |  | Drinking Water |  | cis-1,2-Dichloroethylene | EPA 524.2 |  | FALSE | FALSE |  | 2023-12-31
1870565 | T104704277-23-25 | 2367 | TX01581 | City of Houston - Drinking Water Regulatory Compliance Laboratory | 1770 Sidney Street, Annex Building Houston, TX 77023-3016 | 2009-07-07 |  | Certified |  | Drinking Water |  | 1,1-Dichloroethylene | EPA 524.2 |  | FALSE | FALSE |  | 2023-12-31
1870566 | T104704277-23-25 | 2367 | TX01581 | City of Houston - Drinking Water Regulatory Compliance Laboratory | 1770 Sidney Street, Annex Building Houston, TX 77023-3016 | 2009-07-07 |  | Certified |  | Drinking Water |  | o-Xylene | EPA 524.2 |  | FALSE | FALSE |  | 2023-12-31
1870567 | T104704277-23-25 | 2367 | TX01581 | City of Houston - Drinking Water Regulatory Compliance Laboratory | 1770 Sidney Street, Annex Building Houston, TX 77023-3016 | 2009-07-07 |  | Certified |  | Drinking Water |  | 1,2-Dichloropropane | EPA 524.2 |  | FALSE | FALSE |  | 2023-12-31
1870568 | T104704277-23-25 | 2367 | TX01581 | City of Houston - Drinking Water Regulatory Compliance Laboratory | 1770 Sidney Street, Annex Building Houston, TX 77023-3016 | 2009-07-07 |  | Certified |  | Drinking Water |  | Total haloacetic acids | EPA 552.2 |  | FALSE | FALSE |  | 2023-12-31
1870569 | T104704277-23-25 | 2367 | TX01581 | City of Houston - Drinking Water Regulatory Compliance Laboratory | 1770 Sidney Street, Annex Building Houston, TX 77023-3016 | 2009-07-07 |  | Certified |  | Drinking Water |  | Heterotrophic plate count | IDEXX Laboratories SimPlate® | Renewal | FALSE | FALSE |  | 2023-12-31
1870570 | T104704277-23-25 | 2367 | TX01581 | City of Houston - Drinking Water Regulatory Compliance Laboratory | 1770 Sidney Street, Annex Building Houston, TX 77023-3016 | 2009-07-07 |  | Certified |  | Drinking Water |  | Residue-nonfilterable (TSS) | SM 2540 D |  | FALSE | FALSE |  | 2023-12-31
1870571 | T104704277-23-25 | 2367 | TX01581 | City of Houston - Drinking Water Regulatory Compliance Laboratory | 1770 Sidney Street, Annex Building Houston, TX 77023-3016 | 2009-07-07 |  | Certified |  | Drinking Water |  | Total hardness as CaCO3 | SM 2340 C |  | FALSE | FALSE |  | 2023-12-31
1870572 | T104704277-23-25 | 2367 | TX01581 | City of Houston - Drinking Water Regulatory Compliance Laboratory | 1770 Sidney Street, Annex Building Houston, TX 77023-3016 | 2009-07-07 |  | Certified |  | Drinking Water |  | Conductivity | SM 2510 B |  | FALSE | FALSE |  | 2023-12-31
1870573 | T104704277-23-25 | 2367 | TX01581 | City of Houston - Drinking Water Regulatory Compliance Laboratory | 1770 Sidney Street, Annex Building Houston, TX 77023-3016 | 2009-07-07 |  | Certified |  | Drinking Water |  | Residue-filterable (TDS) | SM 2540 C |  | FALSE | FALSE |  | 2023-12-31
1870574 | T104704277-23-25 | 2367 | TX01581 | City of Houston - Drinking Water Regulatory Compliance Laboratory | 1770 Sidney Street, Annex Building Houston, TX 77023-3016 | 2016-09-23 |  | Certified |  | Drinking Water |  | Total coliforms and E. coli (P/A) | SM 9223-IDEXX Laboratories Colilert® Test | Micro Update | FALSE | FALSE |  | 2023-12-31
1870575 | T104704277-23-25 | 2367 | TX01581 | City of Houston - Drinking Water Regulatory Compliance Laboratory | 1770 Sidney Street, Annex Building Houston, TX 77023-3016 | 2016-09-23 |  | Certified |  | Drinking Water |  | Total coliforms and E. coli (P/A) | SM 9223-IDEXX Laboratories Colilert®-18 Test | Micro Update | FALSE | FALSE |  | 2023-12-31
1870576 | T104704277-23-25 | 2367 | TX01581 | City of Houston - Drinking Water Regulatory Compliance Laboratory | 1770 Sidney Street, Annex Building Houston, TX 77023-3016 | 2012-12-13 |  | Certified |  | Non-Potable Water |  | Enterococci | ASTM D6503 | Renewal | FALSE | FALSE |  | 2023-12-31
1870577 | T104704277-23-25 | 2367 | TX01581 | City of Houston - Drinking Water Regulatory Compliance Laboratory | 1770 Sidney Street, Annex Building Houston, TX 77023-3016 | 2011-12-08 |  | Certified |  | Non-Potable Water |  | Residue-nonfilterable (TSS) | EPA 160.2 | Renewal | FALSE | FALSE |  | 2023-12-31
1870578 | T104704277-23-25 | 2367 | TX01581 | City of Houston - Drinking Water Regulatory Compliance Laboratory | 1770 Sidney Street, Annex Building Houston, TX 77023-3016 | 2011-12-08 |  | Certified |  | Non-Potable Water |  | Residue-total (total solids) | EPA 160.3 | Renewal | FALSE | FALSE |  | 2023-12-31
1870579 | T104704277-23-25 | 2367 | TX01581 | City of Houston - Drinking Water Regulatory Compliance Laboratory | 1770 Sidney Street, Annex Building Houston, TX 77023-3016 | 2011-12-08 |  | Certified |  | Non-Potable Water |  | Sulfate | EPA 300.0 | Renewal | FALSE | FALSE |  | 2023-12-31
1870580 | T104704277-23-25 | 2367 | TX01581 | City of Houston - Drinking Water Regulatory Compliance Laboratory | 1770 Sidney Street, Annex Building Houston, TX 77023-3016 | 2011-12-08 |  | Certified |  | Non-Potable Water |  | Orthophosphate as P | EPA 300.0 | Renewal | FALSE | FALSE |  | 2023-12-31
1870581 | T104704277-23-25 | 2367 | TX01581 | City of Houston - Drinking Water Regulatory Compliance Laboratory | 1770 Sidney Street, Annex Building Houston, TX 77023-3016 | 2011-12-08 |  | Certified |  | Non-Potable Water |  | Nitrate as N | EPA 300.0 | Renewal | FALSE | FALSE |  | 2023-12-31
1870582 | T104704277-23-25 | 2367 | TX01581 | City of Houston - Drinking Water Regulatory Compliance Laboratory | 1770 Sidney Street, Annex Building Houston, TX 77023-3016 | 2019-12-30 |  | Certified |  | Non-Potable Water |  | Nitrite as N | EPA 300.0 | Renewal | FALSE | FALSE |  | 2023-12-31
1870583 | T104704277-23-25 | 2367 | TX01581 | City of Houston - Drinking Water Regulatory Compliance Laboratory | 1770 Sidney Street, Annex Building Houston, TX 77023-3016 | 2011-12-08 |  | Certified |  | Non-Potable Water |  | Chloride | EPA 300.0 | Renewal | FALSE | FALSE |  | 2023-12-31
1870584 | T104704277-23-25 | 2367 | TX01581 | City of Houston - Drinking Water Regulatory Compliance Laboratory | 1770 Sidney Street, Annex Building Houston, TX 77023-3016 | 2011-12-08 |  | Certified |  | Non-Potable Water |  | Nitrate-nitrite | EPA 300.0 | Renewal | FALSE | FALSE |  | 2023-12-31
1870585 | T104704277-23-25 | 2367 | TX01581 | City of Houston - Drinking Water Regulatory Compliance Laboratory | 1770 Sidney Street, Annex Building Houston, TX 77023-3016 | 2011-12-08 |  | Certified |  | Non-Potable Water |  | Fluoride | EPA 300.0 | Renewal | FALSE | FALSE |  | 2023-12-31
1870586 | T104704277-23-25 | 2367 | TX01581 | City of Houston - Drinking Water Regulatory Compliance Laboratory | 1770 Sidney Street, Annex Building Houston, TX 77023-3016 | 2010-12-07 |  | Certified |  | Non-Potable Water |  | Alkalinity as CaCO3 | EPA 310.1 | Amendment | FALSE | FALSE |  | 2023-12-31
1870587 | T104704277-23-25 | 2367 | TX01581 | City of Houston - Drinking Water Regulatory Compliance Laboratory | 1770 Sidney Street, Annex Building Houston, TX 77023-3016 | 2009-07-07 |  | Certified |  | Non-Potable Water |  | Ammonia as N | EPA 350.3 |  | FALSE | FALSE |  | 2023-12-31
1870588 | T104704277-23-25 | 2367 | TX01581 | City of Houston - Drinking Water Regulatory Compliance Laboratory | 1770 Sidney Street, Annex Building Houston, TX 77023-3016 | 2009-07-07 |  | Certified |  | Non-Potable Water |  | Orthophosphate as P | EPA 365.3 |  | FALSE | FALSE |  | 2023-12-31
1870589 | T104704277-23-25 | 2367 | TX01581 | City of Houston - Drinking Water Regulatory Compliance Laboratory | 1770 Sidney Street, Annex Building Houston, TX 77023-3016 | 2009-07-07 |  | Certified |  | Non-Potable Water |  | Phosphorus | EPA 365.3 |  | FALSE | FALSE |  | 2023-12-31
1870590 | T104704277-23-25 | 2367 | TX01581 | City of Houston - Drinking Water Regulatory Compliance Laboratory | 1770 Sidney Street, Annex Building Houston, TX 77023-3016 | 2010-12-07 |  | Certified |  | Non-Potable Water |  | Total Organic Carbon (TOC) | EPA 415.1 | Amendment | FALSE | FALSE |  | 2023-12-31
1870591 | T104704277-23-25 | 2367 | TX01581 | City of Houston - Drinking Water Regulatory Compliance Laboratory | 1770 Sidney Street, Annex Building Houston, TX 77023-3016 | 2012-12-13 |  | Certified |  | Non-Potable Water |  | Enterococci | IDEXX Laboratories Enterolert® | Renewal | FALSE | FALSE |  | 2023-12-31
1870592 | T104704277-23-25 | 2367 | TX01581 | City of Houston - Drinking Water Regulatory Compliance Laboratory | 1770 Sidney Street, Annex Building Houston, TX 77023-3016 | 2011-12-08 |  | Certified |  | Non-Potable Water |  | Residue-total (total solids) | SM 2540 B | Renewal | FALSE | FALSE |  | 2023-12-31
1870593 | T104704277-23-25 | 2367 | TX01581 | City of Houston - Drinking Water Regulatory Compliance Laboratory | 1770 Sidney Street, Annex Building Houston, TX 77023-3016 | 2011-12-08 |  | Certified |  | Non-Potable Water |  | Residue-nonfilterable (TSS) | SM 2540 D | Renewal | FALSE | FALSE |  | 2023-12-31
1870594 | T104704277-23-25 | 2367 | TX01581 | City of Houston - Drinking Water Regulatory Compliance Laboratory | 1770 Sidney Street, Annex Building Houston, TX 77023-3016 | 2009-07-07 |  | Certified |  | Non-Potable Water |  | Phosphorus | SM 4500-P E |  | FALSE | FALSE |  | 2023-12-31
1870595 | T104704277-23-25 | 2367 | TX01581 | City of Houston - Drinking Water Regulatory Compliance Laboratory | 1770 Sidney Street, Annex Building Houston, TX 77023-3016 | 2009-07-07 |  | Certified |  | Non-Potable Water |  | Orthophosphate as P | SM 4500-P E |  | FALSE | FALSE |  | 2023-12-31
1870596 | T104704277-23-25 | 2367 | TX01581 | City of Houston - Drinking Water Regulatory Compliance Laboratory | 1770 Sidney Street, Annex Building Houston, TX 77023-3016 | 2010-12-07 |  | Certified |  | Non-Potable Water |  | Alkalinity as CaCO3 | SM 2320 B | Amendment | FALSE | FALSE |  | 2023-12-31
1870597 | T104704277-23-25 | 2367 | TX01581 | City of Houston - Drinking Water Regulatory Compliance Laboratory | 1770 Sidney Street, Annex Building Houston, TX 77023-3016 | 2019-01-16 |  | Certified |  | Non-Potable Water |  | Total hardness as CaCO3 | SM 2340 C | Amendment | FALSE | FALSE |  | 2023-12-31
1870598 | T104704277-23-25 | 2367 | TX01581 | City of Houston - Drinking Water Regulatory Compliance Laboratory | 1770 Sidney Street, Annex Building Houston, TX 77023-3016 | 2011-12-08 |  | Certified |  | Non-Potable Water |  | Conductivity | SM 2510 B | Renewal | FALSE | FALSE |  | 2023-12-31
1870599 | T104704277-23-25 | 2367 | TX01581 | City of Houston - Drinking Water Regulatory Compliance Laboratory | 1770 Sidney Street, Annex Building Houston, TX 77023-3016 | 2019-01-16 |  | Certified |  | Non-Potable Water |  | Residue-filterable (TDS) | SM 2540 C | Amendment | FALSE | FALSE |  | 2023-12-31
1870600 | T104704277-23-25 | 2367 | TX01581 | City of Houston - Drinking Water Regulatory Compliance Laboratory | 1770 Sidney Street, Annex Building Houston, TX 77023-3016 | 2021-12-17 |  | Certified |  | Non-Potable Water |  | Calcium | SM 3500-Ca B | Renewal | FALSE | FALSE |  | 2023-12-31
1870601 | T104704277-23-25 | 2367 | TX01581 | City of Houston - Drinking Water Regulatory Compliance Laboratory | 1770 Sidney Street, Annex Building Houston, TX 77023-3016 | 2011-12-08 |  | Certified |  | Non-Potable Water |  | Ammonia as N | SM 4500-NH3 D | Renewal | FALSE | FALSE |  | 2023-12-31
1870602 | T104704277-23-25 | 2367 | TX01581 | City of Houston - Drinking Water Regulatory Compliance Laboratory | 1770 Sidney Street, Annex Building Houston, TX 77023-3016 | 2010-12-07 |  | Certified |  | Non-Potable Water |  | Total Organic Carbon (TOC) | SM 5310 C | Amendment | FALSE | FALSE |  | 2023-12-31
1870603 | T104704277-23-25 | 2367 | TX01581 | City of Houston - Drinking Water Regulatory Compliance Laboratory | 1770 Sidney Street, Annex Building Houston, TX 77023-3016 | 2009-07-07 |  | Certified |  | Non-Potable Water |  | Escherichia coli (enumeration) | SM 9223 B |  | FALSE | FALSE |  | 2023-12-31
1870604 | T104704277-23-25 | 2367 | TX01581 | City of Houston - Drinking Water Regulatory Compliance Laboratory | 1770 Sidney Street, Annex Building Houston, TX 77023-3016 | 2009-07-07 |  | Certified |  | Non-Potable Water |  | Escherichia coli (enumeration) | IDEXX Laboratories Colilert®-18 |  | FALSE | FALSE |  | 2023-12-31