## City of Houston, Wastewater Ope
labName | stateId | certStart | certEnd | abParamId | primaryAb | matrix | program | methodId | methodName | analyteId | analyteName
City of Houston, Wastewater Operations Laboratory | TX01104 | 2025-11-19 | 2026-01-31 | 90488 | TX | NPW | N/A | 60030208 | Enterolert | 2520 | Enterococci
City of Houston, Wastewater Operations Laboratory | TX01104 | 2025-11-19 | 2026-01-31 | 80686 | TX | NPW | N/A | 10013806 | EPA 200.7 | 1000 | Aluminum
City of Houston, Wastewater Operations Laboratory | TX01104 | 2025-11-19 | 2026-01-31 | 80689 | TX | NPW | N/A | 10013806 | EPA 200.7 | 1005 | Antimony
City of Houston, Wastewater Operations Laboratory | TX01104 | 2025-11-19 | 2026-01-31 | 80692 | TX | NPW | N/A | 10013806 | EPA 200.7 | 1010 | Arsenic
City of Houston, Wastewater Operations Laboratory | TX01104 | 2025-11-19 | 2026-01-31 | 80695 | TX | NPW | N/A | 10013806 | EPA 200.7 | 1015 | Barium
City of Houston, Wastewater Operations Laboratory | TX01104 | 2025-11-19 | 2026-01-31 | 80698 | TX | NPW | N/A | 10013806 | EPA 200.7 | 1020 | Beryllium
City of Houston, Wastewater Operations Laboratory | TX01104 | 2025-11-19 | 2026-01-31 | 80704 | TX | NPW | N/A | 10013806 | EPA 200.7 | 1030 | Cadmium
City of Houston, Wastewater Operations Laboratory | TX01104 | 2025-11-19 | 2026-01-31 | 80710 | TX | NPW | N/A | 10013806 | EPA 200.7 | 1040 | Chromium
City of Houston, Wastewater Operations Laboratory | TX01104 | 2025-11-19 | 2026-01-31 | 80713 | TX | NPW | N/A | 10013806 | EPA 200.7 | 1050 | Cobalt
City of Houston, Wastewater Operations Laboratory | TX01104 | 2025-11-19 | 2026-01-31 | 80716 | TX | NPW | N/A | 10013806 | EPA 200.7 | 1055 | Copper
City of Houston, Wastewater Operations Laboratory | TX01104 | 2025-11-19 | 2026-01-31 | 80719 | TX | NPW | N/A | 10013806 | EPA 200.7 | 1070 | Iron
City of Houston, Wastewater Operations Laboratory | TX01104 | 2025-11-19 | 2026-01-31 | 80722 | TX | NPW | N/A | 10013806 | EPA 200.7 | 1075 | Lead
City of Houston, Wastewater Operations Laboratory | TX01104 | 2025-11-19 | 2026-01-31 | 80730 | TX | NPW | N/A | 10013806 | EPA 200.7 | 1090 | Manganese
City of Houston, Wastewater Operations Laboratory | TX01104 | 2025-11-19 | 2026-01-31 | 80733 | TX | NPW | N/A | 10013806 | EPA 200.7 | 1100 | Molybdenum
City of Houston, Wastewater Operations Laboratory | TX01104 | 2025-11-19 | 2026-01-31 | 80736 | TX | NPW | N/A | 10013806 | EPA 200.7 | 1105 | Nickel
City of Houston, Wastewater Operations Laboratory | TX01104 | 2025-11-19 | 2026-01-31 | 80742 | TX | NPW | N/A | 10013806 | EPA 200.7 | 1140 | Selenium
City of Houston, Wastewater Operations Laboratory | TX01104 | 2025-11-19 | 2026-01-31 | 80745 | TX | NPW | N/A | 10013806 | EPA 200.7 | 1150 | Silver
City of Houston, Wastewater Operations Laboratory | TX01104 | 2025-11-19 | 2026-01-31 | 80754 | TX | NPW | N/A | 10013806 | EPA 200.7 | 1165 | Thallium
City of Houston, Wastewater Operations Laboratory | TX01104 | 2025-11-19 | 2026-01-31 | 80758 | TX | NPW | N/A | 10013806 | EPA 200.7 | 1175 | Tin
City of Houston, Wastewater Operations Laboratory | TX01104 | 2025-11-19 | 2026-01-31 | 80761 | TX | NPW | N/A | 10013806 | EPA 200.7 | 1180 | Titanium
City of Houston, Wastewater Operations Laboratory | TX01104 | 2025-11-19 | 2026-01-31 | 80770 | TX | NPW | N/A | 10013806 | EPA 200.7 | 1910 | Total Phosphorus
City of Houston, Wastewater Operations Laboratory | TX01104 | 2025-11-19 | 2026-01-31 | 80764 | TX | NPW | N/A | 10013806 | EPA 200.7 | 1185 | Vanadium
City of Houston, Wastewater Operations Laboratory | TX01104 | 2025-11-19 | 2026-01-31 | 80767 | TX | NPW | N/A | 10013806 | EPA 200.7 | 1190 | Zinc
City of Houston, Wastewater Operations Laboratory | TX01104 | 2025-11-19 | 2026-01-31 | 80776 | TX | NPW | N/A | 10014605 | EPA 200.8 | 1000 | Aluminum
City of Houston, Wastewater Operations Laboratory | TX01104 | 2025-11-19 | 2026-01-31 | 80779 | TX | NPW | N/A | 10014605 | EPA 200.8 | 1005 | Antimony
City of Houston, Wastewater Operations Laboratory | TX01104 | 2025-11-19 | 2026-01-31 | 80782 | TX | NPW | N/A | 10014605 | EPA 200.8 | 1010 | Arsenic
City of Houston, Wastewater Operations Laboratory | TX01104 | 2025-11-19 | 2026-01-31 | 80785 | TX | NPW | N/A | 10014605 | EPA 200.8 | 1015 | Barium
City of Houston, Wastewater Operations Laboratory | TX01104 | 2025-11-19 | 2026-01-31 | 80788 | TX | NPW | N/A | 10014605 | EPA 200.8 | 1020 | Beryllium
City of Houston, Wastewater Operations Laboratory | TX01104 | 2025-11-19 | 2026-01-31 | 80793 | TX | NPW | N/A | 10014605 | EPA 200.8 | 1030 | Cadmium
City of Houston, Wastewater Operations Laboratory | TX01104 | 2025-11-19 | 2026-01-31 | 80798 | TX | NPW | N/A | 10014605 | EPA 200.8 | 1040 | Chromium
City of Houston, Wastewater Operations Laboratory | TX01104 | 2025-11-19 | 2026-01-31 | 80800 | TX | NPW | N/A | 10014605 | EPA 200.8 | 1050 | Cobalt
City of Houston, Wastewater Operations Laboratory | TX01104 | 2025-11-19 | 2026-01-31 | 80803 | TX | NPW | N/A | 10014605 | EPA 200.8 | 1055 | Copper
City of Houston, Wastewater Operations Laboratory | TX01104 | 2025-11-19 | 2026-01-31 | 80808 | TX | NPW | N/A | 10014605 | EPA 200.8 | 1075 | Lead
City of Houston, Wastewater Operations Laboratory | TX01104 | 2025-11-19 | 2026-01-31 | 80814 | TX | NPW | N/A | 10014605 | EPA 200.8 | 1090 | Manganese
City of Houston, Wastewater Operations Laboratory | TX01104 | 2025-11-19 | 2026-01-31 | 80818 | TX | NPW | N/A | 10014605 | EPA 200.8 | 1100 | Molybdenum
City of Houston, Wastewater Operations Laboratory | TX01104 | 2025-11-19 | 2026-01-31 | 80821 | TX | NPW | N/A | 10014605 | EPA 200.8 | 1105 | Nickel
City of Houston, Wastewater Operations Laboratory | TX01104 | 2025-11-19 | 2026-01-31 | 80826 | TX | NPW | N/A | 10014605 | EPA 200.8 | 1140 | Selenium
City of Houston, Wastewater Operations Laboratory | TX01104 | 2025-11-19 | 2026-01-31 | 80829 | TX | NPW | N/A | 10014605 | EPA 200.8 | 1150 | Silver
City of Houston, Wastewater Operations Laboratory | TX01104 | 2025-11-19 | 2026-01-31 | 80836 | TX | NPW | N/A | 10014605 | EPA 200.8 | 1165 | Thallium
City of Houston, Wastewater Operations Laboratory | TX01104 | 2025-11-19 | 2026-01-31 | 80844 | TX | NPW | N/A | 10014605 | EPA 200.8 | 1185 | Vanadium
City of Houston, Wastewater Operations Laboratory | TX01104 | 2025-11-19 | 2026-01-31 | 80847 | TX | NPW | N/A | 10014605 | EPA 200.8 | 1190 | Zinc
City of Houston, Wastewater Operations Laboratory | TX01104 | 2025-11-19 | 2026-01-31 | 80901 | TX | NPW | N/A | 10028009 | EPA 218.6 | 1045 | Chromium (VI)
City of Houston, Wastewater Operations Laboratory | TX01104 | 2025-11-19 | 2026-01-31 | 80919 | TX | NPW | N/A | 10036609 | EPA 245.1 | 1095 | Mercury
City of Houston, Wastewater Operations Laboratory | TX01104 | 2025-11-19 | 2026-01-31 | 80956 | TX | NPW | N/A | 10053200 | EPA 300.0 | 1575 | Chloride
City of Houston, Wastewater Operations Laboratory | TX01104 | 2025-11-19 | 2026-01-31 | 80960 | TX | NPW | N/A | 10053200 | EPA 300.0 | 1730 | Fluoride
City of Houston, Wastewater Operations Laboratory | TX01104 | 2025-11-19 | 2026-01-31 | 80963 | TX | NPW | N/A | 10053200 | EPA 300.0 | 1810 | Nitrate as N
City of Houston, Wastewater Operations Laboratory | TX01104 | 2025-11-19 | 2026-01-31 | 80971 | TX | NPW | N/A | 10053200 | EPA 300.0 | 1870 | Orthophosphate as P
City of Houston, Wastewater Operations Laboratory | TX01104 | 2025-11-19 | 2026-01-31 | 80974 | TX | NPW | N/A | 10053200 | EPA 300.0 | 2000 | Sulfate
City of Houston, Wastewater Operations Laboratory | TX01104 | 2025-11-19 | 2026-01-31 | 81030 | TX | NPW | N/A | 10063408 | EPA 350.1 | 1515 | Ammonia as N
City of Houston, Wastewater Operations Laboratory | TX01104 | 2025-11-19 | 2026-01-31 | 91288 | TX | NPW | N/A | 10298121 | EPA 624.1 | 5160 | 1,1,1-Trichloroethane
City of Houston, Wastewater Operations Laboratory | TX01104 | 2025-11-19 | 2026-01-31 | 91289 | TX | NPW | N/A | 10298121 | EPA 624.1 | 5110 | 1,1,2,2-Tetrachloroethane
City of Houston, Wastewater Operations Laboratory | TX01104 | 2025-11-19 | 2026-01-31 | 91290 | TX | NPW | N/A | 10298121 | EPA 624.1 | 5165 | 1,1,2-Trichloroethane
City of Houston, Wastewater Operations Laboratory | TX01104 | 2025-11-19 | 2026-01-31 | 91291 | TX | NPW | N/A | 10298121 | EPA 624.1 | 4630 | 1,1-Dichloroethane
City of Houston, Wastewater Operations Laboratory | TX01104 | 2025-11-19 | 2026-01-31 | 91292 | TX | NPW | N/A | 10298121 | EPA 624.1 | 4640 | 1,1-Dichloroethylene
City of Houston, Wastewater Operations Laboratory | TX01104 | 2025-11-19 | 2026-01-31 | 91293 | TX | NPW | N/A | 10298121 | EPA 624.1 | 4585 | 1,2-Dibromoethane (EDB, Ethylene dibromide)
City of Houston, Wastewater Operations Laboratory | TX01104 | 2025-11-19 | 2026-01-31 | 91294 | TX | NPW | N/A | 10298121 | EPA 624.1 | 4610 | 1,2-Dichlorobenzene (o-Dichlorobenzene)
City of Houston, Wastewater Operations Laboratory | TX01104 | 2025-11-19 | 2026-01-31 | 91295 | TX | NPW | N/A | 10298121 | EPA 624.1 | 4635 | 1,2-Dichloroethane (Ethylene dichloride)
City of Houston, Wastewater Operations Laboratory | TX01104 | 2025-11-19 | 2026-01-31 | 91296 | TX | NPW | N/A | 10298121 | EPA 624.1 | 4655 | 1,2-Dichloropropane
City of Houston, Wastewater Operations Laboratory | TX01104 | 2025-11-19 | 2026-01-31 | 91297 | TX | NPW | N/A | 10298121 | EPA 624.1 | 4615 | 1,3-Dichlorobenzene (m-Dichlorobenzene)
City of Houston, Wastewater Operations Laboratory | TX01104 | 2025-11-19 | 2026-01-31 | 91298 | TX | NPW | N/A | 10298121 | EPA 624.1 | 4620 | 1,4-Dichlorobenzene (p-Dichlorobenzene)
City of Houston, Wastewater Operations Laboratory | TX01104 | 2025-11-19 | 2026-01-31 | 91299 | TX | NPW | N/A | 10298121 | EPA 624.1 | 4410 | 2-Butanone (Methyl ethyl ketone, MEK)
City of Houston, Wastewater Operations Laboratory | TX01104 | 2025-11-19 | 2026-01-31 | 91300 | TX | NPW | N/A | 10298121 | EPA 624.1 | 4500 | 2-Chloroethyl vinyl ether
City of Houston, Wastewater Operations Laboratory | TX01104 | 2025-11-19 | 2026-01-31 | 91302 | TX | NPW | N/A | 10298121 | EPA 624.1 | 4325 | Acrolein (Propenal)
City of Houston, Wastewater Operations Laboratory | TX01104 | 2025-11-19 | 2026-01-31 | 91303 | TX | NPW | N/A | 10298121 | EPA 624.1 | 4340 | Acrylonitrile
City of Houston, Wastewater Operations Laboratory | TX01104 | 2025-11-19 | 2026-01-31 | 91304 | TX | NPW | N/A | 10298121 | EPA 624.1 | 4375 | Benzene
City of Houston, Wastewater Operations Laboratory | TX01104 | 2025-11-19 | 2026-01-31 | 91305 | TX | NPW | N/A | 10298121 | EPA 624.1 | 4395 | Bromodichloromethane
City of Houston, Wastewater Operations Laboratory | TX01104 | 2025-11-19 | 2026-01-31 | 91306 | TX | NPW | N/A | 10298121 | EPA 624.1 | 4400 | Bromoform
City of Houston, Wastewater Operations Laboratory | TX01104 | 2025-11-19 | 2026-01-31 | 91307 | TX | NPW | N/A | 10298121 | EPA 624.1 | 4455 | Carbon tetrachloride
City of Houston, Wastewater Operations Laboratory | TX01104 | 2025-11-19 | 2026-01-31 | 91308 | TX | NPW | N/A | 10298121 | EPA 624.1 | 4475 | Chlorobenzene
City of Houston, Wastewater Operations Laboratory | TX01104 | 2025-11-19 | 2026-01-31 | 91309 | TX | NPW | N/A | 10298121 | EPA 624.1 | 4575 | Chlorodibromomethane
City of Houston, Wastewater Operations Laboratory | TX01104 | 2025-11-19 | 2026-01-31 | 91310 | TX | NPW | N/A | 10298121 | EPA 624.1 | 4485 | Chloroethane (Ethyl chloride)
City of Houston, Wastewater Operations Laboratory | TX01104 | 2025-11-19 | 2026-01-31 | 91311 | TX | NPW | N/A | 10298121 | EPA 624.1 | 4505 | Chloroform
City of Houston, Wastewater Operations Laboratory | TX01104 | 2025-11-19 | 2026-01-31 | 91312 | TX | NPW | N/A | 10298121 | EPA 624.1 | 4645 | cis-1,2-Dichloroethylene
City of Houston, Wastewater Operations Laboratory | TX01104 | 2025-11-19 | 2026-01-31 | 91313 | TX | NPW | N/A | 10298121 | EPA 624.1 | 4680 | cis-1,3-Dichloropropene
City of Houston, Wastewater Operations Laboratory | TX01104 | 2025-11-19 | 2026-01-31 | 91314 | TX | NPW | N/A | 10298121 | EPA 624.1 | 4765 | Ethylbenzene
City of Houston, Wastewater Operations Laboratory | TX01104 | 2025-11-19 | 2026-01-31 | 91315 | TX | NPW | N/A | 10298121 | EPA 624.1 | 5240 | m+p-xylene
City of Houston, Wastewater Operations Laboratory | TX01104 | 2025-11-19 | 2026-01-31 | 91316 | TX | NPW | N/A | 10298121 | EPA 624.1 | 4950 | Methyl bromide (Bromomethane)
City of Houston, Wastewater Operations Laboratory | TX01104 | 2025-11-19 | 2026-01-31 | 91317 | TX | NPW | N/A | 10298121 | EPA 624.1 | 4960 | Methyl chloride (Chloromethane)
City of Houston, Wastewater Operations Laboratory | TX01104 | 2025-11-19 | 2026-01-31 | 91318 | TX | NPW | N/A | 10298121 | EPA 624.1 | 5000 | Methyl tert-butyl ether (MTBE)
City of Houston, Wastewater Operations Laboratory | TX01104 | 2025-11-19 | 2026-01-31 | 91319 | TX | NPW | N/A | 10298121 | EPA 624.1 | 4975 | Methylene chloride (Dichloromethane)
City of Houston, Wastewater Operations Laboratory | TX01104 | 2025-11-19 | 2026-01-31 | 91321 | TX | NPW | N/A | 10298121 | EPA 624.1 | 5250 | o-Xylene
City of Houston, Wastewater Operations Laboratory | TX01104 | 2025-11-19 | 2026-01-31 | 91322 | TX | NPW | N/A | 10298121 | EPA 624.1 | 5115 | Tetrachloroethylene (Perchloroethylene)
City of Houston, Wastewater Operations Laboratory | TX01104 | 2025-11-19 | 2026-01-31 | 91323 | TX | NPW | N/A | 10298121 | EPA 624.1 | 5140 | Toluene
City of Houston, Wastewater Operations Laboratory | TX01104 | 2025-11-19 | 2026-01-31 | 91330 | TX | NPW | N/A | 10298121 | EPA 624.1 | 5260 | Total Xylene
City of Houston, Wastewater Operations Laboratory | TX01104 | 2025-11-19 | 2026-01-31 | 91325 | TX | NPW | N/A | 10298121 | EPA 624.1 | 4700 | trans-1,2-Dichloroethylene
City of Houston, Wastewater Operations Laboratory | TX01104 | 2025-11-19 | 2026-01-31 | 91326 | TX | NPW | N/A | 10298121 | EPA 624.1 | 4685 | trans-1,3-Dichloropropylene
City of Houston, Wastewater Operations Laboratory | TX01104 | 2025-11-19 | 2026-01-31 | 91327 | TX | NPW | N/A | 10298121 | EPA 624.1 | 5170 | Trichloroethene (Trichloroethylene)
City of Houston, Wastewater Operations Laboratory | TX01104 | 2025-11-19 | 2026-01-31 | 91329 | TX | NPW | N/A | 10298121 | EPA 624.1 | 5235 | Vinyl chloride (Chloroethene)
City of Houston, Wastewater Operations Laboratory | TX01104 | 2025-11-19 | 2026-01-31 | 91331 | TX | NPW | N/A | 10300024 | EPA 625.1 | 6715 | 1,2,4,5-Tetrachlorobenzene
City of Houston, Wastewater Operations Laboratory | TX01104 | 2025-11-19 | 2026-01-31 | 91332 | TX | NPW | N/A | 10300024 | EPA 625.1 | 5155 | 1,2,4-Trichlorobenzene
City of Houston, Wastewater Operations Laboratory | TX01104 | 2025-11-19 | 2026-01-31 | 91333 | TX | NPW | N/A | 10300024 | EPA 625.1 | 4610 | 1,2-Dichlorobenzene (o-Dichlorobenzene)
City of Houston, Wastewater Operations Laboratory | TX01104 | 2025-11-19 | 2026-01-31 | 91336 | TX | NPW | N/A | 10300024 | EPA 625.1 | 4615 | 1,3-Dichlorobenzene (m-Dichlorobenzene)
City of Houston, Wastewater Operations Laboratory | TX01104 | 2025-11-19 | 2026-01-31 | 91337 | TX | NPW | N/A | 10300024 | EPA 625.1 | 4620 | 1,4-Dichlorobenzene (p-Dichlorobenzene)
City of Houston, Wastewater Operations Laboratory | TX01104 | 2025-11-19 | 2026-01-31 | 91341 | TX | NPW | N/A | 10300024 | EPA 625.1 | 6835 | 2,4,5-Trichlorophenol
City of Houston, Wastewater Operations Laboratory | TX01104 | 2025-11-19 | 2026-01-31 | 91342 | TX | NPW | N/A | 10300024 | EPA 625.1 | 6840 | 2,4,6-Trichlorophenol
City of Houston, Wastewater Operations Laboratory | TX01104 | 2025-11-19 | 2026-01-31 | 91343 | TX | NPW | N/A | 10300024 | EPA 625.1 | 6000 | 2,4-Dichlorophenol
City of Houston, Wastewater Operations Laboratory | TX01104 | 2025-11-19 | 2026-01-31 | 91344 | TX | NPW | N/A | 10300024 | EPA 625.1 | 6130 | 2,4-Dimethylphenol
City of Houston, Wastewater Operations Laboratory | TX01104 | 2025-11-19 | 2026-01-31 | 91345 | TX | NPW | N/A | 10300024 | EPA 625.1 | 6175 | 2,4-Dinitrophenol
City of Houston, Wastewater Operations Laboratory | TX01104 | 2025-11-19 | 2026-01-31 | 91346 | TX | NPW | N/A | 10300024 | EPA 625.1 | 6185 | 2,4-Dinitrotoluene (2,4-DNT)
City of Houston, Wastewater Operations Laboratory | TX01104 | 2025-11-19 | 2026-01-31 | 91347 | TX | NPW | N/A | 10300024 | EPA 625.1 | 6190 | 2,6-Dinitrotoluene (2,6-DNT)
City of Houston, Wastewater Operations Laboratory | TX01104 | 2025-11-19 | 2026-01-31 | 91348 | TX | NPW | N/A | 10300024 | EPA 625.1 | 5795 | 2-Chloronaphthalene
City of Houston, Wastewater Operations Laboratory | TX01104 | 2025-11-19 | 2026-01-31 | 91349 | TX | NPW | N/A | 10300024 | EPA 625.1 | 5800 | 2-Chlorophenol
City of Houston, Wastewater Operations Laboratory | TX01104 | 2025-11-19 | 2026-01-31 | 91350 | TX | NPW | N/A | 10300024 | EPA 625.1 | 6360 | 2-Methyl-4,6-dinitrophenol (4,6-Dinitro-2-methylphenol)
City of Houston, Wastewater Operations Laboratory | TX01104 | 2025-11-19 | 2026-01-31 | 91351 | TX | NPW | N/A | 10300024 | EPA 625.1 | 6400 | 2-Methylphenol (o-Cresol)
City of Houston, Wastewater Operations Laboratory | TX01104 | 2025-11-19 | 2026-01-31 | 91352 | TX | NPW | N/A | 10300024 | EPA 625.1 | 6490 | 2-Nitrophenol
City of Houston, Wastewater Operations Laboratory | TX01104 | 2025-11-19 | 2026-01-31 | 91353 | TX | NPW | N/A | 10300024 | EPA 625.1 | 5945 | 3,3'-Dichlorobenzidine
City of Houston, Wastewater Operations Laboratory | TX01104 | 2025-11-19 | 2026-01-31 | 91357 | TX | NPW | N/A | 10300024 | EPA 625.1 | 5660 | 4-Bromophenyl phenyl ether (BDE-3)
City of Houston, Wastewater Operations Laboratory | TX01104 | 2025-11-19 | 2026-01-31 | 91358 | TX | NPW | N/A | 10300024 | EPA 625.1 | 5700 | 4-Chloro-3-methylphenol
City of Houston, Wastewater Operations Laboratory | TX01104 | 2025-11-19 | 2026-01-31 | 91359 | TX | NPW | N/A | 10300024 | EPA 625.1 | 5825 | 4-Chlorophenyl phenylether
City of Houston, Wastewater Operations Laboratory | TX01104 | 2025-11-19 | 2026-01-31 | 91360 | TX | NPW | N/A | 10300024 | EPA 625.1 | 6410 | 4-Methylphenol (p-Cresol)
City of Houston, Wastewater Operations Laboratory | TX01104 | 2025-11-19 | 2026-01-31 | 91361 | TX | NPW | N/A | 10300024 | EPA 625.1 | 6500 | 4-Nitrophenol
City of Houston, Wastewater Operations Laboratory | TX01104 | 2025-11-19 | 2026-01-31 | 91362 | TX | NPW | N/A | 10300024 | EPA 625.1 | 5500 | Acenaphthene
City of Houston, Wastewater Operations Laboratory | TX01104 | 2025-11-19 | 2026-01-31 | 91363 | TX | NPW | N/A | 10300024 | EPA 625.1 | 5505 | Acenaphthylene
City of Houston, Wastewater Operations Laboratory | TX01104 | 2025-11-19 | 2026-01-31 | 91367 | TX | NPW | N/A | 10300024 | EPA 625.1 | 5555 | Anthracene
City of Houston, Wastewater Operations Laboratory | TX01104 | 2025-11-19 | 2026-01-31 | 91375 | TX | NPW | N/A | 10300024 | EPA 625.1 | 5595 | Benzidine
City of Houston, Wastewater Operations Laboratory | TX01104 | 2025-11-19 | 2026-01-31 | 91376 | TX | NPW | N/A | 10300024 | EPA 625.1 | 5575 | Benzo(a)anthracene
City of Houston, Wastewater Operations Laboratory | TX01104 | 2025-11-19 | 2026-01-31 | 91377 | TX | NPW | N/A | 10300024 | EPA 625.1 | 5580 | Benzo(a)pyrene
City of Houston, Wastewater Operations Laboratory | TX01104 | 2025-11-19 | 2026-01-31 | 91379 | TX | NPW | N/A | 10300024 | EPA 625.1 | 5590 | Benzo(g,h,i)perylene
City of Houston, Wastewater Operations Laboratory | TX01104 | 2025-11-19 | 2026-01-31 | 91380 | TX | NPW | N/A | 10300024 | EPA 625.1 | 5600 | Benzo(k)fluoranthene
City of Houston, Wastewater Operations Laboratory | TX01104 | 2025-11-19 | 2026-01-31 | 91378 | TX | NPW | N/A | 10300024 | EPA 625.1 | 5585 | Benzo[b]fluoranthene
City of Houston, Wastewater Operations Laboratory | TX01104 | 2025-11-19 | 2026-01-31 | 91382 | TX | NPW | N/A | 10300024 | EPA 625.1 | 5760 | bis(2-Chloroethoxy)methane
City of Houston, Wastewater Operations Laboratory | TX01104 | 2025-11-19 | 2026-01-31 | 91383 | TX | NPW | N/A | 10300024 | EPA 625.1 | 5765 | bis(2-Chloroethyl) ether
City of Houston, Wastewater Operations Laboratory | TX01104 | 2025-11-19 | 2026-01-31 | 91385 | TX | NPW | N/A | 10300024 | EPA 625.1 | 5670 | Butyl benzyl phthalate
City of Houston, Wastewater Operations Laboratory | TX01104 | 2025-11-19 | 2026-01-31 | 91386 | TX | NPW | N/A | 10300024 | EPA 625.1 | 5855 | Chrysene
City of Houston, Wastewater Operations Laboratory | TX01104 | 2025-11-19 | 2026-01-31 | 91384 | TX | NPW | N/A | 10300024 | EPA 625.1 | 6065 | Di(2-ethylhexyl) phthalate (bis(2-Ethylhexyl)phthalate, DEHP)
City of Houston, Wastewater Operations Laboratory | TX01104 | 2025-11-19 | 2026-01-31 | 91392 | TX | NPW | N/A | 10300024 | EPA 625.1 | 5925 | Di-n-butyl phthalate
City of Houston, Wastewater Operations Laboratory | TX01104 | 2025-11-19 | 2026-01-31 | 91393 | TX | NPW | N/A | 10300024 | EPA 625.1 | 6200 | Di-n-octyl phthalate
City of Houston, Wastewater Operations Laboratory | TX01104 | 2025-11-19 | 2026-01-31 | 91388 | TX | NPW | N/A | 10300024 | EPA 625.1 | 5895 | Dibenz(a,h) anthracene
City of Houston, Wastewater Operations Laboratory | TX01104 | 2025-11-19 | 2026-01-31 | 91390 | TX | NPW | N/A | 10300024 | EPA 625.1 | 6070 | Diethyl phthalate
City of Houston, Wastewater Operations Laboratory | TX01104 | 2025-11-19 | 2026-01-31 | 91391 | TX | NPW | N/A | 10300024 | EPA 625.1 | 6135 | Dimethyl phthalate
City of Houston, Wastewater Operations Laboratory | TX01104 | 2025-11-19 | 2026-01-31 | 91399 | TX | NPW | N/A | 10300024 | EPA 625.1 | 6265 | Fluoranthene
City of Houston, Wastewater Operations Laboratory | TX01104 | 2025-11-19 | 2026-01-31 | 91400 | TX | NPW | N/A | 10300024 | EPA 625.1 | 6270 | Fluorene
City of Houston, Wastewater Operations Laboratory | TX01104 | 2025-11-19 | 2026-01-31 | 91405 | TX | NPW | N/A | 10300024 | EPA 625.1 | 6275 | Hexachlorobenzene
City of Houston, Wastewater Operations Laboratory | TX01104 | 2025-11-19 | 2026-01-31 | 91406 | TX | NPW | N/A | 10300024 | EPA 625.1 | 4835 | Hexachlorobutadiene
City of Houston, Wastewater Operations Laboratory | TX01104 | 2025-11-19 | 2026-01-31 | 91407 | TX | NPW | N/A | 10300024 | EPA 625.1 | 6285 | Hexachlorocyclopentadiene
City of Houston, Wastewater Operations Laboratory | TX01104 | 2025-11-19 | 2026-01-31 | 91408 | TX | NPW | N/A | 10300024 | EPA 625.1 | 4840 | Hexachloroethane
City of Houston, Wastewater Operations Laboratory | TX01104 | 2025-11-19 | 2026-01-31 | 91409 | TX | NPW | N/A | 10300024 | EPA 625.1 | 6315 | Indeno(1,2,3-cd) pyrene
City of Houston, Wastewater Operations Laboratory | TX01104 | 2025-11-19 | 2026-01-31 | 91410 | TX | NPW | N/A | 10300024 | EPA 625.1 | 6320 | Isophorone
City of Houston, Wastewater Operations Laboratory | TX01104 | 2025-11-19 | 2026-01-31 | 91415 | TX | NPW | N/A | 10300024 | EPA 625.1 | 5025 | n-Nitroso-di-n-butylamine
City of Houston, Wastewater Operations Laboratory | TX01104 | 2025-11-19 | 2026-01-31 | 91416 | TX | NPW | N/A | 10300024 | EPA 625.1 | 6545 | n-Nitrosodi-n-propylamine
City of Houston, Wastewater Operations Laboratory | TX01104 | 2025-11-19 | 2026-01-31 | 91413 | TX | NPW | N/A | 10300024 | EPA 625.1 | 6525 | n-Nitrosodiethylamine
City of Houston, Wastewater Operations Laboratory | TX01104 | 2025-11-19 | 2026-01-31 | 91414 | TX | NPW | N/A | 10300024 | EPA 625.1 | 6530 | n-Nitrosodimethylamine
City of Houston, Wastewater Operations Laboratory | TX01104 | 2025-11-19 | 2026-01-31 | 91417 | TX | NPW | N/A | 10300024 | EPA 625.1 | 6535 | n-Nitrosodiphenylamine
City of Houston, Wastewater Operations Laboratory | TX01104 | 2025-11-19 | 2026-01-31 | 91411 | TX | NPW | N/A | 10300024 | EPA 625.1 | 5005 | Naphthalene
City of Houston, Wastewater Operations Laboratory | TX01104 | 2025-11-19 | 2026-01-31 | 91412 | TX | NPW | N/A | 10300024 | EPA 625.1 | 5015 | Nitrobenzene
City of Houston, Wastewater Operations Laboratory | TX01104 | 2025-11-19 | 2026-01-31 | 91418 | TX | NPW | N/A | 10300024 | EPA 625.1 | 6590 | Pentachlorobenzene
City of Houston, Wastewater Operations Laboratory | TX01104 | 2025-11-19 | 2026-01-31 | 91419 | TX | NPW | N/A | 10300024 | EPA 625.1 | 6605 | Pentachlorophenol
City of Houston, Wastewater Operations Laboratory | TX01104 | 2025-11-19 | 2026-01-31 | 91420 | TX | NPW | N/A | 10300024 | EPA 625.1 | 6615 | Phenanthrene
City of Houston, Wastewater Operations Laboratory | TX01104 | 2025-11-19 | 2026-01-31 | 91421 | TX | NPW | N/A | 10300024 | EPA 625.1 | 6625 | Phenol
City of Houston, Wastewater Operations Laboratory | TX01104 | 2025-11-19 | 2026-01-31 | 91422 | TX | NPW | N/A | 10300024 | EPA 625.1 | 6665 | Pyrene
City of Houston, Wastewater Operations Laboratory | TX01104 | 2025-11-19 | 2026-01-31 | 91423 | TX | NPW | N/A | 10300024 | EPA 625.1 | 5095 | Pyridine
City of Houston, Wastewater Operations Laboratory | TX01104 | 2025-11-19 | 2026-01-31 | 89488 | TX | NPW | N/A | 20049803 | SM 2540 C | 1955 | Residue-filterable (TDS)
City of Houston, Wastewater Operations Laboratory | TX01104 | 2025-11-19 | 2026-01-31 | 89491 | TX | NPW | N/A | 20004802 | SM 2540 D | 1960 | Residue-nonfilterable (TSS)
City of Houston, Wastewater Operations Laboratory | TX01104 | 2025-11-19 | 2026-01-31 | 89647 | TX | NPW | N/A | 20108809 | SM 4500-NH3 D | 1515 | Ammonia as N
City of Houston, Wastewater Operations Laboratory | TX01104 | 2025-11-19 | 2026-01-31 | 89697 | TX | NPW | N/A | 20027401 | SM 5210 B | 1530 | Biochemical Oxygen Demand (BOD)
City of Houston, Wastewater Operations Laboratory | TX01104 | 2025-11-19 | 2026-01-31 | 89698 | TX | NPW | N/A | 20027401 | SM 5210 B | 1555 | Carbonaceous BOD (CBOD)
City of Houston, Wastewater Operations Laboratory | TX01104 | 2025-11-19 | 2026-01-31 | 90092 | TX | NPW | N/A | 20211205 | SM 9223 B (Colilert Quanti- Tray) | 2525 | Escherichia coli (E. coli)