## Sheet1
EntryID | CertificateID | LabIdNo | LabEPA_Number | LabName | Address | EffectiveDate | RemoveDate | Status | Discipline | MatrixName | ProgramName | AltAnalyteName | AltMethodName | ApplicationType | ApprovedCFR | ApprovedState | MatrixProgram | AccreditationEnd
1906383 | T104704530-23-9 | 2649 | TX01194 | City of Pharr, TX Wastewater Treatment Plant Laboratory | 2400 South Veteran's Boulevard Pharr, TX 78577 | 2015-04-27 |  | Certified |  | Non-Potable Water |  | Escherichia coli (enumeration) | Hach Co. m-ColiBlue24® Test | New | FALSE | FALSE |  | 2024-04-30
1906384 | T104704530-23-9 | 2649 | TX01194 | City of Pharr, TX Wastewater Treatment Plant Laboratory | 2400 South Veteran's Boulevard Pharr, TX 78577 | 2015-04-27 |  | Certified |  | Non-Potable Water |  | Residue-nonfilterable (TSS) | SM 2540 D | New | FALSE | FALSE |  | 2024-04-30
1906385 | T104704530-23-9 | 2649 | TX01194 | City of Pharr, TX Wastewater Treatment Plant Laboratory | 2400 South Veteran's Boulevard Pharr, TX 78577 | 2015-04-27 |  | Certified |  | Non-Potable Water |  | Oxygen, dissolved | SM 4500-O C | New | FALSE | FALSE |  | 2024-04-30
1906386 | T104704530-23-9 | 2649 | TX01194 | City of Pharr, TX Wastewater Treatment Plant Laboratory | 2400 South Veteran's Boulevard Pharr, TX 78577 | 2015-04-27 |  | Certified |  | Non-Potable Water |  | Carbonaceous BOD, CBOD | SM 5210 B | New | FALSE | FALSE |  | 2024-04-30
1906387 | T104704530-23-9 | 2649 | TX01194 | City of Pharr, TX Wastewater Treatment Plant Laboratory | 2400 South Veteran's Boulevard Pharr, TX 78577 | 2015-04-27 |  | Certified |  | Non-Potable Water |  | Fecal coliforms (enumeration) | SM 9222 D | New | FALSE | FALSE |  | 2024-04-30
1906388 | T104704530-23-9 | 2649 | TX01194 | City of Pharr, TX Wastewater Treatment Plant Laboratory | 2400 South Veteran's Boulevard Pharr, TX 78577 | 2015-04-27 |  | Certified |  | Non-Potable Water |  | Turbidity | SM 2130 B | New | FALSE | FALSE |  | 2024-04-30
1906389 | T104704530-23-9 | 2649 | TX01194 | City of Pharr, TX Wastewater Treatment Plant Laboratory | 2400 South Veteran's Boulevard Pharr, TX 78577 | 2015-04-27 |  | Certified |  | Non-Potable Water |  | pH | SM 4500-H+ B | New | FALSE | FALSE |  | 2024-04-30
1906390 | T104704530-23-9 | 2649 | TX01194 | City of Pharr, TX Wastewater Treatment Plant Laboratory | 2400 South Veteran's Boulevard Pharr, TX 78577 | 2015-04-27 |  | Certified |  | Non-Potable Water |  | Ammonia as N | SM 4500-NH3 D | New | FALSE | FALSE |  | 2024-04-30