## Sheet1
MONTHLY OPERATING REPORT
FOR GROUNDWATER TREATMENT PLANTS THAT ARE REQUIRED TO PROVIDE 4-LOG VIRAL INACTIVATION
WATER SYSTEM NAME: | [5 empty] | PWS ID No.: |  |  | Blank Form? | Yes
PLANT NAME OR NUMBER: | [5 empty] | Month: |  |  | Days in Month
Minimum Specified Residual: |  |  | mg/L |  |  | Year:
WATER PRODUCTION
| Total Daily Production (gpd) | Measured Residual (mg/L) | Hours (decimal) |  | Flow Rate (gpm) | pH | Temp (oC) |  | Potential Violations
[9 empty] | M&R | TT
1 | [8 empty] | TRUE | FALSE
2 | [8 empty] | TRUE | FALSE
3 | [8 empty] | TRUE | FALSE
4 | [8 empty] | TRUE | FALSE
5 | [8 empty] | TRUE | FALSE
6 | [8 empty] | TRUE | FALSE
7 | [8 empty] | TRUE | FALSE
8 | [8 empty] | TRUE | FALSE
9 | [8 empty] | TRUE | FALSE
10 | [8 empty] | TRUE | FALSE
11 | [8 empty] | TRUE | FALSE
12 | [8 empty] | TRUE | FALSE
13 | [8 empty] | TRUE | FALSE
14 | [8 empty] | TRUE | FALSE
15 | [8 empty] | TRUE | FALSE
16 | [8 empty] | TRUE | FALSE
17 | [8 empty] | TRUE | FALSE
18 | [8 empty] | TRUE | FALSE
19 | [8 empty] | TRUE | FALSE
20 | [8 empty] | TRUE | FALSE
21 | [8 empty] | TRUE | FALSE
22 | [8 empty] | TRUE | FALSE
23 | [8 empty] | TRUE | FALSE
24 | [8 empty] | TRUE | FALSE
25 | [8 empty] | TRUE | FALSE
26 | [8 empty] | TRUE | FALSE
27 | [8 empty] | TRUE | FALSE
28 | [8 empty] | TRUE | FALSE
29 | [8 empty] | TRUE | FALSE
30 | [8 empty] | TRUE | FALSE
31 | [8 empty] | TRUE | FALSE
Total |  |  | For TCEQ Use Only
Avg |  |  | Potential Violations
Max |  |  | M&R
Min |  |  | TT
Any additional information you wish to provide:
I certify that I am familiar with the information contained in this report and that, to the best of my knowledge, the information is true, complete, and accurate.
Operator's
Signature: |  |  |  | Date:
Certificate No. and Class:
TCEQ - 20362 (09-15-09) | [6 empty] | MSRMOR | v3 | revised 08-21-09
Note on B48: For example: If the spreadsheet indicates that you have a potential monitoring or reporting (M&R) or treatment technique (TT) violation, you can record: 1) the date you notified the TCEQ of the potential violation and 2) the date that the TCEQ letter either confirmed the violation or told you that one did not occur If you do have a TT violation, you can also indicate: 1) whether or not you had any E.coli positive distribution samples this month 2) whether or not you collected the required "triggered source water monitoring samples" and 3) whether or not any of the source water samples were E. coli positive.
Note on C9: Enter the total amount of water that you pumped to distribution on each day (at this entry point).
Note on D9: Enter the lowest chlorine residual that was recorded during the day. These tests must be conducted on the water leaving the ground storage tank before any other chlorine is added.
Note on E9: If the measured Residual is less than the Minimum Specified Residual value, enter the length of time (in hours) that the measured Residual was below the MSR. For example, enter 3.25 if the residual was less than the MSR for 3 hours and 15 minutes. Note: You only need to enter time data if the spreadsheet highlights the cell. If the measured residual was less than the MSR more than once during the day, enter the longest period of time (not the total amount of time) that it was low. If the cell is not highlighted, do not enter any data in this cell.
Note on G9: If the measured Residual is less than the Minimum Specified Residual value, enter the peak flow rate through the ground storage tank(s) or disinfection zone(s). If you need to enter flow rate information, enter lower of the following two values: 1) the maximum rate that water was pumped into the storage tank or zone or 2) the maximun rate that water was pumped out of the storage tank or zone. Note: You only need to enter Flow Rate data if the spreadsheet highlights the cell. If the cell is not highlighted, you do not have to report the peak flow rate.
Note on H9: If the measured Residual is less than the Minimum Specified Residual value, enter the pH of the water in the storage tank or disinfection zone. Note: You only need to enter pH data if the spreadsheet highlights the cell. If the cell is not highlighted, you do not have to test and report the pH of the treated water.
Note on I5: Using the drop-down list, select the month that the data was collected.
Note on I6: Enter the year that the data was collected. Note: You may not enter a value less than 2009 (which is the year that this rule became effective).
Note on I9: If the measured Residual is less than the Minimum Specified Residual value, enter the temperature of the water in the storage tank or disinfection zone. Note: You only need to enter temperature data if the spreadsheet highlights the cell. If the cell is not highlighted, you do not have to test and report the pH of the treated water.