|  |  |
| --- | --- |
| **Any of the following within 50 feet of the well:** | **Yes or No** |
| * Sanitary sewer1 |  |
| * Septic tank other tanks used to hold or treat sewage or sewerage appurtenance |  |
| * Storm Sewer1 |  |
| * Cemetery |  |
| * Livestock in pastures |  |
| 1 Sanitary or storm sewers constructed of ductile iron or PVC pipe with a working pressure of at least 150 pounds per square inch and meeting American Water Works Association standards, and with pressure type joints may be located at a distance of less than 50-feet, but no closer than 10-feet to the well. | |
| **Any of the following within 150 feet of the well:** | |
| * Septic tank perforated drainfield |  |
| * Areas irrigated by low dosage, low angle spray on-site sewage facilities |  |
| * Absorption and/or evapotranspiration bed |  |
| * Improperly constructed water well2 |  |
| * Underground petroleum and chemical storage tank |  |
| * Liquid petroleum or chemical transmission pipeline |  |
| 2 An improperly constructed well includes all wells not constructed to public water well standards (e.g. residential wells, industrial wells, agricultural wells). | |
| **Any of the following within 300 feet of the well:** | |
| * Sewage wet well |  |
| * Sewage pumping station |  |
| * Drainage ditch which contains industrial waste discharges or wastes from sewage treatment systems |  |
|  |  |
| **Any of the following within 500 feet of the well:** | |
| * Sewage treatment plant |  |
| * Animal feed lots |  |
| * Solid waste disposal sites |  |
| * Lands on which sewage plant or septic tank sludge is applied |  |
| * Lands irrigated by sewage plant effluent |  |
|  | |
| Any of the following within 0.25-miles of the well including but not limited to: known abandoned or inoperative wells, landfills, dumpsites, animal feed lots, military facilities, industrial facilities, wood-treatment facilities, liquid petroleum and petrochemical production, storage and transmission facilities, Class 1, 2, 3, 4 or 5 injection wells, and pesticide storage and mixing facilities. |  |
|  | |
| All found well pollution hazards have been shown on attached map or site drawing |  |

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
|  |  |  |  |  |
| Printed Name of Person Responsible for Hazard Survey |  | Signature |  | Date |