***E. Coli* Methods**

|  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **Method** | **EPA** | **Standard**  **Methods 18th Ed.** | **Standard**  **Methods**  **19th Ed.** | **Standard**  **Methods 20th Ed.** | **Standard**  **Methods 21st Ed.** | **Standard**  **Methods Online** | **ASTM** | **AOAC** | **IDEXX** | **Hach** |
| MPN, Multiple  Tube |  |  | 9921B.1/ 9221F | 9921B.1/ 9221F |  |  |  |  |  |  |
| Multiple  tube/multiple well |  | 9223B | 9223B | 9223B | 9223B | 9223 B-97 |  | 991.15 | Colilert®,  Colilert-18 |  |
| MF two step | 1103.1 | 9213D | 9213D, 9222B/ 9222G | 9213D, 9222B/ 9222G |  |  | D5392-93 |  |  |  |
| MF Single Step | 1603, 1604 |  |  |  |  |  |  |  |  | m-ColiBlue 24 |

***Cryptosporidium* Methods**

|  |  |
| --- | --- |
| **Method** | **EPA** |
| Filtration / IMS / FA | 1622, 1623, 1623.1 |

**TurbidityMethods**

|  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **Method** | **EPA** | **Standard**  **Methods 18th Ed.** | **Standard**  **Methods**  **19th Ed.** | **Standard**  **Methods 20th Ed.** | **Standard**  **Methods 21st Ed.** | **Standard**  **Methods Online** | **Great Lakes Inst.** | **Hach** |
| Filter Track |  |  |  |  |  |  |  | 10133 Rev. 2.0 |
| Nephelometric | 180.1 Rev. 2.0 | 2130B | 2130B | 2130B | 2130B | 2130 B-01 |  |  |
| GLI Method |  |  |  |  |  |  | Method 2 |  |

Source: Approved Methods for the LT2 Enhanced Surface Water treatment Rule – Nation Primary Drinking Water Regulations, Rev. June 2008 (<http://www.epa.gov/safewater/methods/pdfs/methods/methods_lt2.pdf> )