
**Texas Commission on Environmental Quality**

P.O. Box 13087 Austin, Texas 78711-3087



GENERAL PERMIT TO DISCHARGE UNDER THE

TEXAS POLLUTANT DISCHARGE ELIMINATION SYSTEM

under provisions of Section 402 of the Clean Water Act

and Chapter 26 of the Texas Water Code

This permit supersedes and replaces

TPDES General Permit No. TXR050000, issued August 14, 2021.

Facilities that discharge stormwater associated with industrial activity located in the state of Texas may discharge to surface water in the state only according to effluent limitations, monitoring requirements and other conditions set forth in this general permit, as well as the rules of the Texas Commission on Environmental Quality (Commission), the laws of the State of Texas, and other orders of the Commission. The issuance of this general permit does not grant to the permittee(s) the right to use private or public property for conveyance of wastewater along the discharge route. This includes property belonging to but not limited to any individual, partnership, corporation or other entity. Neither does this general permit authorize any invasion of personal rights nor any violation of federal, state, or local laws or regulations. It is the responsibility of the permittee(s) to acquire property rights as may be necessary to use the discharge route.

This permit and the authorization contained herein shall expire at midnight on August 14, 2026.

EFFECTIVE DATE:

ISSUED DATE:

\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

For the Commission

Table of Contents

[Part I. DEFINITIONS 10](#_Toc160627582)

[Part II. PERMIT APPLICABILITY AND COVERAGE 17](#_Toc160627583)

[Section A. Discharges Eligible for Authorization by General Permit 17](#_Toc160627584)

[1. Industrial Activities Covered 17](#_Toc160627585)

[2. Miscellaneous Industrial Activities 82](#_Toc160627586)

[3. Co-located Industrial Activities 82](#_Toc160627587)

[4. Co-located Industrial Facilities 82](#_Toc160627588)

[5. Requirements for Military Installations and Other Publicly Owned Facilities 83](#_Toc160627589)

[6. Non-Stormwater Discharges 83](#_Toc160627590)

[Section B. Limitations on Permit Coverage 84](#_Toc160627591)

[1. Suspension or Revocation of Permit Coverage 84](#_Toc160627592)

[2. Discharges Authorized by Another TPDES Permit 84](#_Toc160627593)

[3. Stormwater Discharges from Construction Activity 85](#_Toc160627594)

[4. Exempt Oil and Gas Activities 85](#_Toc160627595)

[5. Stormwater Discharges from Salt Storage Piles 86](#_Toc160627596)

[6. Discharges of Stormwater Mixed with Non-Stormwater 86](#_Toc160627597)

[7. Compliance with Water Quality Standards 86](#_Toc160627598)

[8. Impaired Water Bodies and Total Maximum Daily Load (TMDL) Requirements 86](#_Toc160627599)

[9. Discharges to the Edwards Aquifer Recharge Zone 89](#_Toc160627600)

[10. Discharges to Specific Watersheds and Water Quality Areas 90](#_Toc160627601)

[11. Endangered Species Act 90](#_Toc160627602)

[12. Protection of Streams and Watersheds by Home-Rule Municipalities 90](#_Toc160627603)

[13. Facilities with No Discharge to Surface Water in the State 90](#_Toc160627604)

[14. Automatic Authorization for Certain Industrial Activities 91](#_Toc160627605)

[15. Transfer of Liability 91](#_Toc160627606)

[16. Force Majeure 91](#_Toc160627607)

[Section C. Obtaining Authorization to Discharge 92](#_Toc160627608)

[1. Conditional No Exposure Exclusion from Permit Requirements 92](#_Toc160627609)

[2. Application for Coverage 94](#_Toc160627610)

[3. Application Deadlines 94](#_Toc160627611)

[4. Stormwater Pollution Prevention Plan (SWP3) 95](#_Toc160627612)

[5. Contents of the Notice of Intent (NOI) 95](#_Toc160627613)

[6. Changes to Information Submitted 96](#_Toc160627614)

[7. Terminating Coverage 97](#_Toc160627615)

[8. Signatory Requirements 98](#_Toc160627616)

[9. Additional Notification 98](#_Toc160627617)

[10. Fees 98](#_Toc160627618)

[11. Permit Expiration 99](#_Toc160627619)

[Section D. Alternative Coverage Under an Individual TPDES Permit 99](#_Toc160627620)

[1. Individual Permit Alternative 99](#_Toc160627621)

[2. General Permit Alternative 99](#_Toc160627622)

[3. Individual Permit Required 99](#_Toc160627623)

[**Part III. PERMIT REQUIREMENTS AND CONDITIONS COMMON TO ALL COVERED INDUSTRIAL ACTIVITIES** 101](#_Toc160627624)

[Section A. General Stormwater Pollution Prevention Plan (SWP3) Requirements 101](#_Toc160627625)

[1. Implementation of SWP3 and Consistency with Other Plans 101](#_Toc160627626)

[2. Stormwater Pollution Prevention Team 102](#_Toc160627627)

[3. Description of Potential Pollutants and Sources 102](#_Toc160627628)

[4. Pollution Prevention Measures and Controls 105](#_Toc160627629)

[5. Additional Documentation Requirements 108](#_Toc160627630)

[6. SWP3 Review 109](#_Toc160627631)

[Section B. Periodic Inspections and Monitoring 109](#_Toc160627632)

[1. Inspection and Certification of Non-Stormwater Discharges 109](#_Toc160627633)

[2. Routine Facility Inspections 110](#_Toc160627634)

[3. Quarterly Visual Monitoring 111](#_Toc160627635)

[4. Water Quality Monitoring Requirements 112](#_Toc160627636)

[5. Annual Comprehensive Site Compliance Inspection 113](#_Toc160627637)

[6. Results of Inspections and Monitoring 115](#_Toc160627638)

[7. Exceptions to Periodic Inspections and Monitoring 115](#_Toc160627639)

[Section C. Numeric Effluent Limitations 115](#_Toc160627640)

[1. Numeric Limitations for Hazardous Metals 115](#_Toc160627641)

[2. Discharges Subject to Federal Categorical Guidelines 118](#_Toc160627642)

[Section D. General Monitoring and Records Requirements 119](#_Toc160627643)

[1. Qualifying Storm Events 119](#_Toc160627644)

[2. Representative Discharge Samples 120](#_Toc160627645)

[3. Monitoring Periods 121](#_Toc160627646)

[4. Exceptions to Monitoring Requirements 122](#_Toc160627647)

[5. Records Retention 123](#_Toc160627648)

[6. Monitoring and Inspection Documentation 123](#_Toc160627649)

[Section E. Standard Permit Conditions 124](#_Toc160627650)

[1. General Conditions 124](#_Toc160627651)

[2. Proper Operation and Maintenance 125](#_Toc160627652)

[3. Inspection and Entry Requirements 126](#_Toc160627653)

[4. Monitoring and Sampling 126](#_Toc160627654)

[5. Records Requirements 127](#_Toc160627655)

[6. Reporting Requirements 127](#_Toc160627656)

[7. Solid Waste 129](#_Toc160627657)

[Part IV. BENCHMARK MONITORING REQUIREMENTS 130](#_Toc160627658)

[Section A. Use of Benchmark Data 130](#_Toc160627659)

[1. Monitoring for Benchmark Parameters in Discharges 130](#_Toc160627660)

[2. Background Concentrations 131](#_Toc160627661)

[3. Investigations of Benchmark Value Exceedances 131](#_Toc160627662)

[4. Exception for Inactive and Unstaffed Sites 132](#_Toc160627663)

[5. Adverse Weather Conditions 132](#_Toc160627664)

[Section B. Benchmark Monitoring Requirements 132](#_Toc160627665)

[1. Monitoring Periods 132](#_Toc160627666)

[2. Reporting Requirements 133](#_Toc160627667)

[Part V. SPECIFIC REQUIREMENTS FOR INDUSTRIAL ACTIVITIES 134](#_Toc160627668)

[Section A. Sector A of Industrial Activity - Timber Products Facilities 134](#_Toc160627669)

[1. Description of Industrial Activity 134](#_Toc160627670)

[2. Definitions 134](#_Toc160627671)

[3. Limitations on Permit Coverage 135](#_Toc160627672)

[4. Authorized Non-Stormwater Discharges 135](#_Toc160627673)

[5. Description of Potential Pollutants and Sources 135](#_Toc160627674)

[6. Pollution Prevention Measures and Controls 136](#_Toc160627675)

[7. Numeric Effluent Limitations 136](#_Toc160627676)

[8. Benchmark Monitoring Requirements 137](#_Toc160627677)

[Section B. Sector B of Industrial Activity - Paper and Allied Products Manufacturing Facilities 137](#_Toc160627678)

[1. Description of Industrial Activity 137](#_Toc160627679)

[2. Benchmark Monitoring Requirements 138](#_Toc160627680)

[Section C. Sector C of Industrial Activity - Chemical and Allied Products Manufacturing Facilities 138](#_Toc160627681)

[1. Description of Industrial Activity 138](#_Toc160627682)

[2. Limitations on Permit Coverage 139](#_Toc160627683)

[3. Pollution Prevention Measures and Controls/Management of Runoff with Structural Controls 139](#_Toc160627684)

[4. Numeric Effluent Limitations 140](#_Toc160627685)

[5. Benchmark Monitoring Requirements 140](#_Toc160627686)

[Section D. Sector D of Industrial Activity - Asphalt Paving and Roofing Materials and Lubricant Manufacturing Facilities 141](#_Toc160627687)

[1. Description of Industrial Activity 141](#_Toc160627688)

[2. Limitations on Permit Coverage 141](#_Toc160627689)

[3. Pollution Prevention Measures and Controls 142](#_Toc160627690)

[4. Numeric Effluent Limitations 142](#_Toc160627691)

[5. Benchmark Monitoring Requirements 142](#_Toc160627692)

[Section E. Sector E of Industrial Activity - Glass, Clay, Cement Concrete, and Gypsum Product Manufacturing Facilities 143](#_Toc160627693)

[1. Description of Industrial Activity 143](#_Toc160627694)

[2. Non-Stormwater Discharges 143](#_Toc160627695)

[3. Pollution Prevention Measures and Controls 143](#_Toc160627696)

[4. Additional SWP3 Requirements 144](#_Toc160627697)

[5. Numeric Effluent Limitations 144](#_Toc160627698)

[6. Benchmark Monitoring Requirements 145](#_Toc160627699)

[Section F. Sector F of Industrial Activity - Primary Metals Facilities 145](#_Toc160627700)

[1. Description of Industrial Activity 145](#_Toc160627701)

[2. Description of Potential Pollutants and Sources 146](#_Toc160627702)

[3. Pollution Prevention Measures and Controls 146](#_Toc160627703)

[4. Benchmark Monitoring Requirements 146](#_Toc160627704)

[Section G. Sector G of Industrial Activity - Metal Mining (Ore Mining and Dressing) 147](#_Toc160627705)

[1. Description of Industrial Activity 147](#_Toc160627706)

[2. Covered Stormwater Discharges 147](#_Toc160627707)

[3. Definitions 149](#_Toc160627708)

[4. Limitations on Permit Coverage 149](#_Toc160627709)

[5. Additional SWP3 Requirements 150](#_Toc160627710)

[6. Benchmark Monitoring Requirements 151](#_Toc160627711)

[7. Termination of Permit Coverage 153](#_Toc160627712)

[Section H. Sector H of Industrial Activity - Coal Mines and Coal Mining Related Facilities 154](#_Toc160627713)

[1. Description of Industrial Activity 154](#_Toc160627714)

[2. Covered Stormwater Discharges 154](#_Toc160627715)

[3. Definitions 154](#_Toc160627716)

[4. Limitations on Permit Coverage 155](#_Toc160627717)

[5. Additional SWP3 Requirements 156](#_Toc160627718)

[6. Benchmark Monitoring Requirements 157](#_Toc160627719)

[7. Inactive and Unstaffed Sites 157](#_Toc160627720)

[8. Termination of Permit Coverage 158](#_Toc160627721)

[Section I. Sector I of Industrial Activity - Oil and Gas Extraction Facilities 159](#_Toc160627722)

[1. Description of Industrial Activity 159](#_Toc160627723)

[2. Covered Stormwater Discharges 159](#_Toc160627724)

[3. Limitations on Permit Coverage 159](#_Toc160627725)

[4. Additional SWP3 Requirements 160](#_Toc160627726)

[Section J. Sector J of Industrial Activity - Mineral Mining and Processing Facilities 161](#_Toc160627727)

[1. Description of Industrial Activity 161](#_Toc160627728)

[2. Covered Discharges 161](#_Toc160627729)

[3. Definitions 161](#_Toc160627730)

[4. Annual Comprehensive Site Compliance Evaluation 162](#_Toc160627731)

[5. Limitations on Permit Coverage 162](#_Toc160627732)

[6. Numeric Effluent Limitations 163](#_Toc160627733)

[7. Benchmark Monitoring Requirements 164](#_Toc160627734)

[8. Mining-Related Non-Stormwater Discharges 164](#_Toc160627735)

[9. Additional SWP3 Requirements 164](#_Toc160627736)

[10. Inactive and Unstaffed Sites – Monitoring Waivers 166](#_Toc160627737)

[11. Termination of Permit Coverage 166](#_Toc160627738)

[Section K. Sector K of Industrial Activity - Hazardous Waste Treatment, Storage, and Disposal Facilities 167](#_Toc160627739)

[1. Description of Industrial Activity 167](#_Toc160627740)

[2. Covered Stormwater Discharges 167](#_Toc160627741)

[3. Limitations on Permit Coverage 167](#_Toc160627742)

[4. Definitions 168](#_Toc160627743)

[5. Benchmark Monitoring Requirements 168](#_Toc160627744)

[Section L. Sector L of Industrial Activity - Landfills and Land Application Sites 169](#_Toc160627745)

[1. Description of Industrial Activity 169](#_Toc160627746)

[2. Definitions 169](#_Toc160627747)

[3. Covered Stormwater Discharges 171](#_Toc160627748)

[4. Limitations on Permit Coverage 171](#_Toc160627749)

[5. Additional SWP3 Requirements 171](#_Toc160627750)

[6. Benchmark Monitoring Requirements 173](#_Toc160627751)

[Section M. Sector M of Industrial Activity - Automobile Salvage Yards 173](#_Toc160627752)

[1. Description of Industrial Activity 173](#_Toc160627753)

[2. Additional SWP3 Requirements 173](#_Toc160627754)

[3. Benchmark Monitoring Requirements 174](#_Toc160627755)

[Section N. Sector N of Industrial Activity - Scrap and Waste Recycling Facilities 175](#_Toc160627756)

[1. Description of Industrial Activity 175](#_Toc160627757)

[2. Limitations on Permit Coverage 175](#_Toc160627758)

[3. Additional SWP3 Requirements 175](#_Toc160627759)

[4. Benchmark Monitoring Requirements 177](#_Toc160627760)

[Section O. Sector O of Industrial Activity - Steam Electric Generating Facilities 177](#_Toc160627761)

[1. Description of Industrial Activity 177](#_Toc160627762)

[2. Covered Stormwater Discharges 177](#_Toc160627763)

[3. Limitations on Permit Coverage 178](#_Toc160627764)

[4. Additional SWP3 Requirements 178](#_Toc160627765)

[5. Numeric Effluent Limitations 179](#_Toc160627766)

[6. Benchmark Monitoring Requirements 180](#_Toc160627767)

[Section P. Sector P of Industrial Activity - Land Transportation and Warehousing 180](#_Toc160627768)

[1. Description of Industrial Activity 180](#_Toc160627769)

[2. Covered Stormwater Discharges 181](#_Toc160627770)

[3. Limitations on Coverage 182](#_Toc160627771)

[4. Additional SWP3 Requirements 182](#_Toc160627772)

[Section Q. Sector Q of Industrial Activity - Water Transportation Facilities 183](#_Toc160627773)

[1. Description of Industrial Activity 183](#_Toc160627774)

[2. Covered Stormwater Discharges 184](#_Toc160627775)

[3. Limitations on Coverage 184](#_Toc160627776)

[4. Allowable Non-Stormwater Discharges 184](#_Toc160627777)

[5. Additional SWP3 Requirements. 185](#_Toc160627778)

[6. Benchmark Monitoring Requirements 186](#_Toc160627779)

[Section R. Sector R of Industrial Activity - Ship and Boat Building or Repair Yards 186](#_Toc160627780)

[1. Description of Industrial Activity 186](#_Toc160627781)

[2. Limitations on Coverage 187](#_Toc160627782)

[3. Allowable Non-Stormwater Discharge 187](#_Toc160627783)

[4. Additional SWP3 Requirements 187](#_Toc160627784)

[Section S. Sector S of Industrial Activity - Air Transportation Facilities 189](#_Toc160627785)

[1. Description of Industrial Activity 189](#_Toc160627786)

[2. Covered Stormwater Discharges 189](#_Toc160627787)

[3. Definitions 190](#_Toc160627788)

[4. Limitations on Permit Coverage 190](#_Toc160627789)

[5. Additional SWP3 Requirements 190](#_Toc160627790)

[6. Numeric Effluent Limitations 192](#_Toc160627791)

[7. Benchmark Monitoring Requirements 195](#_Toc160627792)

[Section T. Sector T of Industrial Activity - Treatment Works 196](#_Toc160627793)

[1. Description of Industrial Activity 196](#_Toc160627794)

[2. Covered Stormwater Discharges 196](#_Toc160627795)

[3. Limitations on Permit Coverage 196](#_Toc160627796)

[4. Additional SWP3 Requirements 196](#_Toc160627797)

[5. Benchmark Monitoring Requirements 197](#_Toc160627798)

[Section U. Sector U of Industrial Activity - Food and Kindred Products Facilities 197](#_Toc160627799)

[1. Description of Industrial Activity 197](#_Toc160627800)

[2. Limitations on Coverage 198](#_Toc160627801)

[3. Additional SWP3 Requirements 198](#_Toc160627802)

[4. Benchmark Monitoring Requirements 198](#_Toc160627803)

[Section V. Sector V of Industrial Activity - Textile Mills, Apparel, and Other Fabric Product Manufacturing Facilities 199](#_Toc160627804)

[1. Description of Industrial Activity 199](#_Toc160627805)

[2. Limitations on Coverage 199](#_Toc160627806)

[3. Additional SWP3 Requirements 199](#_Toc160627807)

[Section W. Sector W of Industrial Activity - Wood and Metal Furniture and Fixture Manufacturing Facilities 200](#_Toc160627808)

[1. Description of Industrial Activity 200](#_Toc160627809)

[Section X. Sector X of Industrial Activity - Printing and Publishing Facilities 201](#_Toc160627810)

[1. Description of Industrial Activity 201](#_Toc160627811)

[2. Covered Stormwater Discharges 201](#_Toc160627812)

[3. Additional SWP3 Requirements 201](#_Toc160627813)

[Section Y. Sector Y of Industrial Activity - Rubber and Miscellaneous Plastic Products, and Miscellaneous Manufacturing Facilities 202](#_Toc160627814)

[1. Description of Industrial Activity 202](#_Toc160627815)

[2. Additional SWP3 Requirements 203](#_Toc160627816)

[3. Benchmark Monitoring Requirements 204](#_Toc160627817)

[Section Z. Sector Z of Industrial Activity - Leather Tanning and Finishing Facilities 204](#_Toc160627818)

[1. Description of Industrial Activity 204](#_Toc160627819)

[2. Additional SWP3 Requirements 204](#_Toc160627820)

[Section AA. Sector AA of Industrial Activity - Fabricated Metal Products Facilities 205](#_Toc160627821)

[1. Description of Industrial Activity 205](#_Toc160627822)

[2. Pollution Prevention Measures and Controls 205](#_Toc160627823)

[3. Benchmark Monitoring Requirements 207](#_Toc160627824)

[Section AB. Sector AB of Industrial Activity - Transportation Equipment and Industrial or Commercial Machinery Manufacturing Facilities 207](#_Toc160627825)

[1. Description of Industrial Activity 207](#_Toc160627826)

[2. Additional SWP3 Requirements 207](#_Toc160627827)

[Section AC. Sector AC of Industrial Activity – Electronic and Electrical Equipment/ Components, and Photographic/ Optical Goods Manufacturing Facilities 208](#_Toc160627828)

[1. Description of Industrial Activity 208](#_Toc160627829)

[Section AD. Sector AD of Industrial Activity - Miscellaneous Industrial Activities 208](#_Toc160627830)

[1. Description of Industrial Activity 208](#_Toc160627831)

[2. Limitations on Permit Coverage 208](#_Toc160627832)

[3. SWP3 and Other Requirements 209](#_Toc160627833)

[4. Co-located Activities 209](#_Toc160627834)

[5. Benchmark Monitoring Requirements 209](#_Toc160627835)

# ****DEFINITIONS****

All definitions in the Texas Water Code (TWC) §26.001 and Title 30 Texas Administrative Code (TAC) Chapter 305 apply to this permit and are incorporated by reference. Some specific definitions of words or phrases used in this permit are as follows:

**Arid Areas**. Areas with an average annual rainfall of less than ten (10) inches.

**Benchmark.** A benchmark pollutant concentration is a guidance level indicator that helps determine the effectiveness of chosen best management practices (BMPs). This type of monitoring differs from “compliance monitoring” in that exceedances of the indicator or benchmark level are not permit violations, but rather indicators that can help identify problems at the site with exposed or unidentified pollutant sources; or control measures that are either not working correctly, whose effectiveness need to be re-considered, or who need to be supplemented with additional BMP(s).

**Best Management Practices (BMPs).** Schedules of activities, prohibitions of practices, maintenance procedures, and other techniques to control, prevent or reduce the discharge of pollutants. BMPs also include treatment requirements, operating procedures, and practices to control site runoff, spills or leaks, sludge or waste disposal, or drainage from raw material storage areas.

**Co-located Industrial Activities.** Industrial activities conducted at a facility that are described by two or more SIC codes listed in this general permit.

**Co-located Industrial Facilities.** Industrial facilities, having different operators, that are located on a common property or adjoining property and that conduct industrial activities described by one or more Sectors of this general permit.

**Composite Sample.** A sample made up of a minimum of three effluent portions collected in a continuous 24-hour period or during the period of daily discharge if less than 24 hours, combined in volumes proportional to flow, and collected at the intervals required by 30 TAC §319.9 (b).

**Construction Activity.** Includes soil disturbance activities, including clearing, grading, and excavating; and does not include routine maintenance that is performed to maintain the original line and grade, hydraulic capacity, or original purpose of the site (e.g., the routine grading of existing dirt roads, asphalt overlays of existing roads, the routine clearing of existing right-of-ways, and similar maintenance activities). Regulated construction activity is defined in terms of small and large construction activity.

* **Small Construction Activity** is construction activity that results in land disturbance of equal to or greater than one (1) acre and less than five (5) acres of land. Small construction activity also includes the disturbance of less than one (1) acre of total land area that is part of a larger common plan of development or sale if the larger common plan will ultimately disturb equal to or greater than one (1) and less than five (5) acres of land.
* **Large Construction Activity** is construction activity that results in land disturbance of equal to or greater than five (5) acres of land. Large construction activity also includes the disturbance of less than five (5) acres of total land area that is part of a larger common plan of development or sale if the larger common plan will ultimately disturb equal to or greater than five (5) acres of land.

**Control Measure.** Any BMP, including structural and non-structural controls, or other method (including effluent limitations) used to prevent or reduce the discharge of pollutants to water in the state.

**Daily Average Concentration.** The arithmetic average of all effluent samples, composite or grab as required by this permit, within a period of one calendar month, consisting of at least four separate representative measurements. When four samples are not available in a calendar month, the arithmetic average (weighted by flow) of all values taken during the month must be used as the daily average concentration.

**Daily Maximum Concentration.** The maximum concentration measured on a single day, as determined by laboratory analysis of a grab sample or a composite sample.

**Diffuse Point Source.** A conveyance from which pollutants are or may be discharged that results from grading land for the purpose of adding parking lots, roads, and buildings so as to collect and convey stormwater off-site to prevent flooding (i.e., without a single point of origin or not introduced into a receiving stream from a specific outlet). Diffuse point sources include any identifiable conveyance from which pollutants might enter surface water in the state. By changing the surface or establishing grading patterns of the land, runoff is conveyed along the resulting drainage or grading patterns. A diffuse point source is not true sheet flow.

**Discharge.** For the purpose of this permit, the drainage, release, or disposal of stormwater associated with industrial activity and certain allowable non-stormwater sources listed in this general permit to surface water in the state.

**Drought.** For the purpose of this permit, an extended period of no precipitation in which a stormwater discharge does not occur during a monitoring or reporting period.

**Edwards Aquifer.** As defined under 30 TAC §213.3 (relating to the Edwards Aquifer), that portion of an arcuate belt of porous, waterbearing, predominantly carbonate rocks known as the Edwards (Balcones Fault Zone) Aquifer trending from west to east to northeast in Kinney, Uvalde, Medina, Bexar, Comal, Hays, Travis, and Williamson Counties; and composed of the Salmon Peak Limestone, McKnight Formation, West Nueces Formation, Devil's River Limestone, Person Formation, Kainer Formation, Edwards Group, and Georgetown Formation. The permeable aquifer units generally overlie the less-permeable Glen Rose Formation to the south, overlie the less-permeable Comanche Peak and Walnut formations north of the Colorado River, and underlie the less-permeable Del Rio Clay regionally.

**Edwards Aquifer Recharge Zone.** As defined under 30 TAC §213.3, generally, that area where the stratigraphic units constituting the Edwards Aquifer crop out, including the outcrops of other geologic formations in proximity to the Edwards Aquifer, where caves, sinkholes, faults, fractures, or other permeable features would create a potential for recharge of surface waters into the Edwards Aquifer. The recharge zone is identified as that area designated as such on official maps located in the offices of the TCEQ and the appropriate underground water conservation district.

**Existing Discharge.** For the purpose of this permit, this term applies to the discharge of stormwater associated with industrial activity and certain allowable non-stormwater sources listed in this general permit that has been authorized previously under a National Pollutant Discharge Elimination System (NPDES) or Texas Pollutant Discharge Elimination System (TPDES) general or individual permit.

**Facility.** For the purpose of this permit, all contiguous land and fixtures (including ponds and lagoons), structures, or appurtenances used at an industrial facility described by one or more of Sectors A through AD of this general permit.

**Grab Sample.** An individual sample collected in less than 15 minutes.

**General Permit.** A permit issued to authorize the discharge of waste into or adjacent to water in the state for one or more categories of waste discharge within a geographical area of the state or the entire state as provided by TWC §26.040.

**Hyperchlorinated Water.** Water resulting from hyperchlorination of waterlines or vessels, with a chlorine concentration greater than 10 milligrams per liter (mg/L).

**Hyperchlorination of Waterlines or Vessels.** Treatment of potable water lines or tanks with chlorine for disinfection purposes, typically following repair or partial replacement of the waterline or tank, and subsequently flushing the contents.

**Impaired Water.** For the purposes of this permit, water bodies identified as impaired on the latest approved Clean Water Act (CWA) Section 303(d) List, or waters with an EPA-approved or established total maximum daily load (TMDL) that are found on the latest EPA approved Texas Integrated Report of Surface Water Quality for CWA Sections 305(b) and 303(d) as not meeting applicable Texas Surface Water Quality Standards.

**Inactive Industrial Facilities.** A facility where all industrial activities that are described in Part II, Section A.1. of this permit are suspended, and authorization under this general permit is required to be maintained. Also see Sector-specific definitions for Inactive facilities in Part V, Sections G, H, J, and L of this general permit.

**Industrial Activity.** Any of the ten (10) categories of industrial activities included in the definition of “stormwater discharges associated with industrial activity” as defined in Title 40 Code of Federal Regulations (CFR) §122.26(b)(14)(i)-(ix) and (xi). Categories of industrial activities are subdivided into 30 industrial Sectors.

**Infeasible.** For the purpose of this permit, infeasible means not technologically possible or not economically practicable and achievable in light of best industry practices. The TCEQ notes that it does not intend for any MSGP permit requirement to conflict with state water right laws.

**Inland Waters.** All surface water in the state other than those defined as tidal waters in 30 TAC §307.3.

**Minimize.** For the purposes of this permit, minimize means to reduce and/or eliminate to the extent achievable using control measures that are technologically available and economically practicable and achievable in light of best industry practices.

**Municipal Separate Storm Sewer System (MS4).** A conveyance or system of conveyances (including roads with drainage systems, municipal streets, catch basins, curbs, gutters, ditches, man-made channels, or storm drains):

1. owned or operated by the United States , a state, city, town, borough, county, parish, district, association, or other public body (created by or pursuant to state law) having jurisdiction over the disposal of sewage, industrial wastes, stormwater, or other wastes, including special districts under state law such as a sewer district, flood control district or drainage district, or similar entity, or an Indian tribe or an authorized Indian tribal organization, or a designated and approved management agency under CWA Section 208 that discharges to surface water in the state;
2. that is designed or used for collecting or conveying stormwater;
3. that is not a combined sewer; and
4. that is not part of a publicly owned treatment works (POTW) as defined in 40 CFR §122.2.

**NAICS –** North American Industry Classification System

**National Pollutant Discharge Elimination System (NPDES)** (from 40 CFR §122.2). The national program for issuing, modifying, revoking and reissuing, terminating, monitoring and enforcing permits, and imposing and enforcing pretreatment requirements, under CWA Sections 307, 402, 318, and 405. The term includes an "approved program."

**New Discharge**. For the purpose of this permit, this term applies to the discharge of stormwater associated with industrial activity that did not commence prior to August 13, 1979, that is not a new source, and that has never received an NPDES or TPDES water quality permit for the stormwater discharge from the site. *See* 40 CFR §122.2.

**Non-structural Controls.** Pollution prevention methods that are not physically constructed, including BMPs used to prevent or reduce the discharge of pollutants.

**No Exposure.** A condition at an industrial facility where all industrial materials and activities are protected by a storm-resistant shelter to prevent exposure to rain, snow, snowmelt, and/or runoff. Industrial materials or activities include, but are not limited to, material handling equipment or activities, industrial machinery, raw materials, intermediate products, by-products, final products, or waste products. Material handling activities include the storage, loading and unloading, transportation, or conveyance of any raw material, intermediate product, final product or waste product.

**No Exposure Certification (NEC).** A written submission to the executive director from an applicant notifying that they intend to obtain a conditional exclusion from permit requirements by certifying that there is no exposure of industrial materials or activities to rain, snow, snowmelt, or stormwater runoff.

**Notice of Change (NOC).** Written notification from the permittee to the executive director providing changes to information that was previously provided to the agency in a notice of intent or no exposure certification (NEC) form.

**Notice of Intent (NOI).** A written submission to the executive director from an applicant requesting coverage under this general permit.

**Notice of Termination (NOT).** A written submission to the executive director from a discharger authorized under a general permit requesting termination of coverage.

**Operator.** A person responsible for the management of an industrial facility subject to the provisions of this general permit. Industrial facility operators include entities with operational control over industrial activities, including the ability to modify those activities; or entities with day-to-day operational control of activities at a facility necessary to ensure compliance with the permit (e.g., the entity is authorized to direct workers at a facility to carry out activities required by the permit).

**Outfall.** For the purpose of this permit, a point source at the point where stormwater runoff associated with industrial activity, and certain non-stormwater discharges listed in this permit, exits the facility and discharge(s) to surface water in the state or a municipal or private separate storm sewer system. An outfall from a diffuse point source includes the point or points where the diffuse point source discharges to surface water in the state or a municipal or private separate storm sewer system.

**Permittee.** An operator authorized under this general permit to discharge stormwater runoff associated with industrial activity and certain non-stormwater discharges to surface water in the state.

**Point Source.** Any discernible, confined, and discrete conveyance, including but not limited to, any pipe, ditch, channel, tunnel, conduit, well, discrete fissure, container, rolling stock, concentrated animal feeding operation, landfill leachate collection system, vessel or other floating craft from which pollutants are or may be discharged. This term does not include return flows from irrigated agriculture or agricultural stormwater runoff. For the purpose of this permit, a point source includes any identifiable conveyance from which pollutants might enter surface water in the state, including a diffuse point source as defined in this section.

**Pollutant.** (from TWC §26.001(13)) Dredged spoil, solid waste, incinerator residue, sewage, garbage, sewage sludge, filter backwash, munitions, chemical wastes, biological materials, radioactive materials, heat, wrecked or discarded equipment, rock, sand, cellar dirt, and industrial, municipal, and agricultural waste discharged into any water in the state. The term: (A) includes: (i) tail water or runoff water from irrigation associated with an animal feeding operation or concentrated animal feeding operation that is located in a major sole source impairment zone as defined by TWC §26.502; or (ii) rainwater runoff from the confinement area of an animal feeding operation or concentrated animal feeding operation that is located in a major sole source impairment zone, as defined by TWC §26.502; and (B) does not include tail water or runoff water from irrigation or rainwater runoff from other cultivated or uncultivated rangeland, pastureland, and farmland or rainwater runoff from an area of land located in a major sole source impairment zone, as defined by TWC §26.502, that is not owned or controlled by an operator of an animal feeding operation or concentrated animal feeding operation on which agricultural waste is applied.

**Pollutant of Concern (POC).** For the purpose of this permit, a pollutant of concern (POC) includes biochemical oxygen demand (BOD), sediment, or a parameter that addresses sediment (such as total suspended solids (TSS), turbidity, or siltation), pathogens, oil and grease, and any pollutant that has been identified as a cause of impairment of any water body that will receive a discharge from an MS4 (*See* 40 CFR § 122.32(e)(3)).

**Qualified Personnel.** A person or persons who are knowledgeable of the requirements of this general permit, familiar with the industrial facility, knowledgeable of the stormwater pollution prevention plan (SWP3) at the industrial facility, able to assess conditions and activities that could impact stormwater quality at the facility, and able to evaluate the effectiveness of control measures.

**Reportable Quantity Spill or Release.** A discharge or spill of oil, petroleum product, used oil, industrial solid waste, hazardous substances including mixtures, streams, or solutions, or other substances into the environment in a quantity equal to or greater than the reportable quantity listed in 30 TAC §327.4 (relating to Reportable Quantities) in any 24-hour period and subject to 30 TAC §327.3 (relating to Notification Requirements).

**Semiarid Areas.** Areas with an average annual rainfall of at least ten inches but less than 20 inches.

**Separate storm sewer system.** A conveyance or system of conveyances (including roads with drainage systems, streets, catch basins, curbs, gutters, ditches, man-made channels, or storm drains), designed or used for collecting or conveying stormwater; that is not a combined sewer, and that is not part of a publicly owned treatment works (POTW).

**Sheet Flow.** An overland flow or downslope movement of water taking the form of a thin, continuous film over relatively smooth soil or rock surfaces that have not been changed or graded, where there are no defined channels, and the flood water spreads out over a large area at a uniform depth. This definition does not include changing the surface of land or establishing grading patterns on land where a facility described in this permit is located, which would result in a point source as defined in this permit.

**Significant Materials.** Including, but not limited to: raw materials; fuels; materials (e.g., solvents, detergents, and plastic pellets); final products that are not designed for outdoor use; raw materials that are used for food processing or production; hazardous substances designated under Comprehensive Environmental Response Compensation and Liability Act (CERCLA) §101(14) of; any chemical the operator is required to report pursuant to Emergency Planning & Community Right-To-Know Act (EPCRA) §313, also known as Title III of Superfund Amendments and Reauthorization Act (SARA); fertilizers; pesticides; and waste products such as ashes, slag and sludge that have the potential to be released with stormwater discharges.

**Standard Industrial Classification (SIC) Code.** A four (4) digit code created by the U.S. Office of Management & Budget for statistical classification purposes that describes an industrial activity that takes place at a facility or site. It is possible for a facility or site to have multiple SIC codes depending on the varying activities that take place.

* **Primary SIC Code - (also known as “Site SIC Code” or “Facility SIC Code”).** For the purpose of this permit, an SIC code that describes the principal product or group of products produced or distributed at a facility, or that describes services rendered. The primary SIC code may be determined based on the value of receipts or revenues or, if such information is not available for a particular facility, the number of employees or production rate for each process may be compared. The operation that generates the most revenue or employs the most personnel is the operation in which the facility is primarily engaged. In situations where the vast majority of on-site activity falls within one SIC code, that activity may be the primary SIC code.
* **Secondary SIC Code.** For the purpose of this permit, an SIC code that describes an industrial activity that is performed at a regulated facility or site that is in addition to the primary SIC code. Determining the secondary industrial activity that occurs at a facility or site is accomplished by using the same criteria as determining the primary industrial activity at the facility (e.g., production value, receipts, employment).

**Storm Resistant Shelter.** A building or structure that is completely roofed and walled, or a structure with only a top cover but no side coverings, provided that any material or industrial activity located under or within the structure is not subject to any run-on and subsequent runoff of stormwater, or mobilization by wind.

**Stormwater and Stormwater Runoff.** Rainfall runoff, snowmelt runoff, and surface runoff and drainage.

**Stormwater Discharge Associated with Industrial Activity.** The discharge from any conveyance that is used for collecting and conveying stormwater and that is directly related to manufacturing, processing or raw materials storage areas at an industrial facility. For the purpose of this general permit, the term includes, but is not limited to, stormwater discharges from industrial plant yards; immediate access roads and rail lines used or traveled by carriers of raw materials, manufactured products, waste material, or by-products used or created by the facility; material handling areas; refuse/waste disposal areas; sites used for the application or disposal of process wastewaters; sites used for the storage and maintenance of material handling equipment; sites used for residual treatment, storage, or disposal; shipping and receiving areas; manufacturing buildings; storage areas (including tank farms), intermediate products, and final products; similar areas where stormwater can contact pollutants related to industrial activity; and areas where industrial activity have taken place in the past and significant materials remain and are exposed to stormwater. For the purposes of this definition, materials handling areas include storage, loading and unloading, transportation, or conveyance of any raw material, intermediate product, final product, by-product or waste product. The term excludes areas located at industrial sites that are separate from the facility’s industrial activities, such as office buildings and accompanying parking lots, as long as the drainage from the excluded areas is not mixed with stormwater drained from areas of a facility that are covered by this general permit. This term includes discharges from facilities described under this general permit that are operated by federal, state, or municipal entities. For the complete regulatory definition, including the categories of industrial activity, *see* 40 CFR §122.26(b)(14).

**Structural Controls.** Physical or constructed features, such as silt fencing, sediment traps, and detention/retention ponds that prevent or reduce the discharge of pollutants.

**Surface Water in the State.** Lakes, bays, ponds, impounding reservoirs, springs, rivers, streams, creeks, estuaries, wetlands, marshes, inlets, canals, the Gulf of Mexico inside the territorial limits of the state (from the mean high water mark (MHWM) out 10.36 miles into the Gulf), and all other bodies of surface water, natural or artificial, inland or coastal, fresh or salt, navigable or non-navigable, and including the beds and banks of all water-courses and bodies of surface water, that are wholly or partially inside or bordering the state or subject to the jurisdiction of the state; except that waters in treatment systems that are authorized by state or federal law, regulation, or permit, and that are created for the purpose of waste treatment are not considered to be water in the state.

**Texas Pollutant Discharge Elimination System (TPDES).** The state program for issuing, amending, terminating, monitoring, and enforcing permits, and imposing and enforcing pretreatment requirements, under the CWA Sections 307, 402, 318 and 405, TWC, and TAC regulations.

**Tidal Waters.** Descriptive of coastal waters that are subject to the ebb and flow of tides. For purposes of standards applicability, tidal waters are considered to be saltwater. Classified tidal waters include all bays and estuaries with a segment number that begins with 24xx, all streams with the word tidal in the segment name, and the Gulf of Mexico.

**Total Maximum Daily Load (TMDL).** The total amount of a pollutant that a water body can assimilate and still meet the Texas Surface Water Quality Standards (30 TAC Chapter 307).

**Waters of the United States.** Waters of the United States or waters of the U.S. means the term as defined in 40 CFR §122.2.

# 

# ****PERMIT APPLICABILITY AND COVERAGE****

This general permit provides authorization for point source discharges of stormwater associated with industrial activity and certain non-stormwater discharges to surface water in the state (including direct discharges to surface water in the state and discharges to municipal separate storm sewer systems, or MS4s). The permit contains effluent limitations and requirements applicable to all industrial activities that are eligible for coverage under this general permit. Industrial activities are subdivided into 30 industrial Sectors.

This permit does not cover return flows from irrigated agriculture or agricultural runoff.

## Discharges Eligible for Authorization by General Permit

### ****Industrial Activities Covered****

1. Need for a Permit. If any of the following criteria are met, a facility must have authorization for stormwater discharges and may obtain authorization under this general permit, if coverage is not otherwise prohibited:
   1. The Standard Industrial Classification (SIC) code that describes the facility (i.e., the primary SIC code) is listed in Part II, Section A.1.b. below and in Part V of this general permit; or
   2. The facility conducts an activity described by one or more Industrial Activity Codes described in Sectors K, L, O, or T (as listed in Part II, Section A.1.b. below and in Part V., Sections K, L, O, and T of this general permit); or
   3. Stormwater discharges from the facility are subject to federal categorical effluent limitations for stormwater in Title 40 CFR Subchapter N, Parts 400-471 (See Sectors A, C, D, E, I, J, O, and S in Part V of this general permit), or
   4. The facility has been designated by the executive director as requiring coverage under Sector AD.

The requirements for publicly owned facilities are further described below in Part II, Section A.5. of this general permit.

1. Regulated SIC Codes and Industrial Activity Codes (Industrial Sectors)

Industrial activities are grouped into 30 sectors of similar activities based on either SIC codes or Industrial Activity Codes.

**SECTOR A: TIMBER PRODUCTS**

| **SIC Code** | **SIC Code Description** | **2017 NAICS Code** | **NAICS Code Description** |
| --- | --- | --- | --- |
| 2411 | Logging | 113310 | Logging |
| 2421 | General Sawmills and Planing Mills | 321113 | Sawmills |
| 321912 | Cut Stock, Resawing Lumber, and Planing |
| 321918 | Other Millwork (including Flooring) |
| 321920 | Wood Container and Pallet Manufacturing |
| 321999 | All Other Miscellaneous Wood Product Manufacturing |
| 2426 | Hardwood Dimension and Flooring Mills | 321113 | Sawmills |
| 321912 | Cut Stock, Resawing Lumber, and Planing |
| 321918 | Other Millwork (including Flooring) |
| 337215 | Showcase, Partition, Shelving, and Locker Manufacturing |
| 2429 | Special Product Sawmills, Not Elsewhere Classified | 321113 | Sawmills |
| 321920 | Wood Container and Pallet Manufacturing |
| 321999 | All Other Miscellaneous Wood Product Manufacturing |
| 2431 | Millwork | 321911 | Wood Window and Door Manufacturing |
| 321918 | Other Millwork (including Flooring) |
| 2435 | Hardwood Veneer and Plywood | 321211 | Hardwood Veneer and Plywood Manufacturing |
| 2436 | Softwood Veneer and Plywood | 321212 | Softwood Veneer and Plywood Manufacturing |
| 2439 | Structural Wood Members, Not Elsewhere Classified | 321213 | Engineered Wood Member (except Truss) Manufacturing |
| 321214 | Truss Manufacturing |
| 2441 | Nailed and Lock Corner Wood Boxes and Shook | 321920 | Wood Container and Pallet Manufacturing |
| 2448 | Wood Pallets and Skids | 321920 | Wood Container and Pallet Manufacturing |
| 2449 | Wood Containers, Not Elsewhere Classified | 321920 | Wood Container and Pallet Manufacturing |
| 2451 | Mobile Homes | 321991 | Manufactured Home (Mobile Home) Manufacturing |
| 2452 | Prefabricated Wood Buildings and Components | 321992 | Prefabricated Wood Building Manufacturing |
| 2491 | Wood Preserving | 321114 | Wood Preservation |
| 2493 | Reconstituted Wood Products | 321219 | Reconstituted Wood Product Manufacturing |
| 2499 | Wood Products, Not Elsewhere Classified | 321920 | Wood Container and Pallet Manufacturing |
| 321999 | All Other Miscellaneous Wood Product Manufacturing |
| 333415 | Air-Conditioning and Warm Air Heating Equipment and Commercial and Industrial Refrigeration Equipment Manufacturing |
| 337125 | Household Furniture (except Wood and Metal) Manufacturing |
| 339113 | Surgical Appliance and Supplies Manufacturing |
| 339999 | All Other Miscellaneous Manufacturing |

**SECTOR B: PAPER AND ALLIED PRODUCTS**

| **SIC Code** | **SIC Code Description** | **2017 NAICS Code** | **NAICS Code Description** |
| --- | --- | --- | --- |
| 2611 | Pulp Mills | 322110 | Pulp Mills |
| 322121 | Paper (except Newsprint) Mills |
| 322122 | Newsprint Mills |
| 322130 | Paperboard Mills |
| 2621 | Paper Mills | 322121 | Paper (except Newsprint) Mills |
| 322122 | Newsprint Mills |
| 2631 | Paperboard Mills | 322130 | Paperboard Mills |
| 2652 | Setup Paperboard Boxes | 322219 | Other Paperboard Container Manufacturing |
| 2653 | Corrugated and Solid Fiber Boxes | 322211 | Corrugated and Solid Fiber Box Manufacturing |
| 2655 | Fiber Cans, Tubes, Drums, and Similar Products | 322219 | Other Paperboard Container Manufacturing |
| 2656 | Sanitary Food Containers, Except Folding | 322219 | Other Paperboard Container Manufacturing |
| 2657 | Folding Paperboard Boxes, Including Sanitary | 322212 | Folding Paperboard Box Manufacturing |
| 2671 | Packaging Paper and Plastics Film, Coated and Laminated | 322220 | Paper Bag and Coated and Treated Paper Manufacturing |
| 326112 | Plastics Packaging Film and Sheet (including Laminated) Manufacturing |
| 2672 | Coated and Laminated Paper, Not Elsewhere Classified | 322220 | Paper Bag and Coated and Treated Paper Manufacturing |
| 2673 | Plastics, Foil, and Coated Paper Bags | 322220 | Paper Bag and Coated and Treated Paper Manufacturing |
| 326111 | Plastics Bag and Pouch Manufacturing |
| 2674 | Uncoated Paper and Multiwall Bags | 322220 | Paper Bag and Coated and Treated Paper Manufacturing |
| 2675 | Die-Cut Paper and Paperboard and Cardboard | 32222o | Paper Bag and Coated and Treated Paper Manufacturing |
| 322230 | Stationery Product Manufacturing |
| 322299 | All Other Converted Paper Product Manufacturing |
| 2676 | Sanitary Paper Products | 322291 | Sanitary Paper Product Manufacturing |
| 2677 | Envelopes | 322230 | Stationery Product Manufacturing |
| 2678 | Stationery, Tablets, and Related Products | 322230 | Stationery Product Manufacturing |
| 2679 | Converted Paper and Paperboard Products, Not Elsewhere Classified | 322211 | Corrugated and Solid Fiber Box Manufacturing |
| 322220 | Paper Bag and Coated and Treated Paper Manufacturing |
| 322230 | Stationery Product Manufacturing |
| 322299 | All Other Converted Paper Product Manufacturing |

**SECTOR C: CHEMICAL AND ALLIED PRODUCTS**

| **SIC Code** | **SIC Code Description** | **2017 NAICS Code** | **NAICS Code Description** |
| --- | --- | --- | --- |
| 2812 | Alkalies and Chlorine | 325180 | Other Basic Inorganic Chemical Manufacturing |
| 2813 | Industrial Gases | 325120 | Industrial Gas Manufacturing |
| 2816 | Inorganic Pigments | 325130 | Synthetic Dye and Pigment Manufacturing |
| 325180 | Other Basic Inorganic Chemical Manufacturing |
| 2821 | Plastics Materials, Synthetic Resins, and Nonvulcanizable Elastomers | 325211 | Plastics Material and Resin Manufacturing |
| 2822 | Synthetic Rubber (Vulcanizable Elastomers) | 325212 | Synthetic Rubber Manufacturing |
| 2823 | Cellulosic Manmade Fibers | 325220 | Artificial and Synthetic Fibers and Filaments Manufacturing |
| 2824 | Manmade Organic Fibers, Except Cellulosic | 325220 | Artificial and Synthetic Fibers and Filaments Manufacturing |
| 2833 | Medicinal Chemicals and Botanical Products | 325411 | Medicinal and Botanical Manufacturing |
| 2834 | Pharmaceutical Preparations | 325412 | Pharmaceutical Preparation Manufacturing |
| 2835 | In Vitro and In Vivo Diagnostic Substances | 325412 | Pharmaceutical Preparation Manufacturing |
| 325413 | In Vitro Diagnostic Substance Manufacturing |
| 2836 | Biological Products, Except Diagnostic Substances | 325414 | Biological Product (except Diagnostic) Manufacturing |
| 2841 | Soap and Other Detergents, Except Specialty Cleaners | 325611 | Soap and Other Detergent Manufacturing |
| 2842 | Specialty Cleaning, Polishing, and Sanitation Preparations | 325612 | Polish and Other Sanitation Good Manufacturing |
| 2843 | Surface Active Agents, Finishing Agents, Sulfonated Oils, and Assistants | 325613 | Surface Active Agent Manufacturing |
| 2844 | Perfumes, Cosmetics, and Other Toilet Preparations | 325611 | Soap and Other Detergent Manufacturing |
| 325620 | Toilet Preparation Manufacturing |
| 2851 | Paints, Varnishes, Lacquers, Enamels, and Allied Products | 325510 | Paint and Coating Manufacturing |
| 2861 | Gum and Wood Chemicals | 325194 | Cyclic Crude, Intermediate, and Gum and Wood Chemical Manufacturing |
| 2865 | Cyclic Organic Crudes and Intermediates, and Organic Dyes and Pigments | 325110 | Petrochemical Manufacturing |
| 325130 | Synthetic Dye and Pigment Manufacturing |
| 325194 | Cyclic Crude, Intermediate, and Gum and Wood Chemical Manufacturing |
| 2869 | Industrial Organic Chemicals, Not Elsewhere Classified | 325110 | Petrochemical Manufacturing |
| 325120 | Industrial Gas Manufacturing |
| 325180 | Other Basic Inorganic Chemical Manufacturing |
| 325193 | Ethyl Alcohol Manufacturing |
| 325194 | Cyclic Crude, Intermediate, and Gum and Wood Chemical Manufacturing |
| 325199 | All Other Basic Organic Chemical Manufacturing |
| 325998 | All Other Miscellaneous Chemical Product and Preparation Manufacturing |
| 2873 | Nitrogenous Fertilizers | 325311 | Nitrogenous Fertilizer Manufacturing |
| 2874 | Phosphatic Fertilizers | 325312 | Phosphatic Fertilizer Manufacturing |
| 2875 | Fertilizers, Mixing Only | 325314 | Fertilizer (Mixing Only) Manufacturing |
| 2879 | Pesticides and Agricultural Chemicals, Not Elsewhere Classified | 325320 | Pesticides and Other Agricultural Chemical Manufacturing |
| 2891 | Adhesives and Sealants | 325520 | Adhesive Manufacturing |
| 2892 | Explosives | 325920 | Explosives Manufacturing |
| 2893 | Printing Ink | 325910 | Printing Ink Manufacturing |
| 2895 | Carbon Black | 325180 | Other Basic Inorganic Chemical Manufacturing |
| 2899 | Chemicals and Chemical Preparations, Not Elsewhere Classified | 311942 | Spice and Extract Manufacturing |
| 325199 | All Other Basic Organic Chemical Manufacturing |
| 325510 | Paint and Coating Manufacturing |
| 325998 | All Other Miscellaneous Chemical Product and Preparation Manufacturing |
| 2911 | Petroleum Refining | 324110 | Petroleum Refineries |
| 3952 | Limited to List of Inks and Paints including: China Painting Enamels, India Ink, Drawing Ink, Platinum Paints for Burnt Wood or Leather Work, Paints for China Painting; Artist’s Paints, and Artist’s Watercolors | 325998 | All Other Miscellaneous Chemical Product and Preparation Manufacturing |
| 339940 | Office Supplies (except Paper) Manufacturing |

**SECTOR D: ASPHALT PAVING AND ROOFING MATERIALS AND LUBRICANTS**

| **SIC Code** | **SIC Code Description** | **2017 NAICS Code** | **NAICS Code Description** |
| --- | --- | --- | --- |
| 2951 | Asphalt Paving Mixtures and Blocks | 324121 | Asphalt Paving Mixture and Block Manufacturing |
| 2952 | Asphalt Felts and Coatings | 324122 | Asphalt Shingle and Coating Materials Manufacturing |
| 2992 | Lubricating Oils and Greases | 324191 | Petroleum Lubricating Oil and Grease Manufacturing |
| 2999 | Products of Petroleum and Coal, Not Elsewhere Classified | 324199 | All Other Petroleum and Coal Products Manufacturing |

**SECTOR E: GLASS, CLAY, CEMENT, CONCRETE, AND GYPSUM PRODUCTS**

| **SIC Code** | **SIC Code Description** | **2017 NAICS Code** | **NAICS Code Description** |
| --- | --- | --- | --- |
| 3211 | Flat Glass | 327211 | Flat Glass Manufacturing |
| 3221 | Glass Containers | 327213 | Glass Container Manufacturing |
| 3229 | Pressed and Blown Glass and Glassware, Not Elsewhere Classified | 327212 | Other Pressed and Blown Glass and Glassware Manufacturing |
| 3231 | Glass Products, Made of Purchased Glass | 327215 | Glass Product Manufacturing Made of Purchased Glass |
| 3241 | Cement, Hydraulic | 327310 | Cement Manufacturing |
| 3251 | Brick and Structural Clay Tile | 327120 | Clay Building Material and Refractories Manufacturing |
| 327331 | Concrete Block and Brick Manufacturing |
| 3253 | Ceramic Wall and Floor Tile | 327120 | Clay Building Material and Refractories Manufacturing |
| 3255 | Clay Refractories | 327120 | Clay Building Material and Refractories Manufacturing |
| 3259 | Structural Clay Products, Not Elsewhere Classified | 327120 | Clay Building Material and Refractories Manufacturing |
| 3261 | Vitreous China Plumbing Fixtures and China and Earthenware Fittings and Bathroom Accessories | 327110 | Pottery, Ceramics, and Plumbing Fixture Manufacturing |
| 3262 | Vitreous China Table and Kitchen Articles | 327110 | Pottery, Ceramics, and Plumbing Fixture Manufacturing |
| 3263 | Fine Earthenware (Whiteware) Table and Kitchen Articles | 327110 | Pottery, Ceramics, and Plumbing Fixture Manufacturing |
| 3264 | Porcelain Electrical Supplies | 327110 | Pottery, Ceramics, and Plumbing Fixture Manufacturing |
| 3269 | Pottery Products, Not Elsewhere Classified | 327110 | Pottery, Ceramics, and Plumbing Fixture Manufacturing |
| 3271 | Concrete Block and Brick | 327331 | Concrete Block and Brick Manufacturing |
| 3272 | Concrete Products, Except Block and Brick | 327332 | Concrete Pipe Manufacturing |
| 327390 | Other Concrete Product Manufacturing |
| 327999 | All Other Miscellaneous Nonmetallic Mineral Product Manufacturing |
| 3273 | Ready-Mixed Concrete | 327320 | Ready-Mix Concrete Manufacturing |
| 3274 | Lime | 327410 | Lime Manufacturing |
| 3275 | Gypsum Products | 327420 | Gypsum Product Manufacturing |
| 3281 | Cut Stone and Stone Products | 327991 | Cut Stone and Stone Product Manufacturing |
| 3291 | Abrasive Products | 327910 | Abrasive Product Manufacturing |
| 332999 | All Other Miscellaneous Fabricated Metal Product Manufacturing |
| 3292 | Asbestos Product | 327999 | All Other Miscellaneous Nonmetallic Mineral Product Manufacturing |
| 336340 | Motor Vehicle Brake System Manufacturing |
| 336350 | Motor Vehicle Transmission and Power Train Parts Manufacturing |
| 3295 | Minerals and Earths, Ground or Otherwise Treated | 212324 | Kaolin and Ball Clay Mining |
| 212325 | Clay and Ceramic and Refractory Minerals Mining |
| 212393 | Other Chemical and Fertilizer Mineral Mining |
| 212399 | All Other Nonmetallic Mineral Mining |
| 327992 | Ground or Treated Mineral and Earth Manufacturing |
| 3296 | Mineral Wool | 327993 | Mineral Wool Manufacturing |
| 3297 | Nonclay Refractories | 327120 | Clay Building Material and Refractories Manufacturing |
| 3299 | Nonmetallic Mineral Products, Not Elsewhere Classified | 327110 | Pottery, Ceramics, and Plumbing Fixture Manufacturing |
| 327420 | Gypsum Product Manufacturing |
| 327999 | All Other Miscellaneous Nonmetallic Mineral Product Manufacturing |

**SECTOR F: PRIMARY METALS**

| **SIC Code** | **SIC Code Description** | **2017 NAICS Code** | **NAICS Code Description** |
| --- | --- | --- | --- |
| 3312 | Steel Works, Blast Furnaces (including Coke Ovens), and Rolling Mills | 324199 | All Other Petroleum and Coal Products Manufacturing |
| 331110 | Iron and Steel Mills and Ferroalloy Manufacturing |
| 331221 | Rolled Steel Shape Manufacturing |
| 3313 | Electrometallurgical Products, Except Steel | 331110 | Iron and Steel Mills and Ferroalloy Manufacturing |
| 3315 | Steel Wiredrawing and Steel Nails and Spikes | 312222 | Steel Wire Drawing |
| 332618 | Other Fabricated Wire Product Manufacturing |
| 3316 | Cold-Rolled Steel Sheet, Strip, and Bars | 331221 | Rolled Steel Shape Manufacturing |
| 3317 | Steel Pipe and Tubes | 331210 | Iron and Steel Pipe and Tube Manufacturing from Purchased Steel |
| 3321 | Gray and Ductile Iron Foundries | 331511 | Iron Foundries |
| 3322 | Malleable Iron Foundries | 331511 | Iron Foundries |
| 3324 | Steel Investment Foundries | 331512 | Steel Investment Foundries |
| 3325 | Steel Foundries, Not Elsewhere Classified | 331513 | Steel Foundries (except Investment) |
| 3331 | Primary Smelting and Refining of Copper | 331410 | Nonferrous Metal (except Aluminum) Smelting and Refining |
| 3334 | Primary Production of Aluminum | 331313 | Alumina Refining and Primary Aluminum Production |
| 3339 | Primary Smelting and Refining of Nonferrous Metals, Except Copper and Aluminum | 331410 | Nonferrous Metal (except Aluminum) Smelting and Refining |
| 3341 | Secondary Smelting and Refining of Nonferrous Metals | 331314 | Secondary Smelting and Alloying of Aluminum |
| 331420 | Copper Rolling, Drawing, Extruding, and Alloying |
| 331492 | Secondary Smelting, Refining, and Alloying of Nonferrous Metal (except Copper and Aluminum) |
| 3351 | Rolling, Drawing, and Extruding of Copper | 331420 | Copper Rolling, Drawing, Extruding, and Alloying |
| 3353 | Aluminum Sheet, Plate, and Foil | 331315 | Aluminum Sheet, Plate, and Foil Manufacturing |
| 3354 | Aluminum Extruded Products | 331318 | Other Aluminum Rolling, Drawing, and Extruding |
| 3355 | Aluminum Rolling and Drawing, Not Elsewhere Classified | 331318 | Other Aluminum Rolling, Drawing, and Extruding |
| 3356 | Rolling, Drawing, and Extruding of Nonferrous Metals, Except Copper and Aluminum | 331491 | Nonferrous Metal (except Copper and Aluminum) Rolling, Drawing, and Extruding |
| 3357 | Drawing and Insulating of Nonferrous Wire | 331318 | Other Aluminum Rolling, Drawing, and Extruding |
| 331420 | Copper Rolling, Drawing, Extruding, and Alloying |
| 331491 | Nonferrous Metal (except Copper and Aluminum) Rolling, Drawing, and Extruding |
| 335921 | Fiber Optic Cable Manufacturing |
| 335929 | Other Communication and Energy Wire Manufacturing |
| 3363 | Aluminum Die-Castings | 331523 | Nonferrous Metal Die-Casting Foundries |
| 3364 | Nonferrous Die-Castings, Except Aluminum | 331523 | Nonferrous Metal Die-Casting Foundries |
| 3365 | Aluminum Foundries | 331524 | Aluminum Foundries (except Die-Casting) |
| 3366 | Copper Foundries | 331529 | Other Nonferrous Metal Foundries (except Die-Casting) |
| 3369 | Nonferrous Foundries, Except Aluminum and Copper | 331529 | Other Nonferrous Metal Foundries (except Die-Casting) |
| 3398 | Metal Heat Treating | 332811 | Metal Heat Treating |
| 3399 | Primary Metal Products, Not Elsewhere Classified | 331110 | Iron and Steel Mills and Ferroalloy Manufacturing |
| 331221 | Rolled Steel Shape Manufacturing |
| 331314 | Secondary Smelting and Alloying of Aluminum |
| 331420 | Copper Rolling, Drawing, Extruding, and Alloying |
| 331492 | Secondary Smelting, Refining, and Alloying of Nonferrous Metal (except Copper and Aluminum) |
| 332618 | Other Fabricated Wire Product Manufacturing |
| 332813 | Electroplating, Plating, Polishing, Anodizing and Coloring |

**SECTOR G: METAL MINING (ORE MINING AND DRESSING)**

| **SIC Code** | **SIC Code Description** | **2017 NAICS Code** | **NAICS Code Description** |
| --- | --- | --- | --- |
| 1011 | Iron Ores | 212210 | Iron Ore Mining |
| 1021 | Copper Ores | 212230 | Copper, Nickel, Lead, and Zinc Mining |
| 1031 | Lead and Zinc Ores | 212230 | Copper, Nickel, Lead, and Zinc Mining |
| 1041 | Gold Ores | 212221 | Gold Ore Mining |
| 1044 | Silver Ores | 212222 | Silver Ore Mining |
| 1061 | Ferroalloy Ores, Except Vanadium | 212230 | Copper, Nickel, Lead, and Zinc Mining |
| 212299 | All Other Metal Ore Mining |
| 1081 | Metal Mining Services | 213114 | Support Activities for Metal Mining |
| 238910 | Site Preparation Contractors |
| 1094 | Uranium-Radium-Vanadium Ores | 212291 | Uranium-Radium-Vanadium Ore Mining |
| 1099 | Miscellaneous Metal Ores, Not Elsewhere Classified | 212299 | All Other Metal Ore Mining |

**SECTOR H: COAL MINES AND COAL MINING RELATED FACILITIES**

| **SIC Code** | **SIC Code Description** | **2017 NAICS Code** | **NAICS Code Description** |
| --- | --- | --- | --- |
| 1221 | Bituminous Coal and Lignite Surface Mining | 212111 | Bituminous Coal and Lignite Surface Mining |
| 1222 | Bituminous Coal Underground Mining | 212112 | Bituminous Coal Underground Mining |
| 1231 | Anthracite Mining | 212113 | Anthracite Mining |
| 1241 | Coal Mining Services | 213113 | Support Activities for Coal |
| 238910 | Site Preparation Contractors |

**SECTOR I: OIL AND GAS EXTRACTION FACILITIES**

| **SIC Code** | **SIC Code Description** | **2017 NAICS Code** | **NAICS Code Description** |
| --- | --- | --- | --- |
| 1311 | Crude Petroleum and Natural Gas | 211120 | Crude Petroleum Extraction |
| 1321 | Natural Gas Liquids | 211130 | Natural Gas Extraction |
| 1381 | Drilling Oil and Gas Wells | 213111 | Drilling Oil and Gas Wells |
| 1382 | Oil and Gas Field Exploration Services | 213112 | Support Activities for Oil and Gas Operations |
| 1389 | Oil and Gas Field Services, Not Elsewhere Classified | 213112 | Support Activities for Oil and Gas Operations |
| 237120 | Oil and Gas Pipeline and Related Structures Construction |
| 238910 | Site Preparation Contractors |

**SECTOR J: MINERAL MINING AND PROCESSING FACILITIES**

| **SIC Code** | **SIC Code Description** | **2017 NAICS Code** | **NAICS Code Description** |
| --- | --- | --- | --- |
| 1411 | Dimension Stone | 212311 | Dimension Stone Mining and Quarrying |
| 1422 | Crushed and Broken Limestone | 212312 | Crushed and Broken Limestone Mining and Quarrying |
| 1423 | Crushed and Broken Granite | 212313 | Crushed and Broken Granite Mining and Quarrying |
| 1429 | Crushed and Broken Stone, Not Elsewhere Classified | 212319 | Other Crushed and Broken Stone Mining and Quarrying |
| 1442 | Construction Sand and Gravel | 212321 | Construction Sand and Gravel Mining |
| 1446 | Industrial Sand | 212322 | Industrial Sand Mining |
| 1455 | Kaolin and Ball Clay | 212324 | Kaolin and Ball Clay Mining |
| 1459 | Clay, Ceramic, and Refractory Minerals, Not Elsewhere Classified | 212325 | Clay and Ceramic and Refractory Minerals Mining |
| 1474 | Potash, Soda, and Borate Minerals | 212391 | Potash, Soda, and Borate Mineral Mining |
| 1475 | Phosphate Rock | 212392 | Phosphate Rock Mining |
| 1479 | Chemical and Fertilizer Mineral Mining, Not Elsewhere Classified | 212393 | Other Chemical and Fertilizer Mineral Mining |
| 1481 | Nonmetallic Minerals Services, Except Fuels | 213115 | Support Activities for Nonmetallic Minerals (except Fuels) Mining |
| 238910 | Site Preparation Contractors |
| 1499 | Miscellaneous Nonmetallic Minerals, Except Fuels | 212319 | Other Crushed and Broken Stone Mining and Quarrying |
| 212399 | All Other Nonmetallic Mineral Mining |

**SECTOR K: HAZARDOUS WASTE TREATMENT, STORAGE, AND DISPOSAL FACILITIES**

| **Activity Code** | **Activity Code Description** | **2017 NAICS Code** | **Notes** |
| --- | --- | --- | --- |
| HZ | Hazardous Waste Treatment, Storage and Disposal Facilities | No NAICS Code Equivalent | Activity Codes are non-SIC / non-NAICS designation  See Part V, Section K for Detailed Description of Sector |

**SECTOR L: LANDFILLS AND LAND APPLICATION SITES**

| **Activity Code** | **Activity Code Description** | **2017 NAICS Code** | **Notes** |
| --- | --- | --- | --- |
| LF | Landfills, Land Application Sites, and Open Dumps | No NAICS Code Equivalent | Activity Codes are non-SIC / non-NAICS designation  See Part V, Section L for Detailed Description of Sector |

**SECTOR M: AUTOMOBILE SALVAGE YARDS**

| **SIC Code** | **SIC Code Description** | **2017 NAICS Code** | **NAICS Code Description** |
| --- | --- | --- | --- |
| 5015 | Motor Vehicle Parts, Used (Automobile Salvage Yard) | 423140 | Motor Vehicle Parts (Used) Merchant Wholesalers |

**SECTOR N: SCRAP AND WASTE RECYCLING FACILITIES**

| **SIC Code** | **SIC Code Description** | **2017 NAICS Code** | **NAICS Code Description** |
| --- | --- | --- | --- |
| 5093  5093 | Scrap and Waste Materials  Scrap and Waste Materials | 423930 | Recyclable Material Merchant Wholesalers |
| 425110 | Business to Business Electronic Markets |
| 425120 | Wholesale Trade Agents and Brokers |

**SECTOR O: STEAM ELECTRIC GENERATING FACILITIES**

| **Activity Code** | **Activity Code Description** | **2017 NAICS Code** | **Notes** |
| --- | --- | --- | --- |
| SE | Steam Electric Power Generating Facilities | No NAICS Code Equivalent | Activity Codes are non-SIC / non-NAICS designation  See Part V, Section O for detailed description of Sector |

**SECTOR P: LAND TRANSPORTATION AND WAREHOUSING**

| **SIC Code** | **SIC Code Description** | **2017 NAICS Code** | **NAICS Code Description** |
| --- | --- | --- | --- |
| 4011 | Railroads, Line-Haul Operating | 482111 | Line-Haul Railroads |
| 4013 | Railroad Switching and Terminal Establishments | 482112 | Short Line Railroads |
| 488210 | Support Activities for Rail Transportation |
| 4111 | Local and Suburban Transit | 485111 | Mixed Mode Transit Systems |
| 485112 | Commuter Rail Systems |
| 485113 | Bus and Other Motor Vehicle Transit Systems |
| 485119 | Other Urban Transit Systems |
| 485999 | All Other Transit and Ground Passenger Transportation |
| 4119 | Local Passenger Transportation, Not Elsewhere Classified | 485320 | Limousine Service |
| 485410 | School and Employee Bus Transportation |
| 485991 | Special Needs Transportation |
| 485999 | All Other Transit and Ground Passenger Transportation |
| 487110 | Scenic and Sightseeing Transportation, Land |
| 621910 | Ambulance Services |
| 4121 | Taxicabs | 485310 | Taxi Service |
| 4131 | Intercity and Rural Bus Transportation | 485210 | Interurban and Rural Bus Transportation |
| 4141 | Local Bus Charter Service | 485510 | Charter Bus Industry |
| 4142 | Bus Charter Service, Except Local | 485510 | Charter Bus Industry |
| 4151 | School Buses | 485410 | School and Employee Bus Transportation |
| 4173 | Terminal and Service Facilities for Motor Vehicle Passenger Transportation | 488490 | Other Support Activities for Road Transportation |
| 4212 | Local Trucking Without Storage | 484110 | General Freight Trucking, Local |
| 484210 | Used Household and Office Goods Moving |
| 484220 | Specialized Freight (except Used Goods) Trucking, Local |
| 562111 | Solid Waste Collection |
| 562112 | Hazardous Waste Collection |
| 562119 | Other Waste Collection |
| 4213 | Trucking, Except Local | 484121 | General Freight Trucking, Long-Distance, Truckload |
| 484122 | General Freight Trucking, Long-Distance, Less Than Truckload |
| 484210 | Used Household and Office Goods Moving |
| 484230 | Specialized Freight (except Used Goods) Trucking, Long-Distance |
| 4214 | Local Trucking with Storage | 484110 | General Freight Trucking, Local |
| 484210 | Used Household and Office Goods Moving |
| 484220 | Specialized Freight (except Used Goods) Trucking, Local |
| 4215 | Courier Services, Except by Air | 492110 | Couriers and Express Delivery Services |
| 492210 | Local Messengers and Local Delivery |
| 4221 | Farm Product Warehousing and Storage | 493130 | Farm Product Warehousing and Storage |
| 4222 | Refrigerated Warehousing and Storage | 493120 | Refrigerated Warehousing and Storage |
| 4225 | General Warehousing and Storage | 493110 | General Warehousing and Storage |
| 531130 | Lessors of Miniwarehouses and Self-Storage Units |
| 4226 | Special Warehousing and Storage, Not Elsewhere Classified | 493110 | General Warehousing and Storage |
| 493120 | Refrigerated Warehousing and Storage |
| 493190 | Other Warehousing and Storage |
| 4231 | Terminal and Joint Terminal Maintenance Facilities for Motor Freight Transportation | 488490 | Other Support Activities for Road Transportation |
| 4311 | United States Postal Service | 491110 | Postal Service |
| 5171 | Petroleum Bulk Stations and Terminals (primarily engaged in the wholesale distribution of crude petroleum and petroleum products, including liquefied petroleum gas, from bulk liquid storage facilities) | 424710 | Petroleum Bulk Stations and Terminals |
| 454310 | Fuel Dealers |

**SECTOR Q: WATER TRANSPORTATION**

| **SIC Code** | **SIC Code Description** | **2017 NAICS Code** | **NAICS Code Description** |
| --- | --- | --- | --- |
| 4412 | Deep Sea Foreign Transportation of Freight | 483111 | Deep Sea Freight Transportation |
| 4424 | Deep Sea Domestic Transportation of Freight | 483113 | Coastal and Great Lakes Freight Transportation |
| 4449 | Water Transportation of Freight, Not Elsewhere Classified | 483211 | Inland Water Freight Transportation |
| 4481 | Deep Sea Transportation of Passengers, Except by Ferry | 483112 | Deep Sea Passenger Transportation |
| 483114 | Coastal Passenger Transportation |
| 4482 | Ferries | 483114 | Coastal and Great Lakes Passenger Transportation |
| 483212 | Inland Water Passenger Transportation |
| 4489 | Water Transportation of Passengers, Not Elsewhere Classified | 483212 | Inland Water Passenger Transportation |
| 487210 | Scenic and Sightseeing Transportation, Water |
| 4491 | Marine Cargo Handling | 488310 | Port and Harbor Operations |
| 488320 | Marine Cargo Handling |
| 4492 | Towing and Tugboat Services | 488330 | Navigational Services to Shipping |
| 4493 | Marinas | 713930 | Marinas |
| 4499 | Water Transportation Services, Not Elsewhere Classified | 483211 | Inland Water Freight Transportation |
| 488310 | Port and Harbor Operations |
| 488330 | Navigational Services to Shipping |
| 488390 | Other Support Activities for Water Transportation |
| 532411 | Commercial Air, Rail, and Water Transportation Equipment Rental and Leasing |

**SECTOR R: SHIP AND BOAT BUILDING OR REPAIRING YARDS**

| **SIC Code** | **SIC Code Description** | **2017 NAICS Code** | **NAICS Code Description** |
| --- | --- | --- | --- |
| 3731 | Ship Building and Repairing | 336611 | Ship Building and Repairing |
| 488390 | Other Support Activities for Water Transportation |
| 3732 | Boat Building and Repairing | 336612 | Boat Building |
| 811490 | Other Personal and Household Goods Repair and Maintenance |

**SECTOR S: AIR TRANSPORTATION**

| **SIC Code** | **SIC Code Description** | **2017 NAICS Code** | **NAICS Code Description** |
| --- | --- | --- | --- |
| 4512 | Air Transportation, Scheduled | 481111 | Scheduled Passenger Air Transportation |
| 481112 | Scheduled Freight Air Transportation |
| 4513 | Air Courier Services | 492110 | Couriers and Express Delivery Services |
| 4522 | Air Transportation, Nonscheduled | 481211 | Nonscheduled Chartered Passenger Air Transportation |
| 481212 | Nonscheduled Chartered Freight Air Transportation |
| 481219 | Other Nonscheduled Air Transportation |
| 487990 | Scenic and Sightseeing Transportation, Other |
| 621910 | Ambulance Services |
| 4581 | Airports, Flying Fields, and Airport Terminal Services | 488119 | Other Airport Operations |
| 488190 | Other Support Activities for Air Transportation |

**SECTOR T: TREATMENT WORKS**

| **Activity Code** | **Activity Code Description** | **2017 NAICS Code** | **Notes** |
| --- | --- | --- | --- |
| TW | Certain Wastewater Treatment Plants | No NAICS Code Equivalent | Activity Codes are non-SIC / non-NAICS designation  See Part V, Section T for Detailed Description of Sector |

**SECTOR U: FOOD AND KINDRED PRODUCTS FACILITIES**

| **SIC Code** | **SIC Code Description** | **2017 NAICS Code** | **NAICS Code Description** |
| --- | --- | --- | --- |
| 2011 | Meat Packing Plants | 311611 | Animal (except Poultry) Slaughtering |
| 2013 | Sausages and Other Prepared Meat Products | 311612 | Meat Processed from Carcasses |
| 311613 | Rendering and Meat Byproduct Processing |
| 2015 | Poultry Slaughtering and Processing | 311615 | Poultry Processing |
| 311999 | All Other Miscellaneous Food Manufacturing |
| 2021 | Creamery Butter | 311512 | Creamery Butter Manufacturing |
| 2022 | Natural, Processed, and Imitation Cheese | 311513 | Cheese Manufacturing |
| 2023 | Dry, Condensed, and Evaporated Dairy Products | 311511 | Fluid Milk Manufacturing |
| 311514 | Dry, Condensed, and Evaporated Dairy Product Manufacturing |
| 2024 | Ice Cream and Frozen Deserts | 311520 | Ice Cream and Frozen Desert Manufacturing |
| 2026 | Fluid Milk | 311511 | Fluid Milk Manufacturing |
| 311514 | Dry, Condensed, and Evaporated Dairy Product Manufacturing |
| 2032 | Canned Specialties | 311422 | Specialty Canning |
| 311999 | All Other Miscellaneous Food Manufacturing |
| 2033 | Canned Fruits, Vegetables, Preserves, Jams, and Jellies | 311421 | Fruit and Vegetable Canning |
| 2034 | Dried and Dehydrated Fruits, Vegetables, and Soup Mixes | 311211 | Flour Milling |
| 311423 | Dried and Dehydrated Food Manufacturing |
| 311999 | All Other Miscellaneous Food Manufacturing |
| 2035 | Pickled Fruits and Vegetables, Vegetable Sauces and Seasonings, and Salad Dressings | 311421 | Fruit and Vegetable Canning |
| 311941 | Mayonnaise, Dressing, and Other Prepared Sauce Manufacturing |
| 2037 | Frozen Fruits, Fruit Juices, and Vegetables | 311411 | Frozen Fruit, Juice, and Vegetable Manufacturing |
| 2038 | Frozen Specialties, Not Elsewhere Classified | 311412 | Frozen Specialty Food Manufacturing |
| 2041 | Flour and Other Grain Mill Products | 311211 | Flour Milling |
| 2043 | Cereal Breakfast Foods | 311230 | Breakfast Cereal Manufacturing |
| 311920 | Coffee and Tea Manufacturing |
| 2044 | Rice Milling | 311212 | Rice Milling |
| 2045 | Prepared Flour Mixes and Doughs | 311824 | Dry Pasta, Dough, and Flour Mixes Manufacturing from Purchased Flour |
| 2046 | Wet Corn Milling | 311221 | Wet Corn Milling |
| 311225 | Fats and Oils Refining and Blending |
| 2047 | Dog and Cat Food | 311111 | Dog and Cat Food Manufacturing |
| 2048 | Prepared Feed and Feed Ingredients for Animals and Fowls, Except Dogs and Cats | 311119 | Other Animal Food Manufacturing |
| 311611 | Animal (except Poultry) Slaughtering |
| 2051 | Bread and Other Bakery Products, Except Cookies and Crackers | 311812 | Commercial Bakeries |
| 2052 | Cookies and Crackers | 311812 | Commercial Bakeries |
| 311821 | Cookie and Cracker Manufacturing |
| 311919 | Other Snack Food Manufacturing |
| 2053 | Frozen Bakery Products, Except Bread | 311813 | Frozen Cakes, Pies, and Other Pastries Manufacturing |
| 2061 | Cane Sugar, Except Refining | 311314 | Cane Sugar Manufacturing |
| 2062 | Cane Sugar Refining | 311314 | Cane Sugar Refining |
| 2063 | Beet Sugar | 311313 | Beet Sugar Manufacturing |
| 2064 | Candy and Other Confectionery Products | 311340 | Nonchocolate Confectionery Manufacturing |
| 311352 | Confectionery Manufacturing from Purchased Chocolate |
| 2066 | Chocolate and Cocoa Products | 311351 | Chocolate and Confectionery Manufacturing from Cacao Beans |
| 311352 | Confectionery Manufacturing from Purchased Chocolate |
| 2067 | Chewing Gum | 311340 | Nonchocolate Confectionery Manufacturing |
| 2068 | Salted and Roasted Nuts and Seeds | 311911 | Roasted Nuts and Peanut Butter Manufacturing |
| 2074 | Cottonseed Oil Mills | 311224 | Soybean and Other Oilseed Processing |
| 311225 | Fats and Oils Refining and Blending |
| 2075 | Soybean Oil Mills | 311224 | Soybean and Other Oilseed Processing |
| 311225 | Fats and Oils Refining and Blending |
| 2076 | Vegetable Oil Mills, Except Corn, Cottonseed, and Soybean | 311224 | Soybean and Other Oilseed Processing |
| 311225 | Fats and Oils Refining and Blending |
| 2077 | Animal and Marine Fats and Oils | 311613 | Rendering and Meat Byproduct Processing |
| 311710 | Seafood Product Preparation and Packaging |
| 2079 | Shortening, Table Oils, Margarine, and Other Edible Fats and Oils, Not Elsewhere Classified | 311224 | Soybean and Other Oilseed Processing |
| 311225 | Fats and Oils Refining and Blending |
| 2082 | Malt Beverages | 311942 | Spice and Extract Manufacturing |
| 312120 | Breweries |
| 2083 | Malt | 311213 | Malt Manufacturing |
| 2084 | Wines, Brandy, and Brandy Spirits | 312130 | Wineries |
| 2085 | Distilled and Blended Liquors | 312130 | Wineries |
| 312140 | Distilleries |
| 2086 | Bottled and Canned Soft Drinks and Carbonated Water | 312111 | Soft Drink Manufacturing |
| 312112 | Bottled Water Manufacturing |
| 2087 | Flavoring Extracts and Flavoring Syrups, Not Elsewhere Classified | 311920 | Coffee and Tea Manufacturing |
| 311930 | Flavoring Syrup and Concentrate Manufacturing |
| 311942 | Spice and Extract Manufacturing |
| 311999 | All Other Miscellaneous Food Manufacturing |
| 2091 | Canned and Cured Fish and Seafood | 311710 | Seafood Product Preparation and Packaging |
| 2092 | Prepared Fresh or Frozen Fish and Seafood | 311710 | Seafood Product Preparation and Packaging |
| 2095 | Roasted Coffee | 311920 | Coffee and Tea Manufacturing |
| 2096 | Potato Chips, Corn Chips, and Similar Snacks | 311919 | Other Snack Food Manufacturing |
| 2097 | Manufactured Ice | 312113 | Ice Manufacturing |
| 2098 | Macaroni, Spaghetti, Vermicelli, and Noodles | 311824 | Dry Pasta, Dough, and Flour Mixes Manufacturing from Purchased Flour |
| 2099 | Food Preparations, Not Elsewhere Classified | 111998 | All Other Miscellaneous Crop Farming |
| 311212 | Rice Milling |
| 311340 | Nonchocolate Confectionery Manufacturing |
| 311423 | Dried and Dehydrated Food Manufacturing |
| 311824 | Dry Pasta, Dough, and Flour Mixes Manufacturing from Purchased Flour |
| 311830 | Tortilla Manufacturing |
| 311911 | Roasted Nuts and Peanut Butter Manufacturing |
| 311920 | Coffee and Tea Manufacturing |
| 311941 | Mayonnaise, Dressing, and Other Prepared Sauce Manufacturing |
| 311942 | Spice and Extract Manufacturing |
| 311991 | Perishable Prepared Food Manufacturing |
| 311999 | All Other Miscellaneous Food Manufacturing |
| 2111 | Cigarettes | 312230 | Tobacco Manufacturing |
| 2121 | Cigars | 312230 | Tobacco Manufacturing |
| 2131 | Chewing and Smoking Tobacco and Snuff | 312230 | Tobacco Manufacturing |
| 2141 | Tobacco Stemming and Redrying | 312230 | Tobacco Manufacturing |

**SECTOR V: TEXTILE MILLS, APPAREL, AND OTHER FABRIC PRODUCT MANUFACTURING FACILITIES**

| **SIC Code** | **SIC Code Description** | **2017 NAICS Code** | **NAICS Code Description** |
| --- | --- | --- | --- |
| 2211 | Broadwoven Fabric Mills, Cotton | 313210 | Broadwoven Fabric Mills |
| 2221 | Broadwoven Fabric Mills, Manmade Fiber and Silk | 313210 | Broadwoven Fabric Mills |
| 2231 | Broadwoven Fabric Mills, Wool (including dyeing and finishing) | 313210 | Broadwoven Fabric Mills |
| 313310 | Textile and Fabric Finishing Mills |
| 2241 | Narrow Fabric and Other Smallware Mills: Cotton, Wool, Silk and Manmade Fiber | 313220 | Narrow Fabric Mills and Schiffli Machine Embroidery |
| 2251 | Women’s Full-Length and Knee-Length Hosiery, Except Socks | 313310 | Textile and Fabric Finishing Mills |
| 315110 | Hosiery and Sock Mills |
| 2252 | Hosiery, Not Elsewhere Classified | 313310 | Textile and Fabric Finishing Mills |
| 315110 | Hosiery and Sock Mills |
| 2253 | Knit Outerwear Mills | 313310 | Textile and Fabric Finishing Mills |
| 315190 | Other Apparel Knitting Mills |
| 2254 | Knit Underwear and Nightwear Mills | 313310 | Textile and Fabric Finishing Mills |
| 31519o | Other Apparel Knitting Mills |
| 2257 | Weft Knit Fabric Mills | 313240 | Knit Fabric Mills |
| 313310 | Textile and Fabric Finishing Mills |
| 2258 | Lace and Warp Knit Fabric Mills | 313240 | Knit Fabric Mills |
| [313310](https://www.naics.com/naics-code-description/?code=313310) | Textile and Fabric Finishing Mills |
| 2259 | Knitting Mills, Not Elsewhere Classified | 315190 | Other Apparel Knitting Mills |
| 313240 | Knit Fabric Mills |
| 313310 | Textile and Fabric Finishing Mills |
| 2261 | Finishers of Broadwoven Fabrics of Cotton | 313310 | Textile and Fabric Finishing Mills |
| 2262 | Finishers of Broadwoven Fabrics of Manmade Fibers and Silk | 313310 | Textile and Fabric Finishing Mills |
| 2269 | Finishers of Textiles, Not Elsewhere Classified | 313310 | Textile and Fabric Finishing Mills |
| 2273 | Carpets and Rugs | 314110 | Carpet and Rug Mills |
| 2281 | Yarn Spinning Mills | 313110 | Fiber, Yarn, and Thread Mills |
| 2282 | Yarn Texturizing, Throwing, Twisting and Winding Mills | 313110 | Fiber, Yarn, and Thread Mills |
| 2284 | Thread Mills | 313110 | Fiber, Yarn, and Thread Mills |
| 313310 | Textile and Fabric Finishing Mills |
| 2295 | Coated Fabrics, Not Rubberized | 313320 | Fabric Coating Mills |
| 2296 | Tire Cord and Fabrics | 314994 | Rope, Cordage, Twine, Tire Cord, and Tire Fabric Mills |
| 2297 | Non-woven Fabrics | 313230 | Nonwoven Fabric Mills |
| 2298 | Cordage and Twine | 313110 | Fiber, Yarn, and Thread Mills |
| 314994 | Rope, Cordage, Twine, Tire Cord, and Tire Fabric Mills |
| 2299 | Textile Goods, Not Elsewhere Classified | 313110 | Fiber, Yarn, and Thread Mills |
| 313210 | Broadwoven Fabric Mills |
| 313220 | Narrow Fabric Mills and Schiffli Machine Embroidery |
| 313230 | Nonwoven Fabric Mills |
| 313310 | Textile and Fabric Finishing Mills |
| 314999 | All Other Miscellaneous Textile Product Mills |
| 2311 | Men’s and Boys’ Suits, Coats, and Overcoats | 314999 | All Other Miscellaneous Textile Product Mills |
| 315210 | Cut and Sew Apparel Contractors |
| 315220 | Men's and Boys' Cut and Sew Apparel Manufacturing |
| 2321 | Men’s and Boys’ Shirts, Except Work Shirts | 314999 | All Other Miscellaneous Textile Product Mills |
| 315210 | Cut and Sew Apparel Contractors |
| 315220 | Men's and Boys' Cut and Sew Apparel Manufacturing |
| 2322 | Men’s and Boys’ Underwear and Nightwear | 314999 | All Other Miscellaneous Textile Product Mills |
| 315210 | Cut and Sew Apparel Contractors |
| 315220 | Men's and Boys' Cut and Sew Apparel Manufacturing |
| 2323 | Men's and Boys' Neckwear | 314999 | All Other Miscellaneous Textile Product Mills |
| 315210 | Cut and Sew Apparel Contractors |
| 315990 | Apparel Accessories and Other Apparel Manufacturing |
| 2325 | Men’s and Boys’ Separate Trousers and Slacks | 314999 | All Other Miscellaneous Textile Product Mills |
| 315210 | Cut and Sew Apparel Contractors |
| 315220 | Men's and Boys' Cut and Sew Apparel Manufacturing |
| 2326 | Men’s and Boys’ Work Clothing | 314999 | All Other Miscellaneous Textile Product Mills |
| 315210 | Cut and Sew Apparel Contractors |
| 315220 | Men's and Boys' Cut and Sew Apparel Manufacturing |
| 2329 | Men’s and Boys’ Clothing, Not Elsewhere Classified | 314999 | All Other Miscellaneous Textile Product Mills |
| 315210 | Cut and Sew Apparel Contractors |
| 315220 | Men's and Boys' Cut and Sew Apparel Manufacturing |
| 315280 | Other Cut and Sew Apparel Manufacturing |
| 2331 | Women’s, Misses’, and Juniors’ Blouses and Shirts | 314999 | All Other Miscellaneous Textile Product Mills |
| 315210 | Cut and Sew Apparel Contractors |
| 315240 | Women's, Girls', and Infants' Cut and Sew Apparel Manufacturing |
| 2335 | Women’s, Misses’, and Juniors’ Dresses | 314999 | All Other Miscellaneous Textile Product Mills |
| 315210 | Cut and Sew Apparel Contractors |
| 315240 | Women's, Girls', and Infants' Cut and Sew Apparel Manufacturing |
| 2337 | Women’s, Misses’, and Juniors’ Suits, Skirts, and Coats | 314999 | All Other Miscellaneous Textile Product Mills |
| 315210 | Cut and Sew Apparel Contractors |
| 315240 | Women's, Girls', and Infants' Cut and Sew Apparel Manufacturing |
| 2339 | Women’s, Misses’, and Juniors’ Outerwear, Not Elsewhere Classified | 314999 | All Other Miscellaneous Textile Product Mills |
| 315210 | Cut and Sew Apparel Contractors |
| 315240 | Women's, Girls', and Infants' Cut and Sew Apparel Manufacturing |
| 315280 | Other Cut and Sew Apparel Manufacturing |
| 315990 | Apparel Accessories and Other Apparel Manufacturing |
| 2341 | Women’s, Misses’, Children’s, and Infants’ Underwear and Nightwear | 314999 | All Other Miscellaneous Textile Product Mills |
| 315210 | Cut and Sew Apparel Contractors |
| 315220 | Men's and Boys' Cut and Sew Apparel Manufacturing |
| 315240 | Women's, Girls', and Infants' Cut and Sew Apparel Manufacturing |
| 2342 | Brassieres, Girdles, and Allied Garments | 314999 | All Other Miscellaneous Textile Product Mills |
| 315210 | Cut and Sew Apparel Contractors |
| 315240 | Women's, Girls', and Infants' Cut and Sew Apparel Manufacturing |
| 2353 | Hats, Caps, and Millinery | 314999 | All Other Miscellaneous Textile Product Mills |
| 315210 | Cut and Sew Apparel Contractors |
| 315990 | Apparel Accessories and Other Apparel Manufacturing |
| 2361 | Girls’, Children’s, and Infants’ Dresses, Blouses, and Shirts | 314999 | All Other Miscellaneous Textile Product Mills |
| 315210 | Cut and Sew Apparel Contractors |
| 315220 | Men's and Boys' Cut and Sew Apparel Manufacturing |
| 315240 | Women's, Girls', and Infants' Cut and Sew Apparel Manufacturing |
| 2369 | Girls’, Children’s, and Infants’ Outerwear, Not Elsewhere Classified | 314999 | All Other Miscellaneous Textile Product Mills |
| 315210 | Cut and Sew Apparel Contractors |
| 315220 | Men's and Boys' Cut and Sew Apparel Manufacturing |
| 315240 | Women's, Girls', and Infants' Cut and Sew Apparel Manufacturing |
| 2371 | Fur Goods | 314999 | All Other Miscellaneous Textile Product Mills |
| 315210 | Cut and Sew Apparel Contractors |
| 315280 | Other Cut and Sew Apparel Manufacturing |
| 2381 | Dress and Work Gloves, Excludes Knit and All-Leather | 314999 | All Other Miscellaneous Textile Product Mills |
| 315210 | Cut and Sew Apparel Contractors |
| 315990 | Apparel Accessories and Other Apparel Manufacturing |
| 2384 | Robes and Dressing Gowns | 314999 | All Other Miscellaneous Textile Product Mills |
| 315210 | Cut and Sew Apparel Contractors |
| 315220 | Men's and Boys' Cut and Sew Apparel Manufacturing |
| 315240 | Women's, Girls', and Infants' Cut and Sew Apparel Manufacturing |
| 2385 | Waterproof Outerwear | 314999 | All Other Miscellaneous Textile Product Mills |
| 315210 | Cut and Sew Apparel Contractors |
| 315220 | Men's and Boys' Cut and Sew Apparel Manufacturing |
| 315240 | Women's, Girls', and Infants' Cut and Sew Apparel Manufacturing |
| 315280 | Other Cut and Sew Apparel Manufacturing |
| 315990 | Apparel Accessories and Other Apparel Manufacturing |
| 2386 | Leather and Sheep-Lined Clothing | 314999 | All Other Miscellaneous Textile Product Mills |
| 315210 | Cut and Sew Apparel Contractors |
| 315280 | Other Cut and Sew Apparel Manufacturing |
| 2387 | Apparel Belts | 314999 | All Other Miscellaneous Textile Product Mills |
| 315210 | Cut and Sew Apparel Contractors |
| 315990 | Apparel Accessories and Other Apparel Manufacturing |
| 2389 | Apparel and Accessories, Not Elsewhere Classified | 314999 | All Other Miscellaneous Textile Product Mills |
| 315210 | Cut and Sew Apparel Contractors |
| 315240 | Women's, Girls', and Infants' Cut and Sew Apparel Manufacturing |
| 315280 | Other Cut and Sew Apparel Manufacturing |
| 315990 | Apparel Accessories and Other Apparel Manufacturing |
| 2391 | Curtains and Draperies | 314120 | Curtain and Linen Mills |
| 2392 | House furnishings, Except Curtains and Draperies | 314120 | Curtain and Linen Mills |
| 314910 | Textile Bag and Canvas Mills |
| 314999 | All Other Miscellaneous Textile Product Mills |
| 339994 | Broom, Brush, and Mop Manufacturing |
| 2393 | Textile Bags | 314910 | Textile Bag and Canvas Mills |
| 2394 | Canvas and Related Products | 314910 | Textile Bag and Canvas Mills |
| 2395 | Pleating, Decorative and Novelty Stitching, and Tucking for the Trade | 314999 | All Other Miscellaneous Textile Product Mills |
| 315210 | Cut and Sew Apparel Contractors |
| 2396 | Automotive Trimmings, Apparel Findings, and Related Products | 314999 | All Other Miscellaneous Textile Product Mills |
| 315210 | Cut and Sew Apparel Contractors |
| 315990 | Apparel Accessories and Other Apparel Manufacturing |
| 323113 | Commercial Screen Printing |
| 336360 | Motor Vehicle Seating and Interior Trim Manufacturing |
| 2397 | Schiffli Machine Embroideries | 313220 | Narrow Fabric Mills and Schiffli Machine Embroidery |
| 2399 | Fabricated Textile Products, Not Elsewhere Classified | 314999 | All Other Miscellaneous Textile Product Mills |
| 315210 | Cut and Sew Apparel Contractors |
| 315990 | Apparel Accessories and Other Apparel Manufacturing |
| 336360 | Motor Vehicle Seating and Interior Trim Manufacturing |
| 3131 | Boot and Shoe Cut Stock and Findings | 316998 | All Other Leather Good and Allied Product Manufacturing |
| 321999 | All Other Miscellaneous Wood Product Manufacturing |
| 339993 | Fastener, Button, Needle, and Pin Manufacturing |
| 3142 | House Slippers | 316210 | Footwear Manufacturing |
| 3143 | Men’s Footwear, Except Athletic | 316210 | Footwear Manufacturing |
| 3144 | Women’s Footwear, Except Athletic | 316210 | Footwear Manufacturing |
| 3149 | Footwear, Except Rubber, Not Elsewhere Classified | 316210 | Footwear Manufacturing |
| 3151 | Leather Gloves and Mittens | 314999 | All Other Miscellaneous Textile Product Mills |
| 315210 | Cut and Sew Apparel Contractors |
| 315990 | Apparel Accessories and Other Apparel Manufacturing |
| 3161 | Luggage | 316998 | All Other Leather Good and Allied Product Manufacturing |
| 3171 | Women’s Handbags and Purses | 316992 | Women’s Handbag and Purse Manufacturing |
| 3172 | Personal Leather Goods, Except Women’s Handbags and Purses | 316998 | All Other Leather Good and Allied Product Manufacturing |
| 339910 | Jewelry and Silverware Manufacturing |
| 3199 | Leather Goods, Not Elsewhere Classified | 316998 | All Other Leather Good and Allied Product Manufacturing |

**SECTOR W: FURNITURE AND FIXTURES**

| **SIC Code** | **SIC Code Description** | **2017 NAICS Code** | **NAICS Code Description** |
| --- | --- | --- | --- |
| 2434 | Wood Kitchen Cabinets | 337110 | Wood Kitchen Cabinet and Countertop Manufacturing |
| 2511 | Wood Household Furniture, Except Upholstered | 337122 | Non-upholstered Wood Household Furniture Manufacturing |
| 337215 | Showcase, Partition, Shelving, and Locker Manufacturing |
| 2512 | Wood Household Furniture, Upholstered | 337121 | Upholstered Household Furniture Manufacturing |
| 2514 | Metal Household Furniture | 337121 | Upholstered Household Furniture Manufacturing |
| 337124 | Metal Household Furniture Manufacturing |
| 337215 | Showcase, Partition, Shelving, and Locker Manufacturing |
| 2515 | Mattresses, Foundations, and Convertible Beds | 337121 | Upholstered Household Furniture Manufacturing |
| 337910 | Mattress Manufacturing |
| 2517 | Wood Television, Radio, Phonograph, and Sewing Machine Cabinets | 321999 | All Other Miscellaneous Wood Product Manufacturing |
| 2519 | Household Furniture, Not Elsewhere Classified | 337125 | Household Furniture (except Wood and Metal) Manufacturing |
| 2521 | Wood Office Furniture | 337211 | Wood Office Furniture Manufacturing |
| 2522 | Office Furniture, Except Wood | 337214 | Office Furniture (Except Wood) Manufacturing |
| 2531 | Public Building and Related Furniture | 336360 | Motor Vehicle Seating and Interior Trim Manufacturing |
| 337127 | Institutional Furniture Manufacturing |
| 339940 | Office Supplies (except Paper) Manufacturing |
| 2541 | Wood Office and Store Fixtures, Partitions, Shelving, and Lockers | 337110 | Wood Kitchen Cabinet and Countertop Manufacturing |
| 337127 | Institutional Furniture Manufacturing |
| 337212 | Custom Architectural Woodwork and Millwork Manufacturing |
| 337215 | Showcase, Partition, Shelving, and Locker Manufacturing |
| 2542 | Office and Store Fixtures, Partitions, Shelving, and Lockers, Except Wood | 337127 | Institutional Furniture Manufacturing |
| 337215 | Showcase, Partition, Shelving, and Locker Manufacturing |
| 2591 | Drapery Hardware and Window Blinds and Shades | 337920 | Blind and Shade Manufacturing |
| 2599 | Furniture and Fixtures, Not Elsewhere Classified | 333249 | Other Industrial Machinery Manufacturing |
| 333415 | Air-Conditioning and Warm Air Heating Equipment and Commercial and Industrial Refrigeration Equipment Manufacturing |
| 333994 | Industrial Process Furnace and Oven Manufacturing |
| 333997 | Scale and Balance Manufacturing |
| 333999 | All Other Miscellaneous General Purpose Machinery Manufacturing |
| 337127 | Institutional Furniture Manufacturing |
| 339113 | Surgical Appliance and Supplies Manufacturing |

**SECTOR X: PRINTING AND PUBLISHING**

| **SIC Code** | **SIC Code Description** | **2017 NAICS Code** | **NAICS Code Description** |
| --- | --- | --- | --- |
| 2711 | Newspapers: Publishing, or Publishing and Printing | 511110 | Newspaper Publishers (or publishing combined with printing, excludes exclusive Internet publishing) |
| 2721 | Periodicals: Publishing, or Publishing and Printing | 511120 | Periodical Publishers (or publishing combined with printing, excludes exclusive Internet publishing) |
| 2731 | Books: Publishing, or Publishing and Printing | 511130 | Book Publishers |
| 512230 | Music Publishers |
| 2732 | Book Printing | 323117 | Books Printing |
| 2741 | Miscellaneous Publishing | 511120 | Periodical Publishers |
| 511130 | Book Publishers |
| 511140 | Directory and Mailing List Publishers |
| 511199 | All Other Publishers |
| 512230 | Music Publishers |
| 2752 | Commercial Printing, Lithographic | 323111 | Commercial Printing (except Screen and Books) |
| 2754 | Commercial Printing, Gravure | 323111 | Commercial Printing (except Screen and Books) |
| 2759 | Commercial Printing, Not Elsewhere Classified | 323111 | Commercial Printing (except Screen and Books) |
| 323113 | Commercial Screen Printing |
| 2761 | Manifold Business Forms | 323111 | Commercial Printing (except Screen and Books) |
| 2771 | Greeting Cards | 323111 | Commercial Printing (except Screen and Books) |
| 323113 | Commercial Screen Printing |
| 511191 | Greeting Card Publishers |
| 2782 | Blankbooks, Looseleaf Binders and Devices | 323111 | Commercial Printing (except Screen and Books) |
| 2789 | Bookbinding and Related Work | 323120 | Support Activities for Printing |
| 2791 | Typesetting | 323120 | Support Activities for Printing |
| 2796 | Platemaking and Related Services | 323120 | Support Activities for Printing |

**SECTOR Y: RUBBER, MISCELLANEOUS PLASTIC PRODUCTS, AND MISCELLANEOUS MANUFACTURING FACILITIES**

| **SIC Code** | **SIC Code Description** | **2017 NAICS Code** | **NAICS Code Description** |
| --- | --- | --- | --- |
| 3011 | Tires and Inner Tubes | 326211 | Tire Manufacturing (except Retreading) |
| 3021 | Rubber and Plastics Footwear | 316210 | Footwear Manufacturing |
| 3052 | Rubber and Plastics Hose and Belting | 326220 | Rubber and Plastics Hoses and Belting Manufacturing |
| 3053 | Gaskets, Packing, and Sealing Devices | 339991 | Gaskets, Packing, and Sealing Device Manufacturing |
| 3061 | Molded, Extruded, and Lathe-Cut Mechanical Rubber Goods | 326291 | Rubber Product Manufacturing for Mechanical Use |
| 326299 | All Other Rubber Product Manufacturing |
| 3069 | Fabricated Rubber Products, Not Elsewhere Classified | 313320 | Fabric Coating Mills |
| 314910 | Textile Bag and Canvas Mills |
| 315280 | All Other Cut and Sew Apparel Manufacturing |
| 315990 | Apparel Accessories and Other Apparel Manufacturing |
| 326199 | All Other Plastics Product Manufacturing |
| 326299 | All Other Rubber Product Manufacturing |
| 336612 | Boat Building |
| 339113 | Surgical Appliance and Supplies Manufacturing |
| 339920 | Sporting and Athletic Goods Manufacturing |
| 339930 | Doll, Toy, and Game Manufacturing |
| 3081 | Unsupported Plastics Film and Sheet | 326113 | Unlaminated Plastics Film and Sheet (except Packaging) Manufacturing |
| 3082 | Unsupported Plastics Profile Shapes | 326121 | Unlaminated Plastics Profile Shape Manufacturing |
| 3083 | Laminated Plastics Plate, Sheet, and Profile Shapes | 326130 | Laminated Plastics Plate, Sheet (except Packaging), and Shape Manufacturing |
| 3084 | Plastics Pipe | 326122 | Plastics Pipe and Pipe Fitting Manufacturing |
| 3085 | Plastics Bottles | 326160 | Plastics Bottle Manufacturing |
| 3086 | Plastics Foam Products | 326140 | Polystyrene Foam Product Manufacturing |
| 326150 | Urethane and Other Foam Product (except Polystyrene) Manufacturing |
| 3087 | Custom Compounding of Purchased Plastics Resins | 325991 | Custom Compounding of Purchased Resins |
| 3088 | Plastics Plumbing Fixtures | 326191 | Plastics Plumbing Fixture Manufacturing |
| 3089 | Plastics Products, Not Elsewhere Classified | 326121 | Unlaminated Plastics Profile Shape Manufacturing |
| 326122 | Plastics Pipe and Pipe Fitting Manufacturing |
| 326199 | All Other Plastics Product Manufacturing |
| 336612 | Boat Building |
| 337215 | Showcase, Partition, Shelving, and Locker Manufacturing |
| 339113 | Surgical Appliance and Supplies Manufacturing |
| 3931 | Musical Instruments | 339992 | Musical Instrument Manufacturing |
| 3942 | Dolls and Stuffed Toys | 339930 | Doll, Toy, and Game Manufacturing |
| 3944 | Games, Toys, and Children’s Vehicles, Excludes Dolls and Bicycles | 336991 | Motorcycle, Bicycle, and Parts Manufacturing |
| 339930 | Doll, Toy, and Game Manufacturing |
| 3949 | Sporting and Athletic Goods, Not Elsewhere Classified | 339920 | Sporting and Athletic Goods Manufacturing |
| 3951 | Pens, Mechanical Pencils, and Parts | 339940 | Office Supplies (except Paper) Manufacturing |
| 3953 | Marking Devices | 339940 | Office Supplies (except Paper) Manufacturing |
| 3955 | Carbon Paper and Inked Ribbons | 339940 | Office Supplies (except Paper) Manufacturing |
| 3961 | Costume Jewelry and Costume Novelties (Except Precious Metal) | 339910 | Jewelry and Silverware Manufacturing |
| 339993 | Fastener, Button, Needle, and Pin Manufacturing |
| 3965 | Fasteners, Buttons, Needles, and Pins | 339993 | Fastener, Button, Needle, and Pin Manufacturing |
| 3991 | Brooms and Brushes | 339994 | Broom, Brush, and Mop Manufacturing |
| 3993 | Signs and Advertising Specialties | 323113 | Commercial Screen Printing |
| 339950 | Sign Manufacturing |
| 3995 | Burial Caskets | 339995 | Burial Casket Manufacturing |
| 3996 | Linoleum, Asphalted-Felt-Base, and Other Hard Surface Floor Coverings, Not Elsewhere Classified | 326199 | All Other Plastics Product Manufacturing |
| 3999  3999 | Manufacturing Industries, Not Elsewhere Classified  Manufacturing Industries, Not Elsewhere Classified | 316110 | Leather and Hide Tanning and Finishing |
| 321999 | All Other Miscellaneous Wood Product Manufacturing |
| 325998 | All Other Miscellaneous Chemical Product and Preparation Manufacturing |
| 326199 | All Other Plastics Product Manufacturing |
| 332215 | Metal Kitchen Cookware, Utensil, Cutlery, and Flatware (except Precious) Manufacturing |
| 332216 | Saw Blade and Handtool Manufacturing |
| 332812 | Metal Coating, Engraving (except Jewelry and Silverware), and Allied Services to Manufacturers |
| 332999 | All Other Miscellaneous Fabricated Metal Product Manufacturing |
| 333318 | Other Commercial and Service Industry Machinery Manufacturing |
| 335121 | Residential Electric Lighting Fixture Manufacturing |
| 33521o | Small Electrical Appliance Manufacturing |
| 336612 | Boat Building |
| 337127 | Institutional Furniture Manufacturing |
| 339930 | Doll, Toy, and Game Manufacturing |
| 339999 | All Other Miscellaneous Manufacturing |

**SECTOR Z: LEATHER TANNING AND FINISHING**

| **SIC Code** | **SIC Code Description** | **2017 NAICS Code** | **NAICS Code Description** |
| --- | --- | --- | --- |
| 3111 | Leather Tanning and Finishing | 316110 | Leather and Hide Tanning and Finishing |

**SECTOR AA: FABRICATED METAL PRODUCTS FACILITIES**

| **SIC Code** | **SIC Code Description** | **2017 NAICS Code** | **NAICS Code Description** |
| --- | --- | --- | --- |
| 3411 | Metal Cans | 332431 | Metal Can Manufacturing |
| 3412 | Metal Shipping Barrels, Drums, Kegs, and Pails | 332439 | Other Metal Container Manufacturing |
| 3421 | Cutlery | 332215 | Metal Kitchen Cookware, Utensil, Cutlery, and Flatware (except Precious) Manufacturing |
| 332216 | Saw Blade and Handtool Manufacturing |
| 3423 | Hand and Edge Tools, Excludes Machine Tools and Handsaws | 332216 | Saw Blade and Handtool Manufacturing |
| 3425 | Saw Blades and Handsaws | 332216 | Saw Blade and Handtool Manufacturing |
| 3429 | Hardware, Not Elsewhere Classified | 332439 | Other Metal Container Manufacturing |
| 332510 | Hardware Manufacturing |
| 332722 | Bolt, Nut, Screw, Rivet, and Washer Manufacturing |
| 332919 | Other Metal Valve and Pipe Fitting Manufacturing |
| 332999 | All Other Miscellaneous Fabricated Metal Product Manufacturing |
| 333923 | Overhead Traveling Crane, Hoist, and Monorail System Manufacturing |
| 334519 | Other Measuring and Controlling Device Manufacturing |
| 336390 | Other Motor Vehicle Parts Manufacturing |
| 337215 | Showcase, Partition, Shelving, and Locker Manufacturing |
| 3431 | Enameled Iron and Metal Sanitary Ware | 332999 | [All Other Miscellaneous Fabricated Metal Product Manufacturing](https://www.naics.com/naics-code-description/?code=332999) |
| 3432 | Plumbing Fixture Fittings and Trim | 332913 | Plumbing Fixture Fitting and Trim [Manufacturing](https://www.naics.com/naics-code-description/?code=332913) |
| 332919 | Other Metal Valve and Pipe Fitting Manufacturing |
| 332999 | All Other Miscellaneous Fabricated Metal Product Manufacturing |
| 3433 | Heating Equipment, Except Electric and Warm Air Furnaces | 333414 | Heating Equipment (except Warm Air Furnaces) Manufacturing |
| 3441 | Fabricated Structural Metal | 332312 | Fabricated Structural Metal Manufacturing |
| 3442 | Metal Doors, Sash, Frames, Molding, and Trim Manufacturing | 332321 | Metal Window and Door Manufacturing |
| 3443 | Fabricated Plate Work (Boiler Shops) | 332313 | Plate Work Manufacturing |
| 332410 | Power Boiler and Heat Exchanger Manufacturing |
| 332420 | Metal Tank (Heavy Gauge) Manufacturing |
| 333415 | Air-Conditioning and Warm Air Heating Equipment and Commercial and Industrial Refrigeration Equipment Manufacturing |
| 3444 | Sheet Metal Work | 332321 | Metal Window and Door Manufacturing |
| 332322 | Sheet Metal Work Manufacturing |
| 332439 | Other Metal Container Manufacturing |
| 333415 | Air-Conditioning and Warm Air Heating Equipment and Commercial and Industrial Refrigeration Equipment Manufacturing |
| 3446 | Architectural and Ornamental Metal Work | 332323 | Ornamental and Architectural Metal Work Manufacturing |
| 3448 | Prefabricated Metal Buildings and Components | 332311 | Prefabricated Metal Building and Component Manufacturing |
| 3449 | Miscellaneous Structural Metal Work | 332114 | Custom Roll Forming |
| 332312 | Fabricated Structural Metal Manufacturing |
| 332323 | Ornamental and Architectural Metal Work Manufacturing |
| 3451 | Screw Machine Products | 332721 | Precision Turned Product Manufacturing |
| 3452 | Bolts, Nuts, Screws, Rivets, and Washers | 332722 | Bolt, Nut, Screw, Rivet, and Washer Manufacturing |
| 3462 | Iron and Steel Forgings | 332111 | Iron and Steel Forging |
| 3463 | Nonferrous Forgings | 332112 | Nonferrous Forging |
| 3465 | Automotive Stampings | 336370 | Motor Vehicle Metal Stamping |
| 3466 | Crowns and Closures | 332119 | Metal Crown, Closure, and Other Metal Stamping (except Automotive) |
| 3469 | Metal Stampings, Not Elsewhere Classified | 332119 | Metal Crown, Closure, and Other Metal Stamping (except Automotive) |
| 332215 | Metal Kitchen Cookware, Utensil, Cutlery, and Flatware (except Precious) Manufacturing |
| 332439 | Other Metal Container Manufacturing |
| 3471 | Electroplating, Plating, Polishing, Anodizing, and Coloring | 332813 | Electroplating, Plating, Polishing, Anodizing, and Coloring |
| 3479 | Coating, Engraving, and Allied Services, Not Elsewhere Classified | 332812 | Metal Coating, Engraving (except Jewelry and Silverware), and Allied Services to Manufacturers |
| 339910 | Jewelry and Silverware Manufacturing |
| 3482 | Small Arms Ammunition | 332992 | Small Arms Ammunition Manufacturing |
| 3483 | Ammunition, Excepts for Small Arms | 332993 | Ammunition (except Small Arms) Manufacturing |
| 3484 | Small Arms | 332994 | Small Arms, Ordnance, and Ordnance Accessories Manufacturing |
| 3489 | Ordnance and Accessories, Not Elsewhere Classified | 332994 | Small Arms, Ordnance, and Ordnance Accessories Manufacturing |
| 3491 | Industrial Valves | 332911 | Industrial Valve Manufacturing |
| 3492 | Fluid Power Valves and Hose Fittings | 332912 | Fluid Power Valve and Hose Fitting Manufacturing |
| 3493 | Steel Springs, Except Wire | 332613 | Spring Manufacturing |
| 3494 | Valves and Pipe Fittings, Not Elsewhere Classified | 332919 | Other Metal Valve and Pipe Fitting Manufacturing |
| 332999 | All Other Miscellaneous Fabricated Metal Product Manufacturing |
| 3495 | Wire Springs | 332613 | Spring Manufacturing |
| 334519 | Other Measuring and Controlling Device Manufacturing |
| 3496 | Miscellaneous Fabricated Wire Products | 332215 | Metal Kitchen Cookware, Utensil, Cutlery, and Flatware (except Precious) Manufacturing |
| 332618 | Other Fabricated Wire Product Manufacturing |
| 333924 | Industrial Truck, Tractor, Trailer, and Stacker Machinery Manufacturing |
| 3497 | Metal Foil and Leaf | 322220 | Paper Bag and Coated and Treated Paper Manufacturing |
| 332999 | All Other Miscellaneous Fabricated Metal Product Manufacturing |
| 3498 | Fabricated Pipe and Pipe Fittings | 332996 | Fabricated Pipe and Pipe Fitting Manufacturing |
| 3499  3499 | Fabricated Metal Products, Not Elsewhere Classified  Fabricated Metal Products, Not Elsewhere Classified | 332117 | Powder Metallurgy Part Manufacturing |
| 332439 | Other Metal Container Manufacturing |
| 332510 | Hardware Manufacturing |
| 332919 | Other Metal Valve and Pipe Fitting Manufacturing |
| 332999 | All Other Miscellaneous Fabricated Metal Product Manufacturing |
| 336360 | Motor Vehicle Seating and Interior Trim Manufacturing |
| 337215 | Showcase, Partition, Shelving, and Locker Manufacturing |
| 3911 | Jewelry, Precious Metal | 339910 | Jewelry and Silverware Manufacturing |
| 3914 | Silverware, Plated Ware, and Stainless Steel Ware | 332215 | Metal Kitchen Cookware, Utensil, Cutlery, and Flatware (except Precious) Manufacturing |
| 332999 | All Other Miscellaneous Fabricated Metal Product Manufacturing |
| 339910 | Jewelry and Silverware Manufacturing |
| 3915 | Jewelers’ Findings and Materials, and Lapidary Work | 334519 | Other Measuring and Controlling Device Manufacturing |
| 339910 | Jewelry and Silverware Manufacturing |

**SECTOR AB: TRANSPORTATION EQUIPMENT, INDUSTRIAL OR COMMERCIAL MACHINERY MANUFACTURING FACILITIES**

| **SIC Code** | **SIC Code Description** | **2017 NAICS Code** | **NAICS Code Description** |
| --- | --- | --- | --- |
| 3511 | Steam, Gas, and Hydraulic Turbines, and Turbine Generator Set Units | 333611 | Turbine and Turbine Generator Set Units Manufacturing |
| 3519 | Internal Combustion Engines, Not Elsewhere Classified | 333618 | Other Engine Equipment Manufacturing |
| 336390 | Other Motor Vehicle Parts Manufacturing |
| 3523 | Farm Machinery and Equipment | 332216 | Saw Blade and Handtool Manufacturing |
| 332323 | Ornamental and Architectural Metal Work Manufacturing |
| 333111 | Farm Machinery and Equipment Manufacturing |
| 333922 | Conveyor and Conveying Equipment Manufacturing |
| 3524 | Lawn and Garden Tractors and Home Lawn and Garden Equipment | 332216 | Saw Blade and Handtool Manufacturing |
| 333112 | Lawn and Garden Tractor and Home Lawn and Garden Equipment Manufacturing |
| 3531 | Construction Machinery and Equipment | 333120 | Construction Machinery Manufacturing |
| 333923 | Overhead Traveling Crane, Hoist, and Monorail System Manufacturing |
| 336510 | Railroad Rolling Stock Manufacturing |
| 3532 | Mining Machinery and Equipment, Except Oil and Gas Field Machinery and Equipment | 333131 | Mining Machinery and Equipment Manufacturing |
| 3533 | Oil and Gas Field Machinery and Equipment | 333132 | Oil and Gas Field Machinery and Equipment Manufacturing |
| 3534 | Elevators and Moving Stairways | 333921 | Elevators and Moving Stairway Manufacturing |
| 3535 | Conveyors and Conveying Equipment | 333922 | Conveyors and Conveying Equipment Manufacturing |
| 3536 | Overhead Traveling Cranes, Hoists, and Monorail Systems | 333923 | Overhead Traveling Cranes, Hoists, and Monorail System Manufacturing |
| 3537 | Industrial Trucks, Tractors, Trailers, and Stackers | 332439 | Other Metal Container Manufacturing |
| 332999 | All Other Miscellaneous Fabricated Metal Product Manufacturing |
| 333924 | Industrial Truck, Tractor, Trailer, and Stacker Machinery Manufacturing |
| 3541 | Machine Tools, Metal Cutting Types | 333517 | Machine Tool Manufacturing |
| 3542 | Machine Tools, Metal Forming Types | 333517 | Machine Tool Manufacturing |
| 3543 | Industrial Patterns | 332999 | All Other Miscellaneous Fabricated Metal Product Manufacturing |
| 3544 | Special Dies and Tools, Die Sets, Jigs and Fixtures, and Industrial Molds | 333511 | Industrial Mold Manufacturing |
| 333514 | Special Die and Tool, Die Set, Jig, and Fixture Manufacturing |
| 3545 | Cutting Tools, Machine Tool Accessories, and Machinists’ Precision Measuring Devices | 332216 | Saw Blade and Handtool Manufacturing |
| 333515 | Cutting Tool and Machine Tool Accessory Manufacturing |
| 3546 | Power-Driven Hand Tools | 333991 | Power-Driven Handtool Manufacturing |
| 3547 | Rolling Mill Machinery and Equipment | 333519 | Rolling Mill and Other Metalworking Machinery Manufacturing |
| 3548 | Electric and Gas Welding and Soldering Equipment | 333992 | Welding and Soldering Equipment Manufacturing |
| 335311 | Power, Distribution, and Specialty Transformer Manufacturing |
| 3549 | Metalworking Machinery, Not Elsewhere Classified | 333519 | Rolling Mill and Other Metalworking Machinery Manufacturing |
| 3552 | Textile Machinery | 333249 | Other Industrial Machinery Manufacturing |
| 3553 | Woodworking Machinery | 333243 | Sawmill, Woodworking, and Paper Machinery Manufacturing |
| 3554 | Paper Industries Machinery | 333243 | Sawmill, Woodworking, and Paper Machinery Manufacturing |
| 3555 | Printing Trades Machinery and Equipment | 333244 | Printing Machinery and Equipment Manufacturing |
| 3556 | Food Products Machinery | 333241 | Food Product Machinery Manufacturing |
| 3559 | Special Industry Machinery, Not Elsewhere Classified | 332410 | Power Boiler and Heat Exchanger Manufacturing |
| 333111 | Farm Machinery and Equipment Manufacturing |
| 333242 | Semiconductor Machinery Manufacturing |
| 333249 | Other Industrial Machinery Manufacturing |
| 333318 | Other Commercial and Service Industry Machinery Manufacturing |
| 3561 | Pumps and Pumping Equipment | 333914 | Measuring, Dispensing, and Other Pumping Equipment Manufacturing |
| 3562 | Ball and Roller Bearings | 332991 | Ball and Roller Bearing Manufacturing |
| 3563 | Air and Gas Compressors | 333912 | Air and Gas Compressor Manufacturing |
| 3564 | Industrial and Commercial Fans and Blowers and Air Purification Equipment | 333413 | Industrial and Commercial Fan and Blower and Air Purification Equipment Manufacturing |
| 3565 | Packaging Machinery | 333993 | Packaging Machinery Manufacturing |
| 3566 | Speed Changers, Industrial High-Speed Drives, and Gears | 333612 | Speed Changer, Industrial High-Speed Drives, and Gear Manufacturing |
| 3567 | Industrial Process Furnaces and Ovens | 333994 | Industrial Process Furnace and Oven Manufacturing |
| 3568 | Mechanical Power Transmission Equipment, Not Elsewhere Classified | 333613 | Mechanical Power Transmission Equipment Manufacturing |
| 3569 | General Industrial Machinery and Equipment, Not Elsewhere | 314999 | All Other Miscellaneous Textile Product Mills |
| 333414 | Heating Equipment (except Warm Air Furnaces) Manufacturing |
| 333999 | All Other Miscellaneous General Purpose Machinery Manufacturing |
| 3581 | Automatic Vending Machines | 333318 | Other Commercial and Service Industry Machinery Manufacturing |
| 3582 | Commercial Laundry, Dry Cleaning, and Pressing Machines | 333318 | Other Commercial and Service Industry Machinery Manufacturing |
| 3585 | Air-Conditioning and Warm Air Heating Equipment and Commercial and Industrial Refrigeration Equipment | 333415 | Air-Conditioning and Warm Air Heating Equipment and Commercial and Industrial Refrigeration Equipment Manufacturing |
| 336390 | Other Motor Vehicle Parts Manufacturing |
| 3586 | Measuring and Dispensing Pumps | 333914 | Measuring, Dispensing, and Other Pumping Equipment Manufacturing |
| 3589 | Service Industry Machinery, Not Elsewhere Classified | 333318 | Other Commercial and Service Industry Machinery Manufacturing |
| 3592 | Carburetors, Pistons, Piston Rings, and Valves | 336310 | Motor Vehicle Gasoline Engine and Engine Parts Manufacturing |
| 3593 | Fluid Power Cylinders and Actuators | 333995 | Fluid Power Cylinder and Actuator Manufacturing |
| 3594 | Fluid Power Pumps and Motors | 333996 | Fluid Power Pumps and Motor Manufacturing |
| 3596 | Scales and Balances, Except Laboratory | 333997 | Scale and Balance Manufacturing |
| 3599 | Industrial and Commercial Machinery and Equipment, Not Elsewhere Classified | 332710 | Machine Shops |
| 332813 | Electroplating, Plating, Polishing, Anodizing and Coloring |
| 332999 | All Other Miscellaneous Fabricated Metal Product Manufacturing |
| 333318 | Other Commercial and Service Industry Machinery Manufacturing |
| 333999 | All Other Miscellaneous General Purpose Machinery Manufacturing |
| 334519 | Other Measuring and Controlling Device Manufacturing |
| 336390 | All Other Motor Vehicle Parts Manufacturing |
| 3711 | Motor Vehicles and Passenger Car Bodies | 336111 | Automobile Manufacturing |
| 336112 | Light Truck and Utility Vehicle Manufacturing |
| 336120 | Heavy Duty Truck Manufacturing |
| 336211 | Motor Vehicle Body Manufacturing |
| 336992 | Military Armored Vehicle, Tank, and Tank Component Manufacturing |
| 3713 | Truck and Bus Bodies | 336211 | Motor Vehicle Body Manufacturing |
| 3714  3714 | Motor Vehicle Parts and Accessories  Motor Vehicle Parts and Accessories | 336211 | Motor Vehicle Body Manufacturing |
| 336310 | Motor Vehicle Gasoline Engine and Engine Parts Manufacturing |
| 336320 | Motor Vehicle Electrical and Electronic Equipment Manufacturing |
| 336330 | Motor Vehicle Steering and Suspension Components (except Spring) Manufacturing |
| 336340 | Motor Vehicle Brake System Manufacturing |
| 336350 | Motor Vehicle Transmission and Power Train Parts Manufacturing |
| 336390 | Other Motor Vehicle Parts Manufacturing |
| 3715 | Truck Trailers | 336212 | Truck and Trailer Manufacturing |
| 3716 | Motor Homes | 336213 | Motor Home Manufacturing |
| 3721 | Aircraft | 336411 | Aircraft Manufacturing |
| 3724 | Aircraft Engines and Engine Parts | 336412 | Aircraft Engine and Engine Parts Manufacturing |
| 3728 | Aircraft Parts and Auxiliary Equipment, Not Elsewhere Classified | 332912 | Fluid Power Valve and Hose Fitting Manufacturing |
| 336411 | Aircraft Manufacturing |
| 336413 | Other Aircraft Part and Auxiliary Equipment Manufacturing |
| 3743 | Railroad Equipment | 333914 | Measuring, Dispensing, and Other Pumping Equipment Manufacturing |
| 336510 | Railroad Rolling Stock Manufacturing |
| 3751 | Motorcycles, Bicycles, and Parts | 336991 | Motorcycle, Bicycle, and Parts Manufacturing |
| 3761 | Guided Missiles and Space Vehicles | 336414 | Guided Missile and Space Vehicle Manufacturing |
| 3764 | Guided Missile and Space Vehicle Propulsion Units and Propulsion Unit Parts | 336415 | Guided Missile and Space Vehicle Propulsion Unit and Propulsion Unit Parts Manufacturing |
| 3769 | Guided Missile and Space Vehicle Parts and Auxiliary Equipment, Not Elsewhere Classified | 336419 | Other Guided Missile and Space Vehicle Parts and Auxiliary Equipment Manufacturing |
| 3792 | Travel Trailers and Campers | 336214 | Travel Trailer and Camper Manufacturing |
| 3795 | Tanks and Tank Components | 336992 | Military Armored Vehicle, Tank, and Tank Component Manufacturing |
| 3799 | Transportation Equipment, Not Elsewhere Classified | 333924 | Industrial Truck, Tractor, Trailer, and Stacker Machinery Manufacturing |
| 336214 | Travel Trailer and Camper Manufacturing |
| 336390 | Other Motor Vehicle Parts Manufacturing |
| 336999 | All Other Transportation Equipment Manufacturing |

**SECTOR AC: ELECTRONIC, ELECTRICAL, PHOTOGRAPHIC, AND OPTICAL GOODS**

| **SIC Code** | **SIC Code Description** | **2017 NAICS Code** | **NAICS Code Description** |
| --- | --- | --- | --- |
| 3571 | Electronic Computers | 334111 | Electronic Computer Manufacturing |
| 3572 | Computer Storage Devices | 334112 | Computer Storage Device Manufacturing |
| 3575 | Computer Terminals | 334118 | Computer Terminal and Other Computer Peripheral Equipment Manufacturing |
| 3577 | Computer Peripheral Equipment, Not Elsewhere Classified | 333316 | Photographic and Photocopying Equipment Manufacturing |
| 334118 | Computer Terminal and Other Computer Peripheral Equipment Manufacturing |
| 334418 | Printed Circuit Assembly (Electronic Assembly) Manufacturing |
| 334613 | Blank Magnetic and Optical Recording Media Manufacturing |
| 3578 | Calculating and Accounting Machines, Except Electronic Computers | 333316 | Photographic and Photocopying Equipment Manufacturing |
| 333318 | Other Commercial and Service Industry Machinery Manufacturing |
| 334118 | Computer Terminal and Other Computer Peripheral Equipment Manufacturing |
| 3579 | Office Machines, Not Elsewhere Classified | 333318 | Other Commercial and Service Industry Machinery Manufacturing |
| 334519 | Other Measuring and Controlling Device Manufacturing |
| 339940 | Office Supplies (except Paper) Manufacturing |
| 3612 | Power, Distribution, and Specialty Transformers | 335311 | Power, Distribution, and Specialty Transformer Manufacturing |
| 3613 | Switchgear and Switchboard Apparatus | 335313 | Switchgear and Switchboard Apparatus Manufacturing |
| 3621 | Motors and Generators | 335312 | Motors and Generator Manufacturing |
| 3624 | Carbon and Graphite Products | 335991 | Carbon and Graphite Product Manufacturing |
| 3625 | Relays and Industrial Controls | 335314 | Relay and Industrial Control Manufacturing |
| 3629 | Electrical Industrial Apparatus, Not Elsewhere Classified | 335999 | All Other Miscellaneous Electrical Equipment and Component Manufacturing |
| 3631 | Household Cooking Equipment | 335220 | Major Household Appliance Manufacturing |
| 3632 | Household Refrigerators and Home and Farm Freezers | 335220 | Major Household Appliance Manufacturing |
| 3633 | Household Laundry Equipment | 335220 | Major Household Appliance Manufacturing |
| 3634 | Electric Housewares and Fans | 333414 | Heating Equipment (except Warm Air Furnaces) Manufacturing |
| 335210 | Small Electrical Appliance Manufacturing |
| 339999 | All Other Miscellaneous Manufacturing |
| 3635 | Household Vacuum Cleaners | 335210 | Small Electrical Appliance Manufacturing |
| 3639 | Household Appliances, Not Elsewhere Classified | 333249 | Other Industrial Machinery Manufacturing |
| 335210 | Small Electrical Appliance Manufacturing |
| 335220 | Major Household Appliance Manufacturing |
| 3641 | Electric Lamp Bulbs and Tubes | 335110 | Electric Lamp Bulbs and Part Manufacturing |
| 3643 | Current-Carrying Wiring Devices | 335931 | Current-Carrying Wiring Device Manufacturing |
| 3644 | Noncurrent-Carrying Wiring Devices | 332216 | Saw Blade and Handtool Manufacturing |
| 335932 | Noncurrent-Carrying Wiring Device Manufacturing |
| 3645 | Residential Electric Lighting Fixtures | 335121 | Residential Electric Lighting Fixture Manufacturing |
| 3646 | Commercial, Industrial, and Institutional Electric Lighting Fixtures | 335122 | Commercial, Industrial, and Institutional Electric Lighting Fixture Manufacturing |
| 3647 | Vehicular Lighting Equipment | 336320 | Motor Vehicle Electrical and Electronic Equipment Manufacturing |
| 3648 | Lighting Equipment, Not Elsewhere Classified | 335129 | Other Lighting Equipment Manufacturing |
| 3651 | Household Audio and Video Equipment | 334310 | Audio and Video Equipment Manufacturing |
| 3652 | Phonograph Records and Prerecorded Audio Tapes and Disk | 334614 | Software and Other Prerecorded Compact Disc, Tape, and Record Reproducing |
| 512250 | Record Production and Distribution |
| 3661 | Telephone and Telegraph Apparatus | 334210 | Telephone Apparatus Manufacturing |
| 334418 | Printed Circuit Assembly (Electronic Assembly) Manufacturing |
| 3663 | Radio and Television Broadcasting and Communications Equipment | 334220 | Radio and Television Broadcasting and Wireless Communications Equipment Manufacturing |
| 334515 | Instrument Manufacturing for Measuring and Testing Electricity and Electrical Signals |
| 3669 | Communications Equipment, Not Elsewhere Classified | 334290 | Other Communications Equipment Manufacturing |
| 3671 | Electron Tubes | 334419 | Other Electronic Component Manufacturing |
| 3672 | Printed Circuit Boards | 334412 | Bare Printed Circuit Board Manufacturing |
| 3674 | Semiconductors and Related Devices | 334413 | Semiconductor and Related Device Manufacturing |
| 3675 | Electronic Capacitors | 334416 | Capacitor, Resistor, Coil, Transformer, and Other Inductor Manufacturing |
| 3676 | Electronic Resistors | 334416 | Capacitor, Resistor, Coil, Transformer, and Other Inductor Manufacturing |
| 3677 | Electronic Coils, Transformers, and Other Inductors | 334416 | Capacitor, Resistor, Coil, Transformer, and Other Inductor Manufacturing |
| 3678 | Electronic Connectors | 334417 | Electronic Connector Manufacturing |
| 3679 | Electronic Components, Not Elsewhere Classified | 334220 | Radio and Television Broadcasting and Wireless Communications Equipment Manufacturing |
| 334310 | Audio and Video Equipment Manufacturing |
| 334418 | Printed Circuit Assembly (Electronic Assembly) Manufacturing |
| 334419 | Other Electronic Component Manufacturing |
| 334515 | Instrument Manufacturing for Measuring and Testing Electricity and Electrical Signals |
| 3691 | Storage Batteries | 335911 | Storage Battery Manufacturing |
| 3692 | Primary Batteries, Dry and Wet | 335912 | Primary Battery Manufacturing |
| 3694 | Electrical Equipment for Internal Combustion Engines | 336320 | Motor Vehicle Electrical and Electronic Equipment Manufacturing |
| 3695 | Magnetic and Optical Recording Media | 334613 | Blank Magnetic and Optical Recording Media Manufacturing |
| 3699  3699 | Electrical Machinery, Equipment, and Supplies, Not Elsewhere  Electrical Machinery, Equipment, and Supplies, Not Elsewhere | 333318 | Other Commercial and Service Industry Machinery Manufacturing |
| 333618 | Other Engine Equipment Manufacturing |
| 333992 | Welding and Soldering Equipment Manufacturing |
| 335129 | Other Lighting Equipment Manufacturing |
| 335999 | All Other Miscellaneous Electrical Equipment and Component Manufacturing |
| 3812 | Search, Detection, Navigation, Guidance, Aeronautical, and Nautical Systems and Instruments | 334511 | Search, Detection, Navigation, Guidance, Aeronautical, and Nautical System and Instrument  [Manufacturing](https://www.naics.com/naics-code-description/?code=334511) |
| 3821 | Laboratory Apparatus and Furniture | 333249 | Other Industrial Machinery Manufacturing |
| 333415 | Air-Conditioning and Warm Air Heating Equipment and Commercial and Industrial Refrigeration Equipment Manufacturing |
| 333994 | Industrial Process Furnace and Oven Manufacturing |
| 333997 | Scale and Balance Manufacturing |
| 333999 | All Other Miscellaneous General Purpose Machinery Manufacturing |
| 337127 | Institutional Furniture Manufacturing |
| 339113 | Surgical Appliance and Supplies Manufacturing |
| 3822 | Automatic Controls for Regulating Residential and Commercial Environments and Appliances | 334512 | Automatic Environmental Control Manufacturing for Residential, Commercial, and Appliance Use |
| 3823 | Industrial Instruments for Measurement, Display, and Control of Process Variables; and Related Products | 334513 | Instruments and Related Products Manufacturing for Measuring, Displaying, and Controlling Industrial Process Variables |
| 3824 | Totalizing Fluid Meters and Counting Devices | 334514 | Totalizing Fluid Meter and Counting Device Manufacturing |
| 3825 | Instruments for Measuring and Testing of Electricity and Electrical Signals | 334514 | Totalizing Fluid Meter and Counting Device Manufacturing |
| 334515 | Instrument Manufacturing for Measuring and Testing Electricity and Electrical Signals |
| 3826 | Laboratory Analytical Instruments | 334516 | Analytical Laboratory Instrument Manufacturing |
| 3827 | Optical Instruments and Lenses | 333314 | Optical Instruments and Lens Manufacturing |
| 3829 | Measuring and Controlling Devices, Not Elsewhere Classified | 334514 | Totalizing Fluid Meter and Counting Device Manufacturing |
| 334519 | Other Measuring and Controlling Device Manufacturing |
| 339112 | Surgical and Medical Instrument Manufacturing |
| 3841  3841 | Surgical and Medical Instruments and Apparatus  Surgical and Medical Instruments and Apparatus | 332994 | Small Arms, Ordnance, and Ordnance Accessories Manufacturing |
| 333249 | Other Industrial Machinery Manufacturing |
| 333415 | Air-Conditioning and Warm Air Heating Equipment and Commercial and Industrial Refrigeration Equipment Manufacturing |
| 333994 | Industrial Process Furnace and Oven Manufacturing |
| 333997 | Scale and Balance Manufacturing |
| 333999 | All Other Miscellaneous General Purpose Machinery Manufacturing |
| 337127 | Institutional Furniture Manufacturing |
| 339112 | Surgical and Medical Instrument Manufacturing |
| 339113 | Surgical Appliance and Supplies Manufacturing |
| 3842 | Orthopedic, Prosthetic, and Surgical Appliances and Supplies | 322291 | Sanitary Paper Product Manufacturing |
| 334510 | Electromedical and Electrotherapeutic Apparatus Manufacturing |
| 339113 | Surgical Appliance and Supplies Manufacturing |
| 339999 | All Other Miscellaneous Manufacturing |
| 3843 | Dental Equipment and Supplies | 339114 | Dental Equipment and Supplies Manufacturing |
| 3844 | X-Ray Apparatus and Tubes and Related Irradiation Apparatus | 334517 | Irradiation Apparatus Manufacturing |
| 3845 | Electromedical and Electrotherapeutic Apparatus | 334510 | Electromedical and Electrotherapeutic Apparatus Manufacturing |
| 334517 | Irradiation Apparatus Manufacturing |
| 3851 | Ophthalmic Goods | 339113 | Surgical Appliance and Supplies Manufacturing |
| 339115 | Ophthalmic Goods Manufacturing |
| 3861 | Photographic Equipment and Supplies | 325992 | Photographic Film, Paper, Plate, and Chemical Manufacturing |
| 333316 | Photographic and Photocopying Equipment Manufacturing |
| 3873 | Watches, Clocks, Clockwork Operated Devices, and Parts | 334519 | Other Measuring and Controlling Device Manufacturing |

**SECTOR AD: MISCELLANEOUS INDUSTRIAL ACTIVITIES**

Activity Codes and Description of Industry

Limited to facilities that are designated by the executive director as needing a permit to control pollution related to stormwater discharges and that do not meet the description of an industrial activity covered by Sectors A-AC.

### ****Miscellaneous Industrial Activities****

Sector AD is used to provide permit coverage for facilities that are designated by the executive director as needing a permit to control pollution related to stormwater discharges and do not meet the description of an industrial activity covered by Sectors A through AC. A facility that is not otherwise listed in Part V of this general permit is not eligible to apply for coverage under Sector AD, unless directed to do so in writing by the executive director.

### ****Co-located Industrial Activities****

A facility operator is required to either obtain authorization under this general permit, under an individual TPDES stormwater permit, or under an alternative general permit if the facility meets one or more of the criteria listed in Part II, Section A.1.(a) above. If these facilities have additional activities that are described by a secondary SIC code that is listed in the table above, then these additional activities are described as co-located industrial activities. Stormwater discharges from co-located industrial activities may be authorized under this general permit provided that the operator complies with all of the sector-specific requirements defined in Part V of this general permit for each of these co-located activities. The sector specific requirements apply only to the portion of the facility where that specific sector of activity occurs, except where runoff from different activities combines before leaving the property. In cases where these discharges combine, the monitoring requirements and effluent limitations from each sector that contributes runoff to the discharge must be met.

### ****Co-located Industrial Facilities****

A facility operator is required to either obtain authorization under this general permit, under an individual TPDES stormwater permit, or under an alternative general permit if the facility meets one or more of the criteria in Part II, Section A.1.(a) above. Multiple industrial facilities may be described as “co-located” if they share a common property boundary. If authorization under this general permit is sought, the operator of each of co-located facility must individually obtain authorization to discharge under this general permit.

Each co-located facility will be issued a distinct authorization number. Each co-located industrial facility operator may either develop a separate stormwater pollution prevention plan (SWP3 or plan) or may participate in a shared SWP3. Co-located industrial facilities that develop a shared SWP3 must develop the SWP3 to meet the requirements stated in Parts III and V of this general permit, in addition to the following:

1. Participants. The SWP3 must clearly list the name and authorization number (when known) for each facility that participates in the shared SWP3. Each participant in the shared plan must sign the SWP3 according to 30 TAC §305.128 (relating to Signatories to Reports.)
2. Responsibilities. The SWP3 must clearly indicate which permittee is responsible for performing each shared element of the SWP3. If the responsibility for performing an element is not described in the plan, then each permittee is entirely responsible for performing the element within the boundaries of its facility and in any common or shared area. The SWP3 must clearly describe responsibilities for meeting each element in shared or common areas.
3. Site Map. The site map must clearly delineate the boundaries around each co-located industrial facility and the boundaries around shared or common areas that are used by two or more facilities.

Co-located facilities may alternatively obtain a conditional exclusion based on no-exposure, in accordance with Part II, Section C. of this general permit, if applicable.

### ****Requirements for Military Installations and Other Publicly Owned Facilities****

1. Stormwater discharges from military or other public installations or government institutions that conduct any industrial activities described by an SIC code or an Industrial Activity Code that is listed in Part II, Section A.1. and Part V of this general permit, or that otherwise meet the conditions described in Part II, Section A.1.(a) relating to the need for a permit, must either be authorized under this general permit, an individual TPDES stormwater permit, or an alternative general permit. For example, the SIC code of military installations is 9711 and the SIC code for universities is 8221, neither of which are listed in this general permit; however, the need for a permit will be based on individual activities that occur at the installation.
2. Other publicly operated facilities (i.e., stand-alone facilities) that conduct activities described under Part II, Section A.1. of this general permit must meet the conditions of the general permit for those regulated activities. For example, a city-operated landfill would be described by Industrial Activity Code LF and would need a permit, and a county-operated bus maintenance facility would fall under SIC Code 4111 or 4173 and would also need a permit. However, the general vehicle maintenance shop for a city’s motor pool would not typically be regulated unless the vehicles being maintained would classify the maintenance yard under an SIC code in the 4100 or 4200 series (for example if the city motor pool also maintains the city’s public transportation busses and the yard performs at least 50% of its maintenance activities on the city’s public transportation busses).

### Non-Stormwater Discharges

Industrial facilities that qualify for coverage under this general permit may discharge the following non-stormwater discharges through outfalls identified in the SWP3, according to the requirements of this general permit:

1. discharges from emergency firefighting activities;
2. uncontaminated fire hydrant flushings (excluding discharges of hyperchlorinated water, unless the water is first dechlorinated and discharges are not expected to adversely affect aquatic life);
3. potable water sources (excluding discharges of hyperchlorinated water, unless the water is first dechlorinated and discharges are not expected to adversely affect aquatic life);
4. lawn watering and similar irrigation drainage, provided that all pesticides, herbicides, and fertilizer have been applied in accordance with the approved labeling;
5. water from the routine external washing of buildings, conducted without the use of detergents or other chemicals;
6. water from the routine washing of pavement conducted without the use of detergents or other chemicals and where spills or leaks of toxic or hazardous materials have not occurred (unless all spilled material has been removed);
7. uncontaminated air conditioner condensate, compressor condensate, and steam condensate, and condensate from the outside storage of refrigerated gases or liquids;
8. water from foundation or footing drains where flows are not contaminated with pollutants (e.g., process materials, solvents, and other pollutants);
9. uncontaminated water used for dust suppression;
10. springs and other uncontaminated groundwater;
11. incidental windblown mist from cooling towers that collects on rooftops or adjacent portions of the facility, but excluding intentional discharges from the cooling tower (e.g., “piped” cooling tower blowdown or drains); and
12. other discharges described in Part V of this permit that are subject to effluent guidelines and effluent limitations.

## Limitations on Permit Coverage

### Suspension or Revocation of Permit Coverage

Authorization under this general permit may be suspended or revoked for cause. Filing a notice of planned changes or anticipated non-compliance by the permittee does not stay any permit condition. The permittee shall furnish to the executive director, upon request, any information necessary for the executive director to determine whether cause exists for revoking, suspending, or terminating authorization under this permit. Additionally, the permittee shall provide to the executive director, upon request, copies of all records that the permittee is required to maintain as a condition of the permit.

Failure to comply with any permit condition is a violation of the permit and the statutes under which it was issued, and is grounds for enforcement action, revoking coverage under this general permit, or requiring the permittee to apply for and obtain an individual TPDES permit or alternative general permit.

### Discharges Authorized by Another TPDES Permit

Discharges authorized by an individual TPDES permit or another general TPDES permit may only be authorized under this TPDES general permit if all of the following conditions are met:

1. the discharges meet the applicability and eligibility requirements for coverage under this general permit;
2. the individual or alternative general permit does not contain numeric water quality-based effluent limitations for the discharge (unless industrial activities that resulted in the limitations have ceased and any contamination that resulted in these limitations has been removed or remediated);
3. specific BMP requirements of the current individual permit are continued as a provision of the SWP3;
4. the executive director has not determined that continued coverage under an individual permit is required based on consideration of a TMDL model, anti-backsliding policy, history of substantive non-compliance or other considerations and requirements of 30 TAC Chapter 205, or other site-specific considerations; and
5. a previous application or permit for the discharges was not denied, terminated, or revoked by the executive director as a result of enforcement or water quality related concerns. The executive director may provide a waiver to this provision based on new circumstances at the facility or if the operations of the facility are the responsibility of a new operator.

### Stormwater Discharges from Construction Activity

Stormwater discharges associated with construction activities are not eligible for authorization under this general permit. Discharges of stormwater that are regulated under this permit and that combine with stormwater from construction activities are not eligible for coverage under this general permit unless the construction site runoff meets one of the following conditions:

1. authorization is under a separate TPDES permit;
2. authorization is under a separate NPDES permit; or
3. TPDES or NPDES permit coverage is not required.

### Exempt Oil and Gas Activities

CWA §402(l)(2) provides that stormwater discharges from industrial activities related to oil and gas exploration, production, processing, or treatment operations, or transmission facilities are exempt from regulation under this permit. The term “oil and gas exploration, production, processing, or treatment operations, or transmission facilities” is defined in 33 U.S. Code Annotated §1362(24). The CWA exemption also applies to industrial stormwater discharges from mines.

As described in 40 CFR §122.26(c)(1)(iii) [*regulations prior to 2006*], discharges from oil and gas industrial activities are waived from CWA §402(l)(2) permit coverage *unless* the industrial activity has had a discharge of stormwater resulting in the discharge of a reportable quantity of oil or hazardous substances or the discharge contributes to a violation of water quality standards.

Exempt oil and gas activities which have lost their exemption as a result of one of the above discharges, must obtain permit coverage under this general permit, an alternative general permit, or a TPDES individual permit prior to the next discharge.

### Stormwater Discharges from Salt Storage Piles

Stormwater that contacts salt storage piles (e.g., salt for deicing or other commercial or industrial purposes) may not be discharged to surface water in the state under authority of this general permit. Stormwater that contacts salt storage piles must be discharged under the authority of an individual TPDES permit or alternative general permit, or must be captured within a containment structure. Stormwater that contacts salt storage piles and is captured must either be disposed of in a manner that does not allow a discharge into or adjacent to water in the state, or in a manner otherwise approved by the executive director.

The permittee(s) shall prevent exposure of salt storage piles, or piles containing salt, used for deicing or other commercial or industrial purposes, including maintenance of paved surfaces. This material must be enclosed or covered. Appropriate BMPs (e.g., good housekeeping, diversions, containment) must be implemented to minimize exposure resulting from adding to or removing materials from the pile(s).

### Discharges of Stormwater Mixed with Non-Stormwater

Stormwater discharges associated with industrial activity that combine with sources of non-stormwater are not eligible for coverage by this general permit, unless either the non-stormwater source is described in Part II, Section A.6. of this permit or the non-stormwater source is authorized under a separate TPDES permit.

### Compliance with Water Quality Standards

Discharges that would cause or contribute to a violation of Texas Surface Water Quality Standards, or that would fail to protect and maintain existing designated uses of receiving waters are not eligible for coverage under this general permit. The executive director may require an application for an individual permit or alternative general permit to authorize discharges of stormwater from any industrial facility that is determined to cause a violation of surface water quality standards or is found to cause, or contribute to, the loss of a designated use of receiving waters.

### Impaired Water Bodies and Total Maximum Daily Load (TMDL) Requirements

Discharges of the pollutant(s) of concern to impaired water bodies where there is a TMDL are not eligible for coverage under this permit, unless they are consistent with the EPA-approved TMDL. Permittees must incorporate the limitations, conditions, and requirements applicable to their discharges, including monitoring frequency and reporting required by TCEQ rules, into their SWP3 in order to be eligible for MSGP permit coverage.

A discharge into an impaired water body is one where the discharge is directly to a water body that is either identified on the latest EPA-approved CWA Section 303(d) List, the Texas Integrated Report of Surface Water Quality for CWA Sections 305(b) and 303(d) or is covered by an EPA-approved TMDL. For stormwater that first enters a storm sewer system prior to discharge, the determination is made by the identity of the first body of water the discharge enters upon exiting the storm sewer system.

1. The permittee shall determine whether the permitted authorized discharge is to an impaired water body on the latest EPA-approved CWA Section 303(d) List, or waters with an EPA-approved or established TMDL that are found on the latest EPA-approved Texas Integrated Report of Surface Water Quality for CWA Sections 305(b) and 303(d) as not meeting applicable Texas Surface Water Quality Standards.
2. New Discharges to Water Quality Impaired Water Bodies

For a new discharge to an impaired water body, the permittee shall either:

* 1. Prevent exposure to stormwater of the pollutant(s) for which the water body is impaired (i.e., the pollutant(s) of concern), and retain on-site documentation of the preventive measures within the SWP3;
  2. Document that the pollutant(s) for which the water body is impaired is/are not present in the regulated industrial activity at the site, and retain documentation of this finding in the SWP3 (e.g., if the pollutant of concern is bacteria, but the only identifiable source of bacteria that is wildlife occurring on the property, then the bacteria levels could be considered “background” for the purposes of this permit requirement); or
  3. Obtain analytical data to support a showing that the discharge is not expected to cause or contribute to an exceedance of a water quality standard. The data and technical evaluation must demonstrate that the discharge of the pollutant of concern for which the water is impaired is below the level of concern (e.g., benchmark value). If the pollutant of concern is present above the level of concern, the permittee must follow the requirements in Part II, Section B.7.(b)(3) e. below. Data and supporting technical information must be retained with the SWP3. The permittee shall use the following method to demonstrate this finding, unless an alternate method is authorized by the TCEQ in writing:
     1. The permittee shall collect one or more representative sample(s) of stormwater in accordance with Part III, Section D.2. of this general permit, and analyze the sample(s) for the pollutant of concern (e.g., hazardous metals, bacteria, nutrients, etc.).

For example, if the pollutant of concern is bacteria, the permittee shall sample for E. coli if discharging to freshwater, and enterococci if discharging to salt water. If the impairment is due to low dissolved oxygen (DO), the permittee shall monitor for BOD, COD, or both, based on the nature of the industrial activity, or in accordance with guidance provided by the TCEQ (e.g., information may be sent in writing directly to the permittee on request, or may be available on the TCEQ’s TPDES stormwater webpages). If the impairment is due to nutrients, the permittee shall sample for total phosphorous if the discharge is to freshwater and for total nitrogen if the discharge is to salt water.

If the impairment is due to a parameter for which there is not a clear analytical testing protocol (e.g., sediment, fish tissue, etc.), the permittee shall contact the TCEQ for guidance on which pollutant(s), if any, to monitor for, and the TCEQ will respond in writing to the permittee. This documentation must be retained in the SWP3.

* + 1. If the facility operator is not able to collect a sample because the facility is not yet in operation, then the operator may submit an application to obtain coverage prior to sampling. The permittee shall collect the representative sample(s) from the first available discharge after commencing operation.
    2. The permittee shall compare the analytical results with the benchmark monitoring levels found in the facility’s applicable sector located in Part IV of this general permit. Where a benchmark result is not available, the permittee shall compare the results to the water quality criteria in 30 TAC Chapter 307, or to the minimum analytical level (MAL). The pollutant is not considered to be present within the discharge when not detected above the MAL. The pollutant is considered below the level of concern when sampling results are below benchmark levels, the applicable water quality criteria, or natural background levels.
    3. If the first-year sampling results indicate that the discharge is below the level of concern or is not present in the discharge, then no additional sampling for the pollutant of concern is required.
    4. If sampling results indicate that the pollutant of concern is present in the discharge at a level of concern, then the permittee shall perform the following activities:
       1. Monitor the discharge in accordance with Part III, Section B.4., “Water Quality Monitoring Requirements,” and
       2. Revise the SWP3 to address controls that the permittee will utilize to reduce the discharge of the pollutant of concern.
  1. A new discharge is not eligible for coverage under this permit for discharges to waters designated by the Texas Surface Water Quality Standards as Tier 3.

1. Existing Discharges to Impaired Water Bodies with an approved TMDL.

An existing discharge to an impaired water body with an approved TMDL may only be authorized under this general permit if the permittee complies with additional controls required by the TCEQ in the TMDL, the TMDL Implementation Plan, or as otherwise directed by the executive director in writing to the permittee.

If the TMDL or TMDL Implementation Plan does not identify monitoring requirements for the permittee, then additional monitoring is not required under Part III.B.4(a) and the permittee may still obtain authorization under this general permit.

1. Existing Discharge to Water Quality Impaired Water Bodies without an approved TMDL. If the permittee discharges to an impaired water body without an approved TMDL, the permittee shall either:
   1. Prevent exposure to stormwater of the pollutant(s) for which the water body is impaired (i.e., the pollutant(s) of concern), and retain on-site documentation of the preventive measures within the SWP3;
   2. Document that the pollutant(s) for which the water body is impaired is/are not present in the regulated industrial activity at the site, and retain documentation of this finding in the SWP3 (e.g., if the pollutant of concern is bacteria, but the only identifiable source of bacteria is wildlife occurring on the property, then the bacteria levels could be, for the purposes of this permit condition, considered “background” from a non-point source that is not regulated under this permit); or
   3. Obtain analytical data to support a showing that the discharge is not expected to cause or contribute to an exceedance of a water quality standard, using the steps in Paragraph II.B.7.(b)(3) above.
      1. If the results indicate that the discharge is below the level of concern or is not present in the discharge, then no additional action is required.
      2. If the results indicate that the pollutant of concern is present in the discharge at a level that may contribute to water quality impairment (e.g., a result that is above the benchmark level for a pollutant as described in the facility’s applicable sector located in Part V of this general permit), then the permittee shall implement an interim pollutant reduction plan (PRP) for the pollutant of concern. This PRP must be included in the SWP3 and must discuss the management practices and control measures that the permittee will implement to reduce, with the goal of eliminating, the discharge of pollutant(s) of concern that contribute to the impairment of the water body. The PRP must specifically identify control measures and practices that will collectively be used to try to eliminate the discharge of pollutant(s) of concern that contribute to the impairment of the water body and explain why these control measures and practices were chosen as opposed to other alternatives.
   4. Beginning upon the date that the permittee is authorized for coverage under this permit, the permittee may not establish a new or increased discharge potentially containing a pollutant of concern to an impaired water body unless there is no exposure of the pollutant of concern to stormwater, the pollutant of concern is not present at the site nor in the discharge, or analytical data shows the pollutant of concern is not present at a level of concern as described in Part II, Sections B.7.(d)(1), (2), and (3) above. TCEQ may notify the permittee if additional control measures are necessary, or if an individual permit application is necessary.

### Discharges to the Edwards Aquifer Recharge Zone

Discharges may not be authorized by this general permit where prohibited by 30 TAC Chapter 213 (relating to Edwards Aquifer).

1. For new discharges located within the Edwards Aquifer Recharge Zone, or within that area upstream from the recharge zone and defined as the Contributing Zone, operators must meet all applicable requirements of, and operate according to, 30 TAC Chapter 213 (Edwards Aquifer Protection Rule), in addition to the provisions and requirements of this general permit.
2. For existing discharges located within the Edwards Aquifer Recharge Zone, the requirements of the agency approved Water Pollution Abatement Plan under the Edwards Aquifer Rules are in addition to the requirements of this general permit. BMPs and maintenance schedules for structural stormwater controls, for example, may be required as a provision of the rule. All applicable requirements of the Edwards Aquifer Protection Rule for reductions of suspended solids in stormwater runoff are in addition to the effluent limitation requirements and benchmark goals in this general permit for this pollutant. A copy of the TCEQ approved Water Pollution Abatement Plan(s) that are required by the Edwards Aquifer Rule must be attached or referenced as a part of the SWP3.
3. For discharges located within ten stream miles upstream of the Edwards Aquifer recharge zone, applicants shall also submit a copy of the NOI to the appropriate TCEQ regional office.

**Counties: Comal, Bexar, Medina, Uvalde, and Kinney**

**Contact:** TCEQ Water Program Manager

San Antonio Regional Office

14250 Judson Road

San Antonio, Texas 78233-4480

(210) 490-3096

**Counties: Williamson, Travis, and Hays**

**Contact**: TCEQ Water Program Manager

Austin Regional Office

12100 Park 35 Circle

Room 179, Building A

Austin, Texas 78753

(512) 339-2929

### Discharges to Specific Watersheds and Water Quality Areas

Discharges of stormwater associated with industrial activity and other non-stormwater discharges may not be authorized by this general permit where prohibited by 30 TAC Chapter 311 (relating to Watershed Protection) for water quality areas and watersheds.

### Endangered Species Act

Discharges that would adversely affect a listed endangered or threatened aquatic or aquatic-dependent species or its critical habitat are not authorized by this permit, unless the requirements of the federal Endangered Species Act are satisfied. Federal requirements related to endangered species apply to all TPDES permitted discharges and site-specific controls may be required to ensure that protection of endangered or threatened aquatic or aquatic dependent species is achieved. If a permittee has concerns over potential impacts to listed species, the permittee may contact TCEQ for additional information.

### Protection of Streams and Watersheds by Home-Rule Municipalities

This general permit does not limit the authority of a home-rule municipality provided by the Texas Local Government Code §401.002.

### Facilities with No Discharge to Surface Water in the State

A facility that does not discharge stormwater to an MS4 nor to surface water in the state may not be required to obtain coverage under this general permit if the operator demonstrates that no discharges have occurred nor will occur in the future. The operator may be required to demonstrate, using engineering calculations or similar methods, that the facility will not discharge stormwater associated with industrial activity.

Facilities that dispose of all stormwater associated with industrial activity by any of the following practices would not be required to obtain coverage for the stormwater under this general permit nor under an individual TPDES permit or alternative general permit:

1. Recycling of the stormwater with no resulting discharge into surface water in the state.
2. Pumping and hauling of the stormwater to an authorized disposal facility.
3. Discharge of the stormwater to a publicly owned treatment works (POTW); however, this permit does not grant authorization to discharge into a POTW and the permittee would need to obtain authorization from the POTW operator to discharge stormwater into the POTW.
4. Underground injection of the stormwater in accordance with 30 TAC Chapter 331 (relating to Underground Injection Control).
5. Discharge to above ground storage tanks with no resulting discharge into surface water in the state.
6. Containment of all stormwater within property boundaries, with no discharge into surface water in the state, including no discharge during, or as the result of, any storm event.

### Automatic Authorization for Certain Industrial Activities

Operators of the following industrial activities are designated for coverage under this general permit, and are not required to prepare a SWP3, conduct analytical sampling, or submit an NOI for coverage nor an NEC application for a conditional exclusion based on no exposure. However, the facility operator must comply with all other requirements of Part III, Section E. of this general permit, related to Standard Permit Conditions; and must comply with Part II, Section C.1. of the permit related to maintaining “no exposure” of industrial activity to stormwater.

1. Operators of facilities described in Part V, Section P, related to General Warehousing and Storage (SIC 4225), that do not have areas for vehicle maintenance or equipment cleaning activities, provided that the requirements of Part V, Section P.2.c. are met.
2. Operators of facilities described under Part V, Section X, that conduct publishing or design without printing, provided that the requirements of Part V, Section X.2. are met.
3. Operators of small businesses who conduct a regulated activity described in Part II, Section A, where the entire industrial activity is performed in a residential home, a shopping mall, or an office building, and all of the requirements listed below are met:
   1. The industrial activity does not include the following Industrial Activity Codes: HZ, LF, SE, or TW;
   2. The industrial activity is conducted in an area inside the operator’s primary residence home structure itself or inside another fully enclosed building, located within the property boundaries of the operator’s primary residence (e.g., garage);
   3. The regulated industrial activity is not exposed to stormwater; and
   4. The facility operator complies with the requirements of Part III Section E. of this general permit, related to Standard Permit Conditions. However, the operator is not required to submit an NOI or an NEC application, conduct analytical monitoring for permit compliance, nor develop a SWP3.

The facility operator must apply for coverage if any of the requirements listed above are not met. If the TCEQ determines that additional controls are required other than those listed above, or if there is a concern regarding the discharge of elevated levels of pollutants, then the TCEQ may require a facility otherwise eligible for automatic authorization to obtain coverage and meet all permit conditions through submittal of an NOI or an individual permit application.

### Transfer of Liability

This permit does not transfer liability for the act of discharging without, or in violation of, a NPDES or a TPDES permit from the operator of the discharge to the permittee(s).

### Force Majeure

Nothing in Part II of the general permit is intended to negate any person’s ability to assert the *force majeure* (act of God, war, strike, riot, or other catastrophe) defenses found in 30 TAC §70.7.

## Obtaining Authorization to Discharge

### Conditional No Exposure Exclusion from Permit Requirements

Facilities regulated under this general permit may be excluded from permit requirements if there is no exposure of industrial materials or activities (see Part I related to Stormwater Discharges Associated with Industrial Activity) from precipitation or runoff. To qualify for a no exposure exclusion from permit requirements, the operator of the facility must provide certification that industrial activities and materials are isolated from stormwater by storm resistant shelters. The certification must be submitted to the TCEQ on a no exposure certification (NEC) application provided by the executive director, or using a format approved by the executive director. The facility is subject to inspection by authorized TCEQ personnel and MS4s with enforcement authority over MSGP regulated facilities within their jurisdiction to determine compliance with the no exposure exclusion. Facilities that qualify for this exclusion and that contribute stormwater discharges to a municipal separate storm sewer system (MS4) shall provide copies of the certification to the operator of the MS4.

1. The following materials and activities are not required to be isolated from stormwater and stormwater runoff in order to meet the no exposure exclusion:
   1. drums, barrels, tanks, and similar containers that are tightly sealed, provided those containers are not deteriorated and do not leak (“Sealed” means banded or otherwise secured and with-out operational taps or valves);
   2. final products that are designed for outdoor use (e.g., new cars, outdoor play-sets, lawn equipment) provided the final products have not deteriorated or are otherwise a potential source of contaminants;
   3. pallets used to store or transport final products intended for outdoor use, if the pallets are new or do not contain pollutants;
   4. vehicles used in material handling that are adequately maintained to prevent leaking fluids;
   5. lidded dumpsters containing waste materials, providing the containers are completely covered, nothing can drain out, and no material can be lost while loading the contents onto a garbage truck (excludes trash compactors unless located indoors or protected by a storm-resistant shelter);
   6. industrial refuse and trash that is stored large roll-off containers that are either located under a constructed cover or covered with heavy-duty tarps that are properly maintained and in good condition. The tarps must be securely fastened to the waste container in such a manner that the tarp has to be unfastened to add waste materials to the container and then refastened to the container;
   7. particulate emissions from roof stacks or vents, provided they comply with other applicable TCEQ rules and do not contaminate stormwater; and
   8. above ground storage tanks (ASTs) that are equipped with valves for dispensing materials that support facility operations (e.g., heating oil, propane, butane, chemical feedstocks) or that dispense fuel (e.g., gasoline, diesel, compressed natural gas) for delivery vehicles that support facility operations provided that:
      1. the ASTs must be physically separated from and not associated with vehicle maintenance operations areas;
      2. there are no leaks from pipes, pumps, or other equipment that could come into contact with stormwater; and
      3. the ASTs are surrounded by secondary containment (e.g., impervious berm, dike, or concrete retaining structure) to prevent exposure to stormwater runoff in the event of structural failure or leaks.

ASTs that dispense fuel to vehicles that are used to support the regulated facility operations are not considered exposed. However, ASTs that distribute fuel to airplanes at a regulated air transportation facility are considered exposed unless located under storm resistant shelter.

1. The following types of final products do not qualify for a certification of no exposure:
   1. Products that could be mobilized by wind or rain into stormwater discharges (e.g., rock salt, wood chips or shavings, compost). Materials sheltered from precipitation may still be deemed exposed if the materials could be carried by wind;
   2. products that may, when exposed, oxidize, deteriorate, leak or otherwise be a potential source of contaminants (e.g., scrap cars, scrap metal); or
   3. “final” products that are actually “intermediate” products used in the composition of yet another product (e.g., sheet metal, tubing and paint used in making tractors, unfinished portions of a final product, plastic pellets, glass to be installed in vehicles or buildings). Even if the intermediate product is “final” for a manufacturer and is intended to be included in a “final product intended for use outdoors,” these products are still considered intermediate products and are considered to be exposed if located outdoors.

Deposits of particles or residuals from roof stacks or vents not otherwise regulated that could be carried by stormwater runoff and are considered exposed. Exposure also occurs when, as a result of particulate emissions, pollutants are visibly being “tracked out” or carried on the tires of vehicles.

1. Limitations on eligibility for the no-exposure exclusion:
   1. The exclusion from permit requirements is only available facility-wide, and is not available for individual outfalls. Generally, if any exposed industrial materials or activities are found on any portion of a facility, the facility is not eligible for the no-exposure exclusion.
   2. If a facility with a conditional no exposure exclusion undergoes any change(s) that result in industrial activities or materials becoming exposed, or if it is found that a facility does not (or no longer) meets the no exposure requirements, then the NEC exclusion that the facility is under ceases to apply. If this occurs, the operator of the facility covered (under an NEC) shall prepare a SWP3 and submit an NOI to apply for coverage under the MSGP or shall apply for an individual water quality permit (as applicable) to discharge stormwater from the facility before making any changes that will expose industrial activities or materials. Discharges that occur after losing the conditional no exposure exclusion are not authorized, unless permit coverage is re-established by filing an NOI for this permit or via an individual permit. The operator is required to submit a Notice of Termination (NOT) to terminate their NEC coverage.
   3. If the TCEQ determines that a facility’s stormwater discharges have a reasonable potential to cause or contribute to a violation of applicable water quality standards, then the TCEQ may deny the no exposure exclusion. However, where an MS4 operator has MSGP enforcement authority, it may inspect facilities within its jurisdiction for compliance with the no exposure certification (NEC).

### Application for Coverage

Applicants seeking authorization to discharge under this general permit shall submit a completed Notice of Intent (NOI) or a completed no exposure certification (NEC), as applicable, on a form approved by the executive director. Applications are not required for facilities that are automatically authorized by designation under this general permit.

1. Notices of Intent (NOIs) and No Exposure Certifications (NECs).
   1. Electronic NOIs and NECs. Applicants must submit an NOI or NEC using the online e-permitting system available through the TCEQ website or request and obtain an electronic reporting waiver. Electronic reporting waivers are not transferable and expire on the same date as the authorization to discharge.

Provisional authorization begins immediately following confirmation of receipt of the electronic NOI or NEC form by the TCEQ.

* 1. Paper NOIs and NECs. Applicants that are issued an electronic reporting waiver shall submit a paper NOI or NEC. Provisional authorization begins 48 hours from the date that a completed NOI or NEC is postmarked for delivery to the TCEQ, unless otherwise notified in writing by the executive director.
  2. Following review of the NOI or NEC, the executive director will:
     1. determine that the NOI or NEC is complete and confirm coverage by providing a written notification and an authorization number; or
     2. determine that the NOI or NEC is incomplete and request additional information needed to complete the NOI or NEC; or
     3. deny coverage in writing. Denial of coverage will be made in accordance with TCEQ rules at 30 TAC §205.4, related to Authorizations and Notices of Intent.

1. Automatic Authorization. Facilities that meet the eligibility requirements for automatic authorization in Part II, Section B.13 are automatically authorized and are not required to submit an NOI for coverage or an NEC for conditional exclusion, provided that all of the technical requirements are met. Permit coverage for existing facilities automatically authorized under Part II, Section B.13 of this general permit begins immediately upon the effective date of this general permit; and permit coverage for new facilities begins upon the commencement of industrial activities regulated under this general permit.

### Application Deadlines

1. Existing Industrial Facilities.
   1. Operators of industrial activities currently authorized under the 2021 TPDES MSGP TXR05000 (effective on August 14, 2021), are not required to submit a new or renewal NOI. These operators may continue to operate under the terms and conditions of the 2021 TPDES MSGP and shall maintain a copy of that general permit and authorization issued under that general permit at the facility.
   2. This general permit will supersede and replace the EPA-issued NPDES MSGP TXR05F000 (effective March 1, 2021, and modified September 29, 2021). Existing operators of non-exempt industrial activities needing permit coverage after the effective date of this TPDES general permit, and currently authorized under the EPA-issued 2021 MSGP TXR05F000, must submit an NOI to obtain authorization under this general permit or a separate alternate TPDES permit, within 90 days of the effective date of this general permit. During this interim or grace period, the operator must continue to meet the conditions and requirements of the EPA-issued NPDES 2021 MSGP.
2. New Industrial Facilities.

An NOI or NEC must be submitted prior to commencement of industrial activity that is regulated under this general permit, or the facility operator must comply with the automatic authorization requirements listed in Part II, Section B.13. of this general permit.

1. New Operator.

Permit coverage may not be transferred. When the operator of a facility changes, the new operator must submit an NOI or NEC, and the previous operator must submit an NOT, at least ten days before the change in operator occurs, or in accordance with 30 TAC §205.4(h), related to Authorizations and Notices of Intent. Also see Part II, Section C.7, related to Terminating Coverage.

When the operational control of a portion of a facility changes, the new operator shall submit an NOI or an NEC, and the existing operator shall revise its SWP3 and submit an NOC as needed.

### Stormwater Pollution Prevention Plan (SWP3)

A permittee authorized under this general permit must develop and implement a stormwater pollution prevention plan (SWP3, or plan) according to the requirements of this permit before submitting an NOI for permit coverage. The plan must be developed according to the requirements of Part III of this general permit and must also include all sector specific requirements of Part V. The SWP3 must be signed and certified according to TCEQ rules at 30 TAC §305.128, as described in Part III, Section E.6.(c) of this general permit.

### Contents of the Notice of Intent (NOI)

The NOI must contain the following information, at a minimum:

1. Operator Information.
   1. the name, address, and telephone number of the operator filing the NOI for permit coverage; and
   2. the legal status of the operator (e.g., federal, state, private or public entity).
2. Site Information.
   1. the name, address, county, and latitude and longitude of the site;
   2. the location of outfall(s);
   3. a determination of whether the site is located on Indian Land;
   4. the name of the receiving water(s);
   5. the name of the MS4 operator(s), if the discharge is to an MS4;
   6. a certification statement that a SWP3 has been developed and implemented according to the provisions of this permit;
   7. the primary SIC code that best describes the industrial activity of the facility and any other SIC codes or Industrial Activity Codes that describe additional activities and that are listed in Part V of this permit;
   8. the industrial activities of the facility that are subject to federal effluent limitations guidelines;
   9. the industrial sector(s) of this general permit for which the applicant requests coverage;
   10. if discharging a pollutant of concern to an impaired waterbody;
   11. if applicable, waiver criteria from sampling for hazardous metals are updated and met; and
   12. the status (inactive or active) of the facility.
3. Existing TPDES authorization number, for facilities previously regulated under the TPDES MSGP.

### Changes to Information Submitted

1. If the operator becomes aware that any of the following occurred, then correct information must be provided to the executive director in a notice of change (NOC) within 14 days after discovery:
   1. Relevant information provided on the NOI or NEC has changed;
   2. The operator failed to submit relevant facts; or
   3. The operator submitted incorrect information on an NOI or NEC.
2. Electronic NOC. Permittees must submit an NOC using the online e-permitting system available through the TCEQ website unless the permittee requested and obtained an electronic reporting waiver.
3. Paper NOC. Permittees that are issued an electronic reporting waiver shall submit the NOC on a form provided by the executive director, or by letter if an NOC form is not available.
4. A copy of the NOC, submitted either electronically or by paper, must also be provided to the operator of any MS4 receiving the discharge (if required by the MS4), and the SWP3 must include a list of the names and addresses of the MS4 operator(s) receiving a copy.
5. Examples of information that may be submitted on an NOC include the following:
   1. Change to applicant contact or billing information.
   2. Changes to the General Characteristics section, such as adding, removing, or changing an SIC code or Industrial Activity Code; adding or removing industrial activities with federal effluent limitations; or changing the discharge information.
   3. Operator name change, provided that only the name has changed and that no transfer of ownership has occurred (see Part II, Section C.7.(a) below).
   4. Addition, removal, or change in the location of a permitted outfall.
   5. Request to stop submitting monitoring results of benchmarks, numeric effluent limitations (hazardous metals), and pollutants of concern.
   6. Changes in facility status from active to inactive and vice versa.
6. Delegation of Signatory Authority. If signatory authority is delegated by an authorized representative, then a Delegation of Signatory form must be submitted as required by 30 TAC 305.128 (relating to Signatories to Reports) using the State of Texas Environmental Electronic Reporting System (STEERS), TCEQ’s online permitting system, unless the permittee obtained an electronic reporting waiver. A new Delegation of Signatory form must be submitted if the delegation changes to another individual or position.
7. Information that may not be submitted on an NOC includes, but is not limited to, the following:
   1. Transfer of operational control from one operator to another, including a transfer of the ownership of a company. A transfer of ownership of a company includes changes to the structure of a company, such as changing from a partnership to a corporation or changing corporation types, so that the filing or charter number that is on record with the Texas Secretary of State (SOS) must be changed. See Part II, Section C.7.(a) below, related to Transfer of Operational Control.
   2. Change in the physical location of the facility. Authorizations may not be transferred to a different location; therefore, if a facility moves, the operator will need to submit an NOI for the new location and an NOT for the previous location.
8. Additional changes that may be made to the operator’s SWP3 and that are not required to be submitted on an NOC include, but may not be limited to, the following:

Change to other information on the site map that was not originally provided on the NOI (e.g., location of processing areas, loading areas, or best management practices).

### Terminating Coverage

1. Submitting Notice of Termination (NOT).
   1. A permittee must submit a NOT to the TCEQ to cancel coverage or to cancel a conditional exclusion based on no exposure. An NOT must be submitted in the following situations:
      1. An existing facility covered under an NOI changes operations such that a condition of no exposure is obtained.
      2. An existing facility with a conditional exclusion based on having no exposure of industrial activities changes operations such that a condition of no exposure no longer exists. The permittee must submit an NOI before a condition of exposure occurs, then must submit an NOT to terminate the existing exclusion.
      3. A facility that was covered under an NOI or an NEC is no longer doing business in the original location, and no industrial activities (e.g., manufacturing, processing, material storage, waste material disposal areas and similar areas) remain or continue to be conducted at the site that would require permit coverage. An NOT must be submitted within 10 days after the facility ceases discharging stormwater associated with industrial activity.
      4. An operator that submitted an NOI or NEC obtains coverage under an individual permit or obtains coverage under an alternative general permit for stormwater discharges. An NOT must be submitted within 10 days after the operator obtains coverage under the alternative permit.
      5. A transfer of operational control occurs. The original operator who submitted the NOI or NEC must submit an NOT to cancel coverage or to cancel a conditional exclusion based on no exposure.

Coverage under this general permit is not transferable. A transfer of operational control includes changes to the structure of a company, such as changing from a partnership to a corporation, or changing to a different corporation type such that a different filing (or charter) number is established with the Texas SOS. When the operator of a regulated industrial facility changes or operational control is transferred, the original operator must submit an NOT within 10 days prior to the date that responsibility for operations terminates, and the new operator must submit an NOI at least 10 days prior to the transfer of operational control.

* 1. Operators of regulated industrial activities who are designated as being automatically authorized by this general permit, and who are not required to submit an NOI or NEC, are not required to submit an NOT to terminate coverage.

1. NOT Form.
   1. Electronic NOTs. Permittees must submit an NOT using the online e-permitting system available through the TCEQ website unless the permittee requests and obtains an electronic reporting waiver.
   2. Paper NOTs. Permittees that are issued an electronic reporting waiver shall submit the NOT on a form approved by the executive director.
   3. A copy of the NOT, submitted either electronically or by paper, must be provided to the operator of any MS4 receiving the discharge (if required by the MS4).
2. Effective Date of Termination of Coverage.

Authorization to discharge terminates immediately following confirmation of receipt of the electronic NOT by the TCEQ. If submitted by paper, the authorization to discharge terminates on the day that an NOT is postmarked for delivery to the TCEQ.

### Signatory Requirements

NOIs, NOTs, NOCs, and NECs must be signed according to 30 TAC §305.44 (relating to Signatories for Applications). Signatory authority may not be delegated to a person who does not meet the requirements listed in the referenced rule.

### Additional Notification

Industrial facilities that contribute stormwater discharges to an MS4 must provide a copy of the completed NOI or NEC to the operator of the system. These facilities must also provide a copy of all NOCs and NOTs to the operator of the MS4.

### Fees

1. Application Fees:

An application fee for electronic submittal of NOIs and NECs is $100.00. The application fee for each paper NOI and each paper NEC is $200.00 and must be submitted with the application.

A fee is not required for submission of an NOT or NOC.

1. Annual Fees:

A facility authorized under this general permit and required to submit an NOI must pay an annual water quality fee of $200.00 under Texas Water Code, §26.0291, and according to 30 TAC Chapter 205 (relating to General Permits for Waste Discharges).

An annual fee is not required for a facility that obtained a no exposure exclusion by submitting an NEC application, nor for a facility that is automatically authorized under the general permit without submitting an NOI or NEC application.

### Permit Expiration

This general permit is issued for an effective term not to exceed five (5) years. Following public notice and comment, as provided by 30 TAC §205.3 (relating to Public Notice, Public Meetings, and Public Comment), the Commission may amend, revoke, cancel, or renew this general permit. If the TCEQ fails to publish public notice of its intent to renew or amend this general permit within 90 days of its expiration date, then dischargers under this general permit must submit an application for an individual permit prior to expiration of this general permit. If TCEQ publishes notice of its intent to renew or amend this general permit 90 days or more prior to expiration, existing authorizations under this general permit will remain in effect until the Commission takes final action on the permit. The renewed or amended general permit will prescribe how to obtain authorization for all dischargers regulated by the general permit, including a deadline for submitting an NOI, if required.

## Alternative Coverage Under an Individual TPDES Permit

### Individual Permit Alternative

Any discharge eligible for coverage under this general permit may alternatively be authorized under an individual TPDES permit according to 30 TAC Chapter 305 (relating to Consolidated Permits). An operator of a facility described under Part II, Section A.1. of this general permit who chooses to be excluded from coverage under this general permit shall submit an application for coverage under an individual permit. Applications for individual permit coverage for new facilities should be submitted at least 330 days prior to the commencement of a regulated industrial activity to ensure timely permit coverage. Coverage under this general permit should not be terminated for existing facilities until the permittee receives an issued individual permit.

### General Permit Alternative

Any discharge eligible for authorization under this general permit may alternatively be authorized under a separate general permit according to 30 TAC Chapter 205 (relating to General Permits for Waste Discharges), if applicable.

### Individual Permit Required

The executive director may require an operator of a regulated industrial activity otherwise eligible for authorization under this general permit to apply for an individual TPDES permit in the following circumstances:

1. the conditions of an approved TMDL limitation or TMDL Implementation Plan on the receiving stream(s);
2. the discharge being determined to cause a violation of water quality standards or being found to cause, or contribute to, the loss of a designated use of surface water in the state; and
3. any other consideration defined in 30 TAC Chapter 205 including 30 TAC §205.4(c)(3)(D), which allows the commission to deny authorization under the general permit and require an individual permit if a discharger has been determined by the executive director to have been out of compliance with any rule, order, or permit of the commission, including non-payment of fees assessed by the executive director.
4. for a discharger classified as an “unsatisfactory performer” under 30 TAC Chapter 60 (relating to Compliance History). 30 TAC §60.3 requires the executive director to deny or suspend a person's authority relating to that site to discharge under this general permit. A discharger with an “unsatisfactory” compliance history classification is entitled to a hearing before the Commission prior to having its authorization denied or suspended in accordance with TWC §26.040(h).

Denial of authorization to discharge under this general permit or suspension of a permittee’s authorization under this general permit must be done according to commission rules in 30 TAC Chapter 205, General Permits for Waste Discharges.

1. **PERMIT REQUIREMENTS AND CONDITIONS COMMON TO ALL COVERED INDUSTRIAL ACTIVITIES**

## General Stormwater Pollution Prevention Plan (SWP3) Requirements

### Implementation of SWP3 and Consistency with Other Plans

1. An applicant seeking authorization under this general permit must develop and implement a new, or for existing permittees an updated, SWP3 before submitting an NOI for coverage.

The SWP3 must be signed and certified in accordance with Part III, Section E.6.(c) of this general permit, and must be maintained onsite and made readily available for review upon request by authorized TCEQ personnel as well as any local pollution control agency with jurisdiction.

The SWP3 must be modified whenever necessary to address changing conditions at the site.

Permittees who discharge stormwater to a municipal separate storm sewer system (MS4) shall also provide a copy of the SWP3 to the operator of that MS4 upon receiving a request from the MS4 operator.

The SWP3 must be developed according to the requirements of this general permit. At a minimum, the SWP3 must:

* 1. identify actual and potential sources of pollution that may reasonably be expected to affect the quality of stormwater discharges from the facility (see Part III, Section A.3.);
  2. establish practices and any necessary control measures that will prevent or effectively reduce pollution in stormwater discharges from the facility and that ensure compliance with the terms and conditions of this general permit (see Part III, Section A.4.);
  3. describe how the selected practices and controls are appropriate for the facility and how each will effectively prevent or reduce pollution (see Part III, Section A.4.);
  4. describe how controls and practices interrelate to comprise an integrated, facility-wide approach for stormwater pollution prevention, including any useful references to literature or site-specific performance information on the selected controls and practices to demonstrate the appropriateness of each (see Part III, Section A.4.);
  5. establish a Stormwater Pollution Prevention Team (team) and identify team members who will be responsible for developing and revising the SWP3 (see Part III, Section A.2);
  6. provide a description of the facility that includes information about activities, materials, and physical features of the facility that may contribute pollutants to stormwater and any pollutant discharges that could occur during dry weather (see Part III, Section A.3.); and
  7. document the monitoring and inspection procedures and schedules that will be implemented at the site (see Part III, Section B).

1. Existing plans and measures that are developed based on other regulatory requirements, such as Spill Prevention Control Countermeasures (SPCC) plans that are required for certain operations under the federal guidelines of 40 CFR Part 112, may satisfy in whole or in part specific requirements of this general permit. These plans or measures may either be attached as a component of the SWP3, or referenced in the SWP3 and made readily available for review upon request by authorized TCEQ personnel as well as any local pollution control agency with jurisdiction.

### Stormwater Pollution Prevention Team

The permittee shall establish a stormwater pollution prevention team (team). The SWP3 must be kept readily available to the members of the team.

1. Members of the Team. The SWP3 must identify the members of the team by name and by title, and must list and clearly identify the responsibilities of each team member. The team may consist of a single individual or a group of individuals as appropriate for the facility. Additional members of the team may include environmental professionals that are under contract to the permittee. If the facility is not staffed on a continuous or permanent basis, then company employee(s) from outside of the facility may be identified as a part of the team.

If it is not feasible to provide the name of each team member, then the SWP3 may identify a position or positions within the organization that comprise the team. Members of the organization or the ranking employees or executive officers at the facility must be able to identify the particular individual(s) comprising the team.

1. Responsibility of the Team. The team is responsible for development of the SWP3 and for assisting the operator or the operator’s designee in the implementation, maintenance, and revision of the SWP3.

### Description of Potential Pollutants and Sources

The SWP3 must identify and describe all activities and significant materials that may potentially be pollutant sources. The SWP3 must include, at a minimum:

1. Inventory of Exposed Materials. An inventory must be developed that lists materials currently handled at the facility that may be exposed to precipitation or runoff in a drainage area of an outfall covered under this permit. The list must include all materials that are handled, stored, processed, treated, or disposed of in a manner that would allow exposure to precipitation or runoff. Materials stored in drums, barrels, tanks, and similar containers that are tightly sealed, in good structural condition, and do not have leaking valves are not required to be listed in the inventory.

The inventory of materials must include specific pollutants that may be attributed to those materials. For facilities subject to reporting requirement under EPCRA §313, the SWP3 must list all potential pollutant sources for which they have reporting requirements under EPCRA §313.

The inventory must be updated within 30 days following a significant change in the types of materials that are exposed to precipitation or runoff, or significant changes in material management practices that may affect the exposure of materials to precipitation or runoff. A significant change in the types of materials is exposure of a material, not already included in the inventory that could be transported by precipitation or stormwater runoff and subsequently discharged. A significant change in material management practices is a change that would result in either initial exposure of a material not already listed in the inventory or increased exposure of a material to the extent that the material could be transported by precipitation or stormwater runoff and subsequently discharged.

1. Narrative Description. The SWP3 must include a narrative description that describes all activities and potential sources of pollutants that may reasonably be expected to add pollutants to stormwater discharges, or that may result in dry weather discharges from the storm sewer system. This description must include locations and sources of runon to the site from adjacent property, and an indication if significant quantities of pollutants are present in the runon.

Examples include the following activities and potential sources when they are exposed to stormwater:

* 1. loading, unloading, and material transfer areas;
  2. outdoor storage areas;
  3. outdoor processing areas;
  4. dust producing activities;
  5. on-site waste disposal areas;
  6. vehicle/equipment maintenance, cleaning, and fueling areas;
  7. liquid storage tank areas;
  8. railroad sidings, tracks, and rail cars;
  9. storage piles containing salt used for deicing or other commercial or industrial purposes;
  10. locations where potential spills and leaks could occur that could contribute pollutants to stormwater discharges; and
  11. locations where all significant spills and leaks (for example, reportable quantity spills and spills or leaks that have the potential to cause impacts on water quality) of oil or toxic or hazardous pollutants occurred at exposed areas that drained to a stormwater conveyance in the three (3) years prior to the date the SWP3 was prepared or amended.

For each pollutant or material listed in the Inventory of Exposed Materials, the direction of flow or potential flow to the final permitted outfalls must be identified in the SWP3. The outfall and direction of flow must either be narratively described or identified by referencing the location on the site map. Areas of the facility that have a high potential for significant soil erosion, due to topography, activities, or other factors, must also be identified and either narratively described or identified by referencing the location on the site map.

The narrative description must be updated within 30 days following a change in the types or quantities of materials exposed to precipitation or runoff that, in the judgment of the stormwater pollution prevention team, may reasonably be expected to add pollutants to stormwater discharges. The narrative description must be updated to describe changes in material management practices or other factors that may affect the exposure of materials to precipitation or runoff.

1. General Location Map. The SWP3 must contain a general location map (e.g., USGS quadrangle map) with enough detail to identify the location of the facility, including all surface waters that could potentially receive stormwater discharges from the site. For sites with large plots of lands where no industrial activity is conducted, the map must also depict those areas. However, no outfall(s) needs to be assigned for those areas, if they only discharge stormwater that has not been in contact with industrial activity.
2. Drainage Area Site Map. A site map(s) must be developed that depict(s) the following:
   1. the location (latitude and longitude) of each outfall covered by the permit and the location (latitude and longitude) of each sampling point (if different from the outfall location);
   2. an outline of the facility’s drainage area that shows the direction of the stormwater flow, and the location of all stormwater conveyances (e.g., ditches, gutters, pipes, swales) that drain to each permitted outfall;
   3. connections or discharges to MS4(s);
   4. locations of all structures (e.g., buildings, garages, storage tanks, fueling stations, machinery) and impervious surfaces (e.g., parking lots, paved or concrete pads);
   5. structural control devices designed to reduce pollution in stormwater runoff;
   6. process wastewater treatment units (including ponds);
   7. bag house and other air treatment units exposed to stormwater;
   8. the surface area of the facility (i.e., size in acres or square feet), or a clear scale such that the approximate surface area may be calculated;
   9. locations of all receiving waters, including wetlands, and information as to whether they are impaired or have established TMDLs;
   10. vehicle and equipment maintenance areas;
   11. physical features of the site that may influence stormwater runoff or contribute a dry weather flow;
   12. locations and descriptions of all non-stormwater discharges;
   13. locations where reportable quantity spills or leaks have occurred during the three (3) years before the NOI is submitted to obtain coverage under this general permit;
   14. locations and sources of runon to the site from adjacent property that contains significant quantities of pollutants;
   15. processing, storage, and material loading/unloading areas; and
   16. any additional locations where significant materials are exposed to precipitation or runoff.

The site map must clearly show the flow of stormwater runoff from each of these locations so that the final outfall(s) where the discharge leaves the facility’s boundary is apparent. A series of maps must be developed if the amount of information would cause a single map to be difficult to read and interpret.

1. Spills and Leaks. The SWP3 must contain a list of reportable quantity spills that occurred in areas exposed to stormwater, or that occurred within the drainage area that contributes to an outfall, during the three (3) years before the NOI was submitted. The list must be updated on a quarterly basis and must include all additional spills and leaks that could contribute pollutants to stormwater discharges (in addition to the previously listed spills of “reportable quantity” only). The updated list may be limited to spills and leaks that have occurred within the previous five (5) years.
2. Sampling Data. All data from the laboratory analyses of stormwater discharge samples must be summarized. The summary must be updated on an annual basis to include the results of all additional analyses. The data summary must either be included as an attachment to the SWP3 or may be referenced and maintained separately. The data summary must be readily available for review upon request by authorized TCEQ personnel as well as any local pollution control agency with jurisdiction.

### Pollution Prevention Measures and Controls

The permittee shall implement all pollution prevention practices that are determined to be necessary, reasonable, and effective by the stormwater pollution prevention team, or that are required by a state or local authority, that are necessary to protect the water quality in receiving waters, or that are necessary to remain compliant with this general permit. The SWP3 must include detailed descriptions of the following minimum components and a schedule for implementation:

1. Best Management Practices (BMPs). A section within the SWP3 must be developed to establish BMPs to reduce the discharge and potential discharge of pollutants in stormwater and to minimize exposure of areas of the site with industrial activity to stormwater. The location and type of BMPs or control measures that have been adopted or installed must be documented in the SWP3. Development of BMPs must be based on the activities and potentials for contamination that are identified in Part III, Section A.4. of this permit.

Examples of BMPs that the permittee may use to comply with this section include the following:

* 1. use grading, berming, or curbing, when possible, to prevent runoff of contaminated flows and to divert runon away from these areas;
  2. locate materials, equipment, and activities in such a way that leaks are contained in existing containment and diversion systems;
  3. clean up spills and leaks promptly using dry methods (e.g., absorbents) to prevent the discharge of pollutants;
  4. use drip pans and absorbents under or around leaky vehicles and equipment or store indoors where feasible;
  5. use spill/overflow protection equipment;
  6. drain fluids from equipment and vehicles prior to on-site storage or disposal;
  7. perform cleaning operations indoors, within storm resistant shelters, or within bermed areas that prevent runoff and runon and that also capture overspray;
  8. ensure that waste, garbage, and floatable debris are not discharged to receiving waters, by keeping exposed areas free of such materials or by intercepting them before they are discharged;
  9. minimize generation of dust and off-site tracking of raw materials, intermediate products, final products, or waste materials; and
  10. divert, infiltrate, reuse, contain, or otherwise reduce stormwater runoff, in order to minimize pollutants in discharges.

1. Good Housekeeping Measures. A section within the SWP3 must be developed to ensure that areas of the facility that contribute or potentially contribute pollutants to stormwater discharges (e.g., areas around trash dumpsters, storage areas, loading docks, and outdoor processing areas) are maintained in a clean and orderly manner. Good housekeeping measures must include measures to eliminate or reduce exposure of garbage and refuse materials to precipitation or runoff prior to their disposal. Typical good housekeeping measures include activities that are performed on a daily basis by employees during the course of normal work activities. The good housekeeping measures must be incorporated as a part of the employee training program.
2. Plastic Materials Requirements. Facilities that handle pre-production plastic must develop and include in the SWP3 activities that will be implemented to ensure that areas of the facility that can contribute plastic pollutants to stormwater discharges (e.g., areas around containers holding plastic materials, plastic storage areas, loading docks where plastics are present, and outdoor areas where plastic materials may be present) are maintained in a clean and orderly manner. Good housekeeping measures must include measures to prevent exposure of plastics and other plastic pre-production materials to precipitation or runoff prior to their use in further processing or disposal. Plastic materials required to be addressed as stormwater pollutants at a minimum include the following: virgin and recycled plastic resin pellets, powders, flakes, powdered additives, regrind, scrap, waste, and recycling material with the potential to discharge or migrate off-site. Facilities that handle pre-production plastic must implement BMPs to eliminate discharges of plastic in stormwater through the implementation of control measures such as the following, where determined feasible (list not exclusive): minimizing spills, cleaning up spills promptly and thoroughly, sweeping and/or vacuuming thoroughly, and pellet capturing.
3. Erosion and Sedimentation Control Measures. A section within the SWP3 must be developed to address soil erosion and sedimentation. The permittee shall evaluate and use appropriate measures and controls to reduce soil erosion and sedimentation in areas of the facility with demonstrated or potential soil erosion and sedimentation.

Potential use of the following controls must be evaluated, at a minimum: soil stabilization through vegetative cover; contouring slopes; paving; and installation of structural controls.

1. Structural Controls
   1. Physical structures may be used in conjunction with other pollution prevention measures and controls, as necessary, to reduce pollutants in stormwater discharges. Examples of structural controls that may be used include vegetated swales, oil/water separators, settling ponds, catch basins, berms, and other physical structures.
   2. Velocity Dissipation Devices. Discharge velocities must be controlled to the extent necessary to prevent the destruction of the natural physical characteristics of receiving waters by erosion. Velocity dissipation devices may be constructed at discharge points or along channels and other stormwater collection areas that lead to outfalls. Management alternatives to minimize runoff, such as limiting impervious cover, may also be considered.
   3. A section within the SWP3 must be developed to establish a maintenance program for stormwater structural controls. These controls must be inspected on a regular basis and maintenance frequencies must be established for each of the controls at intervals that ensure effective operation. Mechanical equipment that is part of a structural control, such as a stormwater pump, must also be inspected at intervals described in the SWP3 and maintained at intervals necessary to prevent failures that could result in a discharge of pollutants.

This section of the SWP3 must identify qualified personnel to conduct inspections and establish inspection and maintenance schedules. Records must document the estimated volumes of solids removed from catch basins, sediment ponds, and other similar control structures.

1. Spill Prevention and Response Measures. A section within the SWP3 must be developed and implemented to prevent spills and to provide for adequate spill response. This section must:
   1. identify areas where spills could contribute pollutants to stormwater discharges;
   2. develop and implement procedures to minimize or prevent contamination of stormwater from spills;
   3. require drums, tanks, and other containers to be clearly labeled;
   4. clearly mark hazardous waste containers that require special handling, storage, use, and disposal;
   5. develop and implement specific spill prevention, detection, and clean up procedures and techniques;
   6. develop procedures to notify appropriate facility personnel, emergency response agencies, public health, or drinking water supply agencies and other regulatory agencies of a reportable quantity spill or other release of oil or a hazardous substance;
   7. make available to facility personnel materials and equipment necessary for spill clean-up;
   8. develop and maintain an inventory of spill cleanup materials and equipment; and
   9. incorporate these measures as a part of the employee training program.
2. Employee Training Program and Employee Education.
   1. Training. A section within the SWP3 must be developed to establish a training program. Training must be provided to all employees who are responsible for implementing or maintaining activities identified in the SWP3. Employee training must include the following, at a minimum:
      1. proper material management and handling practices for specific chemicals, fluids, and other materials used or commonly encountered at the facility;
      2. spill prevention methods;
      3. the location of materials and equipment necessary for spill clean-up;
      4. spill clean-up techniques;
      5. proper spill reporting procedures; and
      6. familiarization with good housekeeping measures, BMPs, and goals of the SWP3.

The schedule for employee training sessions must be developed based on pollutant potential, employee turnover rate, and other factors the permittee determines are applicable. Training must be conducted at least once per year and records of training activities and attendance lists must be maintained in the SWP3 in accordance with Part III.D.5.

* 1. Education. Education must be provided to those employees at the facility who are not directly responsible for implementing or maintaining activities identified in the SWP3, and who do not participate in the employee training program. At a minimum, these employees must be informed of the basic goal of the SWP3 and how to contact the stormwater pollution prevention team regarding stormwater issues.

### Additional Documentation Requirements

1. The following records must be kept with the SWP3, in addition to any records required elsewhere in this permit:
   1. A copy of the NOI submitted to TCEQ along with any correspondence exchanged between the permittee and TCEQ related to coverage under this permit;
   2. A copy of the acknowledgment letter from the TCEQ;
   3. If signatory authority is delegated by an authorized representative, then a copy of the formal notification to TCEQ, as required by 30 TAC 305.128 relating to Signatories to Reports must be filed in the SWP3 and made available for review upon request by TCEQ or local MS4 Operator. The formal notification to TCEQ must be submitted either electronically through STEERS, TCEQ’s electronic reporting system, or, if qualifying for an electronic reporting waiver, by paper on a Delegation of Signatories form.
   4. A copy of this permit (either paper or electronic version), either as part of the SWP3 or as an attachment to the SWP3 (sections in Part V of this general permit that are not related to the industrial activities at the site need not be included);
   5. Descriptions and dates of any incidences of significant spills, leaks, or other releases that resulted in the discharge of pollutants to surface waters;
      1. the circumstances leading to the release and actions taken in response to the release; and
      2. measures taken to prevent the recurrence of such releases;
   6. Records of employee training, including date(s) training received;
   7. Documentation of maintenance and repairs of control measures, including the date(s) of regular maintenance, date(s) of discovery of areas in need of repair/replacement, and for repairs, date(s) that the control measure(s) returned to full function, and the justification for any extended maintenance/repair schedules;
   8. Copies of inspection reports;
   9. Description of any corrective action taken at the site, including triggering event and dates when problems were discovered and modifications occurred;
   10. Documentation to support a claim that the facility has changed its status from active to inactive and unstaffed with respect to the requirements to conduct routine facility inspections, quarterly visual assessments, or benchmark monitoring;
   11. Results of monitoring and inspection activities as described in Part III, Section B; and
   12. Documentation of the criteria used to claim a waiver from monitoring hazardous metals.
2. Records - Records for each element described above in Part III, Section A.4., related to Pollution Prevention Measures and Controls, must either be included as an attachment to the SWP3 and retained on-site or made readily available for review upon request by authorized TCEQ personnel as well as any local pollution control agency with jurisdiction. Records must document and describe maintenance activities, inspections, spills, discharge quality, employee training activities, employee education activities, SWP3 updates or modifications, and other events relative to each element.

### SWP3 Review

The SWP3 must be maintained either at the site or be readily available for review upon request by authorized TCEQ personnel as well as any local pollution control agency with jurisdiction. The SWP3 must be modified by the permittee as often as necessary. Each revision must be dated, and all revisions must be retained according to Part III, Section D.5. The executive director may determine, following a review or site inspection, that the SWP3 is not sufficient and may require that the SWP3 be revised to correct all deficiencies.

## Periodic Inspections and Monitoring

### Inspection and Certification of Non-Stormwater Discharges

1. Permit Coverage for Non-Stormwater Discharges. Non-stormwater discharges eligible for coverage are described in Part II, Section A.6. of this general permit and in the individual sections within Part V of this general permit. The permittee shall identify and evaluate all non-stormwater discharges that qualify for permit coverage. The SWP3 must include a list of the non-stormwater discharges at the facility, as well as the results of this evaluation.
2. Investigation for Non-Stormwater Discharges. Within 180 days of filing an NOI for coverage (or a renewal NOI) the permittee shall conduct a survey of potential non-stormwater sources and shall provide the certification required in Part III, Section B.1.(c) below. The facility’s storm sewer system must be tested or inspected (e.g., screened for dry weather flows) for the presence of non-stormwater flows. Procedures must be evaluated and implemented to eliminate any potential sources that are discovered and are not permitted. The SWP3 must ensure that non-stormwater sources are not combined with stormwater discharges authorized by this permit unless otherwise allowable under Part II.B.5. of this general permit.

The SWP3 must be updated based on this evaluation to include the following:

* 1. the date that the evaluation occurred and description of the criteria used for evaluation;
  2. the outfalls or onsite discharge points observed;
  3. the different types of identified non-stormwater discharges and their source locations; and
  4. appropriate BMPs for the non-stormwater discharges, or the actions taken or the control measures used to eliminate them.

1. Inspection, Documentation, and Certification of Non-Stormwater Discharges. The SWP3 must include a certification, signed according to Part III, Section E.6.(c) of this general permit, relating to Signatory Requirements for Reports and Certifications, that states that the facility’s storm sewer system has been evaluated for the presence of non-stormwater discharges and that the discharge of non-permitted, non-stormwater does not occur. The certification must include documentation of how the evaluation was conducted, results of any testing, dates of evaluations or tests, and the portions of the storm sewer system that were observed during the inspection. The inspection for non-stormwater discharges must be completed and the certification must be prepared within 180 days after filing an NOI for permit coverage. The certification must be made readily available for review upon request by authorized TCEQ personnel as well as any local pollution control agency with jurisdiction.
2. Failure or Inability to Certify.
   1. If a part of the storm sewer system cannot be accessed to complete the evaluation, certification must be provided for the remainder of the system. Notice of this inability to certify a portion of the storm sewer system must be provided to the TCEQ within 180 days after the NOI is submitted. Operators of facilities that contribute stormwater discharges to an MS4 shall provide notice of this inability to certify a portion of the storm sewer system to the MS4 operator upon request from the MS4 operator. The notice must include an explanation of why the evaluation could not be performed and a list of all known potential, non-permitted, non-stormwater sources that could not be included in the certification. The notification must be submitted to the TCEQ’s Enforcement Division (MC-224).
   2. If, in the course of evaluating the storm sewer system, the permittee is unable to certify that non-permitted, non-stormwater discharges are not occurring due to non-compliance, then the certification must identify the non-compliance issues and the steps being taken to remedy and prevent further non-compliance.

### Routine Facility Inspections

Qualified personnel, who are familiar with the industrial activities performed at the facility, shall conduct periodic routine facility inspections to determine the effectiveness of the Pollution Prevention Measures and Controls (Part III, Section A.4.). These inspections must include at least one member of the stormwater pollution prevention team.

1. Inspections must be conducted at least once per quarter unless otherwise specified in Part V of this permit. If feasible, at least one of these routine facility inspections each calendar year must be conducted during a period when a stormwater discharge is occurring.
2. The permittee shall document the findings of each routine facility inspection performed and shall maintain this documentation onsite with the SWP3.
3. The inspections must be documented through the use of a checklist that is developed to include each of the controls and measures that are evaluated. At a minimum, the documentation of each routine facility inspection must include:
   1. the inspection date and time;
   2. the name(s) of the inspector(s);
   3. weather information and a description of any discharges occurring at the time of the inspection;
   4. any previously unidentified discharges of pollutants from the site;
   5. any control measures (structural or non-structural) needing maintenance or repairs;
   6. any failed control measures (structural or non-structural) that need replacement;
   7. any incidents of non-compliance that are observed. An incident of non-compliance is any instance where an element of the SWP3 is either not implemented, or where specific conditions of the permit are not met;
   8. any additional control measures needed to comply with the permit requirements; and
   9. identification of any existing BMPs that are not being properly or completely implemented.

This documentation must be signed in accordance with Part III, Section E.6.(c) of this permit.

When revisions or additions to the SWP3 are recommended as a result of inspections, a summary description of these proposed changes must be attached to the inspection checklist. The summary must identify any necessary time frames required to implement the proposed changes. The routine facility inspection checklists must be made readily available for inspection and review upon request by authorized TCEQ personnel as well as any local pollution control agency with jurisdiction.

### Quarterly Visual Monitoring

Stormwater discharges from each outfall authorized by this general permit must be visually examined on a quarterly basis. Monitoring must be conducted during the normal hours of operation for the facility and samples must be collected in a clean, clear, glass or plastic container and examined in a well-lit area.

1. Findings must document observations of the following:
   1. color;
   2. clarity;
   3. floating solids;
   4. settled solids;
   5. suspended solids;
   6. foam;
   7. oil sheen;
   8. other obvious indicators of stormwater pollution; and
   9. noticeable odors.

Some examinations, such as an examination for odor and foam, may necessarily be conducted immediately following collection of the sample.

1. All examinations must be performed in a manner that ensures the sample is representative of the discharge (see Part III, Section D). If this is not possible, then the report must include the reason.
2. Records of quarterly visual monitoring must include the following information, and the report must be included in the SWP3:
   1. sample location(s);
   2. date and time samples were collected and examined;
   3. names of personnel who collected and examined the samples;
   4. nature of the discharge (e.g., runoff, snowmelt);
   5. results of the observations;
   6. probable sources of any observed contamination;
   7. visual quality of the stormwater discharge; and
   8. the reason why any samples were not collected within the first 30 minutes of discharge.
3. Results of the examination must be reviewed by the stormwater pollution prevention team. The team must investigate and identify probable sources of any observed stormwater contamination. The SWP3 must be modified as necessary to address the conclusions of the team.
4. Part V of this general permit may include alternative schedules for visual monitoring at specific industrial sectors, and may include additional requirements.

### Water Quality Monitoring Requirements

1. The permittee shall monitor the discharge from the facility at all outfall(s) determined to be discharging a pollutant of concern at a level of concern under Part II, Section B.7, Impaired Water Bodies and Total Maximum Daily Load (TMDL) Requirements.
2. The permittee may not establish substantially similar outfalls for sampling required under this section.
3. The permittee shall monitor the discharge(s) from regulated industrial activities for the pollutant of concern at a frequency of once per year. For the following pollutants of concern, monitoring must be conducted for the following alternative pollutants, unless an alternate is approved in writing by TCEQ’s Wastewater Permitting Section (MC-148), or the TCEQ develops separate written guidance:

**Pollutant(s) of Concern:**

Bacteria: E.coli (for discharge to freshwater); or enterococci (for discharges to tidal waters).

Dissolved Oxygen: BOD5, COD, or both (based on the nature of the industrial activity, and whether there is an existing benchmark sampling requirement for the facility’s industrial sector).

Nutrients: Phosphorous (for discharges to freshwater); or Nitrogen (for discharges to marine waters), unless otherwise established in an applicable TMDL or TMDL Implementation Plan.

Hazardous Metals: Specific metal(s) listed in the CWA 303(d) List or the TMDL.

Other: If the impairment is due to a parameter for which there is not an obvious analytical test or benchmark value (e.g., sediment, fish tissue, etc.), the permittee shall contact the TCEQ for guidance on which pollutant(s) to monitor for, if any, and the TCEQ will respond in writing. The permittee shall retain this information with the SWP3.

The permittee may utilize the analytical results of sampling for other sections of this general permit to comply with this annual sampling requirements (e.g., hazardous metals sampling in Part III, Section C, or benchmark monitoring in Parts IV and V of this general permit).

1. Sampling, monitoring, and analyses must be conducted according to procedures specified in Part III, Section E.4 of this permit unless otherwise specified and using test procedures with minimum analytical levels (MALs) at or below benchmark values for all the benchmark parameters for which sampling is required.
2. Reporting. The permittee shall report the results of sampling for this section to the TCEQ by March 31 following the calendar year in which the samples were collected. The results for the pollutant(s) of concern must be submitted online using the Network Discharge Monitoring Report (NetDMR) reporting system available through the TCEQ website unless the permittee requested and obtained an electronic reporting waiver.
3. If sampling results indicate that the pollutant is present below the level of concern (e.g., the analytical result is below the benchmark values in Part V of this permit) or is not present (e.g., analytical result is below the MAL), then the permittee may discontinue sampling under this section for the remainder of the permit term.

### Annual Comprehensive Site Compliance Inspection

The comprehensive site compliance inspection is a required site evaluation and an overall assessment of the effectiveness of the current SWP3. This inspection is in addition to other routine inspections required by the permit; however, it may substitute for a routine facility inspection if it is conducted during the regularly scheduled period of the routine facility inspection and the scope of the inspection is sufficient enough to address both the minimum requirements of the routine inspection and the comprehensive site compliance inspection.

1. General Requirements. The comprehensive site compliance inspection must be conducted at least once each permit year by one or more qualified employees or designated representatives, including at least one member of the stormwater pollution prevention team. The inspection must include an examination and assessment of:
   1. all areas identified in the Inventory of Exposed Materials section of the SWP3;
   2. all structural controls, including the maintenance and effectiveness;
   3. all non-structural controls (e.g., good housekeeping measures, scheduling, etc.);
   4. all areas where spills and leaks have occurred in the past three (3) years;
   5. all reasonably accessible areas immediately downstream of each outfall that is authorized under this general permit;
   6. industrial materials, residue, or trash that may have or could come into contact with stormwater;
   7. leaks or spills from industrial equipment, drums, tanks, and other containers;
   8. offsite tracking of industrial or waste materials, or sediment where vehicles enter or exit the site;
   9. tracking or blowing of raw, final, or waste materials from areas of no exposure to exposed areas;
   10. a review of the results of the past year’s visual and analytical monitoring when planning and conducting inspections that are required by this general permit; and
   11. any control measures needing replacement, maintenance, or repair.
2. Annual Comprehensive Site Compliance Inspection Report. Within 30 days of performing the annual site compliance inspection, the permittee shall prepare a report that includes a narrative discussion of compliance with the current SWP3. The report must be signed and certified in accordance with Part III, Section E.6.(c) of this permit, and must either be included as a part of the SWP3 or referenced in the SWP3 and be made readily available for inspection and review upon request by authorized TCEQ personnel as well as any local pollution control agency with jurisdiction. The report must document all of the following information:
   1. name(s) and title(s) of the personnel conducting the inspection;
   2. the date(s) of the inspection;
   3. findings from the inspection of areas of the facility;
   4. observations relating to the implementation of control measures:
      1. previously unidentified discharges from the site;
      2. previously unidentified pollutants in existing discharges;
      3. evidence of, or the potential for, pollutants entering the drainage system;
      4. evidence of pollutants discharging to receiving waters, and the condition of and around each outfall; and
      5. additional control measures needed to address any conditions requiring corrective action identified during the inspection.
   5. revisions to the SWP3 made as a result of the inspection; and
   6. any incidents of non-compliance:
      1. An incident of non-compliance is any instance where an element of the SWP3 is either not implemented, or where specific conditions of the permit are not met.
      2. If no incidents of non-compliance are discovered, the report must contain a certification by the permittee that the facility, or in the case of a shared SWP3, the portion of the facility the permittee is responsible for, is in compliance with the SWP3.
      3. If an incident or incidents of non-compliance is identified, then the report must include all necessary actions to remedy the non-compliance. The identified actions must be completed as soon as practicable, but no later than 12 weeks following the completion of the report.
3. Revision of the SWP3. Within 12 weeks following the completion of the Annual Site Compliance Inspection Report, the permittee shall revise and implement the SWP3 to include and address the findings of the report. Revisions must include all changes resulting from the report and all applicable updates to the following:
   1. elements of the SWP3 requiring modification;
   2. controls (e.g., structural controls or BMPs) that should be added or modified;
   3. site map;
   4. inventory of exposed materials;
   5. description of the good housekeeping measures;
   6. description of structural and non-structural controls; and
   7. any other element of the plan that was either found to be inaccurate or will be modified.

### Results of Inspections and Monitoring

If the findings of the inspections and monitoring activities in this section demonstrate compliance with the general permit, then the results of the monitoring are not required to be submitted to the TCEQ, unless specifically requested to do so. If the findings of the inspections and monitoring activities described in this section demonstrate non-compliance, the permittee shall submit the results to the TCEQ in accordance with Part III, Section E.6.

### Exceptions to Periodic Inspections and Monitoring

Refer to Part III, Section D.4. for exceptions related to adverse weather conditions and inactive and unstaffed sites.

## Numeric Effluent Limitations

This section describes two types of numeric effluent limitations. Numeric effluent limitations for hazardous metals and numeric effluent limitations for stormwater discharges subject to federal effluent limitations guidelines.

### Numeric Limitations for Hazardous Metals

All permittees are required to monitor for hazardous metals, unless they qualify for a waiver as described in item (c) below. Monitoring results are kept onsite and are only submitted to TCEQ, when results exceed the daily maximum effluent limitation values in Table 1 below.

**Table 1. Daily Maximum Effluent Limitation**

| **Parameter (Total)** | **Discharges to Inland Waters**  **(mg/L)** | **Discharges to Tidal Waters**  **(mg/L)** | **Monitoring**  **Frequency** |
| --- | --- | --- | --- |
| Arsenic | 0.3 | 0.3 | 1/Year |
| Barium | 4.0 | 4.0 | 1/Year |
| Cadmium | 0.2 | 0.3 | 1/Year |
| Chromium | 5.0 | 5.0 | 1/Year |
| Copper | 2.0 | 2.0 | 1/Year |
| Lead | 1.5 | 1.5 | 1/Year |
| Manganese | 3.0 | 3.0 | 1/Year |
| Mercury | 0.01 | 0.01 | 1/Year |
| Nickel | 3.0 | 3.0 | 1/Year |
| Selenium | 0.2 | 0.3 | 1/Year |
| Silver | 0.2 | 0.2 | 1/Year |
| Zinc | 6.0 | 6.0 | 1/Year |

1. Sampling for Hazardous Metals. A grab sample must be collected at a minimum frequency of once per year at the final outfall or a designated sampling location (also see Part III, Section D.2.). For the purpose of collecting samples for hazardous metals, all designated sampling points must be representative of the discharge(s) from the facility that would reach surface water in the state.
   1. Samples of discharges collected at the final outfall must be collected either immediately prior to entering surface water in the state or immediately prior to leaving the permitted facility property.
   2. Samples of discharges collected at a designated sampling point must be collected in accordance with the requirements in Part III, Section E.4. of this permit.

A designated sampling point must be established when it can be determined that samples taken at a final outfall, as described in item (1) above, would not be considered representative of the discharge from the facility.

* 1. If there is not an obvious outfall location, a designated sampling point may need to be created in accordance with the requirement in Part III, Section E.4.(a) of this permit.

1. Reporting Requirements for Hazardous Metals.
   1. Monitoring for Hazardous Metals must be conducted prior to December 31 for each annual monitoring period and the results must be reported as required in Part III, Section E.6. A copy of the discharge monitoring report (DMR) must either be retained at the facility or must be made readily available for review upon request by authorized TCEQ personnel as well as any local pollution control agency with jurisdiction by March 31 following the annual monitoring period.
   2. Results of monitoring for determining compliance with numeric effluent limitations must be kept onsite and recorded on a DMR. The DMR must either be a copy of record from the NetDMR system, an original EPA No. 3320-1 form, a duplicate of the form, or as otherwise provided by the executive director.
   3. Analytical results that exceed the effluent limitations, listed above in Table 1, are a permit violation and must be submitted electronically using the online NetDMR reporting system available through the TCEQ website, unless the permittee requests and obtains an electronic reporting waiver. Permittees that are issued an electronic reporting waiver shall submit analytical results to the TCEQ Enforcement Division (MC-224) on an approved DMR form (EPA No. 3320-1), a duplicate of the form, or as otherwise provided by the executive director.
   4. Results that exceed one or more of the numeric limitations listed above in Table 1, must be reported by March 31 following the annual monitoring period in which the violation(s) occurred.
2. Waiver from Hazardous Metals Monitoring.

Permittees qualify for a waiver from monitoring requirements for one or more hazardous metals if one of the following criteria is met, and the waiver is obtained by certifying the conditions exist. The criteria under which the waiver is claimed, must also be identified in the SWP3. This certification must be completed on a form provided by the executive director. A new form must be completed during each permit term, no later than prior to the first sampling event that the permittee is seeking to waive. The form must be either maintained onsite or made readily available for review upon request by authorized TCEQ personnel as well as any local pollution control agency with jurisdiction.

Waivers may be obtained on a metal-by-metal basis, or on an outfall-by-outfall basis as follows:

* 1. the permittee certifies that the regulated facility does not use a raw material, produce an intermediate product, or produce a final product that contains one (1) or more of the hazardous metals listed in Table 1 above; or
  2. the permittee certifies that any raw materials, intermediate products, or final products that contain one or more hazardous metal are never exposed to stormwater or runoff (final products are not considered to expose hazardous metals to stormwater or runoff if the final product is designed for outdoor use, unless it is a product that could be transported by stormwater runoff or the final product will be used as a material or intermediate product); or
  3. the permittee collects a sample from the first available discharge from the facility occurring during first sampling period of this permit, analyzes the sample for one or more of the listed hazardous metals, and the results indicate that the metal(s) is/are not present in detectable levels. Test methods used must be sensitive enough to detect the following parameters at the MAL specified below, and results of sampling must be retained on site and available for review by TCEQ personnel:

**Table 2. Minimum Analytical Levels (MAL) for Hazardous Metals**

| **Pollutants** | **MAL (mg/L)** |
| --- | --- |
| Arsenic, total | 0.0005 |
| Barium, total | 0.003 |
| Cadmium, total | 0.001 |
| Chromium, total | 0.003 |
| Copper, total | 0.002 |
| Lead, total | 0.0005 |
| Manganese, total | 0.0005 |
| Mercury, total | 0.000005 |
| Nickel, total | 0.002 |
| Selenium, total | 0.005 |
| Silver, total | 0.0005 |
| Zinc, total | 0.005 |

When an analysis of a discharge sample for any of the parameters listed above indicates no detectable levels above the MAL, and the test method detection level is as sensitive as the specified MAL, a value of zero (0) may be used for that measurement, and a waiver may be obtained for the duration of the permit term following the sample collection, for any hazardous metal that measures zero (0).

* 1. Hazardous metals monitoring waivers are effective beginning on the date that the waiver certification is made following submittal of an NOI and lasting for the duration of the term of this general permit. The permittee will be required to comply with any requirements of a reissued general permit with respect to sampling and waivers, including obtaining a new hazardous metals monitoring waiver (see the criteria listed above).

1. Relation to Benchmark Monitoring. If a facility is required to sample for any of the above hazardous metals as part of the benchmark requirements in Part V, then the permittee is subject to the effluent limitations listed in Table 1 above for those hazardous metals sampled at a final outfall as part of benchmark monitoring. There are no waivers available for pollutants that are required in Part V of the general permit. If sampling for benchmark metals is not performed at a final outfall, then the above effluent limits may not apply for the benchmark sample if the sample is not representative of the discharge from the site. In this situation, the discharge must also be sampled at each final outfall to comply with the sampling and analyses requirements of this section.

### Discharges Subject to Federal Categorical Guidelines

Part V of this general permit includes additional effluent limitations for certain stormwater discharges as required under 40 CFR Subchapter N Parts 400-471. Only those stormwater discharges identified in Table 3 below are eligible for coverage under this permit. The permittee is subject to the sampling and reporting requirements as stipulated below, along with the applicable sections of Part III, Section D, and Part V.

**Table 3. Stormwater- Sector Specific Numeric Effluent Limitations Guidelines**

| **Regulated Discharge** | **40 CFR Section** | **MSGP Sector** |
| --- | --- | --- |
| Discharges resulting from spray down or intentional wetting of logs at wet deck storage areas | Part 429, Subpart I | A |
| Runoff from phosphate fertilizer manufacturing facilities that comes into contact with any raw materials, finished products, by-products or waste products (SIC 2874) | Part 418, Subpart A | C |
| Runoff from asphalt emulsion facilities | Part 443, Subpart A | D |
| Runoff from material storage piles at cement manufacturing facilities | Part 411, Subpart C | E |
| Mine dewatering discharges at crushed stone, construction sand and gravel, or industrial sand mining facilities | Part 436, Subparts B, C, and D | J |
| Runoff from coal storage piles at steam electric generating facilities | Part 423 | O |
| Runoff containing urea from airfield pavement deicing at existing and new primary airports with 1,000 or more annual non-propeller aircraft departures | Part 449 | S |

1. Sample Type: Grab samples must be collected for analyses prior to combining with other flows.
2. Reporting Requirements for Sector Specific Numeric Effluent Limitations Guidelines. Monitoring for compliance with numeric effluent limitations guidelines in this section and in Part V is subject to the following requirements:
   1. Results of monitoring must be submitted online using the NetDMR reporting system available through the TCEQ website unless the permittee requests and obtains an electronic reporting waiver. Permittees that are issued an electronic reporting waiver shall submit analytical results to the TCEQ Enforcement Division (MC-224) on an approved DMR form (EPA No. 3320-1), a duplicate of the form, or as otherwise provided by the executive director.
   2. Monitoring must be conducted prior to December 31 for each annual monitoring period and the results must be submitted to TCEQ by March 31 of the following year, as described in Part III, Section E.6. of this permit.
   3. In addition, a copy of the DMR must either be retained at the facility or must be made readily available for review upon request by authorized TCEQ personnel as well as any local pollution control agency with jurisdiction my March 31 following the annual monitoring period.

## General Monitoring and Records Requirements

### Qualifying Storm Events

For purposes of the MSGP, a qualifying storm event is an event that results in a discharge from the permitted facility. For qualifying storm events, the following requirements apply:

1. Monitoring, sampling, examinations, and inspections of stormwater discharges that are required as a provision of this general permit must be conducted on discharges from a measurable storm event that results in an actual discharge from the site, and that follows the preceding measurable storm event by at least 72 hours (3 days). The 72-hour storm interval does not apply if the permittee is able to document in the SWP3 that less than a 72-hour (3-day) interval is representative for local qualifying storm events during the sampling period. In the case of snowmelt, the monitoring must be performed at a time when a measurable discharge occurs at the site.
2. A facility that has retention ponds as BMPs will not always have a discharge from the pond(s) immediately following a qualifying storm event. If any storm events occurred prior to discharge from the outfall, regardless of the time period between the last storm event and the discharge, the permittee may consider the discharge to be the result of the previous qualifying storm event.
3. The permittee shall maintain an on-site rain gauge, a representative weather station, or subject to TCEQ’s approval, an alternative means of compliance to determine when a qualifying storm event occurs. The on-site rain gauge, representative weather station, or the alternative means of compliance must be monitored a minimum of once per week, and once per day during storm events. Records of the date and rainfall total must be retained on-site or made readily available for review. If there is no rain during a given week, the permittee shall monitor and record a zero rainfall total or no rain for the week. Monitoring and recordkeeping of the on-site rain gauge, representative weather station, or the alternative means of compliance may be temporarily suspended during a given monitoring period if a qualifying storm event has occurred and the required sampling and analyses or visual observations have been performed.

### Representative Discharge Samples

1. All samples must be representative of the discharge.
   1. Sampling should be conducted within the first 30 minutes of discharge using a grab sample. Sampling from retention ponds described in Part III, Section D.1.b. above should be conducted within 30 minutes of the initiation of discharge from the pond. If it is not practicable to collect the sample or to complete the sampling within the first 30 minutes, then sampling must be completed within the first hour of discharge.

If sampling is not completed within the first 30 minutes of discharge, the reason must be documented and attached to all required reports and records of the sampling activity.

In the case of snowmelt, samples must be taken during a period with a measurable discharge.

* 1. If alternate sampling requirements are defined in the permit where numeric effluent limitations have been established, the permittee shall comply with the requirements described in the section with the numerical effluent limits; however, other applicable portions of this section will still apply.
  2. Authorized Stormwater Discharges that Combine with Other Permitted Flows. If stormwater discharges authorized under this general permit combine with other stormwater or with wastewater authorized under a separate permit, then sampling must be conducted at a point before the waters combine.
  3. Non-Stormwater Discharges. Monitoring of allowable non-stormwater discharges is only required when they are commingled with stormwater discharges associated with industrial activity.

1. Representative Discharges from Substantially Similar Outfalls.
   1. Monitoring requirements apply to all outfalls authorized by this permit, unless the permittee establishes substantially similar outfall(s). If discharges of stormwater through two (2) or more outfalls show substantially similar effluents, then sampling and monitoring may be conducted at only one (1) of those outfalls that are substantially similar, and the results may be reported as representative of the discharge from the substantially similar outfall(s).

Before results may be submitted as representative of discharges from substantially similar outfalls, the permittee shall ensure that the SWP3 includes a description of all outfall locations and a detailed justification of why the discharge qualities from the outfalls are substantially similar.

To determine if outfalls are substantially similar, the following characteristics of each outfall must be compared:

* + 1. the industrial activities that occur in the drainage area to each outfall;
    2. significant materials stored or handled within the drainage area to each outfall; and
    3. the management practices and pollution control structures that occur within the drainage area of each outfall.
  1. Substantially similar outfalls may be established for the following monitoring requirements described in this general permit:
     1. Quarterly Visual Monitoring (Part III, Section B.3);
     2. Hazardous Metals Monitoring (Part III, Section C); and
     3. Benchmark Monitoring (Parts IV and V)
  2. Substantially similar outfalls may not be established for the following:
     1. Outfalls with any non-stormwater discharges; and
     2. Outfalls with discharges subject to numeric effluent limits listed in Part V (sector-specific effluent limits).
  3. The following information must be documented in the SWP3 if the substantially similar outfall exception is being used for any required monitoring:
     1. location of each of the substantially similar outfalls;
     2. description of the general industrial activities conducted in the drainage area of each outfall;
     3. description of the control measures implemented in the drainage area of each outfall;
     4. description of the exposed materials located in the drainage area of each outfall that are likely to be significant contributors of pollutants to stormwater discharges;
     5. estimate of the runoff coefficient of the drainage areas;
     6. explanation regarding why the outfalls are expected to discharge substantially similar effluents; and
     7. assurance that control measures have been assessed and modified as appropriate for each outfall represented by the monitored outfall, if necessary due to stormwater contamination being identified through visual assessment of substantially similar outfall.

### Monitoring Periods

1. Sampling, inspections, and examinations that are required on a quarterly basis must be conducted during the following periods:

**First (1st) quarter**: January 1 thru March 31;

**Second (2nd) quarter**: April 1 thru June 30;

**Third (3rd) quarter**: July 1 thru September 30; and

**Fourth (4th) quarter**: October 1 thru December 31.

Permittees shall begin required sampling, inspections, and examinations on a quarterly basis in the first full quarter following submission of an NOI.

1. Sampling, inspections, and examinations that are required on a semiannual basis must be conducted during the following periods:

**First (1st) period**: January 1 thru June 30; and

**Second (2nd) period**: July 1 thru December 31.

Permittees shall begin required sampling, inspections, and examinations on a semiannual basis in the first full period following submission of an NOI.

1. Monitoring, inspections, and examinations that are required on an annual basis must be conducted before December 31st of each calendar year, beginning with the calendar year that includes the first full quarter following submittal of an NOI.

### Exceptions to Monitoring Requirements

1. Adverse Conditions.
   1. Requirements to sample, inspect, examine, or otherwise monitor stormwater discharges within a prescribed monitoring period may be temporarily suspended for adverse conditions. Adverse conditions are conditions that are either dangerous to personnel (e.g., high wind, excessive lightning) or conditions that prohibit access to a discharge (e.g., flooding, freezing conditions, extended periods of drought). Adverse conditions that result in the temporary suspension of a permit requirement to sample, inspect, examine, or otherwise monitor stormwater discharges must be documented and included as part of the SWP3. Documentation must include:
      1. the date and time of the adverse condition,
      2. names of personnel that witnessed the adverse condition,
      3. a narrative for the nature of the adverse condition, and
      4. readings of the on-site rain gauge, representative weather station, or subject to TCEQ’s approval, the alternative means of compliance.
   2. Monitoring Waivers. When monitoring is temporarily suspended due to adverse conditions, that monitoring must be conducted at the next representative rain event or in the next monitoring period, whichever comes first, in addition to any monitoring required for that period. If the temporarily suspended monitoring requirement cannot be fulfilled during the next monitoring period due to continued adverse conditions, then it is permanently waived for both monitoring periods.
   3. The SWP3 must include records of why monitoring was temporarily suspended due to adverse conditions.
2. Inactive Facilities. Permitted facilities in this inactive status must provide written notice to the executive director of this status by submitting an NOC. Following this notification, permit requirements to sample, inspect, examine, or otherwise monitor stormwater discharges are waived during the period that a facility maintains inactive status, unless the requirements in Part V. of this permit include specific requirements for inactive facilities.

Inactive facilities must notify the executive director by submitting an NOC according to Part II.C.6 at least 48 hours before commencing industrial activities and transferring to active status.

1. Lack of Qualifying Storm Event. When monitoring was not possible due to a lack of a qualifying storm event as documented in the rain gauge recording, representative weather station, or subject to TCEQ’s approval, the alternative means of compliance, monitoring is temporarily suspended.

### Records Retention

Monitoring and reporting records, copies of all other records required by this general permit, and records of all data used to complete the application for this general permit must be retained at the facility or must be made readily available for review upon request by authorized TCEQ personnel as well as any local pollution control agency with jurisdiction for a period of three (3) years from the date of the record or sample, measurement, report, application, or certification. This period must be extended at the request of the executive director.

The SWP3 must be maintained and be made readily available for inspection and review upon request by authorized TCEQ personnel as well as any local pollution control agency with jurisdiction. Additionally, a copy of all SWP3s for the preceding three (3) year period must be maintained and made readily available for review. In circumstances where the number of revisions to the SWP3 makes this requirement burdensome, a log or record of revisions for the preceding three (3) year period may be maintained and made available.

If the general permit is terminated or allowed to expire without renewal, the SWP3 must be maintained and made readily available for review for a minimum period of one (1) year following cessation of permit coverage.

### Monitoring and Inspection Documentation

The procedures for conducting the required analytical monitoring must be documented in the SWP3.

1. For each type of monitoring required in the permit, the SWP3 must include the following:
   1. a list of locations where samples are collected, including any determination that two (2) or more stormwater only outfalls are considered to be substantially similar;
   2. parameters that must be sampled, including the frequency of sampling for each parameter;
   3. schedules for conducting monitoring activities;
   4. any numeric control values applicable to discharges from each outfall (e.g., benchmark sampling levels, numeric effluent limitations, or other requirements); and
   5. procedures for gathering storm event data.
2. If the permittee is not conducting monitoring due to claiming an inactive and unstaffed site, the information to support this claim must be included in the SWP3.
3. The procedures for performing the inspections specified by this permit must be documented in the SWP3, including routine facility inspections, quarterly visual assessment of stormwater discharges, and comprehensive site inspections.

For each type of inspection performed, the SWP3 must identify the person(s) or positions of person(s) responsible for inspection; schedules for conducting inspections, including tentative schedule for facilities in climates with irregular stormwater runoff discharges; and specific items to be covered by the inspection, including schedules for specific outfalls.

## Standard Permit Conditions

30 TAC Chapter 305 requires certain regulations appear as standard conditions in waste discharge permits. 30 TAC §§305.121 - 305.129, Subchapter F, Permit Characteristics and Conditions, as promulgated under the TWC §§5.103 and 5.105, the Texas Health and Safety Code §§361.017 and 361.024(a), and those sections of 40 CFR Part 122 adopted by reference by the Commission, establish the characteristics and standards for waste discharge permits. This section includes these conditions and incorporates them into this general permit. More specific requirements for some of these standard permit conditions may be defined for specific sectors of industrial activity that are authorized to discharge under this general permit.

### General Conditions

1. Duty to Comply.
   1. Submission of an NOI for permit coverage is an acknowledgment that the applicant agrees to comply with the conditions of the general permit. Acceptance of authorization under the provisions of this general permit constitutes acknowledgment and agreement that the permittee will comply with all the terms and conditions embodied in the permit, and the rules and other orders of the Commission.
   2. The permittee has a duty to comply with all conditions of the permit. Failure to comply with any permit condition constitutes a violation of the permit and the Texas Water Code or the Texas Health and Safety Code and is grounds for enforcement action, for revocation or suspension of coverage under this general permit, and for requiring a permittee to apply for a TPDES individual permit or coverage under an alternative general permit.
2. Toxic Pollutants.
   1. If any toxic effluent standard or prohibition is promulgated according to the TWC §26.023 for a toxic pollutant that is present in the discharge and that standard or prohibition is more stringent than the conditions of this general permit, this general permit must be modified or revoked and reissued to conform to the toxic effluent standard or prohibition.
   2. The permittee shall comply with effluent standards or prohibitions established according to the TWC §26.023 for toxic pollutants within the time provided in the regulations that established those standards or prohibitions, even if this general permit has not yet been modified to incorporate the requirement.
3. Permit Flexibility. Authorization under this general permit may be modified, suspended or revoked for cause according to 30 TAC §§305.62 and 305.66 and the TWC Section §7.302. The filing of a notice of planned changes or anticipated non-compliance does not stay any permit condition.
4. Property Rights. A permit does not convey any property rights of any sort, or any exclusive privilege.
5. Duty to Provide Information. The permittee shall furnish to the executive director, upon request, any information, including records that are maintained as a requirement of this permit, necessary to determine whether cause exists for revoking, suspending, or terminating authorization under this general permit.
6. Criminal and Civil Liability.
   1. As provided by state law, the permittee is subject to administrative, civil and criminal penalties, as applicable, for negligently or knowingly violating the CWA, the TWC, Chapters 26, 27, and 28, and Texas Health and Safety Code, Chapter 361, including but not limited to: knowingly making any false statement, representation, or certification on any report, record, or other document submitted or required to be maintained under this permit, including monitoring reports or reports of compliance or non-compliance; falsifying or tampering with or knowingly rendering inaccurate any monitoring device or method required by this permit; or violating any other requirement imposed by state or federal regulations. Nothing in this permit shall be construed to relieve the permittee from civil or criminal penalties for non-compliance.
   2. Any false or materially misleading representation or concealment of information required to be reported by the provisions of the permit or applicable regulation, which avoids or effectively defeats the regulatory purpose of this general permit, may subject the permittee to criminal enforcement.
7. Severability. The provisions of this general permit are severable and if any provision of this permit or the application of any provision of this permit to any circumstance is held invalid, the application of such provision to other circumstances, and the remainder of this general permit, shall not be affected thereby.

### Proper Operation and Maintenance

1. Need to Halt or Reduce Not a Defense. It is not a defense for a permittee in an enforcement action that it would have been necessary to halt or reduce the permitted activity in order to maintain compliance with the conditions of this general permit.
2. Duty to Mitigate. The permittee shall take all reasonable steps to minimize or prevent any discharge or other permit violation that has a reasonable likelihood of adversely affecting human health or the environment.
3. Operation of Treatment and Control Systems.
   1. The permittee shall at all times ensure that the facility and all of its systems of collection, treatment, and disposal are properly operated and maintained in a manner that will minimize discharges of excessive pollutants and will achieve compliance with the conditions of this permit. Proper operation and maintenance also include adequate laboratory controls and appropriate quality assurance procedures. This provision requires the operation of backup or auxiliary systems that are installed by a permittee only when the operation is necessary to achieve compliance with the conditions of this permit.
   2. The permittee shall provide an adequate operating staff that is duly qualified to carry out operation, maintenance, and testing functions required to ensure compliance with the conditions of this general permit.
4. Anticipated Non-compliance. The permittee shall give advance notice to the executive director of any planned changes in the permitted facility or activity that may result in non-compliance with permit requirements.

### Inspection and Entry Requirements

1. Inspection and Entry. Inspection and entry must be allowed as prescribed in the TWC Chapters 26, 27, and 28, and Texas Health and Safety Code Chapter 361.
2. Entry to Public or Private Property. The members of the Commission and employees and agents of the Commission are entitled to enter any public or private property at any reasonable time for the purpose of inspecting and investigating conditions relating to the quality of surface water in the state or the compliance with any rule, regulation, permit or other order of the Commission. Members, employees, or agents of the Commission and Commission contractors are entitled to enter public or private property at any reasonable time to investigate or monitor or, if the responsible party is not responsive or there is an immediate danger to public health or the environment, to remove or remediate a condition related to the quality of surface water in the state. Members, employees, Commission contractors, or agents acting under this authority who enter private property shall observe the establishment’s rules and regulations concerning safety, internal security, and fire protection, and if the property has management in residence, shall notify management or the person then in charge of his presence and shall exhibit proper credentials. If any member, employee, Commission contractor, or agent is refused the right to enter in or on public or private property under this authority, the executive director may invoke the remedies authorized in TWC §7.002.

### Monitoring and Sampling

1. Representative Sampling. Samples and measurements taken for the purpose of monitoring must be representative of the monitored activity or activities and must be taken at an outfall or outfalls that will best represent the types of industrial activity or activities conducted at a facility site. If no obvious outfall location is present (e.g., a diffuse point source), the permittee may need to create a sampling point. This may include creating a depression or using physical means (e.g., sandbags or curbs) to direct the runoff for easier collection for sampling and measurement purposes.
2. Benchmark Monitoring. This type of monitoring differs from monitoring for compliance with numeric effluent limitations. Results from benchmark monitoring are used to determine if the selected BMPs are effective. The samples should be collected from internal or external outfalls where the BMPs are installed.
3. Monitoring Procedures.
   1. Unless otherwise specified in this permit, test procedures for the analysis of pollutants shall comply with procedures specified in 30 TAC §§319.11 - 319.12.
   2. All laboratory tests submitted to demonstrate compliance with this permit must meet the requirements of 30 TAC Chapter 25, Environmental Testing Laboratory Accreditation and Certification.
4. Monitoring Results. Monitoring results must be provided at the intervals specified in this general permit.
5. Additional Monitoring by the Permittee. If the permittee monitors any pollutant more frequently than required by this general permit using approved analytical methods, all results of the monitoring must be included in the calculation and reporting of the values recorded on the DMR and must be included in any other calculation, record, or reports required to be maintained as a provision of this general permit. Increased frequency of sampling must be indicated on the DMR.

### Records Requirements

1. Retention of Records.
   1. The period records are required to be retained must be automatically extended to the date of the final disposition of any administrative or judicial enforcement action that may be instituted against the permittee.
   2. Monitoring and reporting records, including records of calibration and maintenance, and copies of all records and reports required by this permit, must be retained at the facility or must be readily available for review by a TCEQ representative for a period of three years from the date of the record or sample, measurement, report, application or certification unless otherwise specified in this permit. This period must be extended at the request of the executive director.
2. Record Contents.

Records of monitoring must include, at a minimum, the following:

* 1. date, time, and place of sample or measurement;
  2. identity of the individual who collected the sample, made the measurement or observation, or performed the analysis;
  3. date and time the sample, measurement, or observation was made, and the analysis conducted;
  4. identity of the individual and laboratory who performed the analysis;
  5. technique or method of analysis;
  6. results of the measurement, observation, or analysis; and
  7. quality assurance/quality control records.

### Reporting Requirements

1. Self-Reporting of Numeric Effluent Limits Results.
   1. Results of analyses for determining compliance with numeric effluent limitations must be submitted online using the NetDMR reporting system available through the TCEQ website unless the permittee requests and obtains an electronic reporting waiver. Permittees that are issued an electronic reporting waiver shall submit analytical results to the TCEQ Enforcement Division (MC-224) on an approved DMR form (EPA No. 3320-1). Effluent sampling shall be conducted in accordance with the monitoring frequencies specified in this general permit.
   2. Monitoring must be conducted prior to December 31 for each annual monitoring period. Results of the monitoring must be recorded on a DMR and made available by March 31 of the following year as described below:
      1. DMRs for hazardous metals sampling (see Part III, Section C.1. of this general permit) must either be retained at the facility or must be otherwise made readily available for review upon request by March 31 of the following year. DMRs are only submitted to TCEQ, when results exceed permit limits in Table 1, Part III, Section C.1.
      2. In addition, DMRs for the following sampling results must be submitted online using the NetDMR reporting system, unless the permittee has obtained an electronic reporting waiver, in which case a paper DMR form must be submitted:
         1. Exceedance of any numeric effluent limits for hazardous metals. (also see Part III, Section E.6.(b) below), and
         2. Results of all sampling and monitoring performed to comply with federal numeric effluent limitations guidelines (40 CFR Subchapter N - Parts 400 through 471) as described in Part III, Section C.2 and Part V of this permit (See Part V, Sections A.7., C.4., D.4., E.5., J.6., O.5., and S.6.).
      3. If no discharge occurs from facilities subject to monitoring for numeric effluent limitations, a DMR must be submitted that indicates no discharge occurred during the reporting period. In addition to reporting requirements for numeric effluent limits that are recorded on DMRs, the permittee shall report to the TCEQ the results of all sampling and monitoring performed to comply with any non-numeric requirements as described in Part V of this permit, and this information shall be submitted along with the DMR form by March 31 of each year.
2. Non-compliance Notification.
   1. According to 30 TAC §305.125(9) any non-compliance that may endanger human health or safety, or the environment, must be reported by the permittee to the TCEQ. Report of such information must be provided orally or by electronic facsimile transmission (fax) to the TCEQ regional office within 24 hours of becoming aware of the non-compliance. A written report must be provided by the permittee to the TCEQ regional office and to the TCEQ Enforcement Division (MC-224) within five working days of becoming aware of the non-compliance. The written report must contain:
      1. a description of the non-compliance and its cause;
      2. the potential danger to human health or safety, or the environment;
      3. the period of non-compliance, including exact dates and times;
      4. if the non-compliance has not been corrected, the anticipated time it is expected to continue; and
      5. steps taken or planned to reduce, eliminate, and prevent recurrence of the non-compliance, and to mitigate its adverse effects.
   2. In addition to the above, any violation that exceeds the permitted effluent limitation by more than 40% must be reported in writing to the appropriate TCEQ regional office and to the Enforcement Division (MC-224) within five working days of becoming aware of the non-compliance.
   3. Other Non-compliance.

In addition to the reporting requirements listed in Part III, Sections E.6.(b)(1) and (2) above, any non-compliance with the permit must be reported in writing to the TCEQ.

Any other non-compliance(s) as described in Part III.B.5(b)(6)(a) must be reported to the TCEQ by March 31 following the calendar year in which the non-compliance(s) occurred. The permittee shall report any additional non-compliance(s) not described above under this paragraph to the TCEQ, Information Resource Division, MC-213, or to the address shown on a reporting form, if one is made available by TCEQ. The permittee may meet this requirement by submitting a copy of the Annual Comprehensive Site Compliance Inspection Report (see Part III, Section B.5.(b)) or by submitting a narrative explanation of the non-compliance(s).

1. Signatory Requirements for Reports and Certifications. All reports and certifications required in this permit or otherwise requested by the executive director must be signed by the person and in the manner required by 30 TAC §305.128 (relating to Signatories to Reports).
2. Other Information. When the permittee becomes aware that it either submitted incorrect information or failed to submit any relevant facts on an NOI, NOT, NEC, NOC, or any report, it must promptly submit the facts or information to the executive director.

### Solid Waste

1. Industrial Solid Waste

Facilities that generate industrial solid waste as defined in 30 TAC §335.1 must comply with these provisions:

* 1. Any solid waste, as defined in 30 TAC §335.1, generated by the permittee during the management and treatment of stormwater, must be managed according to all applicable provisions of 30 TAC Chapter 335, relating to Industrial Solid Waste and Municipal Hazardous Waste.

For the purpose of stormwater treatment, a solid waste management unit includes structural controls such as detention ponds, retention ponds, or other similar dedicated ponds used for removal of pollutants in stormwater, and does not include other control structures such as berms; grass swales; pipes and ditches (or similar stormwater conveyances); or silt fences.

* 1. Stormwater that is being collected, accumulated, stored, or processed within a solid waste management unit, before discharge through any final outfall authorized by this permit, is considered to be solid waste until the stormwater passes through the actual point source discharge, and must be managed according to all applicable provisions of 30 TAC Chapter 335.
  2. The permittee shall provide written notification, pursuant to the requirements of 30 TAC §335.6, to the Corrective Action Section (MC-127) of the Remediation Division informing the Commission of any closure activity involving a Solid Waste Management Unit, at least 90 days prior to conducting such an activity.
  3. Construction of any solid waste management unit requires the prior written notification of the proposed activity, pursuant to the requirements of 30 TAC §335.6(a) to the Registration and Reporting Section (MC 129) of the Permitting and Registration Support Division. No person shall dispose of industrial solid waste or municipal hazardous waste, including sludge or other solids from stormwater treatment processes, prior to fulfilling the deed recordation requirements of 30 TAC §335.5.
  4. The permittee shall keep management records for all sludge or other waste removed from any stormwater treatment process. These records must fulfill all applicable requirements of 30 TAC Chapter 335 and must include the following, as it pertains to wastewater treatment and discharge:
     1. volume of waste and date generated from treatment process;
     2. volume of waste disposed of onsite or shipped off-site;
     3. date of disposal;
     4. identity of hauler or transporter;
     5. location of disposal site; and
     6. method of final disposal.

The above records must be updated on a monthly basis. The records must be retained at the facility or must be readily available for review by authorized representatives of the TCEQ for at least five years.

1. Municipal Solid Waste

All facilities regulated under this general permit that generate municipal solid waste must comply with applicable rules and regulations, including 30 TAC Chapter 330.

# BENCHMARK MONITORING REQUIREMENTS

This permit specifies pollutant benchmark concentrations that are applicable to certain industrial sectors/subsectors. Benchmark monitoring data are primarily used to determine the overall effectiveness of selected BMPs.

## Use of Benchmark Data

### Monitoring for Benchmark Parameters in Discharges

The permittee shall monitor the discharge(s) from regulated industrial activities as required in Part III.E.4(b) and Part V of this general permit, for the benchmark parameters specified within each section of Part V. Benchmark monitoring is required for the industrial sector(s) listed in Part V of this permit that are applicable to the permittee’s facility/site. This includes the primary industrial activity and any co-located industrial activities (i.e., secondary industrial activities) that are conducted at the site and are described in this permit.

1. The permittee shall compare the results of the benchmark analyses to the benchmark values for any pollutant(s) that the permittee is required to monitor according to Part V of this general permit, and shall include this comparison in the overall assessment of the SWP3’s effectiveness. Analytical results that exceed a benchmark value are not a violation of this permit, as these values are not numeric effluent limitations. However, not conducting benchmark sampling, not submitting the benchmark monitoring form with sample results, or not submitting the benchmark monitoring form with an explanation as to why the sampling failed to be conducted is a violation of the permit requirements for benchmark monitoring submittal. Exceedances of benchmark values indicate that modifications to the SWP3 and current BMP(s) may be necessary.
2. The permittee is not eligible for a sampling waiver under Part III, Section C. of this permit for any hazardous metals that are required to be sampled as part of benchmark monitoring. The permittee is subject to the effluent limitations in Part III, Section C. for any monitoring for hazardous metals that is conducted at a final outfall.
3. Sampling, monitoring, and analyses must be conducted according to procedures specified in Part III, Section E.4. of this permit unless otherwise specified and using test procedures with minimum analytical levels (MALs) at or below benchmark values for all the benchmark parameters for which sampling is required.

### Background Concentrations

If during benchmark monitoring the average concentration of a pollutant exceeds a benchmark value and it is determined that the exceedance is attributable solely to the presence of that pollutant in the natural background, the permittee is not required to perform corrective action or additional benchmark monitoring provided that:

1. the average concentration of the benchmark monitoring results are less than or equal to the concentration of the pollutant in the natural background;
2. the permittee documents in the SWP3 the supporting rationale for concluding that benchmark exceedances are attributable solely to natural background pollutant levels, as outlined in Part IV, Section A.2.of this permit. Any data previously collected (including literature studies) must be included in the supporting rationale that describe the levels of natural background pollutants in the stormwater discharge; and
3. the permittee notifies TCEQ in writing during the reporting period for the sampling period that the permittee determined the benchmark exceedances are attributable solely to natural background pollutant levels.

Natural background pollutants include substances that are naturally occurring in the soil or groundwater. Natural background pollutants do not include legacy pollutants from earlier activity at the site, or pollutants in runon from neighboring sources that are not naturally occurring. Background concentrations may be identified by laboratory analyses of samples of stormwater runon to the permitted facility, laboratory analyses of samples of stormwater runoff from adjacent non-industrial areas, or by identifying the pollutant as a naturally occurring material in soil at the site.

### Investigations of Benchmark Value Exceedances

The Pollution Prevention Team must investigate the cause for each exceedance and must document the results of this investigation in the SWP3 within 90 days following the sampling event.

The Pollution Prevention Team investigation must identify the following:

1. any additional potential sources of pollution, such as spills that might have occurred;
2. necessary revisions to the Good Housekeeping Measures section of the SWP3;
3. additional BMPs, including a schedule to install or implement the BMPs; and
4. other parts of the SWP3 for which revisions are appropriate.

Background concentrations of specific pollutants may be considered during the investigation as described in Part IV, Section A.2. above. If the Pollution Prevention Team is able to relate the cause of the exceedance to background concentrations, then subsequent exceedance of benchmark values for that pollutant may be resolved by referencing the earlier finding in the SWP3.

### Exception for Inactive and Unstaffed Sites

The requirement for benchmark monitoring does not apply at a facility that is inactive and unstaffed, provided that there are no industrial materials or activities exposed to stormwater and that the permittee performs the following:

1. include a written statement in the SWP3 stating that the site is inactive and unstaffed, and that there are no industrial materials or activities exposed to stormwater. This statement must be signed and certified in accordance with 30 TAC §305.128; and
2. immediately begin complying with the applicable benchmark monitoring requirements in this section if circumstances change and industrial materials or activities become exposed to stormwater, or the facility becomes active or staffed, as this creates a condition where the exception no longer applies. Benchmark monitoring must be resumed as if in the first year of permit coverage. The permittee must indicate in the first benchmark monitoring report that the facility has materials or activities exposed to stormwater or has become active or staffed.
3. If a site or facility is not qualified for this exception at the time authorization is obtained under this permit, but becomes qualified because the facility is inactive and unstaffed at some point during the permit term, and there are no industrial materials or activities that are exposed to stormwater, then the permittee must notify TCEQ in writing of this change in the next benchmark monitoring report. Benchmark monitoring may be discontinued once TCEQ has been notified in writing, and a certification statement has been prepared and signed and certified in accordance with 30 TAC §305.128.

### Adverse Weather Conditions

Sampling under this section is subject to the exceptions related to adverse weather conditions or drought in accordance with Part III, Section D.4. of this general permit.

## Benchmark Monitoring Requirements

The benchmark monitoring parameters for each industrial sector are listed in Part V of this general permit under the individual sectors. Benchmark monitoring must be conducted once every six months for four (4) years following permit issuance.

### Monitoring Periods

1. Benchmark monitoring must be conducted once every six months (January through June **or** July through December) following permit issuance, and then once during each subsequent semiannual monitoring period (i.e., January through June and July through December) during the remaining permit term, except that a waiver is available for the third and fourth year according to Part IV, Section B.1.(c) below.
2. Operators of industrial facilities that obtain coverage after the beginning of a monitoring period shall initiate benchmark monitoring during the first six-month monitoring period (January through June **or** July through December). Because permit renewal occurs in between monitoring periods, the first year of sampling will occur on the first full six-month monitoring period (i.e., January through June). Sampling must be conducted once per semiannual monitoring period (January through June and July through December) thereafter, for up to a total of four (4) years, or eight (8) semiannual monitoring periods, depending on when coverage is obtained. Monitoring is not required in the calendar year of renewal of the general permit, because this year does not have two full six months monitoring periods. A waiver is available if the annual average results of monitoring during the first two (2) years are all below benchmark levels, in accordance with Part IV, Section B.1.(c) below.
3. Waiver from Benchmark Monitoring. If the annual average results of benchmark sampling for the first two monitoring years are all below the benchmark levels, the permittee may waive out of benchmark monitoring requirements during the third and fourth monitoring years. To request the waiver from benchmark monitoring, the permittee shall submit an NOC in accordance with Part II.C.6. The annual average result is the average of all samples collected for a particular pollutant for a specific SIC code during the previous calendar year, January through December. If sampling for any monitoring period was not performed, then the average annual result must be calculated using the remaining samples for that calendar year.

Permittees who obtain a waiver are subject to the following limitations:

* 1. The permittee may exercise this waiver from benchmark monitoring, so long as the analytical result for any pollutant limited in the annual hazardous metal monitoring does not exceed the corresponding benchmark monitoring level for that pollutant, if that pollutant is included in the list of parameters in Part V of this permit for which monitoring is required of the permittee.
  2. If during monitoring for annual hazardous metals, sampling to comply with sector-specific effluent specific limits, or any additional sampling performed by the facility operator, an analytical result exceeds the benchmark level for a pollutant for which a benchmark waiver was obtained, the permittee shall investigate the source of the exceedance, make the necessary correction or mitigation (as outlined above in section A) and return to performing benchmark monitoring according to: the requirements of Part IV; the applicable schedule outlined in Part III, Section D.3.; and any sector specific requirements that apply.
  3. This waiver does not affect the requirements for a permittee to sample and analyze its discharge to comply with any numeric effluent limitations established in this permit. (See Part III, Section C, related to hazardous metals monitoring, and Part V for discharges subject to federal effluent limitations guidelines listed in Part V of this permit.

### Reporting Requirements

1. Results of analyses for sampling during benchmark monitoring years one through four, must be submitted to TCEQ before March 31 of each year following sample collection. Permittees who requested a benchmark waiver after the first two monitoring years, following the NOI submittal, are not required to submit sampling results for monitoring years three and four. The reported values must be the average yearly result of analysis for each specific pollutant discharged under a specific SIC code, rather than an outfall-by-outfall, basis. The results must be submitted online using the NetDMR reporting system unless the permittee requests and obtains an electronic reporting waiver. Permittees that request and obtain an electronic reporting waiver shall submit monitoring results on a form (TCEQ No. 20091) provided by the executive director and mailed to the TCEQ’s Stormwater Team (MC-148).
2. Substantially similar outfalls may be established for benchmark monitoring, in accordance with Part III, Section D.2. of this general permit.
3. If sampling during any six-month period is not conducted for a pollutant due to adverse weather conditions or drought in accordance with Part III, Section D.4. of this general permit, then the reported average annual result must be based on data collected for that year. If there is no rain during a given week, the permittee shall monitor and record a zero rainfall total or no rain for the week according to Part III.D.1. (c).

# SPECIFIC REQUIREMENTS FOR INDUSTRIAL ACTIVITIES

The requirements in Part V of this general permit are sector specific and are in addition to the requirements in Parts III and IV of this general permit. Where co-located industrial activities occur (refer to Part II, Section A.4. of this general permit) the additional conditions and requirements in Part V of this general permit for each of these activities also apply.

## Sector A of Industrial Activity - Timber Products Facilities

### Description of Industrial Activity

The requirements under this section apply to stormwater discharges from activities identified and described as Sector A. Sector A industrial activities are described by the following Standard Industrial Classification (SIC) codes:

**SECTOR A: TIMBER PRODUCTS**

SIC Codes SIC Code Description

2411 Log Storage and Handling (without the use of chemical additives in spray water or applied to the logs)

2421 General Sawmills and Planning Mills

2426 Hardwood Dimension and Flooring Mills

2429 Special Product Sawmills, Not Elsewhere Classified

2431 – 2439 (except 2434) -Millwork, Veneer, Plywood, and Structural Wood (SIC Code 2434 - Wood Kitchen Cabinets, see Sector W)

2441 - 2449 Wood Containers

2451, 2452 Wood Buildings and Mobile Homes

2491 Wood Preserving

2493 Reconstituted Wood Products

2499 Wood Products Not Elsewhere Classified

(See Part II, Section A.1.b for a detailed list of SIC codes)

### Definitions

1. Debris. For the purposes of this section, debris is woody material such as bark, twigs, branches, heartwood, or sapwood that will not pass through a 2.54 centimeter (one-inch) diameter round opening and is present in the discharge from a wet storage facility.
2. Wet decking water. Water that is intentionally sprayed or deposited onto logs or roundwood that are being stored on land.

### Limitations on Permit Coverage

1. Prohibition of Process Wastewater. This general permit does not authorize the discharge of wastewater resulting from the storage of logs or round wood before or after removal of bark in self-contained bodies of water (i.e., mill ponds or log ponds). Discharges from these activities must be authorized under an individual TPDES permit or other authorized means, or must be disposed in a manner that does not constitute a discharge into or adjacent to water in the state.
2. Prohibition of Stormwater from Wood Treatment Areas. This general permit does not authorize the discharge of stormwater that has come in contact with areas where chemical formulations designed to provide wood surface protection and wood preservation were sprayed. Stormwater discharges from these areas must either be captured within a containment structure and disposed of in a manner that does not constitute a discharge into or adjacent to water in the state or must discharged under authority of an individual TPDES permit or other authorized means.

### Authorized Non-Stormwater Discharges

Wet Decking Water. In addition to the non-stormwater discharges allowed under Part II of this general permit, wet decking water may be discharged from lumber and wood storage yards where the wet decking process does not include chemical additives and where chemicals are not applied to the wood during storage.

### Description of Potential Pollutants and Sources

1. Inventory of Exposed Materials. Facilities that use or have previously used chlorophenolic compounds, creosote, chromium, copper, or arsenic formulations for the surface protection of wood or wood preserving activities must address these activities in the SWP3 according to the requirements of Part III, Section A.3. of this general permit. The following areas must be included in the inventory of exposed materials:
   1. areas where treatment chemicals have contaminated any soils;
   2. areas where any wood treatment equipment remains or is stored, including equipment that is no longer in use;
   3. areas where treatment chemicals and treated materials remain; and
   4. BMPs that are implemented to minimize these materials from coming into contact with stormwater.
2. Site Map. The site map must include documentation of any of the following that may be exposed to stormwater: processing areas, treatment chemical storage areas, treated wood and residue storage areas, wet decking areas, dry decking areas, untreated wood and residue storage areas, and treatment equipment storage areas.

### Pollution Prevention Measures and Controls

The SWP3 must include the following elements in addition to the requirements of Part III, Section A.4 and Part III, Section A.5. of this general permit:

1. BMPs and good housekeeping measures must be implemented to limit the discharge of wood debris, minimize the leachate generated from decaying wood materials, and minimize the generation of dust.
2. Structural controls may be used to limit the discharge of wood debris, minimize the leachate generated from decaying wood materials, and minimize the generation of dust.
3. Facilities that conduct surface protection or preservation of wood products shall develop specific BMPs, including an implementation schedule, to reduce pollution in runoff from these areas of industrial activity.
4. Periodic Inspections. Periodic inspections for facilities that conduct surface protection or preservation of wood products must include additional inspection procedures for processing areas, transport areas, and treated wood storage areas. The inspection procedures must provide an assessment of the effectiveness of BMPs in minimizing the amount of treatment chemicals that drip on unprotected soils and on other areas that come in contact with stormwater.
   1. Where feasible, the permittee shall conduct monthly inspections, in the same manner as developed for quarterly inspections. If monthly inspections are not feasible, then the permittee shall document the reason in the SWP3 and shall retain a minimum inspection frequency of once per quarter.
   2. The permittee shall conduct monthly inspections of wood treatment areas, treated wood storage areas, and treated wood transport loading and unloading areas to assess the effectiveness of specific BMPs and controls.
   3. Results and records of inspections must be evaluated, maintained, and incorporated into the standard periodic inspection reports as described in Part III, Section B., regardless of the frequency that the inspections are conducted.
   4. Follow-up procedures must be identified to ensure that appropriate actions are taken in response to the evaluations of the inspections.

### Numeric Effluent Limitations

The following numeric effluent limitations, based on guidelines from the Wet Storage Subcategory (Subpart I) of the Timber Products Processing Point Source Category (40 CFR Part 429), apply to discharges of wet decking water. These discharges must not exceed the following numeric effluent limitations and monitoring requirements:

**Table 4. Numeric Effluent Limitations for Sector A Facilities Discharging Wet Decking Water**

|  |  |  |
| --- | --- | --- |
| **Industrial Activity** | **Parameter** | **Effluent Limitation1** |
| Discharges resulting from wet decking water | Debris | No Discharge |
| pH | 6.0-9.0 S.U. |

1Monitor annually

### 

### Benchmark Monitoring Requirements

The following subsectors must conduct benchmark monitoring on discharges of stormwater associated with industrial activities according to the requirements in Part IV of this general permit.

**Table 5. Benchmark Monitoring Requirements for Subsections in Sector A**

| **SIC Code** | **Description of Industrial Activity** | **Benchmark Parameter** | **Benchmark Value** |
| --- | --- | --- | --- |
| 2421 | General Sawmills and Planning Mills | COD  TSS  Zinc, total | 60 mg/L  50 mg/L  0.16 mg/L |
| 2491 | Wood Preserving | Arsenic, total Copper, total | 0.010 mg/L 0.030mg/L |
| 2411 | Log Storage and Handling (Wet deck storage areas where no chemical additives are used in the spray water or applied to the logs) | TSS | 50 mg/L |
| 2426, 2429,  2431-2439  (except 2434),  2441, 2448,  2449, 2451,  2452, 2493  and 2499 | Hardwood Dimension and Flooring Mills; Special Products Sawmills, not elsewhere classified; Millwork, Veneer, Plywood, and Structural Wood; Wood Pallets and Skids; Wood Containers, not elsewhere classified; Wood Buildings and Mobile Homes; Reconstituted Wood Products; and Wood Products Facilities not elsewhere classified | COD  TSS | 60 mg/L  50 mg/L |

## Sector B of Industrial Activity - Paper and Allied Products Manufacturing Facilities

### Description of Industrial Activity

The requirements under this section apply to stormwater discharges from activities identified and described as Sector B. Sector B industrial activities are described by the following SIC codes:

**SECTOR B: PAPER AND ALLIED PRODUCTS**

SIC Codes SIC Code Description

2611 Pulp Mills

2621 Paper Mills

2631 Paperboard Mills

2652 – 2657 Paperboard Containers and Boxes

2671 – 2679 Converted Paper and Paperboard Products, Including Plastic Bags Produced from Plastics Film

**(See Part II, Section A.1.b** for a detailed list of SIC codes**)**

### Benchmark Monitoring Requirements

The following subsectors must conduct benchmark monitoring according to the requirements in Part IV of this general permit and must conduct evaluations on the effectiveness of the facility SWP3 based on the following benchmark values:

**Table 6. Benchmark Monitoring Requirements for Subsections in Sector B**

| **SIC Code** | **Description of Industrial Activity** | **Benchmark Parameter** | **Benchmark Value** |
| --- | --- | --- | --- |
| 2631 | Paperboard Mills | COD | 60 mg/L |

## Sector C of Industrial Activity - Chemical and Allied Products Manufacturing Facilities

### Description of Industrial Activity

The requirements under this section apply to stormwater discharges from activities identified and described as Sector C. Sector C industrial activities are described by the following SIC codes:

**SECTOR C: CHEMICAL AND ALLIED PRODUCTS**

SIC Codes SIC Code Description

2812 – 2819 Basic Industrial Inorganic Chemicals

2821 – 2824 Plastic Materials, Synthetic Resins, Non-vulcanizable Elastomers (Synthetic Rubber), Cellulose Plastics Materials, and Other Manmade Fibers Except Glass

2833 – 2836 Medicinal Chemicals and Botanical Products, Pharmaceutical Preparations, In Vitro and In Vivo Diagnostic Substances, Biological Products (Except Diagnostic Substances)

2841 – 2844 Soaps and Detergents; Specialty Cleaning, Polishing, and Sanitation Preparations, Surface Active Agents, Finishing Agents, Sulfonated Oils, and Assistants, Perfumes, Cosmetics, and Other Toilet Preparations

2851 Paints, Varnishes, Lacquers, Enamels, and Allied Products

2861 – 2869 Industrial Organic Chemicals

2873 – 2879 Agricultural Chemicals (Including Fertilizers, Pesticides, Fertilizers Solely from Leather Scraps and Leather Dust, and Mixing of Fertilizers, Compost, and Potting Soils)

2891 – 2899 Miscellaneous Chemical Products (Including Adhesives and Sealants, Explosives, Printing Ink, and Carbon Black)

2911 Petroleum Refineries

3952 (Limited to List)-Inks and Paints, including: China Painting Enamels, India Ink, Drawing Ink, Platinum Paints for Burnt Wood or Leather Work, Paints for China Painting; Artist’s Paints, and Artist’s Watercolors

(See Part II, Section A.1.b for a detailed list of SIC codes)

### Limitations on Permit Coverage

1. Prohibition of Contaminated Runoff from Petroleum Refineries. Discharges of stormwater from petroleum refineries subject to federal guidelines found at 40 CFR Part 419 are not authorized under this general permit and must be authorized by an individual TPDES wastewater discharge permit or other authorized means. This general permit only authorizes the discharge of non-process area stormwater runoff from petroleum refineries described by SIC code 2911 that are not subject to 40 CFR Part 419 guidelines.
2. Prohibition of Non-Stormwater Discharges. Non-stormwater discharges are not eligible for coverage except according to the conditions of Part II, Section A.6. of this general permit. The following non-stormwater discharges are specifically prohibited under this section: discharges containing inks, paints, and other substances resulting from an onsite spill; contents from drip pans; wash-waters from material handling and processing areas; and wash waters/rinse-waters from drums, tanks, and other containers.

### Pollution Prevention Measures and Controls/Management of Runoff with Structural Controls

The following requirements must be included in the SWP3 according to requirements of Part III, Sections A.4. and A.5. of this general permit:

1. Security System. A security system must be developed to prevent accidental or intentional discharges by unauthorized individuals. The system may include fences, lights, traffic controls, building security, and equipment security.
2. Practices for Material Handling and Storage Areas. Practices must be developed to conform to the following:
   1. Diking, curbing, berms, or other appropriate controls must be used in areas where liquid or powdered materials are stored to reduce the potential of contamination of stormwater from these materials.
   2. Curbs, culverts, gutters, sewers, or other forms of drainage control must be used to minimize contamination of stormwater in all other outside storage areas, including areas for machinery, scrap and construction materials, and pallets.
   3. Roofs, covers, or other types of protection must be used in all other outside storage areas to limit or prevent exposure of materials to precipitation or runoff.
   4. In areas where liquid or powdered materials are transferred in bulk from truck or rail cars, permittees shall develop and implement measures to minimize contact of materials with precipitation or runoff. Hose connection points at storage containers must be located within containment areas and drip pans or other measures must be used outside the containment area (e.g., at hose reels, connection points with rail cars, tank trucks) to prevent spills from contacting precipitation or runoff.
   5. In areas where materials are transferred as packaged materials, permittees shall consider providing appropriate protection such as overhangs or door skirts to enclose trailer ends at truck loading docks, or equivalent controls.
   6. Structures used to limit pollution at material handling and storage areas should control drainage through the use of manually operated valves or other similar positive control devices. Flapper-type gate valves are not allowed. Pumps may be used to empty containment areas, but pumps must not be automatically activated. If a facility is not engineered with such controls, the facility’s separate storm sewer system should be equipped to prevent or divert a discharge of spilled materials until the materials can be recovered.

### Numeric Effluent Limitations

The following numeric effluent limitations, based on guidelines from the Phosphate Subcategory (Subpart A) of the Fertilizer Manufacturing Point Source Category (40 CFR Part 418), apply to stormwater runoff that has come into contact with any raw materials, intermediate product, finished product, by-product or waste from areas of industrial activity described by SIC code 2874 (Phosphatic Fertilizers). These numeric effluent limits do not apply to other discharges covered under this section.

Samples of these discharges must be obtained before the runoff combines with other stormwater runoff. Discharges must not exceed the following numeric effluent limitations, and are subject to monitoring as follows:

**Table 7. Numeric Effluent Limitations for Sector C Facilities Discharging from Phosphate Fertilizer Manufacturing Activities**

| **Industrial Activity** | **Parameter** | **Limitations**  **Daily Avg1,2** | **Limitations**  **Daily Max** |
| --- | --- | --- | --- |
| Phosphate fertilizer manufacturing  (SIC 2874) | Total Phosphorus (as P) | 35 mg/L | 105 mg/L |
| Fluoride | 25 mg/L | 75 mg/L |

1 Monitor annually.

2 The daily average limit only applies when two or more samples are collected during a calendar month.

### Benchmark Monitoring Requirements

The following subsectors must conduct benchmark monitoring according to the requirements in Part IV of this general permit and conduct evaluations on the effectiveness of the facility SWP3 based on the following benchmark values:

**Table 8. Benchmark Monitoring Requirements for Subsections in Sector C**

| **SIC Code** | **Description of Industrial Activity** | **Benchmark Parameter** | **Benchmark Value** |
| --- | --- | --- | --- |
| 2812-2819 | Basic Industrial Inorganic Chemicals | Aluminum, total  Iron, total  Nitrate+Nitrite N  TSS | 1.2 mg/L  1.3 mg/L  0.68 mg/L  50 mg/L |
| 2821-2824 | Plastics, Synthetic Resins, Non-vulcanized Elastomers (Synthetic Rubber), Cellulose Plastics Materials, and Other Manmade Fibers Except Glass. | Zinc, total | 0.16 mg/L |
| 2841-2844 | Soaps and Detergents; Specialty Cleaning, Polishing, and Sanitation Preparations; Surface Active Agents, Finishing Agents, Sulfonated Oils, and Assistants; Perfumes, Cosmetics, and Other Toilet Preparations | Nitrate + Nitrite N Zinc, total | 0.68 mg/L  0.16 mg/L |
| 2873-2879 | Agricultural Chemicals (Including Fertilizers, Pesticides, Fertilizers Solely from Leather Scraps and Leather Dust, and Mixing of Fertilizers, Compost, and Potting Soils) | Nitrate + Nitrite N  Lead, total  Iron, total  Zinc, total  Phosphorus  TSS | 0.68 mg/L  0.010 mg/L  1.3 mg/L  0.16 mg/L  1.25 mg/L  50 mg/L |

## Sector D of Industrial Activity - Asphalt Paving and Roofing Materials and Lubricant Manufacturing Facilities

### Description of Industrial Activity

The requirements under this section apply to stormwater discharges from activities identified and described as Sector D. Sector D industrial activities are described by the following SIC codes:

**SECTOR D: ASPHALT PAVING AND ROOFING MATERIALS AND LUBRICANTS**

SIC Codes SIC Code Description

2951, 2952 Asphalt Paving and Roofing Materials, Portable Asphalt Plants

2992, 2999 Miscellaneous Products of Petroleum and Coal Including Lubricating Oils and Greases

(See Part II, Section A.1.b for a detailed list of SIC codes)

### Limitations on Permit Coverage

The following facilities are not eligible for coverage under this general permit:

1. petroleum refining facilities, including those that manufacture asphalt or asphalt products, including facilities described by SIC 2911 (also see Sector C);
2. oil recycling facilities; and
3. fats and oils rendering facilities.

### Pollution Prevention Measures and Controls

Periodic Inspections. Inspection procedures must be developed according to the standard periodic inspection requirements described in Part III, Section B.2. of this general permit and conducted at least once per month in the following areas:

1. material storage and handling areas;
2. areas containing liquid storage tanks, hoppers or silos;
3. vehicle and equipment maintenance, cleaning, and fueling areas; and
4. material handling, equipment storage, and processing areas.

Results of the inspections must be evaluated and records of inspections maintained. Follow-up procedures must be identified to ensure that appropriate actions are taken in response to the inspector’s findings.

### Numeric Effluent Limitations

The following numeric effluent limitations, based on guidelines from the Asphalt Emulsion Subcategory of the Paving and Roofing Materials (Tars and Asphalt) Manufacturing Point Source Category (40 CFR §443.13), apply to all stormwater runoff from asphalt paving and roofing emulsion production areas. Samples of these discharges must be obtained before the runoff combines with stormwater runoff or other waste streams that may be covered under this permit. Samples must be analyzed as follows, and must not exceed the following numeric effluent limitations:

**Table 9. Numeric Effluent Limitations for Sector D Facilities Discharging from Asphalt Emulsion Manufacturing Production Areas**

| **Industrial Activity** | **Parameter** | **Limitations**  **Daily Avg1,2** | **Limitations**  **Daily Max** |
| --- | --- | --- | --- |
| Discharging from Asphalt Emulsion Manufacturing | TSS | 15 mg/L | 23 mg/L |
| Oil and Grease | 10 mg/L | 15 mg/L |
| pH | 6.0-9.o S.U. | 6.0-9.o S.U. |

1 Monitor annually.

2 The daily average limit only applies when two or more samples are collected during a calendar month.

### Benchmark Monitoring Requirements

The following subsections must conduct benchmark monitoring on discharges of stormwater associated with industrial activities according to the requirements in Part IV of this general permit.

**Table 10. Benchmark Monitoring Requirements for Subsections in Sector D**

| **SIC Code** | **Description of Industrial Activity** | **Benchmark Parameter** | **Benchmark Value** |
| --- | --- | --- | --- |
| 2951, 2952 | Asphalt Paving and Roofing Materials, Portable Asphalt Plants | TSS | 50 mg/L |

## Sector E of Industrial Activity - Glass, Clay, Cement Concrete, and Gypsum Product Manufacturing Facilities

### Description of Industrial Activity

The requirements under this section apply to stormwater discharges from activities identified and described as Sector E. Sector E industrial activities are described by the following SIC codes:

**SECTOR E: GLASS, CLAY, CEMENT, CONCRETE, AND GYPSUM PRODUCTS**

SIC Codes SIC Code Description

3211 Flat Glass

3221, 3229 Glass and Glassware, Pressed or Blown

3231 Glass Products Made of Purchased Glass

3241 Hydraulic Cement

3251 – 3259 Structural Clay Products

3261 Vitreous China Plumbing Fixtures and China Earthenware Fittings and Bathroom Accessories

3262 – 3269 Pottery and Related Products

3271 – 3275 Concrete, Lime, Gypsum and Plaster Products (includes Ready-Mix Concrete Plants)

3281 Cut Stone and Stone Products

3291 Abrasive Products

3292 Asbestos Products

3295 Minerals and Earths, Ground or Otherwise Treated

3296 Mineral Wool

3297 Non-Clay Refractories

3299 Nonmetallic Mineral Products, Not Elsewhere Classified

(See Part II, Section A.1.b for a detailed list of SIC codes)

### Non-Stormwater Discharges

This section does not authorize the discharge of any additional waste streams. Facilities are required to seek authorization to discharge or land apply process wastewater resulting from washing of trucks, mixers, transport buckets, concrete forms, and other equipment under a separate TPDES or TCEQ wastewater permit.

### Pollution Prevention Measures and Controls

The following requirements must be included in the SWP3 according to requirements of Part III, Section A.4. of this general permit:

1. Specific good housekeeping measures must be developed to minimize and prevent exposure of spilled cement, aggregate (including sand and gravel), kiln dust, fly ash, and other dust to precipitation or runoff.
2. Wherever possible, fine solids such as cement, fly ash, and kiln dust must be stored in enclosed silos, hoppers, buildings or other structures to prevent exposure to precipitation or runoff.
3. Sweeping or an equivalent control measure must be performed at least once each week in areas where cement, aggregate, kiln dust, fly ash, or settled dust are being handled or processed.
4. Periodic Inspections. Inspection procedures must be developed according to the standard periodic inspection requirements described in Part III, Section B.2. of this general permit, but inspections must be conducted at least once per month.

### Additional SWP3 Requirements

1. The permittee shall document in the SWP3 the locations of the following, as applicable: bag house or other dust control device; recycle/sedimentation pond, clarifier, or other device used for the treatment of process wastewater; and the areas that drain to the treatment device.
2. Non-stormwater discharge certification. In addition to the requirements in Part III, Section B.1 related to inspection and certification of non-stormwater discharges, the SWP3 must describe the measures that will ensure that process wastewaters resulting from washing trucks, mixers, transport buckets, forms, or other equipment are either discharged or disposed in accordance with state permitting requirements or are recycled.

### Numeric Effluent Limitations

1. The following numeric effluent limitations apply to discharges resulting from the runoff of rainfall which derives from the storage of materials, including raw materials, intermediate products, finished products, and waste materials, which are used in or derived from the manufacture of cement based on guidelines from the Materials Storage Piles Runoff Subcategory (Subpart C) of the Cement Manufacturing Point Source Category (40 CFR Part 411).

These effluent limitations do not apply to Sector E facilities that are not subject to federal guidelines at 40 CFR Part 411, related to Cement Manufacturing.

Samples of stormwater discharges from cement manufacturing facilities subject to these effluent limits must be obtained before the runoff combines with other discharges that are covered under this permit. The samples must be analyzed at the frequency described below and must not exceed the following numeric effluent limitations:

**Table 11. Effluent Limitations for Sector E Storage Piles at Facilities Manufacturing Cement**

| **Industrial Activity** | **Parameter** | **Limitations**  **Daily Max1** |
| --- | --- | --- |
| Discharges from Material Storage Piles at Cement Manufacturing Facilities (SIC 3241) | TSS | 50 mg/L |
| pH | 6.0-9.0 S.U. |

1 Monitor annually.

1. Waiver from Numeric Effluent Limitations. Any untreated overflow from facilities designed, constructed, and operated to treat the volume of runoff from materials storage piles that is associated with a 10-year, 24-hour rainfall event will not be subject to the pH and TSS limitations in this section. Rainfall records are required to document events that equal or exceed a 10-year 24-hour event. The operator shall maintain, as a part of the SWP3, the following information in order to receive this waiver:
   1. engineering design records that demonstrate structural controls are adequate to intercept, contain, and treat the volume of runoff from a 10-year, 24-hour storm event; and
   2. records of rainfall from an on-site rain gauge, a representative weather station, or subject to TCEQ’s approval, an alternative means of compliance.

### Benchmark Monitoring Requirements

The following subsections must conduct benchmark monitoring according to the requirements in Part IV of this general permit and conduct evaluations on the effectiveness of the facility SWP3 based on the following benchmark values:

**Table 12. Benchmark Monitoring Requirements for Subsections in Sector E**

| **SIC Code** | **Description of**  **Industrial Activity** | **Benchmark Parameter** | **Benchmark Value** |
| --- | --- | --- | --- |
| 3251-3259 | Structural Clay Products | Aluminum, total  TSS  pH | 1.2 mg/L  50 mg/L  6.0-9.0 S. U. |
| 3262-3269 | Pottery and Related Products | Aluminum, total  TSS  pH | 1.2 mg/L  100 mg/L  6.0-9.0 S.U. |
| 3271-3275 | Concrete, Lime, Gypsum and Plaster Products | TSS  Iron, total  pH | 50 mg/L  1.3 mg/L  6.0-9.0 S.U. |

## Sector F of Industrial Activity - Primary Metals Facilities

### Description of Industrial Activity

The requirements under this section apply to stormwater discharges from activities identified and described as Sector F. Sector F industrial activities are described by the following SIC codes:

**SECTOR F: PRIMARY METALS**

SIC Codes SIC Code Description

3312 – 3317 Steel Works, Blast Furnaces, and Rolling and Finishing Mills

3321 – 3325 Iron and Steel Foundries

3331 – 3339 Primary Smelting and Refining of Nonferrous Metals

3341 Secondary Smelting and Refining of Nonferrous Metals

3351 – 3357 Rolling, Drawing, and Extruding of Nonferrous Metals

3363 – 3369 Nonferrous Foundries (Castings)

3398, 3399 Miscellaneous Primary Metal Products

(See Part II, Section A.1.b for a detailed list of SIC codes)

### Description of Potential Pollutants and Sources

The inventory of exposed materials must include areas where material handling and air emissions may result in deposits of particulate matter.

### Pollution Prevention Measures and Controls

1. Good Housekeeping Measures. This section of the SWP3 must include a program for cleaning and maintaining all impervious areas of the facility where dust, debris, or other particulate matter may accumulate, especially areas where material loading/unloading, storage, handling and processing occur. Areas where materials are stored, or where there is vehicular traffic, should be paved if vegetative and other stabilization methods are not practical. For areas where paving and vegetative measures are not practical, structural controls must be developed to trap and limit transport of sediment offsite. Sediment traps, filter fabric fences, and other equivalent measures may be considered.
2. Drainage Area Site Map. The map must identify any of the following activities that may be exposed to stormwater: storage or disposal of wastes such as spent solvents and baths, sand, slag and dross; liquid storage tanks and drums; processing areas including pollution control equipment (e.g., baghouses); and storage areas of raw material such as coal, coke, scrap, sand, fluxes, refractories, or metal in any form. In addition, indicate where an accumulation of significant amounts of particulate matter could occur from such sources as furnace or oven emissions, or losses from coal and coke handling operations.
3. Periodic Inspections. The periodic inspections must specifically include areas of the facility that contain air pollution control equipment, such as bag houses, electrostatic precipitators, cyclones, and scrubbers for signs of degradation or improper operation. Process material handling equipment must be inspected for leaks and problems that may result in material loss and spills. Material storage areas, such as piles or bins that contain coal, scrap, and slag, must be inspected for material loss due to wind and precipitation or runoff.

### Benchmark Monitoring Requirements

The following subsections must conduct benchmark monitoring according to the requirements in Part IV of this general permit and conduct evaluations on the effectiveness of the facility SWP3 based on the following benchmark values in Table 13:

**Table 13. Benchmark Monitoring Requirements for Subsections in Sector F**

| **SIC Code** | **Description of Industrial Activity** | **Benchmark Parameter** | **Benchmark Value** |
| --- | --- | --- | --- |
| 3312-3317 | Steel Works, Blast Furnaces, and Rolling and Finishing Mills | Aluminum, total  Zinc, total  TSS | 1.2 mg/L  0.16 mg/L  100 mg/L |
| 3321-3325 | Iron and Steel Foundries | Aluminum, total  TSS  Copper, total  Iron, total  Zinc, total | 1.2 mg/L  50 mg/L  0.030 mg/L  1.3 mg/L  0.16 mg/L |
| 3351-3357 | Rolling, Drawing, and Extruding of Nonferrous Metals | Copper, total  Zinc, total | 0.030 mg/L  0.16 mg/L |
| 3363-3369 | Nonferrous Foundries (Castings) | Copper, total  Zinc, total | 0.030 mg/L  0.16 mg/L |

## Sector G of Industrial Activity - Metal Mining (Ore Mining and Dressing)

### Description of Industrial Activity

The requirements under this section apply to stormwater discharges from activities identified and described as Sector G. Sector G industrial activities are described by the following SIC codes:

**SECTOR G: METAL MINING (ORE MINING AND DRESSING)**

SIC Codes SIC Code Description

1011 Iron Ores

1021 Copper Ores

1031 Lead and Zinc Ores

1041, 1044 Gold and Silver Ores

1061 Ferro alloy Ores, Except Vanadium

1081 Metal Mining Services

1094, 1099 Miscellaneous Metal Ores

(See Part II, Section A.1.b for a detailed list of SIC codes)

### Covered Stormwater Discharges

The requirements in this section apply to stormwater from metal mining facilities, including mines abandoned on federal lands, as identified by the SIC codes specified the table above. Coverage is required for metal mining facilities that discharge stormwater contaminated by contact with, or that has come into contact with, any overburden, raw material, intermediate product, finished product, byproduct, or waste product.

1. The stormwater discharges covered under this permit include all stormwater discharges from inactive facilities and stormwater discharges from facilities undergoing reclamation.
2. Stormwater discharges from the following areas of active and temporarily inactive facilities areas are authorized under this general permit:
   1. waste rock and overburden piles, if composed entirely of stormwater and not combined with mine drainage;
   2. topsoil piles;
   3. haul and access roads:
      1. all off site roads;
      2. onsite haul and access roads constructed of waste rock, overburden, or spent ore if composed entirely of stormwater and not combining with mine drainage; and
      3. onsite haul and access roads not constructed of waste rock, overburden, or spent ore, unless mine drainage is used for dust control.
   4. runoff from tailings dams or dikes that are:
      1. not constructed of waste rock or tailings, provided no process fluids are present; or
      2. constructed of waste rock or tailings and no process fluids are present, if composed entirely of stormwater and not combining with mine drainage.
   5. concentration building if no contact with material piles;
   6. mill site if no contact with material piles;
   7. office or administrative building and housing if mixed with stormwater from industrial area;
   8. chemical storage;
   9. docking facility if no excessive contact with waste product that would otherwise constitute mine drainage;
   10. explosives storage;
   11. fuel storage;
   12. vehicle and equipment maintenance;
   13. parking areas, if necessary;
   14. power plant, except that steam electric power plants are regulated as collocated activities in Part V, Section O;
   15. truck wash areas (if no excessive contact with waste product that would otherwise constitute mine drainage);
   16. un-reclaimed, disturbed areas outside of the active mining area(s);
   17. reclaimed areas released from reclamation requirements prior to December 17, 1990; and
   18. partially or inadequately reclaimed areas or areas not meeting reclamation requirements.

### Definitions

The following definitions apply only to Section G of this general permit:

**Active metal mining facility.** A place where work or other activity related to the extraction, removal, or recovery of metal ore is being conducted. For surface mines, this definition does not include any land where grading has returned the earth to a desired contour and reclamation has begun. This definition is derived from the definition of “active mining area” found at 40 CFR §440.132(a).

**Active phase**. Activities including the extraction, removal or recovery of metal ore. For surface mines, this definition does not include any land where grading has returned the earth to a desired contour and reclamation has begun. This definition is derived from the definition of “active mining area” found at 40 CFR §440.132(a). The active phase is considered part of “mining operations.”

**Exploration phase.** Entails exploration and land disturbance activities to determine the viability of a site. The exploration phase is not considered part of “mining operations.”

**Final Stabilization.** All soil disturbing activities at the site have been completed and a uniform (e.g., evenly distributed, without large bare areas) perennial vegetative cover with a density of 70% of the native background vegetative cover for the area has been established on all unpaved areas and areas not covered by permanent structures, or equivalent permanent stabilization measures (such as the use of riprap, gabions, or geotextiles) have been employed. Alternatively, for arid, semi-arid, and drought stricken areas only, final stabilization means that all soil disturbing activities at the site have been completed and both of the following criteria have been met: temporary erosion control measures are selected, designed, and installed along with an appropriate seed base to provide erosion control for at least three years without active maintenance by the operator; and the temporary erosion control measures are selected, designed, and installed to achieve 70% vegetative coverage within three years.

**Inactive metal mining facility.** A site or portion of a site with an identifiable operator, where metal mining or milling occurred in the past but is not an active facility as defined above, where the inactive portion is not covered by an active mining permit, and where the reclamation phase has not been completed.

**Mining operations.** Consists of the active mining, inactive mining, temporarily inactive mining, and reclamation phases, but excludes the exploration and construction phases.

**Reclamation phase.** Activities undertaken to return the land to an appropriate post-mining land use prior to termination of permit coverage.

**Temporarily inactive metal mining facility.** A site or portion of a site where metal mining or milling occurred in the past and is not currently being actively undertaken, and where the facility is covered by an active mining permit.

### Limitations on Permit Coverage

1. Prohibition on Certain Stormwater Discharges. Discharges from active metal mining facilities that are subject to effluent limitation guidelines for the Ore Mining and Dressing Point Source Category (40 CFR Part 440) are not authorized under this general permit.

Stormwater from active metal mining facilities is only subject to 40 CFR Part 440 (and therefore not eligible for coverage under this permit) if it commingles with other discharges that are subject to 40 CFR Part 440. Discharges from overburden/waste rock and overburden/waste rock-related areas are not subject to 40 CFR Part 440 unless they:

* 1. drain naturally (or are intentionally diverted) to a point source; and
  2. combine with ''mine drainage'' that is otherwise regulated under the 40 CFR Part 440.

Such sources may obtain coverage under this general permit if the discharge is composed entirely of stormwater, does not commingle with other sources of mine drainage that are not subject to 40 CFR Part 440, and meets the other eligibility criteria contained in the general permit.

1. Prohibition on Non-Stormwater Discharges. The following discharges are not authorized by this general permit: process generated wastewater, including but not limited to truck wash water, adit drainage (e.g., drainage from mine passageways or tunnels), contaminated springs, and seeps discharging from waste rock dumps that do not directly result from precipitation events from active, temporarily inactive, and inactive mines.
2. Authorization Not Required. Stormwater from sites where mining claims are being maintained prior to disturbances associated with the extraction, beneficiation, or processing of mined materials and sites where minimal activities are undertaken for the sole purpose of maintaining a mining claim are not considered either active or inactive mining facilities and do not require authorization.

### Additional SWP3 Requirements

In addition to the requirements of Part III, Section A of this general permit, the following is required:

1. Inventory of Exposed Materials. This section of the SWP3 must contain a summary of any existing ore, waste rock, and overburden characterization data. The summary must include results of all testing for acid rock generation potential. The inventory and the SWP3 must be updated if the characterization is updated due to a change in the type of ore mined. For inactive metal mining facilities, the inventory must identify any significant materials that remain at the facility and include any available characterization data of the material.
2. Narrative Description. For inactive metal mining facilities, this section of the SWP3 must include a description of the mining and associated activities that took place at the site. The description must define the dates of operation, total acreage within the mine, total acreage within the processing area, an estimate of the acres of remaining disturbed area, and any current activities at the site (e.g., reclamation).
3. Site Map. A topographic site map (or maps) must be developed to indicate mining or milling site boundaries; access and haul roads; equipment storage, fueling, and maintenance areas; an outline of the overburden, materials, soils, tailings or wastes storage areas; points of discharge from the property of mine drainage or any other process wastewater, a depiction of the discharge route, and a listing of the type of wastewater; location of existing and proposed tailings piles and ponds; heap leach pads; locations of springs, streams, wetlands, and other surface waters; and boundaries of tributary areas that are subject to effluent limitations and guidelines for the Ore Mining and Dressing Point Source Category (40 CFR Part 440).
4. Management of Runoff with Structural Controls. The elimination of a contaminant source through capping of the source may be the most effective control measure. Where capping is used, the source being capped must be identified and the materials and procedures used to cap the source must be described within the SWP3.
5. Inactive and Unstaffed Sites. Subject to the following conditions, if the facility is inactive and unstaffed, the permittee is not required to conduct quarterly visual assessments and routine facility inspections. Waivers are not given for exception from conducting the comprehensive site inspection. Permittees are encouraged to inspect their site more frequently where there is reason to believe that severe weather or natural disasters may have damaged control measures or increased discharges.
   1. If circumstances change and the facility becomes active or staffed, this exception no longer applies, and the permittee must immediately begin complying with the quarterly visual assessment requirements; and
   2. The TCEQ retains the authority to revoke this exemption or the monitoring waiver where it is determined that the discharge causes, has a reasonable potential to cause, or contributes to an instream excursion above an applicable water quality standard, including designated uses.

### Benchmark Monitoring Requirements

1. Active copper ore mining or dressing facilities must conduct benchmark monitoring according to the standard benchmark monitoring requirements in Part IV of this general permit and conduct evaluations on the effectiveness of the facility SWP3 based on the following benchmark values:

**Table 14. Benchmark Monitoring Requirements for Sector G**

| **SIC Code** | **Description of Industrial Activity** | **Benchmark Parameter** | **Benchmark Value** |
| --- | --- | --- | --- |
| 1021 | Copper Ores | COD  TSS  Nitrate + Nitrite N | 60 mg/L  100 mg/L  0.68 mg/L |

1. All stormwater discharges from waste rock and overburden piles, resulting from active ore mining or dressing operations included in Sector G, must collect one benchmark monitoring sample according to the requirements in Part IV of this general permit for the following pollutants in Table 15. For parameters measured above the benchmark value, monitoring must be continued throughout the term of the permit.

**Table 15. Benchmark Monitoring Requirements for Sector G**

| **SIC Codes and Description of Industrial Activity** | **Parameter** | **Benchmark Monitoring Cutoff Concentration** |
| --- | --- | --- |
| 1011- Iron Ores;  1021- Copper Ores;  1031- Lead and Zinc Ores;  1041, 1044 - Gold and Silver Ores;  1061- Ferroalloy Ores, Except Vanadium;  1081- Metal Mining Services  1094, 1099 - Miscellaneous Metal Ores | TSS  Turbidity  pH  Total Antimony  Total Arsenic  Total Beryllium  Total Cadmium  Total Copper  Total Iron  Total Lead  Total Manganese  Total Mercury  Total Nickel  Total Selenium  Total Silver  Total Zinc | 100 mg/L  5 NTUs above background  6.0-9.0 S.U.  0.636 mg/L  0.17 mg/ L  0.13 mg/L  0.0010 mg/ L  0.030 mg/ L  1.3 mg/L  0.010 mg/ L  1.0 mg/L  0.0019 mg/L  1.417 mg/L  0.05 mg/L  0.0318 mg/L  0.16 mg/L |

1. In addition to other required monitoring for discharges from waste rock and overburden piles, the permittee shall also conduct monitoring for additional pollutants as follows based on the type of ore mined at the site. Where a pollutant in the table below is the same as a pollutant required to be monitored in the table above (i.e., for all of the metals) the permittee shall use the corresponding benchmark value from the table above; otherwise, no benchmark levels apply.

The monitoring results conducted for the benchmark monitoring requirements for discharges from Waste Rock and Overburden Piles at active Metal Mining Facilities (section above) may be used to satisfy the monitoring requirement for the pollutant for this section. There are no applicable benchmarks for Radium and uranium in the table above. The frequency and schedule for monitoring the additional parameters, in the table below, is the same as that specified in Part IV of this permit.

**Additional Monitoring Requirements for Discharges from Waste Rock and Overburden Piles.**

**Table 16. Requirements for Waste Rocks and Overburden Piles**

| **Type of Ore Mined** | **Parameter** |
| --- | --- |
| Tungsten Ore | pH, TSS, Total Arsenic, Total Cadmium, Total Copper, Total Lead, Total Zinc |
| Nickel Ore | pH, TSS, Total Arsenic, Total Cadmium, Total Copper, Total Lead, Total Zinc |
| Aluminum Ore | pH, TSS, Total Iron |
| Mercury Ore | pH, TSS, Total Nickel |
| Iron Ore | pH, TSS, Dissolved Iron |
| Platinum Ore | Total Cadmium, Total Copper, Total Mercury, Total Lead, Total Zinc |
| Titanium Ore | pH, TSS, Total Iron, Total Nickel, Total Zinc |
| Vanadium Ore | pH, TSS, Total Arsenic, Total Cadmium, Total Copper, Total Lead, Total Zinc |
| Molybdenum | pH, TSS, Total Arsenic, Total Cadmium, Total Copper, Total Lead, Total Mercury, Total Zinc |
| Uranium, Radium, and Vanadium Ore | pH, TSS, Chemical Oxygen Demand, Total Arsenic, Total Radium, Dissolved Radium, Total Uranium, Total Zinc |

### Termination of Permit Coverage

1. Termination of Permit Coverage for Sites Reclaimed After December 17, 1990.

A site or a portion of a site that has been released from applicable state or federal reclamation requirements after December 17, 1990, is no longer required to maintain coverage under this permit. If the site or portion of a site reclaimed after December 17, 1990, was not subject to reclamation requirements, the site or portion of the site is no longer required to maintain coverage under this permit if the site or portion of the site has been reclaimed as defined above in section 3.

1. Termination of Permit Coverage for Sites Reclaimed Before December 17, 1990.

A site or portion of a site that was released from applicable state or federal reclamation requirements before December 17, 1990, or that was otherwise reclaimed before December 17, 1990, is no longer required to maintain coverage under this permit if the site or portion of the site has been reclaimed. A site or portion of a site is considered to have been reclaimed if:

* 1. stormwater runoff that comes into contact with raw materials, intermediate byproducts, finished products, and waste products does not have the potential to cause or contribute to violations of state water quality standards;
  2. soil disturbing activities related to mining at the sites or portion of the site have been completed;
  3. the site or portion of the site has been stabilized to minimize soil erosion; and
  4. as appropriate depending on location, size, and the potential to contribute pollutants to stormwater discharges, the site or portion of the site has been re-vegetated, will be amenable to natural re-vegetation, or will be left in a condition consistent with the post-mining land use.

## Sector H of Industrial Activity - Coal Mines and Coal Mining Related Facilities

### Description of Industrial Activity

The requirements under this section apply to stormwater discharges from activities identified and described as Sector H. Sector H industrial activities are described by the following SIC codes:

**SECTOR H: COAL MINES AND COAL MINING RELATED FACILITIES**

SIC Codes SIC Code Description

1221 Bituminous Coal and Lignite Surface Mining

1222 Bituminous Coal Underground Mining

1231 Anthracite Mining

1241 Coal Mining Services

(See Part II, Section A.1.b for a detailed list of SIC codes)

### Covered Stormwater Discharges

The requirements of Section H apply to stormwater discharges from the following areas of facilities identified by the SIC Codes specified in the table above, except that discharges regulated under 40 CFR Part 434 are not covered under this permit:

1. haul roads;
2. access roads;
3. railroad spurs, sidings, and internal lines used to transport coal;
4. areas around conveyor belts, chutes, and trams that convey coal;
5. equipment storage and maintenance areas;
6. coal handling areas, including buildings and structures;
7. waste disposal areas;
8. inactive coal mines where the performance bond has been released; and
9. related areas where coal mining/processing activities take place.

### Definitions

The following definitions apply only to Section H of this general permit:

**Active coal mining facility.** A place where work or other activity related to the extraction, removal, or recovery of coal is being conducted. For surface mines, this definition does not include any land where grading has returned the earth to a desired contour and reclamation has begun. This definition is derived from the definition of “active mining area” found at 40 CFR §434.11(b).

**Active phase.** Activities including the extraction, removal or recovery of coal. For surface mines, this definition does not include any land where grading has returned the earth to a desired contour and reclamation has begun. This definition is derived from the definition of “active mining area” found at 40 CFR §434.11(b). The active phase is considered part of “mining operations.”

**Bond Release.** The time at which the appropriate regulatory authority returns a reclamation or performance bond based upon its determination that reclamation work (including, in the case of underground mines, mine sealing and abandonment procedures) has been satisfactorily completed. Phase Two completion is that point in the reclamation process where the property has been re-contoured and replanted but prior to final bond release.

**Exploration phase.** Entails exploration and land disturbance activities to determine the viability of a site. The exploration phase is not considered part of “mining operations.”

**Final Stabilization.** All soil disturbing activities at the site have been completed and a uniform (e.g., evenly distributed, without large bare areas) perennial vegetative cover with a density of 70 percent (%) of the native background vegetative cover for the area has been established on all unpaved areas and areas not covered by permanent structures, or equivalent permanent stabilization measures (such as the use of riprap, gabions, or geotextiles) have been employed. Alternatively, for arid, semi-arid, and drought stricken areas only, final stabilization means that all soil disturbing activities at the site have been completed and both of the following criteria have been met: Temporary erosion control measures are selected, designed, and installed along with an appropriate seed base to provide erosion control for at least three years without active maintenance by the operator; and the temporary erosion control measures are selected, designed, and installed to achieve 70 % vegetative coverage within three years.

**Inactive coal mining facility.** A site or portion of a site, with an identifiable operator, where coal mining or milling occurred in the past but is not an active facility as defined above, where the inactive portion is not covered by an active mining permit and where the reclamation has not been completed.

**Mining operation.** Consists of the active and temporarily inactive phases, and the reclamation phase, but excludes the exploration and construction phases.

**Reclamation phase.** Activities undertaken to return the land to an appropriate post-mining land use prior to termination of permit coverage.

**Temporarily inactive coal mining facility.** A site or portion of a site where coal mining or milling occurred in the past but is not an active facility as defined above, where the inactive portion is not covered by an active mining permit, and where the reclamation phase has not been completed.

### Limitations on Permit Coverage

The following discharges are not eligible for coverage under this general permit:

1. discharges from coal mining activities subject to effluent limitation guidelines for the Coal Mining Point Source Category (40 CFR Part 434);
2. seeps and underground drainage from inactive coal mines and refuse disposal areas that may constitute dry-weather flows and do not occur as a direct result of precipitation or runoff; and
3. discharges from floor drains in maintenance buildings and similar drains in mining and preparation plant areas.

Reclaimed areas of a mine, where the performance bond has been released, are no longer considered industrial activity. Stormwater discharges from those areas are not required to be authorized under the TPDES program.

### Additional SWP3 Requirements

The following requirements apply to all Sector H facilities:

1. Site Map. Document where any of the following that are covered under this general permit and that may be exposed to stormwater: haul and access roads; railroad spurs, sliding, and internal hauling lines; conveyor belts, chutes, and aerial tramways; equipment storage and maintenance yards; coal handling buildings and structures; inactive mines and related areas; acidic spoil, refuse, or un-reclaimed disturbed areas; and liquid storage tanks containing pollutants such as caustics, hydraulic fluids, and lubricants.
2. Potential Pollutant Sources.
   1. The SWP3 must document the following sources and activities that have potential pollutants associated with them:
      1. truck traffic on haul roads and resulting generation of sediment subject to runoff and dust generation;
      2. fuel or other liquid storage; pressure lines containing slurry, hydraulic fluid, or other potential harmful liquids; and loading or temporary storage of acidic refuse or spoil.
   2. In the summary of potential pollutant sources, the SWP3 must document areas at the facility where industrial materials or activities are exposed to stormwater and from which allowable non-stormwater discharges are released.

For each area identified, the description must include:

* + 1. a list of the industrial activities exposed to stormwater;
    2. a list of the pollutant(s) or pollutant constituents (e.g., crankcase oil, zinc, sulfuric acid, and cleaning solvents) associated with each identified activity, that includes all significant materials that have been handled, treated, stored, or disposed, and that have been exposed to stormwater in the 3 years prior to the date that the SWP3 was prepared or amended;
    3. a list of the areas at the site where potential spills and leaks could occur that could contribute pollutants to stormwater, and the corresponding outfall(s) that would be affected by such spills and leaks. All significant spills and leaks of oil or toxic or hazardous pollutants that actually occurred at exposed areas, or that drained to a stormwater conveyance, in the 3 years prior to the date that the SWP3 was prepared or amended, must be documented; and
    4. The location of any storage piles containing salt used for deicing or other commercial or industrial purposes.

1. Erosion Control Measures. Erosion, siltation, dust, and other pollutant control regulations administered by the Railroad Commission of Texas or TCEQ must either be included as components of this section of the SWP3, or incorporated by reference. The permittee shall minimize disturbed areas and preserve vegetated areas to the maximum extent practicable. The SWP3 must include the following at a minimum:
   1. Stabilization Measures. Temporary and permanent stabilization measures must be employed to minimize erosion. These may include: maintaining existing native vegetative cover; seeding for temporary or permanent cover; temporary mulching, matting, or netting; sodding; soil binding; using non-acid material for road surfacing; planting trees; and preserving existing trees.
   2. Structural Measures. Such as silt fences; earthen dikes; straw bales; graded terraces; pipe slope drains; porous rock check drains; sedimentation ponds; vegetated drainage swales; capping of contaminant sources; and physical or chemical treatment of stormwater.
2. Preventive Maintenance. Perform inspections or other equivalent measures of storage tanks and pressure lines of fuels, lubricants, hydraulic fluid, and slurry to prevent leaks due to deterioration or faulty connections. Operators must regularly inspect, test, maintain, and repair all industrial equipment and systems to avoid situations that may result in leaks, spills, and other releases of pollutants in stormwater discharged to receiving waters.
3. Additional Inspection Requirements
   1. Inspections of Active Mining-Related Areas. Except for areas of the site subject to clearing, grading, or excavation activities conducted as part of the exploration and construction phase, the permittee shall perform quarterly inspections of active mining areas covered by this permit.
   2. Comprehensive site inspections must be conducted by qualified personnel with at least one member of the stormwater pollution prevention team participating in the comprehensive site inspections. Comprehensive site inspections must cover all areas of the facility affected by the requirements in this permit, including the areas identified in the SWP3 as potential pollutant sources where industrial materials or activities are exposed to stormwater and areas where spills and leaks have occurred in the past 3 years. The inspections must also include a review of monitoring data collected in accordance with this permit.

### Benchmark Monitoring Requirements

The following subsections must conduct benchmark monitoring according to the requirements in Part IV of this general permit and conduct evaluations on the effectiveness of the facility SWP3 based on the following benchmark values:

**Table 17. Benchmark Monitoring Requirements for Subsections in Sector H**

| **SIC Code** | **Description of Industrial Activity** | **Benchmark Parameter** | **Benchmark Value** |
| --- | --- | --- | --- |
| 1221-1241 | Coal Mines and Coal Mining-Related Facilities | TSS  Aluminum, total  Iron, total | 50 mg/L  1.2 mg/L  1.3 mg/L |

### Inactive and Unstaffed Sites

If the permittee operates an inactive and unstaffed Sector H facility (including temporarily inactive and unstaffed sites), the permittee may waive the routine inspection, quarterly visual assessment and benchmark monitoring requirements. The permittee is conditionally exempt from the requirement to certify that there are no industrial materials or activities exposed to stormwater, provided that all of the following conditions are met:

1. if circumstances change and the facility becomes active or staffed, this exemption no longer applies and the operator must immediately begin complying with the applicable benchmark monitoring requirements as if they were in their first year of permit coverage, as well as the quarterly visual assessment requirements; and
2. the discharge does not cause, have a reasonable potential to cause, or contribute to a violation of applicable Texas Surface Water Quality Standards.

Subject to the two conditions above, if a Sector H facility is inactive and unstaffed, the operator is waived from the requirement to conduct quarterly visual assessments and routine facility inspections. Inactive industrial facilities must continue to conduct comprehensive site compliance inspections on at least an annual basis as described in Part III, Section B.5 of this permit. Inactive Sector H facilities may not obtain a waiver from comprehensive site compliance inspections. The operator is still responsible for notifying TCEQ about the status of the facility according to Part II.C.5 and 6.

### Termination of Permit Coverage

1. Termination of Permit Coverage for Sites Reclaimed After December 17, 1990. A site or a portion of a site that has been released from applicable state or federal reclamation requirements after December 17, 1990, is no longer required to maintain coverage under this permit. If the site or portion of a site reclaimed after December 17, 1990, was not subject to reclamation requirements, the site or portion of the site is no longer required to maintain coverage under this permit if the site or portion of the site has been reclaimed as defined in the following:
2. Termination of Permit Coverage for Sites Reclaimed Before December 17, 1990. A site or portion of a site that was released from applicable state or federal reclamation requirements before December 17, 1990, or that was otherwise reclaimed before December 17, 1990, is no longer required to maintain coverage under this permit if the site or portion of the site has been reclaimed. A site or portion of a site is considered to have been reclaimed if:
   1. stormwater runoff that comes into contact with raw materials, intermediate byproducts, finished products, and waste products does not have the potential to cause or contribute to violations of state water quality standards;
   2. soil disturbing activities related to mining at the sites or portion of the site have been completed;
   3. the site or portion of the site has been stabilized to minimize soil erosion; and
   4. as appropriate depending on location, size, and the potential to contribute pollutants to stormwater discharges, the site or portion of the site has been re-vegetated, will be amenable to natural re-vegetation, or will be left in a condition consistent with the post-mining land use.

## Sector I of Industrial Activity - Oil and Gas Extraction Facilities

### Description of Industrial Activity

Sector I facilities include facilities with activities directly related to oil and gas exploration, production, processing, or treatment operations; oil and gas transmission facilities prior to refining; and to oil and gas field service operations.

**SECTOR I: OIL AND GAS EXTRACTION FACILITIES**

SIC Codes SIC Code Description

1311 Crude Petroleum and Natural Gas

1321 Natural Gas Liquids

1381, 1382 Drilling Oil and Gas Wells; and Oil and Gas Field Exploration Services

1389 Oil and Gas Field Services, Not Elsewhere Classified

(See Part II, Section A.1.b for a detailed list of SIC codes)

### Covered Stormwater Discharges

The requirements in this Subpart I apply to non-exempt stormwater discharges associated with industrial activity from oil and gas extraction facilities as identified by the SIC codes specified in the table above. Discharges of stormwater from field activities or operations associated with oil and gas exploration, production, processing, or treatment operations or transmission facilities are exempt from permit coverage unless, in accordance with 40 CFR §122.26(c)(1)(iii), the facility:

1. Has had a discharge of stormwater resulting in the discharge of a reportable quantity for which notification is or was required pursuant to 40 CFR §117.21 or 40 CFR §302.6 at any time since November 16, 1987; or
2. Has had a discharge of stormwater resulting in the discharge of a reportable quantity for which notification is or was required pursuant to 40 CFR §110.6 at any time since November 16, 1987; or
3. Contributes to a violation of a water quality standard.

### Limitations on Permit Coverage

1. Exempt Oil and Gas. Discharges from oil and gas facilities who qualify for the exemption described in Part II B.4 are not eligible for coverage under this general permit.
2. Effluent Limitation Guidelines. Stormwater discharges from drilling operations that are subject to federally established effluent limitation guidelines found at 40 CFR Part 435 are not authorized under this general permit.
3. Wash Water. Discharges of vehicle and equipment wash water, including tank cleaning operations, are not authorized by this permit and such wash water discharges must be authorized under a separate TPDES permit, discharged to a sanitary sewer in accordance with applicable requirements, or disposed by an alternate authorized means.

### Additional SWP3 Requirements

1. Drainage Area Site Map. The SWP3 must include the following information, in addition to what is required in Part III of this permit: location(s) of any reportable quantity (RQ) releases; locations used for the treatment, storage, or disposal of wastes; processing areas and storage areas; and chemical mixing areas.
2. Potential Pollutant Sources. The SWP3 must document the following sources and activities, in addition to those already required in Part III of this general permit:
   1. chemical, cement, mud, or gel mixing activities,
   2. equipment cleaning and rehabilitation activities,
   3. information about the RQ release(s) that triggered the permit application requirements:
      1. nature of the release (e.g., spill of oil from a drum storage area),
      2. amount of oil or hazardous substance released,
      3. amount of substance recovered,
      4. date of the release,
      5. cause of the release,
      6. area(s) affected by the release,
      7. procedure to clean up release,
      8. actions or procedures implemented to prevent or improve response to a release, and
      9. remaining potential contamination of stormwater from release.
   4. A “Summary of Potential Pollutant Sources.” The permittee shall document areas at their facility where industrial materials or activities are exposed to stormwater and from which allowable non-stormwater discharges are released.
   5. Erosion and Sediment Controls. The SWP3 must include additional documentation for sediment and erosion controls for well drillings and sand/shale mining areas which includes the following:
      1. Site Description. Include a description of the nature of the exploration activity, estimates of the total area of site and area disturbed due to the exploration activity, an estimate of runoff coefficient of the site, a site drainage map, including approximate slopes, and the names of all receiving waters.
      2. Vegetative Controls. Documentation of all vegetative practices utilized at the site. All erosion and sediment controls must be inspected either: 1) every 7 days; or 2) once every 14 calendar days and within 24 hours of a storm event of 0.5 inches or greater.

## Sector J of Industrial Activity - Mineral Mining and Processing Facilities

### Description of Industrial Activity

The requirements under this section apply to stormwater discharges from activities identified and described as Sector J. Sector J industrial activities are described by the following SIC codes:

**SECTOR J: MINERAL MINING AND PROCESSING FACILITIES**

SIC Codes SIC Code Description

1411 Dimension Stone

1422 – 1429 Crushed and Broken Stone, Including Rip Rap

1442, 1446 Sand and Gravel Mining

1455, 1459 Clay, Ceramic, and Refractory Materials

1474 – 1479 Chemical and Fertilizer Mineral Mining

1481 Nonmetallic Minerals, Except Fuels

1499 Miscellaneous Nonmetallic Minerals, Except Fuels

(See Part II, Section A.1.b for a detailed list of SIC codes)

### Covered Discharges

The requirements in Section J apply to stormwater discharges associated with industrial activity from Active and Inactive Non-Metallic Mineral Mining and Dressing facilities as identified by the SIC Codes specified under Sector J above. These include stormwater discharges and mine dewatering discharges that consist solely of stormwater and non-contaminated groundwater seepage from inactive, active, and temporarily inactive facilities; and from sites undergoing reclamation.

### Definitions

The following definitions apply only to Section J of this general permit:

**Active Mineral Mining Facility.** A place where work or other activity related to the extraction, removal, or recovery of minerals is being conducted. For surface mines, this definition does not include any land where grading has returned the earth to a desired contour and reclamation has begun. This definition is derived from the definition of “active mining area” found at 40 CFR §440.132(a), related to Ore Mining and Dressing Point Source Category.

**Active phase.** Activities including the extraction, removal, or recovery of minerals. For surface mines, this definition does not include any land where grading has returned the earth to a desired contour and reclamation has begun. This definition is derived from the definition of “active mining area” found at 40 CFR §440.132(a), related to Ore Mining and Dressing Point Source Category. The active phase is considered part of mining operations.

**Aggregates.** Any commonly recognized construction material originating from a quarry or pit by the disturbance of the surface, including dirt, soil, rock asphalt, granite, gravel, gypsum, marble, sand, stone, caliche, limestone, dolomite, rock, riprap, or other non-mineral substance. The term does not include clay or shale mined for use in manufacturing structural clay products.

**Exploration phase.** Entails exploration and land disturbance activities to determine the financial viability of a site. The exploration phase is not considered part of mining operations.

**Inactive Mineral Mining Facility.** A site or portion of a site, with an identifiable operator, where mineral mining or milling occurred in the past but is not an active facility as defined above, where the inactive portion is not covered by an active mining permit, and where the reclamation phase has not been completed.

**Mine Dewatering.** (From 40 CFR §436.21) any water that is impounded or that collects in the mine and is pumped, drained or otherwise removed from the mine through the efforts of the mine operator. However, if a mine is also used for treatment of process generated wastewater, discharges of commingled water from the facilities must be deemed discharges of process generated wastewater.

**Mining operations.** Includes the active mining, inactive mining, the temporarily inactive mining, and the reclamation phases, but excludes the exploration and construction phases.

**Quarry.** The site from which aggregates for commercial sale are being or have been removed or extracted from the earth to form a pit, including the entire excavation, stripped areas, haulage ramps, and the immediately adjacent land on which the plant processing the raw materials is located. The term does not include any land owned or leased by the operator not being currently used in the production of aggregates for commercial sale or an excavation to mine clay or shale for use in manufacturing structural clay products.

**Temporarily Inactive Mineral Mining Facility.** A site or portion of a site where mineral mining or milling occurred in the past and is not currently being actively undertaken, and where the facility is covered by an active mining permit.

**Non-contaminated.** Free from the presence of pollutants attributable to industrial activity.

### Annual Comprehensive Site Compliance Evaluation

The SWP3 must be revised to reflect the findings of the annual comprehensive site compliance evaluation within a maximum of 12 weeks following completion of the evaluation for inactive mining facilities.

### Limitations on Permit Coverage

1. This general permit does not authorize the discharge of stormwater runoff described in the Texas Water Code, §26.553 (related to certain quarries located in water quality protection areas), where TCEQ rules require coverage under an individual permit or alternative general permit. These facilities must obtain coverage under an alternative TPDES permit as described in applicable TCEQ rules.
2. This permit does not authorize discharges from facilities described under the federal effluent limitations guidelines in 40 CFR Part 436 (Mineral Mining and Processing Point Source Category), except that stormwater and non-contaminated groundwater seepage from sand, gravel, and crushed stone mining operations described in this rule may be discharged, as described in section J.2. above and section J.6. below.
3. Sites where mining claims are being maintained prior to disturbances associated with the extraction, beneficiation, or processing of mined materials, and sites where minimal activities are undertaken for the sole purpose of maintaining a mining claim are not considered either active or inactive mining facilities and do not require a permit for stormwater discharges associated with industrial activity.

### Numeric Effluent Limitations

Applicable to Sector J facilities discharging stormwater and mine dewatering consisting solely of stormwater and non-contaminated groundwater seepage from the following sand, gravel, and crushed stone mining operations that are subject to federal effluent limits. The following SIC codes are subject to numeric effluent limits for mine dewatering:

1422–1429 (Crushed Stone), 1442 (Construction Sand and Gravel), and 1446 (Industrial Sand).

1. Construction Sand and Gravel (SIC 1442), Industrial Sand (SIC 1446), and Crushed Stone (SIC 1422–1429). The following numeric effluent limitations, based on guidelines for mine dewatering from the Mineral Mining and Processing Point Source Category (40 CFR Part 436), apply to mine dewatering operations (discharges from the mine pit of accumulated stormwater and non-contaminated groundwater seepage) at construction sand and gravel, industrial sand, or crushed stone mining facilities. Samples of these discharges must be obtained before the runoff combines with other stormwater runoff, analyzed, and must not exceed the following numeric effluent limitations:
   1. For mine dewatering discharges from facilities regulated under 40 CFR Part 436, Subpart B (Crushed Stone Subcategory) and Subpart C (Construction Sand and Gravel Subcategory), the following effluent limits apply:

**Table 18. Numeric Effluent Limitations for Mine Dewatering at Sector J Crushed Stone Mining Facilities and Construction Sand and Gravel Mining Facilities**

| **Industrial Activity** | **Parameter 1** | **Limitations1**  **Daily Avg.** | **Limitations**  **Daily Max.** |
| --- | --- | --- | --- |
| Mine Dewatering Discharges at Crushed Stone Mining Facilities  (SIC 1422-1429) | pH | 6.0-9.0 S.U. | 6.0-9.0 S.U. |
| Mine Dewatering Discharges at Construction Sand and Gravel Mining Facilities  (SIC 1442) | pH | 6.0-9.0 S.U. | 6.0-9.0 S.U. |

1 Monitor annually.

* 1. For mine dewatering discharges from facilities regulated by 40 CFR Part 436, Subpart D (Industrial Sand Subcategory), the following effluent limits apply:

**Table 19. Numeric Effluent Limitations for Mine Dewatering at Sector J Industrial Sand Mining Facilities**

| **Industrial Activity** | **Parameter 1** | **Limitations**  **Daily Avg.** | **Limitations**  **Daily Max.** |
| --- | --- | --- | --- |
| Mine Dewatering Discharges at Industrial Sand Mining Facilities (SIC 1446) | TSS  pH | 25 mg/L  6.0-9.0 S.U. | 45 mg/L  6.0-9.0 S.U. |

1 Monitor annually.

These limitations do not apply to Sector J facilities that are not subject to federal guidelines at 40 CFR Part 436.

1. Waivers from Numeric Effluent Limitations. Numeric effluent limitations for mine dewatering do not apply to discharges that overflow from structural control facilities that are designed, constructed, and maintained to contain or treat the volume of mine dewatering wastewater that would result from a 10-year, 24-hour storm event. The permittee shall maintain, as a part of the SWP3, the following information in order to receive this waiver: engineering design records that demonstrate structural controls are adequate to intercept, contain, and treat the volume of runoff from a 10-year, 24-hour storm event; and records of rainfall from an on-site rain gauge, a representative weather station, or subject to TCEQ’s approval, an alternative means of compliance. Rainfall records are only required to document events that equal or exceed a 10-year, 24-hour event.

### Benchmark Monitoring Requirements

The following subsectors must conduct benchmark monitoring on discharges of stormwater associated with industrial activities according to the requirements in Part IV of this general permit.

**Table 20. Benchmark Monitoring Requirements for Subsections in Sector J**

| **SIC Code** | **Description of Industrial Activity** | **Benchmark Parameter** | **Benchmark Value** |
| --- | --- | --- | --- |
| 1411  1422-1429  1481 | Dimension Stone Crushed and Broken Stone, Incl. Rip Rap Nonmetallic Minerals, Except Fuels | TSS  pH | 50 mg/L  6.0-9.0 S.U. |
| 1442,1446 | Sand and Gravel Mining | Nitrate + Nitrite N  TSS | 0.68 mg/L  50 mg/L |

### Mining-Related Non-Stormwater Discharges

Certification of Discharge Testing. The permittee shall test or evaluate all outfalls covered under this permit for the presence of specific mining-related non-stormwater discharges such as discharges subject to effluent limitations guidelines (e.g., 40 CFR Part 436). The SWP3 must include information on the discharge from each outfall.

### Additional SWP3 Requirements

1. Employee Training. The permittee shall conduct employee training at least once per year at active and temporarily inactive sites.

Training must be conducted for all employees who work in areas where industrial materials or activities are exposed to stormwater, or who are responsible for implementing activities necessary to meet the conditions of this permit (e.g., inspectors, maintenance personnel), including all members of the Pollution Prevention Team. Training must cover the specific control measures used to achieve the requirements in this section, plus the monitoring, inspection, planning, reporting, and documentation requirements in other parts of this permit.

1. The following requirements are required to be in the SWP3 for active mineral mining facilities, temporarily inactive mineral mining facilities, and sites being returned or transitioned into an appropriate post mining use, and are in addition to the requirements listed in Part III of this general permit. These requirements are not applicable to inactive mineral mining facilities. (Also see Part V, Section J.10. below.)
   1. A description of the nature of the industrial activities at the facility;
   2. A map showing the general location of the facility and all surface waters for receiving discharges authorized under this general permit; and
   3. A site map showing:
      1. the size of the property in acres;
      2. the location and extent of significant structures and impervious surfaces;
      3. locations of all existing structural control measures;
      4. locations of all of the immediate receiving, with an indication whether any of the waters are impaired and, if so, whether the waters have TMDLs established for them;
      5. locations of all stormwater conveyances including ditches, pipes, and swales;
      6. locations of all stormwater monitoring points;
      7. locations of stormwater inlets and outfalls, with a unique identification code for each outfall (e.g., Outfall No. 001, 002, etc.), indicating if one or more outfalls is being treated as “substantially similar” in accordance with Part III, Section D.2.(b) of this general permit, and an approximate outline of the areas draining to each outfall;
      8. locations and descriptions of all non-stormwater discharges identified under Part V, Section J.8.
      9. locations of the following activities where such activities are exposed to stormwater:
         1. fueling and maintenance areas;
         2. locations used for the treatment, storage, or disposal of wastes;
         3. liquid storage tanks;
         4. immediate access roads and rail lines used or traveled by carriers of raw materials, manufactured products, waste material, or by-products used or created by the facility;
         5. transfer areas for substances in bulk; and machinery; and
         6. locations and sources of runon to the facility from adjacent property that contains significant quantities of pollutants.
2. Potential Pollutant Sources. For each area of the mine or mill site, including onsite and offsite haul and access roads, where stormwater discharges associated with industrial activities occur, the permittee shall document in the SWP3 the types of pollutants (e.g., heavy metals, sediment) likely to be present in significant amounts.
3. Permittees shall minimize, to the extent practicable, the off-site vehicle tracking of sediments and the generation of dust. The SWP3 must include a description of controls utilized to accomplish this requirement.
4. Discharges from dewatering activities, including discharges from dewatering of trenches and excavations, are prohibited, unless managed by appropriate controls.
5. Permittees shall design and utilize appropriate controls to minimize the offsite transport of suspended sediments and other pollutants if it is necessary to pump or dewater standing water from the site.

### Inactive and Unstaffed Sites – Monitoring Waivers

Conditional exemption from routine inspections, quarterly visual assessments, and benchmark monitoring:

A permitted operator of an inactive and unstaffed Sector J facility, including temporarily inactive and unstaffed sites may be waived from the routine inspection, quarterly visual assessment, and benchmark monitoring requirements. These permittees are conditionally exempt from the requirement to certify that there are no industrial materials or activities exposed to stormwater, provided that all of the following conditions are met:

1. If circumstances change and the facility becomes active or staffed, this exemption no longer applies and the operator must immediately begin complying with the applicable benchmark monitoring requirements as if they were in their first year of permit coverage, as well as the quarterly visual assessment requirements; and
2. the discharge does not cause, have a reasonable potential to cause, or contribute to a violation of applicable Texas Surface Water Quality Standards.

Subject to the two conditions above, if a Sector J facility is inactive and unstaffed, the operator is waived from the requirement to conduct quarterly visual assessments, routine facility inspections, and benchmark monitoring. The operator is still responsible for notifying TCEQ about the status of the facility according to Part II.C.5 and 6.

Inactive industrial facilities must continue to conduct comprehensive site compliance inspections on at least an annual basis as described in Part III, Section B.5 of this permit. Inactive Sector J facilities may not obtain a waiver from comprehensive site compliance inspections.

### Termination of Permit Coverage

1. The permittee shall continue to meet the requirements of this general permit until authorization under the general permit is terminated. The permittee may terminate coverage by submitting an NOT in accordance with Part II.C.7 of this general permit. For the purposes of this section (Sector J), Part II.C.7.(a)(1)c. of the general permit, related to termination of coverage, means either that final stabilization of the site must be achieved or the site must be returned to an alternative post-mining use.
2. A site or portion of a site is considered to have achieved final stabilization or to be returned to an alternative post mining use if the permittee can demonstrate that it has accomplished either of the following two conditions, (1) or (2):
   1. Final Stabilization. To achieve final stabilization, the permittee shall insure that all of the following requirements (a through d) have been met:
      1. Stormwater runoff that comes into contact with raw materials, intermediate byproducts, finished products, and waste products does not have the potential to cause or contribute to violations of Texas Surface Water Quality Standards.
      2. Soil disturbing activities related to mining at the site or portion of the site have been completed.
      3. The site or portion of the site has been stabilized to minimize soil erosion.
      4. If appropriate depending on the type, location, or size of the site, and its potential to contribute pollutants to stormwater discharges, the site or portion of the site has been revegetated, will be amenable to natural revegetation, or will be left in a condition consistent with the post-mining land use described in paragraph (2) below.
   2. Alternative Post Mining Use: For the purposes of this section, a permittee may submit an NOT to terminate coverage if the land has been returned to an alternative post-mining land use. For example, this may include construction pad sites and lakes.

## Sector K of Industrial Activity - Hazardous Waste Treatment, Storage, and Disposal Facilities

### Description of Industrial Activity

Sector K facilities include those facilities with activities directly related to the treatment, storage, and disposal of hazardous wastes, including those that are operating under the regulatory authority and authorization of Subtitle C of the Resource Conservation and Recovery Act (RCRA).

**SECTOR K: HAZARDOUS WASTE TREATMENT, STORAGE, AND DISPOSAL FACILITIES**

Activity Codes and SIC Code Description

**HZ Hazardous Waste Treatment, Storage, and Disposal Facilities**

### Covered Stormwater Discharges

Stormwater discharges from treatment, storage, or disposal facilities as defined under 30 TAC Chapter 335, Subchapter E (40 CFR Part 265), 30 TAC Chapter 305 (40 CFR Part 270), and 30 TAC Chapter 335, Subchapter F (40 CFR Part 264), including those operating under interim status or a permit under these rules, may obtain coverage under this general permit if other applicable requirements are met.

### Limitations on Permit Coverage

1. Coverage is limited to those facilities that treat, store, or dispose of hazardous waste and are defined under 30 TAC Chapter 335, Subchapter E (40 CFR Part 265), 30 TAC Chapter 305 (40 CFR Part 270), or 30 TAC Chapter 335, Subchapter F (40 CFR Part 264), including those operating under interim status or a permit under these rules. The executive director may require an individual TPDES permit for any discharges under this sector if conditions warrant.
2. This section does not include generators who temporarily store hazardous waste pursuant to the requirements in 30 TAC §§335.69 (40 CFR §262.34), 335.2(d)(5), 335.41, or 335.94 (40 CFR §263.12). Based on the facility SIC code, operators of such facilities may be regulated under an alternative sector of this general permit, or may not require permit coverage.
3. This general permit does not authorize the discharge of landfill wastewater subject to federal effluent guidelines at 40 CFR Part 445 (Landfills Point Source Category), including, but not limited to: leachate; gas collection condensate; drained free liquids; laboratory derived wastewater; contaminated stormwater; and contact washwater from washing truck, equipment and railcar exteriors and surface areas that have come in direct contact with solid waste at the landfill facility. The discharge or disposal of landfill wastewater subject to federal effluent guidelines at 40 CFR Part 445 must be authorized under an individual TPDES permit or other authorized means.
4. All facilities regulated under this general permit that treat, store, or dispose of hazardous waste must comply with all applicable rules and regulations, including 30 TAC Chapters 305 and 335.

### Definitions

**Contaminated stormwater.** Stormwater that comes into direct contact with landfill wastes, the waste handling and treatment areas, or landfill wastewater. Some specific areas of a landfill that may produce contaminated stormwater include (but are not limited to) the open face of an active landfill with exposed waste (no cover added); the areas around wastewater treatment operations; trucks, equipment, or machinery that has been in direct contact with the waste; and waste dumping areas.

**Drained free liquids.** Aqueous wastes drained from waste containers (e.g., drums) prior to land filling.

**Landfill.** A disposal facility or part of a facility where solid waste or hazardous waste is placed in or on land and that is not a pile, a land treatment facility, a surface impoundment, an injection well, a salt dome formation, a salt bed formation, an underground mine, a cave, or a corrective action management unit, as these terms are defined elsewhere in TCEQ or EPA rules.

**Landfill wastewater.** As defined in 40 CFR Part 445 (Landfills Point Source Category), all wastewater associated with, or produced by, land filling activities except for sanitary wastewater, non-contaminated stormwater, contaminated groundwater, and wastewater from recovery pumping wells. Landfill wastewater includes, but is not limited to, leachate, gas collection condensate, drained free liquids, laboratory derived wastewater, contaminated stormwater, and contact washwater from washing truck, equipment, and railcar exteriors and surface areas that have come in direct contact with solid waste at the landfill facility.

**Leachate.** Any liquid, included any suspended components in the liquid, that has percolated through or drained from solid waste or hazardous waste.

**Non-contaminated stormwater.** Stormwater that does not come into direct contact with landfill wastes, the waste handling and treatment areas, or landfill wastewater. Non-contaminated stormwater includes stormwater that flows off the cap, cover, intermediate cover, daily cover, or final cover of the landfill.

### Benchmark Monitoring Requirements

The following subsections must conduct benchmark monitoring according to the requirements in Part IV of this general permit and conduct evaluations on the effectiveness of the facility SWP3 based on the following benchmark values in Table 21:

**Table 21. Benchmark Monitoring Requirements for Sector K**

| **Activity**  **Code** | **Description of Industrial Activity** | **Benchmark**  **Parameter** | **Benchmark Value** |
| --- | --- | --- | --- |
| HZ | Hazardous Waste Treatment, Storage, and Disposal | Ammonia-Nitrogen  Magnesium, total  COD  Arsenic, total  Cadmium, total  Cyanide, total  Lead, total  Mercury, total  Selenium, total  Silver, total | 1.7 mg/L  1.4 mg/L  60 mg/L  0.010 mg/L  0.001 mg/L  0.02 mg/L  0.010 mg/L  0.0002mg/L  0.01 mg/L  0.002 mg/L |

## Sector L of Industrial Activity - Landfills and Land Application Sites

### Description of Industrial Activity

The requirements under this section apply to stormwater discharges from activities identified and described as Sector L. Sector L industrial activities are described by the following Industrial Activity Code:

**SECTOR L: LANDFILLS AND LAND APPLICATION SITES**

Activity Codes and SIC Code Description

LF -Landfills, Land Application Sites, and Open Dumps that Receive or Have Previously Received Industrial Waste, including sites subject to regulation under Subtitle D of the Resource Conservation and Recovery Act (RCRA).

### Definitions

The following definitions apply only to Section L of this general permit:

**Contaminated Stormwater.** Stormwater that comes into direct contact with landfill wastes, the waste handling and treatment areas, or landfill wastewater. Some areas of a landfill that may produce contaminated stormwater include (but are not limited to) the open face of an active landfill with exposed waste (no cover added); the areas around wastewater treatment operations; trucks, equipment, or machinery that has been in direct contact with the waste; and waste dumping areas.

**Drained Free Liquid.** Aqueous wastes drained from waste containers (e.g., drums) prior to land filling.

**Final Cover.** As described in 30 TAC Chapter 330.

**Final Stabilization.** For the purpose of this permit, includes all requirements needed to achieve final regulatory closure of the site.

**Inactive Landfill.** A facility that no longer receives waste and has completed closure according to all applicable federal, state, and local requirements, but where an authorization under this general permit is maintained.

**Industrial Waste.** Solid waste from manufacturing portions of industrial activities defined in this general permit.

**Intermediate Cover. As described in 30 TAC Chapter 330.**

**Landfill.** A solid waste management unit where solid waste is placed in or on land and that is not a pile, a land treatment unit, a surface impoundment, an injection well, a salt dome formation, an underground mine, a cave, or a corrective action management unit.

**Landfill Wastewater.** As defined in 40 CFR Part 445 (Landfills Point Source Category) all wastewater associated with, or produced by, land filling activities except for sanitary wastewater, non-contaminated stormwater, contaminated groundwater, and wastewater from recovery pumping wells. Landfill process wastewater includes, but is not limited to, leachate, gas collection condensate, drained free liquids, laboratory-derived wastewater, contaminated stormwater, and contact wash water from washing truck, equipment, and railcar exteriors and surface areas that have come in direct contact with solid waste at the landfill facility.

**Land Application Site, or Land Treatment Facility**. For the purpose of this permit, a facility or part of a facility at which solid waste is applied onto or incorporated into the soil surface and that is not a corrective action management unit; such facilities are disposal facilities if the waste will remain after closure.

**Leachate.** Liquid that has passed through or emerged from solid waste and contains soluble, suspended, or miscible materials removed from such waste.

**Municipal Solid Waste (MSW).** Solid waste, resulting from or incidental to municipal, community, commercial, institutional, and recreational activities, including garbage, rubbish, ashes, street cleanings, dead animals, abandoned automobiles, and all other solid waste other than industrial solid waste.

**Municipal Solid Waste Facility.** All contiguous land, structures, other appurtenances, and improvements on the land used for processing, storing, or disposing of solid waste. A facility may be publicly or privately owned and may consist of several processing, storage, or disposal operational units, e.g., one or more landfills, surface impoundments, or combinations of them.

**Municipal Solid Waste Landfill Unit.** A discrete area of land or an excavation that receives household waste and that is not a land application unit, surface impoundment, injection well, or waste pile, as those terms are defined under 40 CFR §257.2. A municipal solid waste (MSW) landfill unit also may receive other types of Resource Conservation and Recovery Act (RCRA) Subtitle D wastes, such as commercial solid waste, nonhazardous sludge, conditionally exempt small-quantity generator waste, and industrial solid waste. Such a landfill may be publicly or privately owned. An MSW landfill unit may be a new MSW landfill unit, an existing MSW landfill unit, a vertical expansion, or a lateral expansion.

**Non-Contaminated Stormwater.** Stormwater that does not come into direct contact with landfill wastes, the waste handling and treatment areas, or landfill wastewater. Non-contaminated stormwater includes stormwater that flows off the cap, cover, intermediate cover, intact daily cover, or final cover of the landfill.

**Open Dump.** A facility for the disposal of solid waste that is not otherwise defined in this section.

**Temporary Stabilization.** A condition where exposed soils or disturbed areas are provided a protective cover, which may include temporary seeding, geotextiles, mulches, and other techniques to reduce or eliminate erosion until either final stabilization can be achieved or until further construction activities take place.

### Covered Stormwater Discharges

1. This permit authorizes the discharge of non-contaminated stormwater and uncontaminated groundwater associated with waste disposal at landfills, land application sites, and open dumps that receive or have received solid waste from an industrial activity covered under this general permit, including sites subject to regulation under Subtitle D of RCRA.
2. Landfill activities include the construction of new landfill cells that take place as part of normal landfill operations. This permit does not cover stormwater discharges from the initial construction of the landfill.
3. Stormwater discharges from sites where wastewater or sludge is land applied is not required to be permitted, provided that the disposal site is properly permitted by the TCEQ or the EPA, and that stormwater runoff from the disposal site does not contact the wastewater or sludge.

### Limitations on Permit Coverage

1. This general permit does not authorize the discharge of landfill wastewater subject to federal effluent guidelines at 40 CFR Part 445 (Landfills Point Source Category), including: leachate; gas collection condensate; drained free liquids; laboratory derived wastewater; contaminated stormwater; and contact wash water from washing truck, equipment and railcar exteriors. The discharge or disposal of landfill wastewater must be authorized under an individual TPDES permit or other authorized means.
2. Non-contaminated stormwater discharges from any landfill; land application site; or open dump that does not receive or has not received any solid waste from industrial activities regulated under this permit does not require authorization under this permit.
3. Closed Landfills. Permit Coverage is not required for a landfill that has received written acknowledgement of final facility closure from the executive director, in accordance with TCEQ’s solid waste regulations. Closed or inactive landfills that are no longer in use but that have not received final closure approval from TCEQ (and hence have not begun the 30 year post closure monitoring), would still be considered industrial activities and coverage should be maintained as an inactive landfill.
4. All permittees regulated under this section of the general permit that generate solid waste, including municipal solid waste, shall comply with all applicable rules and regulations, including 30 TAC Chapter 330.

### Additional SWP3 Requirements

1. Maintenance Program. The permittee shall maintain all elements of leachate collection and treatment systems in order to prevent the discharge of stormwater that has commingled with leachate, contaminated stormwater, or other landfill wastewater. The permittee shall also maintain integrity and effectiveness of any intermediate or final cover (including repairing the cover as necessary), for the purpose of minimizing the effects of settlement, sinking, and erosion.
2. Erosion and Sedimentation Control Measures. The permittee shall provide temporary stabilization for the following areas and activities:
   1. materials stockpiled for daily, intermediate, and final cover;
   2. inactive areas of the landfill or open dump;
   3. landfills or open dump areas that have gotten final covers but where vegetation has yet to establish itself; and
   4. land application sites where waste application has been completed but final vegetation has not yet been established.
3. Investigation and Certification of Non-Stormwater Discharges. The permittee shall include leachate, vehicle wash water, and contaminated stormwater in its investigation and certification of non-stormwater discharges.
4. Site Map. The site map must depict the locations of the following:
   1. Active, inactive, and closed solid waste landfill cells or units;
   2. active and closed land application areas;
   3. any known leachate springs or similar uncontrolled leachate sources that could contact stormwater; and
   4. leachate collection and treatment systems.
5. Summary of Potential Pollutant Sources. The SWP3 must include documentation of the following activities:
   1. fertilizer, herbicide, and pesticide application;
   2. earth and soil moving;
   3. waste hauling and loading or unloading;
   4. outdoor storage of significant materials, including daily, intermediate, and final cover material stockpiles as well as temporary waste storage areas;
   5. exposure of active and inactive landfill and land application areas;
   6. uncontrolled leachate flows; and
   7. failure or leaks from leachate collection and treatment systems.
6. Periodic Inspections.
   1. Inactive sites. For inactive landfills and land application sites, this section of the SWP3 must include inspection procedures for qualified personnel to evaluate the stabilization and structural erosion control measures, as well as the leachate collection and treatment systems.
   2. Periodic Inspection Frequency. Inspection procedures must be developed according to the standard periodic inspection requirements described in Part III, Section B. of this general permit, but inspections must be conducted at the following frequencies:
      1. for active landfills, open dumps, and land application sites, at least once every seven (7) days; alternatively, in arid areas, inspections may be conducted at least once each month; or
      2. for areas of landfill sites where landfill activities are completed and soils are finally stabilized, and for land application sites where land application has been completed, inspections must be conducted at least once every month.
7. Erosion Control Measures. The permittee shall provide temporary stabilization of all materials that are stockpiled and stored for future use. Inactive areas of the landfill with stockpiled materials that have intermediate cover, but no final cover, must be stabilized. Inactive areas that have received final cover must be temporarily stabilized until final stabilization measures are completed. Inactive land application areas must be temporarily stabilized until final stabilization measures are completed.
8. Records. Operators of landfills or open dumps shall keep records of the types of wastes disposed of in each cell or trench, and land application site operators shall maintain a tracking system to define the types and quantities of wastes applied within specific areas of the application site. These records must either be included in the SWP3 or be referenced and made readily available for review upon request by authorized TCEQ personnel as well as any local pollution control agency with jurisdiction.

### Benchmark Monitoring Requirements

The following subsections must conduct benchmark monitoring according to the requirements in Part IV of this general permit and conduct evaluations on the effectiveness of the facility SWP3 based on the following benchmark values:

**Table 22. Benchmark Monitoring Requirements for Activity Codes in Sector L**

| **Activity Code** | **Description of Industrial Activity** | **Benchmark Parameter** | **Benchmark Value** |
| --- | --- | --- | --- |
| LF | Landfills, Land Application Sites, and Open Dumps | TSS  Iron, total\* | 100 mg/L  1.3 mg/L |

\*Sampling for total iron is not required for discharges from municipal solid waste landfill areas that have been closed in accordance with 40 CFR §258.60.

## Sector M of Industrial Activity - Automobile Salvage Yards

### Description of Industrial Activity

The requirements under this section apply to stormwater discharges from activities identified and described as Sector M. Sector M industrial activities are described by the following SIC code:

**SECTOR M: AUTOMOBILE SALVAGE YARDS**

SIC Codes SIC Code Description

5015 Automobile Salvage Yards

(See Part II, Section A.1.b for a detailed list of SIC codes)

### Additional SWP3 Requirements

1. Employee Training. The following areas must be addressed in the employee training program: proper handling (collection, storage, and disposal) of oil, used mineral spirits, anti-freeze, mercury switches, and solvents.
2. Site Map. Include the locations of the following:
   1. vehicle and vehicle parts storage areas;
   2. vehicle dismantling areas;
   3. vehicle and equipment fueling and maintenance areas;
   4. vehicle, parts, and equipment cleaning areas;
   5. waste treatment, storage and disposal areas; and
   6. areas where fluids or fuels are stored in drums, tanks, or other containers.
3. The SWP3 must include an assessment of the potential for each of the areas listed above to contribute pollutants to stormwater discharges from the site.
4. Spill Prevention and Response Measures.
   1. Vehicles must be inspected for leaking fluids upon arrival at the facility. Actions must be immediately taken to prevent the discharge of fluids according to specific measures established by the operator within the spill prevention and response measures section of the SWP3. Upon the arrival (or as soon after the arrival as feasible) of vehicles at the site that are intended to be dismantled, the permittee shall drain those vehicles of all fluids, or shall employ another equivalent mean to prevent spills and leaks.
   2. Vehicles that are stored but are not drained of fluids must be inspected for leaks at least once per quarter. These inspections may be incorporated as part of the standard periodic inspections. The spill prevention and response measures must be developed with specific guidelines for inspecting stored vehicles and measures to be taken when vehicles are identified as leaking or in danger of developing leaks. All fluids must be handled and disposed of according to all applicable state and federal regulations.
5. Periodic Inspections. Equipment containing oily parts, hydraulic fluids, or other fluids must be inspected for leaks during the periodic inspections.
6. Good Housekeeping Measures. Equipment operators shall conduct inspections of equipment on a daily basis when equipment is in use.
7. Employee Training Program and Employee Education. The employee training program must include training on the following operations at facilities where these activities occur, or wastes are generated:
   1. used oil and spent solvent management;
   2. management of metal filings and dust from welding, grinding, and similar operations that produce metal waste; and
   3. lead-acid battery management.

### Benchmark Monitoring Requirements

The following subsections must conduct benchmark monitoring according to the requirements in Part IV of this general permit and conduct evaluations on the effectiveness of the facility SWP3 based on the following benchmark values:

**Table 23. Benchmark Monitoring Requirements for Subsections in sector M**

| **SIC Code** | **Description of Industrial Activity** | **Benchmark Parameter** | **Benchmark Value** |
| --- | --- | --- | --- |
| 5015 | Automobile Salvage Yards | Aluminum, total  TSS  Iron, total  Lead, total | 1.2 mg/L  100 mg/L  1.3 mg/L  0.010 mg/L |

## Sector N of Industrial Activity - Scrap and Waste Recycling Facilities

### Description of Industrial Activity

The requirements under this section apply to stormwater discharges from activities identified and described as Sector N. Sector N industrial activities are described by the following SIC Code:

**SECTOR N: SCRAP AND WASTE RECYCLING FACILITIES**

SIC Codes SIC Code Description

5093 Scrap and Waste Recycling Facilities (e.g., metals, paper, plastic, cardboard, glass, animal hides, used oil, antifreeze, mineral spirits, industrial solvents, computers, electronics, and other materials listed in the SIC Code Manual Under SIC 5093)

(See Part II, Section A.1.b for a detailed list of SIC codes)

### Limitations on Permit Coverage

Stormwater discharges from storage or stockpile areas for metal turnings previously exposed to cutting oils, are only eligible for coverage if these materials are isolated from stormwater by storm resistant shelters or if the following BMPs are implemented:

* 1. dedicated containment areas are used that include a perimeter barrier to prevent stormwater runon and runoff; containment areas and perimeter barriers are constructed of concrete, or other similar impermeable oil-resistant materials; and
  2. if discharges only occur following treatment through an oil/water separator or similarly efficient treatment unit.

### Additional SWP3 Requirements

1. Requirements for Specific Facilities:
   1. Scrap and Waste Recycling Facilities (Non-Source Separated, Non-liquid Recyclable Materials). The requirements below apply to facilities that receive, process, and wholesale distribute non-liquid recyclable wastes (e.g., ferrous and nonferrous metals, plastics, glass, cardboard, and paper) and that may receive both non-recyclable and recyclable materials. These requirements do not apply to facilities that accept recyclables only from sources that are primarily non-industrial and residential.
      1. Inbound Recyclable and Waste Material Control Program. The permittee shall conduct inspections of inbound recyclables and waste materials to minimize the acceptance materials that could be significant sources of pollutants.
      2. Scrap and Waste Material Stockpiles and Storage (Outdoor). The permittee shall minimize the potential for stormwater to contact stockpiled materials, processed materials, and non-recyclable wastes.
      3. Stockpiling of Turnings Exposed to Cutting Fluids (Outdoor Storage). The permittee shall minimize the potential for stormwater to contact residual cutting fluids.
      4. Scrap and Waste Material Stockpiles and Storage (Covered or Indoor Storage). The permittee shall minimize the potential for stormwater to contact residual liquids and particulate matter from materials stored indoors or under cover.
      5. Scrap and Recyclable Waste Processing Areas. The permittee shall minimize the potential for stormwater to contact scrap processing equipment by addressing operations that generate visible amounts of particulate residue (e.g., shredding) and minimizing the contact of accumulated particulate matter and residual fluids with runoff (e.g., through good housekeeping, preventive maintenance).
      6. Scrap Lead-Acid Battery Program. The permittee shall properly handle, store, and dispose of scrap lead-acid batteries, and shall segregate scrap lead-acid batteries from other scrap materials.
      7. Spill Prevention and Response Procedures. The permittee shall install alarms or pump shutoff systems on outdoor equipment with hydraulic reservoirs exceeding 150 gallons in the event of a line break. Alternatively, the permittee may use a secondary containment system capable of holding the entire contents of the reservoir plus room for precipitation. The permittee shall use a mercury spill kit for any release of mercury from switches, anti-lock brake systems, and switch storage areas.
   2. Waste Recycling Facilities (Liquid Recyclable Materials).
      1. Waste Material Storage (Indoor). The permittee shall minimize the potential for stormwater to contact residual liquids from waste materials stored indoors.
      2. Waste Material Storage (Outdoor). The permittee shall minimize the potential for stormwater to contact stored residual liquids. The SWP3 may refer to applicable portions of other existing plans, such as SPCC plans required by 40 CFR Part 112.
      3. Trucks and Rail Car Waste Transfer Areas. The permittee shall minimize the potential for pollutants in discharges from truck and rail car loading and unloading areas, and shall include measures to clean up minor spills and leaks resulting from the transfer of liquid wastes.
   3. Recycling Facilities (Source-Separated Materials). The following requirements apply to facilities that receive only source-separated recyclables, primarily from non-industrial and residential sources (e.g., local government recycling facility).
      1. Inbound Recyclable Material Control. The permittee shall minimize the chance of accepting non-recyclables (e.g., hazardous materials) that could be a significant source of pollutants by conducting inspections of inbound materials.
      2. Outdoor Storage. The permittee shall minimize exposure of recyclables to stormwater, and shall use good housekeeping measures to prevent accumulation of particulate matter and fluids, particularly in high traffic areas.
      3. Indoor Storage and Material Processing. The permittee shall minimize the release of pollutants from indoor storage and processing areas.
      4. Vehicle and Equipment Maintenance. The permittee shall establish controls to minimize pollutants in stormwater from vehicle and equipment maintenance.
2. Drainage Area Site Map. The site map must include the locations of any of the following activities or sources that may be exposed to precipitation or surface runoff: scrap and waste material storage, outdoor scrap and waste processing equipment; and containment areas for turnings exposed to cutting fluids.
3. Maintenance Schedules/Procedures for Collection, Handling, and Disposal or Recycling of Residual Fluids at Scrap and Waste Recycling Facilities. For any facility that is subject to Part V, Section N.3.(a)(3) above, the SWP3 must identify any applicable maintenance schedule and the procedures to collect, handle, and dispose or recycle residual fluids.
4. Additional Inspection Requirements. Routine Facility Inspections must be performed once per quarter as described in Part III, Section B.2., and must include, at a minimum, all areas where waste is generated, received, stored, treated, or disposed and that are exposed stormwater.

### Benchmark Monitoring Requirements

The following subsections must conduct benchmark monitoring according to the requirements in Part IV of this general permit and conduct evaluations on the effectiveness of the facility SWP3 based on the following benchmark values:

**Table 24. Benchmark Monitoring Requirements for Subsections in sector N**

| **SIC Code** | **Description of Industrial Activity** | **Benchmark Parameter** | **Benchmark Value** |
| --- | --- | --- | --- |
| 5093 | Scrap and Waste Recycling Facilities | Copper, total Aluminum, total  Iron, total  Lead, total  Zinc, total  TSS  COD | 0.030 mg/L  1.2 mg/L  1.3 mg/L  0.010 mg/L  0.16 mg/L  100 mg/L  60 mg/L |

## Sector O of Industrial Activity - Steam Electric Generating Facilities

### Description of Industrial Activity

The requirements under this section apply to stormwater discharges from activities identified and described as Sector O. Sector O industrial activities are described by the following Industrial Activity Code:

**SECTOR O: STEAM ELECTRIC GENERATING FACILITIES**

Activity Code and SIC Code Description

SE - Steam Electric Power Generating Facilities

### Covered Stormwater Discharges

The requirements of this section apply to stormwater discharges from the following facilities:

1. Steam electric power generating facilities as defined in 40 CFR §122.26(b)(14)(vii), that use coal, natural gas, oil, nuclear energy, or other fuel to produce a steam source, including facilities regulated under 40 CFR Part 423 (Steam Electric Power Generating Point Source Category);
2. coal handling areas located at regulated facilities;
3. coal pile runoff at regulated facilities; and
4. duel fuel facilities that could employ a steam boiler.

### Limitations on Permit Coverage

1. Non-stormwater discharges subject to effluent limitations guidelines at 40 CFR Part 423 are not eligible for coverage under this general permit.
2. Stormwater discharges from the following types of facilities are not required to obtain permit coverage and are not eligible for coverage under this general permit:
   1. ancillary facilities (for example, fleet centers and substations) that are not contiguous to a steam electric power generating facility;
   2. gas turbine facilities (providing the facility is not a dual-fuel facility that includes a steam boiler) and combined-cycle facilities where no supplemental fuel oil is burned (and the facility is not a dual-fuel facility that includes a steam boiler); and
   3. cogeneration (combined heat and power) facilities utilizing a gas turbine.

### Additional SWP3 Requirements

1. Drainage Area Site Map. The site map must clearly identify the locations of any of the following activities or sources, if they are exposed to stormwater: storage tanks, scrap yards, and general refuse areas; areas used for short-term or long-term storage of general materials; landfills; and stock pile areas.
2. Good Housekeeping Measures. The permittee shall implement the following housekeeping measures, which must also be documented in the SWP3:
   1. Fugitive Dust Emissions. Minimize fugitive dust emissions from coal handling areas, and the tracking of coal dust offsite.
   2. Minimize the potential for stormwater contamination from the following areas or activities:
      1. delivery vehicles arriving at the plant site;
      2. fuel oil unloading areas;
      3. chemical loading and unloading;
      4. miscellaneous loading and unloading areas;
      5. above-ground liquid storage tanks;
      6. large bulk fuel storage tanks;
      7. oil-bearing equipment in switchyard areas;
      8. areas adjacent to disposal ponds or landfills; and
      9. landfills, scrap yards, surface impoundments, open dumps, general refuse sites.
   3. Spill Reduction Measures. Implement BMPs to minimize the potential for an oil or chemical spill, or reference the appropriate part of a SPCC plan, if applicable.
   4. Residue-Hauling Vehicles. Inspect all residue-hauling vehicles for proper covering over the load, adequate gate sealing, and overall integrity of the container body. Repair vehicles without load covering or adequate gate sealing, or with leaking containers or beds.
   5. Ash Loading Areas. Reduce or control the tracking of ash and residue from ash loading areas. Clear the ash building floor and immediately adjacent roadways of spillage, debris, and excess water before departure of each loaded vehicle.
3. Additional Inspection Requirements
   1. Periodic Inspections. In addition to the standard routine facility inspection requirements described in Part III, Section B.2. of this general permit, visual inspections must be conducted at least once per week to determine the structural integrity of above-ground storage tanks, pipelines, pumps and other related equipment. If repairs are necessary, they must be performed as expeditiously as practicable; except that repairs must be made immediately if there is a risk to water quality.
   2. Comprehensive Site Compliance Evaluation. In addition to the standard site compliance inspections described in Part III, Sections B.2. and B.5. of this general permit, personnel must inspect coal handling areas, loading/unloading areas, switchyards, fueling areas, bulk storage areas, ash handling areas, disposal ponds and landfills, maintenance areas, liquid storage tanks, and material storage areas at a minimum frequency of once per month.

### Numeric Effluent Limitations

1. The following numeric effluent limitations, based on guidelines from the Steam Electric Generating Point Source Category [40 CFR §§423.12 (b)(1) and (9)], apply to any stormwater runoff from coal pile storage areas. Samples of these discharges must be obtained before the runoff combines with any other discharge, and shall be analyzed for the following pollutants. The analytical result must not exceed the following numeric effluent limitations:

**Table 25. Numeric Effluent Limitations for Sector O Facilities discharging Coal Pile Runoff**

| **Industrial Activity** | **Parameter 1** | **Limitations**  **Daily Max** |
| --- | --- | --- |
| Discharges from Coal Storage Piles at Steam Electric Generating Facilities | TSS | 50 mg/L |
| pH | 6.0-9.0 S.U. |

1 Monitor annually.

1. Waivers from Numeric Effluent Limitations. Numeric effluent limitations for runoff from coal pile storage areas do not apply to discharges that overflow from structural control facilities that are designed to contain and treat runoff from a 10-year, 24-hour storm event. The permittee shall maintain, as a part of the SWP3, the following information in order to receive this waiver: engineering design records that demonstrate structural controls are adequate to intercept, contain, and treat the volume of runoff from a 10-year, 24-hour storm event; and records of rainfall from an on-site rain gauge, a representative weather station, or subject to TCEQ’s approval, an alternative means of compliance. Rainfall records are only required to document events that equal or exceed a 10-year, 24-hour event.

### Benchmark Monitoring Requirements

The following subsections must conduct benchmark monitoring according to the requirements in Part IV of this general permit and conduct evaluations on the effectiveness of the facility SWP3 based on the following benchmark values:

**Table 26. Benchmark Monitoring Requirements for Subsections in Sector O**

| **Activity Code** | **Description of Industrial Activity** | **Benchmark Parameter** | **Benchmark Value** |
| --- | --- | --- | --- |
| SE | Steam Electric Power Generating Facilities | Iron, total  TSS | 1.3 mg/L  50 mg/L |

## Sector P of Industrial Activity - Land Transportation and Warehousing

Land Transportation and Warehousing includes the following types of facilities: motor freight transportation facilities; passenger transportation facilities; petroleum bulk oil stations and terminals; rail transportation facilities; and United States Postal Service (USPS) transportation facilities.

### Description of Industrial Activity

The requirements under this section apply to stormwater discharges from activities identified and described as Sector P. Sector P industrial activities are described by the following SIC codes:

**SECTOR P: LAND TRANSPORTATION AND WAREHOUSING**

SIC Codes SIC Code Description

4011, 4013 Railroad Transportation

4111 – 4173 Local and Highway Passenger Transportation

4212 – 4215 Trucking and Courier Services, Except Air

4221, 4222 Farm Product Warehousing and Storage; and Refrigerated Warehousing and Storage

4225 General Warehousing and Storage

4226 Special Warehousing and Storage, Not Elsewhere Classified

4231 Terminal and Joint Terminal Maintenance Facilities for Motor Freight Transportation

4311 United States Postal Service

5171 Petroleum Bulk Stations and Terminals

(See Part II, Section A.1.b for a detailed list of SIC codes)

### Covered Stormwater Discharges

1. For facilities described by SIC codes listed above, except for SIC codes 4221, 4222, and 4225, permit coverage is only required for stormwater discharges from areas where the following activities are performed: vehicle maintenance (including vehicle rehabilitation, mechanical repairs, painting, fueling, and lubrication) or equipment cleaning. Coverage for stormwater runoff from additional areas may be obtained as described in Part V, Section P.2.(d) below.
2. For SIC codes 4221, 4222, and 4225, permit coverage is required for stormwater discharges from all areas of the facility. Facilities described by these SIC codes must obtain coverage by submitting an NOI, or a no exposure exclusion by submitting an NEC form, except as described in Part V, Section P.2.c. below for facilities described by SIC code 4225 only (General Warehousing and Storage) that do not have areas where vehicle maintenance (including vehicle rehabilitation, mechanical repairs, painting, fueling, and lubrication) or equipment cleaning activities are performed.
3. Facilities described by SIC code 4225 that do not have areas where vehicle maintenance (including vehicle rehabilitation, mechanical repairs, painting, fueling, and lubrication) or equipment cleaning activities are performed are designated for coverage under this general permit and are not required to submit an NOI for coverage. These facilities must comply only with the following permit requirements and are not subject to additional requirements that are listed in this permit:
   1. The facility must maintain conditions that ensure there is no exposure of industrial activities to stormwater;
   2. The facility operator must comply with the requirements of Part III, Section E. of this general permit, related to Standard Permit Conditions, except that the operator is not required to submit an NOI or NEC form, prepare a SWP3, or conduct analytical monitoring; and
   3. The site must not contain any areas that are used for vehicle maintenance (including vehicle rehabilitation, mechanical repairs, painting, fueling, and lubrication) or equipment cleaning activities.

The facility operator must apply for coverage if any of the requirements listed above are not met. If the TCEQ determines that additional controls are required other than those listed above, or that there is a concern regarding the discharge of elevated levels of pollutants, then the TCEQ may require a facility described by SIC code 4225 to obtain coverage and meet all permit conditions through submittal of an NOI or an individual permit application.

1. Runoff from materials storage or handling areas:
   1. The permittee may obtain authorization to discharge stormwater under this general permit from additional areas of Sector P facilities where materials, intermediates, or products are stored or handled, and where the discharge from these areas would otherwise require authorization under a TPDES individual permit or alternative general permit. This permit does not authorize the discharge of any process wastewater from material storage or handling areas, including contaminated stormwater.
   2. In order to obtain coverage for any materials storage or handling areas, the permittee shall ensure that the SWP3 addresses these areas and that the SWP3 contains the following additional elements, in addition to those required in Part III of this general permit:
      1. list of the pollutants that may be present in the material and exposed to precipitation or runoff;
      2. an indication on the site map of all material storage and handling areas that are being included under the MSGP authorization; and
      3. description and implementation of BMPs that specifically address the material that is exposed to rainfall or runoff.
   3. This section does not expand the definition of stormwater associated with industrial activity. If runoff from the materials storage and handling areas are not subject to TPDES wastewater permitting, then the SWP3 is not required to address these areas.

### Limitations on Coverage

1. Prohibited Discharges. Except as allowed in Part II, Section A.6, related to non-stormwater discharges, this general permit does not authorize the discharge of wastewater resulting from washing vehicles, equipment, or other surfaces, including tank cleaning operations. These discharges must be authorized under a separate TPDES permit, discharged to a sanitary sewer in accordance with applicable industrial pretreatment requirements, recycled on-site, or disposed by an alternate authorized means. The permittee shall keep records of the disposal authorization for this wash water (e.g., individual TPDES permit, discharge to POTWs, or contract with hauling company).
2. Exempt Oil and Gas Stormwater. Discharges of stormwater from Petroleum Bulk Station and Terminals (SIC 5171) that qualify for the exemption described in Part II B. 4 are not eligible for coverage under this general permit.

### Additional SWP3 Requirements

1. Good Housekeeping Measures. In addition to the good housekeeping SWP3 requirements in Part III, Section A.4 of this general permit, the permittee must implement the following control measures, and must document in the SWP3 the measures being used for each measure:
   1. Vehicle and Equipment Storage Areas. Minimize the potential for stormwater exposure to leaky or leak-prone vehicles or equipment that are awaiting maintenance.
   2. Fueling Areas. Minimize contamination of stormwater from fueling areas.
   3. Material Storage Areas. Maintain all material containers (e.g., for used oil/oil filters, spent solvents, paint wastes, hydraulic fluids) to prevent contamination of stormwater and plainly label them (e.g., “Used Oil,” “Spent Solvents”).
   4. Vehicle and Equipment Maintenance and Cleaning Areas. Minimize contamination of stormwater runoff from all areas used for vehicle and equipment maintenance or cleaning.
   5. Locomotive Sanding (Loading Sand for Traction) Areas. Minimize discharge of pollutants in stormwater from locomotive sanding areas through the implementation of control measures, where feasible, such as covering sanding areas; minimizing stormwater run on/discharges; or appropriate sediment removal practices to minimize the offsite transport of sanding material by stormwater; or other equivalent measures.
2. Employee Training. The permittee shall include the following information, as applicable, in its employee training: used oil and spent solvent management; fueling procedures; general good housekeeping practices; proper painting procedures; and used battery management.
3. Drainage Area Site Map. The site map must identify the following areas of the facility and indicate whether activities occurring there may be exposed to stormwater: fueling stations; vehicle/equipment maintenance or cleaning areas; storage areas for vehicle/equipment with actual or potential fluid leaks; loading/unloading areas; areas where treatment, storage or disposal of wastes occur; liquid storage tanks; processing areas; and storage areas.
4. Potential Pollutant Sources. The SWP3 must assess the potential for the following activities and facility areas to contribute pollutants to stormwater discharges: onsite waste storage or disposal; dirt/gravel parking areas for vehicles awaiting maintenance; illicit plumbing connections between shop floor drains and the stormwater conveyance system(s); and fueling areas.
5. Spill Prevention and Response Measures. Vehicles and equipment that are scheduled for maintenance and that have potential fluid leaks must be confined to a designated area. The Spill Prevention and Response Measures section of the SWP3 [see Part III, Section A.4.(e)] shall define specific measures to prevent spills and to confine spills within this area. This section of the SWP3 shall also define specific measures to prevent or minimize contamination of stormwater from fueling areas.
6. Additional Inspection Requirements. Inspection procedures must be developed according to the standard periodic inspection requirements described in Part III, Section B. of this general permit and conducted at least once per quarter in the following areas:
   1. storage areas for vehicles and equipment awaiting maintenance;
   2. fueling areas;
   3. vehicle and equipment maintenance areas;
   4. material storage areas;
   5. vehicle/equipment cleaning areas; and
   6. loading/unloading areas.

## Sector Q of Industrial Activity - Water Transportation Facilities

### Description of Industrial Activity

The requirements under this section apply to stormwater discharges from activities identified and described as Sector Q. Sector Q industrial activities are described by the following SIC codes:

**SECTOR Q: WATER TRANSPORTATION**

SIC Codes SIC Code Description

4412 – 4499 Water Transportation

(See Part II, Section A.1.b for a detailed list of SIC codes)

### Covered Stormwater Discharges

1. Permit coverage is only required for stormwater discharges from areas where the following activities are performed at facilities described by the SIC codes listed above: vehicle maintenance (including vehicle rehabilitation, mechanical repairs, painting, fueling, and lubrication) or equipment cleaning, except for retail fueling as described in paragraph 3.(b) below. Coverage for stormwater runoff from additional areas of Sector Q facilities may be obtained as described in Part V, Section Q.2.(b) below.
2. Runoff from materials storage or handling areas.
   1. The permittee may obtain authorization to discharge stormwater under this general permit from additional areas of Sector Q facilities where materials, intermediates, or products are stored or handled, and where the discharge from these areas would otherwise require authorization under a TPDES individual permit or alternative general permit. This permit does not authorize the discharge of any process wastewater from material storage or handling areas, including contaminated stormwater.
   2. In order to obtain coverage for any materials storage or handling areas, the permittee shall ensure that the SWP3 addresses these areas and that the SWP3 contains the following additional elements, in addition to those required in Part III of this general permit:
      1. a list of the pollutants that may be present in the material and exposed to precipitation or runoff;
      2. an indication on the site map of all material storage and handling areas that are being included under the MSGP authorization; and
      3. description and implementation of BMPs that specifically address the material that is exposed to rainfall or runoff.
   3. This section does not expand the definition of stormwater associated with industrial activity. If runoff from the materials storage and handling areas are not subject to TPDES wastewater permitting, then the SWP3 is not required to address these areas.

### Limitations on Coverage

1. This permit does not authorize the discharge of process wastewater discharges associated with a dry dock activity, bilge and ballast water, sanitary wastewater, pressure wash water, and cooling water originating from vessels.
2. The retail sale of fuel performed at a marina without slip rental, boat storage, and other services such as cleaning and incidental repair is classified as SIC code 5541 (which includes “marine service stations – retail”). If retail fueling is the primary activity performed at the site, then permit coverage is not required. However, if a marina (SIC 4493) has a secondary SIC code of 5541, then coverage would be required for any areas of the marina where vehicle maintenance (including vehicle rehabilitation, mechanical repairs, painting, fueling, and lubrication) or equipment cleaning operations occur, other than the retail fueling operation described by SIC code 5541.

### Allowable Non-Stormwater Discharges

Boat Rinse Water. In addition to the non-stormwater discharges allowed under Part II of this general permit, boat rinse water may be discharged from water transportation facilities such as marinas, where the boat rinse water does not contain chemicals, surfactants, or elevated temperatures. Discharge from pressure washing of boats is not authorized under this general permit.

### Additional SWP3 Requirements.

The following additional requirements must be included in the SWP3, for any areas covered under this section of the general permit.

1. Site Map. The site map must clearly show the locations of the following activities if the activities are exposed to precipitation or runoff: fueling; engine maintenance and repair; vessel maintenance and repair; pressure washing; painting; sanding; blasting; welding; metal fabrication; loading and unloading areas; locations used for the treatment, storage or disposal of wastes; liquid storage tanks; liquid storage areas (e.g., paint, solvents, resins); and material storage areas (e.g., blasting media, aluminum, steel, and scrap iron).
2. Summary of Potential Pollutant Sources. The SWP3 must list the following additional sources and activities: outdoor manufacturing or processing activities (e.g., welding, metal fabricating) and significant dust or particulate generating processes (e.g., abrasive blasting, sanding, and painting).
3. Good Housekeeping Measures. The permittee must implement the following in addition to the good housekeeping measures described in Part III, Section A.4. of this general permit:
   1. Blasting and Painting Area. Minimize the potential for spent abrasives, paint chips, and overspray to discharge into receiving waters or the storm sewer systems. When necessary, regularly clean stormwater conveyances of deposits of abrasive blasting debris and paint chips.
   2. Material Storage and Handling Areas. Minimize stormwater contamination from material storage and handling operations and areas. Store and plainly label all containerized materials (e.g., fuels, paints, solvents, waste oil, antifreeze, batteries) in a protected, secure location away from drains. If abrasive blasting is performed, discuss the storage and disposal of spent abrasive materials generated at the facility.
   3. Engine Maintenance and Repair Areas. Minimize the potential for contamination of stormwater from all areas used for engine maintenance and repair.
   4. Drydock Activities. Routinely maintain and clean the drydock to minimize pollutants in stormwater runoff. Address the cleaning of accessible areas of the drydock prior to flooding, and final cleanup following removal of the vessel and raising the dock. Include procedures for cleaning up oil, grease, and fuel spills occurring on the drydock.
4. Employee Training. The permittee shall include the following information, as applicable, in the employee training program: management of used oil and spent solvent, disposal of spent abrasives, disposal of vessel wastewaters, spill prevention and control, fueling procedures, general good housekeeping practices, painting and blasting procedures, and used battery management.
5. Preventive Maintenance. As part of the preventive maintenance program, the permittee shall perform timely inspection and maintenance of stormwater management devices (e.g., cleaning oil and water separators and sediment traps to ensure that spent abrasives, paint chips, and solids will be intercepted and retained prior to entering the

storm drainage system), and shall inspect and test facility equipment and systems to uncover conditions that could cause breakdowns or failures resulting in the discharge of pollutants in stormwater.

1. Additional Inspection Requirements. Inspection procedures must be developed according to the standard periodic inspection requirements described in Part III, Section B of this general permit and conducted at least once per month in the following areas:
   1. pressure wash areas;
   2. abrasive blasting, sanding and painting areas;
   3. material storage or handling areas;
   4. engine maintenance or repair areas;
   5. drydock areas; and
   6. the general yard area.

### Benchmark Monitoring Requirements

The following subsections must conduct benchmark monitoring according to the requirements in Part IV of this general permit and conduct evaluations on the effectiveness of the facility SWP3 based on the following benchmark values.

Benchmark sampling is only required for areas of Sector Q facilities where vehicle maintenance (including vehicle rehabilitation, mechanical repairs, painting, fueling, and lubrication) or equipment cleaning activities are performed.

**Table 27. Benchmark Monitoring Requirements for Subsections in Sector Q**

| **SIC Code** | **Description of Industrial Activity** | **Benchmark Parameter** | **Benchmark Value** |
| --- | --- | --- | --- |
| 4412 - 4499 | Water Transportation | Aluminum, total Iron, total  Lead, total  Zinc, total  TSS | 1.2 mg/L  1.3 mg/L  0.010 mg/L  0.16 mg/L  50 mg/L |

## Sector R of Industrial Activity - Ship and Boat Building or Repair Yards

### Description of Industrial Activity

The requirements of this section apply to stormwater discharges from activities identified and described as Sector R. Sector R industrial activities are described by the following SIC codes:

**SECTOR R: SHIP AND BOAT BUILDING OR REPAIRING YARDS**

SIC Codes SIC Code Description

3731, 3732 Ship and Boat Building or Repairing Yards

(See Part II, Section A.1.b for a detailed list of SIC codes)

### Limitations on Coverage

This permit does not authorize the discharge of process wastewater associated with a dry dock activity, bilge and ballast water, sanitary wastes, pressure wash water, or cooling water originating from vessels.

### Allowable Non-Stormwater Discharge

No additional non-stormwater discharges are authorized other than those listed in Part II, Section A.6. of this general permit.

### Additional SWP3 Requirements

1. Site Map. The site map must clearly show the locations of the following activities if the activities are exposed to precipitation or runoff: fueling; engine maintenance and repair; vessel maintenance and repair; pressure washing; painting; sanding; blasting; welding; metal fabrication; loading and unloading areas; locations used for the treatment, storage or disposal of wastes; liquid storage tanks; liquid storage areas (e.g., paint, solvents, resins); and material storage areas (e.g., blasting media, aluminum, steel, and scrap iron).
2. Summary of Potential Pollutant Sources. The SWP3 must list the following additional sources and activities: outdoor manufacturing or processing activities (e.g., welding, metal fabricating) and significant dust or particulate generating processes (e.g., abrasive blasting, sanding, and painting).
3. Good Housekeeping Measures. The permittee must implement the following in addition to the good housekeeping measures described in Part III, Section A.4 of this general permit:
   1. Pressure Washing Area. If pressure washing is used to remove marine growth from vessels, the discharged water must be permitted as a process wastewater by a separate TPDES permit.
   2. Blasting and Painting Area. Minimize the potential for spent abrasives, paint chips, and overspray to discharge into the receiving water or the storm sewer system. When necessary, regularly clean stormwater conveyances of deposits of abrasive blasting debris and paint chips.
   3. Material Storage and Handling Areas. Minimize stormwater contamination from material storage and handling operations and areas. Store and plainly label all containerized materials (e.g., fuels, paints, solvents, waste oil, antifreeze, batteries) in a protected, secure location away from drains. If abrasive blasting is performed, discuss the storage and disposal of spent abrasive materials generated at the facility.
   4. Engine Maintenance and Repair Areas. Minimize the potential for contamination of stormwater from all areas used for engine maintenance and repair.
   5. Drydock Activities. Routinely maintain and clean the drydock to minimize pollutants in stormwater runoff. Address the cleaning of accessible areas of the drydock prior to flooding, and final cleanup following removal of the vessel and raising the dock. Include procedures for cleaning up oil, grease, and fuel spills occurring on the drydock.
4. Employee Training. The permittee shall include the following information, as applicable, in the employee training program: management of used oil and spent solvent, disposal of spent abrasives, disposal of vessel wastewaters, spill prevention and control, fueling procedures, general good housekeeping practices, painting and blasting procedures, and used battery management.
5. Preventive Maintenance. As part of the preventive maintenance program, the permittee shall perform timely inspection and maintenance of stormwater management devices (e.g., cleaning oil and water separators and sediment traps to ensure that spent abrasives, paint chips, and solids will be intercepted and retained prior to entering the storm drainage system), and shall inspect and test facility equipment and systems to uncover conditions that could cause breakdowns or failures resulting in the discharge of pollutants in stormwater.
6. Additional Inspection Requirements. Inspection procedures must be developed according to the standard periodic inspection requirements described in Part III, Section B of this general permit and conducted at least once per month in the following areas:
   1. pressure wash areas;
   2. abrasive blasting, sanding and painting areas;
   3. material storage or handling areas;
   4. engine maintenance or repair areas;
   5. drydock areas; and
   6. the general yard area.

## Sector S of Industrial Activity - Air Transportation Facilities

### Description of Industrial Activity

The requirements of this general permit apply to stormwater discharges from activities identified and described as Sector S. Sector S industrial activities are described by the following SIC codes:

**SECTOR S: AIR TRANSPORTATION**

SIC Codes SIC Code Description

4512 Air Transportation, Scheduled

4513 Air Courier Services

4522 Air Transportation, Nonscheduled

4581 Airports, Flying Fields, and Airport Terminal Services, including aircraft maintenance and fueling

(See Part II, Section A.1.b for a detailed list of SIC codes)

### Covered Stormwater Discharges

1. Permit coverage is only required for stormwater discharges from areas where the following activities are performed at facilities described by the SIC codes listed above: vehicle maintenance (including vehicle rehabilitation, mechanical repairs, painting, fueling, and lubrication), equipment cleaning operations, or deicing operations.

Coverage for stormwater runoff from additional areas of Sector S facilities may be obtained as described in Part V, Section S.2.(b) below.

1. Runoff from materials storage or handling areas.
   1. The permittee may obtain authorization to discharge stormwater under this general permit from additional areas of Sector S facilities where materials, intermediates, or products are stored or handled, and where the discharge from these areas would otherwise require authorization under a TPDES individual permit or alternative general permit. This permit does not authorize the discharge of any process wastewater from material storage or handling areas, including contaminated stormwater.
   2. In order to obtain coverage for any materials storage or handling areas, the permittee shall ensure that the SWP3 addresses these areas and that the SWP3 contains the following additional elements, in addition to those required in Part III of this general permit:
      1. a list of the pollutants that may be present in the material and exposed to precipitation or runoff;
      2. an indication on the site map of all material storage and handling areas that are being included under the MSGP authorization; and
      3. description and implementation of BMPs that specifically address the material that is exposed to rainfall or runoff.
   3. This section does not expand the definition of stormwater associated with industrial activity. If runoff from the materials storage and handling areas are not subject to TPDES wastewater permitting, then the SWP3 is not required to address these areas.

### Definitions

The following definitions apply only to Sector S of this general permit:

**Aircraft Deicing Fluid. (ADF)** A fluid (other than hot water) applied to aircraft to remove or prevent any accumulation of snow or ice on the aircraft. This includes deicing and anti-icing fluids.

**Centralized Deicing Pad.** A facility on an airfield designed for aircraft deicing operations, typically constructed with a drainage system separate from the airport main storm drain system.

**Deicing.** Procedures and practices to remove or prevent any accumulation of snow or ice on an aircraft or airfield pavement.

**Heating Degree Day**. The number of degrees per day the daily average temperature is below 65 degrees Fahrenheit. The daily average temperature is the mean of the maximum and minimum temperature for a 24-hour period. The annual heating degree day value is derived by summing the daily heating degree days over a calendar year period.

**Primary Airport**. An airport defined at 49 U.S.C. 47102 (15).

### Limitations on Permit Coverage

1. This permit only authorizes stormwater discharges from those portions of a Sector S facility that are involved in vehicle maintenance (including vehicle rehabilitation, mechanical repairs, painting, fueling, and lubrication), equipment cleaning operations, or deicing operations.
2. Prohibition of Non-Stormwater Discharges. This general permit does not authorize the discharge of wastewater associated with washing aircraft, ground vehicles, runways, or equipment; or the dry weather discharge of deicing chemicals. If these discharges occur, they must be authorized under an alternative TPDES or permit or disposed by another authorized means, and the disposal mechanism described in the SWP3.
3. A discharge resulting from snowmelt is not a dry weather discharge.

### Additional SWP3 Requirements

1. Site Map. The site map must include the following information:
   1. aircraft and runway deicing operations;
   2. fueling stations;
   3. aircraft, ground vehicle and equipment maintenance/cleaning areas;
   4. storage areas for aircraft, ground vehicles and equipment awaiting maintenance; and
   5. the location of each tenant at the site that conducts industrial activity subject to coverage under this section of this general permit.
2. Potential Pollutant Sources.
   1. The SWP3 must list the following additional sources and activities: maintenance and cleaning of aircraft, runways, ground vehicles, and equipment; and deicing of aircraft and runways (including apron and centralized aircraft deicing stations, runways, taxiways and ramps).
   2. The SWP3 must include a record of the types and monthly quantities of deicing chemicals that the permittee uses (including the Material Safety Data Sheets MSDS) used and the monthly quantities. This requirement applies for all deicing chemicals, in addition to glycols and urea (e.g., potassium acetate). If the airport authority, tenants, and other Fixed-Based Operators (FBOs) share an SWP3, then the tenants and FBOs that conduct deicing operations must provide the above information to the airport authority.
3. Good Housekeeping Measures. This section of the SWP3 must describe specific measures where determined to be practicable and that accommodate considerations of safety, space, operational constraints, and flight considerations (list not exclusive), to prevent or minimize contamination of stormwater from areas used for the maintenance, fueling, or cleaning of equipment, aircraft, and other vehicles, and for areas where aircraft deicing and anti-icing activities occur. The following requirements must be addressed in the SWP3 and are in addition to the requirements of Part III, Sections A.4. and A.5. of this general permit:
   1. Aircraft, Ground Vehicle and Equipment Maintenance Areas. Minimize the potential for stormwater contamination from areas used for the maintenance of aircraft, ground vehicles, and equipment (including the maintenance conducted on the terminal apron and in dedicated hangers).
   2. Aircraft, Ground Vehicle and Equipment Cleaning Areas. Clearly demarcate aircraft, ground vehicle and equipment cleaning areas on the ground using signage or other appropriate means. Minimize the potential for contamination of stormwater runoff from these areas.
   3. Aircraft, Ground Vehicle and Equipment Storage Areas. Store all aircraft, ground vehicles and equipment awaiting maintenance in designated areas only. Minimize the potential for contamination of stormwater runoff from these storage areas.
   4. Material Storage Areas. Minimize the potential for stormwater contamination from materials storage areas. Maintain in good condition and plainly label any containers of stored materials (e.g., used oils, hydraulic fluids, spent solvents, and waste aircraft fuel).
   5. Source Reduction. Minimize, and where feasible eliminate, the use of urea and glycol-based deicing chemicals, in order to reduce the aggregate amount of deicing chemicals used or lessen the environmental impact.
   6. Runway Deicing Operation. Minimize the potential for stormwater contamination from runways as a result of deicing operations by evaluating and adjusting as necessary the application rates of deicing materials, consistent with considerations of flight safety.
   7. Aircraft Deicing Operations. The permittee shall evaluate the application rates for deicing chemicals, and adjust as necessary, consistent with considerations of flight safety, to help minimize contamination of stormwater runoff from aircraft deicing operations.
   8. Deicing Season. Identify the de-icing season by determining the seasonal timeframe (e.g., December- February, October - March) during which deicing activities typically occur at the facility. Implementation of control measures, including any BMPs, facility inspections and monitoring must be conducted with particular emphasis throughout the defined deicing season. If the deicing chemical usage thresholds of 100,000 gallons glycol or 100 tons of urea are met, the identified deicing season is the timeframe during which the required benchmark monitoring must be conducted. (See the benchmark monitoring requirements for this sector, below.)
4. Structural Controls. Operators that conduct deicing or anti-icing activities shall select controls, where determined to be practicable and that accommodate considerations of safety, space, operational constraints, and flight considerations (list not exclusive), to capture and contain chemicals used in this activity. Containing activities to specific areas where runoff may be captured and either treated, hauled away for disposal or disposed of to the sanitary sewer must be considered, where determined to be practicable and that accommodate considerations of safety, space, operational constraints, and flight considerations (list not exclusive). A narrative description of these considerations, including a rationale for why certain alternatives were either chosen or rejected, must be incorporated as an element of the SWP3.
5. Shared SWP3s. Airport authorities and airport tenants are encouraged to work in partnership to develop and implement a SWP3. Tenants of the airport facility include air passenger or cargo companies, fixed based operators, and other parties who have contracts with the airport authority to conduct business operations on airport property and whose operations result in stormwater discharges associated with industrial activity. Even with a shared SWP3, each entity at an airport that meets the applicability requirements of this permit is required to obtain permit coverage.
6. Best Management Practices. Facilities that conduct deicing or anti-icing operations must evaluate operating procedures on an annual basis to consider alternative practices, where determined to be practicable and that accommodate considerations of safety, space, operational constraints, and flight considerations (list not exclusive), that may reduce the overall amount of chemical used, or otherwise lessen the environmental impact of the pollutant. This annual review must include a consideration of alternative chemicals for this use. The SWP3 must include a narrative discussion of the annual alternative practices review that includes the rationale for changes in practices or the decision to retain existing practices. BMPs must be developed and implemented to ensure against over application of chemicals used as a part of deicing and anti-icing operations.
7. Additional Inspection Requirements.
   1. Routine Facility Inspections. Inspection procedures must be developed according to the standard periodic inspection requirements described in Part III, Section B.2. of this general permit and conducted at least once per week during deicing or anti-icing activities in the areas where these operations take place, if accessible. Records of weekly inspections, when they occur, must be maintained.
   2. Comprehensive Site Inspections. Conduct the annual site inspection using only qualified personnel, during periods of actual deicing operations, if possible. If not practicable during active deicing because of weather, conduct the inspection during the season when deicing operations occur and the materials and equipment for deicing are in place.

### Numeric Effluent Limitations

The following numeric effluent limitations, based upon guidelines from Airport Deicing Point Source Category, 40 CFR Part 449, apply to any stormwater runoff from airport and airfield deicing activities at primary airports. The limitations must be met at the location where the effluent leaves the onsite treatment system utilized for meeting these requirements and before commingling with any non-deicing discharges.

1. For new and existing primary airports with 1,000 or more jet departures per year, the following requirements apply:
   1. Airfield Pavement Deicing. The discharge from airfield pavement deicers containing urea is not allowed. This requirement must be met by either:
      1. Certifying annually that the airfield deicing products do not contain urea; or
      2. Each discharge point must be monitored and meet the following numeric effluent limitations:

**Table 28. Numeric Effluent Limitations for New and Existing Sector S Facilities with Airfield Deicing**

|  |  |  |
| --- | --- | --- |
| **Industrial Activity** | **Parameter** | **Daily Maximum1** |
| Airfield Pavement Deicing | Ammonia- Nitrogen | 14.7 mg/L |

1Sample Frequency: Once per day during deicing activities

1Sample Type: Grab

* 1. Aircraft Deicing.
     1. Existing Airports: There are no requirements for existing airports regardless of number of jet (non-propeller aircraft) departures per year.
     2. New Airports with less than 1,000 jet (non-propeller aircraft) departures per year: There are no requirements.
     3. New primary airports with 1,000 and more jet (non-propeller aircraft) departures per year, 10,000 or more departures annually, and 3,000 or more heating degree days (annual), have the following requirements:
        + 1. At least 60% of available aircraft deicing fluid (ADF) must be collected; and
          2. The discharge must meet the numeric effluent limitations below. The effluent limitation must be met at the location where the effluent leaves the onsite treatment system utilized for meeting these requirements and before commingling with any non-deicing discharges.

**Table 29. Numeric Effluent Limitations for new Sector S Facilities with Aircraft Deicing**

|  |  |  |  |
| --- | --- | --- | --- |
| **Industrial Activity** | **Parameter** | **Daily Maximum1** | **Weekly Average** |
| Aircraft Deicing | COD | 271 mg/L | 154 mg/L |

1Sample Frequency: Once per day during deicing activities

1Sample Type: See 40 CFR Part 449, Appendix A Sampling Protocol for Soluble COD

1. General Requirements for the Implementation of Numeric Effluent Limitations Established in Section S. (6)(a) above.

The permittee shall demonstrate compliance with the ADF collection, reporting, and record keeping requirements described in Part V. Section S.6.(a) above.

* 1. The permittee shall maintain records to demonstrate, and certify annually, that it is operating and maintaining one or more centralized deicing pads. This technology shall be operated and maintained according to the technical specifications as follows:
     1. Each centralized deicing pad shall be sized and sited in accordance with all applicable Federal Aviation Administration (FAA) advisory circulars.
     2. Drainage valves associated with the centralized deicing pad shall be activated before deicing activities commence, to collect available ADF.
     3. The centralized deicing pad and associated collection equipment shall be installed and maintained per any applicable manufacturers' instructions, and shall be inspected, at a minimum, at the beginning of each deicing season to ensure that the pad and associated equipment are in working condition.
     4. All aircraft deicing shall take place on a centralized deicing pad, with the exception of defrosting and deicing for safe taxiing.
  2. Alternative technology or specifications. This general permit may allow one of the following alternative procedures for demonstrating compliance with its collection requirement, instead of the procedure mentioned above in Part V. Section S.6.(b)(1)(a-d) of the section above.
     1. Using a different ADF collection technology from the centralized deicing pad technology specified in Part V. Section S.6.(b)(1)(a-d) of this section; or
     2. Using the same ADF collection technology, but with different specifications for operation and/or maintenance.
  3. The permittee shall collect and maintain on site during the term of the permit, up to five years of records of the annual volume of ADF used.

1. Monitoring and Sampling

Monitoring and sampling for COD and Ammonia shall be conducted at a location where the effluent leaves the on-site treatment system and prior to commingling with non-deicing waste streams.

1. Recordkeeping

The permittee shall maintain onsite records for five years of the following documentation:

* + - 1. Wastewater samples collected and analyzed;
      2. Certifications;
      3. Equipment maintenance schedules and agreement; and
      4. If using volumes of ADF applied/collected, records of these amounts.

1. Additional SWP3 Requirements.

The following SWP3 requirements must be conducted in addition to those listed in Part V. S.5. Permittees shall document and describe the following:

1. Number of jet departures and deicing operations at the airport.
2. Type of deicing chemicals used and keep deicing activity log.
3. Method of ADF collection.
4. Compliance with 60% ADF collection requirements, as applicable.
5. Monitoring and frequencies of sampling.

### Benchmark Monitoring Requirements

1. Benchmark monitoring is only required for permittees conducting deicing activities that have used more than 100 tons of urea, or more than 100,000 gallons of glycol-based chemicals on an average annual basis. These volumes of deicing materials refer to the combined activities and usage at the airport as a whole, and not independently to each carrier or operator.
   1. Benchmark monitoring is required of all permittees who used urea or glycol-based deicing chemicals at an airport where the total amount used at the airport meets the criteria listed in this section. Benchmark sampling is not required of a permittee who does not use the listed chemicals, even if the airport did meet the volume criteria that trigger benchmark monitoring.
   2. Benchmark sampling is required at all outfalls that discharge runoff from areas where deicing with urea or glycol-based deicing chemicals is performed at an

airport where the total amount used at the airport as a whole meets the criteria listed above.

* 1. For those permittees required to conduct benchmark monitoring, the total number of benchmark samples required for the year must be collected during the deicing season when deicing activities are occurring.

1. The following subsector must conduct benchmark monitoring according to the requirements in Part IV of this general permit and conduct evaluations on the effectiveness of the facility SWP3 based on the following benchmark values:

**Table 30. Benchmark Monitoring Requirements for Subsections in Sector S**

| **SIC Code** | **Description of Industrial Activity** | **Benchmark Parameter** | **Benchmark Value** |
| --- | --- | --- | --- |
| 4512 - 4581 | Airport Transportation Facilities with Deicing Activities\* | COD  Ammonia-Nitrogen pH | 60 mg/L  1.7 mg/L  6.0-9.0 S.U. |

\**For airports where a single permittee, or a combination of permitted facilities use more than 100,000 gallons of pure glycol in glycol-based deicing fluids and / or 100 tons or more of urea on an average annual basis.*

## Sector T of Industrial Activity - Treatment Works

### Description of Industrial Activity

The requirements of this general permit apply to stormwater discharges from activities identified and described as Sector T. Sector T industrial activities are described by the following Industrial Activity Code:

**SECTOR T: TREATMENT WORKS**

Activity Codes and SIC Code Description

TW Certain Wastewater Treatment Plants

### Covered Stormwater Discharges

The requirements of this general permit apply to stormwater discharges from domestic wastewater treatment plants with a design flow of 1.0 million gallons per day or more that treat, store, recycle, or reclaim domestic sewage, wastewater or sewage sludge (including dedicated lands for sewage sludge disposal located within the onsite property boundaries); or that are required to have an approved pretreatment program (under 40 CFR Part 403).

### Limitations on Permit Coverage

1. Prohibition of Wastewater Discharges. The discharge of sanitary wastewater, industrial wastewater, equipment and vehicle wash water, or other wastewater is not authorized by this permit.
2. Discharge to Wastewater Plant Headworks. Facilities that route all stormwater runoff to the wastewater treatment facility headworks in accordance with an individual TPDES permit are not required to obtain additional coverage through this general permit.

### Additional SWP3 Requirements

The following SWP3 requirements must be conducted in addition to those listed in Part III of this general permit:

1. Employee Training. At a minimum, training must address the following areas when applicable to a facility: petroleum product management; process chemical management; spill prevention and controls; fueling procedures; general good housekeeping practices; and proper procedures for using fertilizer, herbicides, and pesticides. These requirements are in addition to the training requirements listed in Part III, Section A.4.(f) of this permit.
2. Site Map. The permittee shall document in the SWP3 where any of the following may be exposed to precipitation or surface runoff: grit, screenings, and other solids handling, storage, or disposal areas; sludge drying beds; dried sludge piles; compost piles; septage or hauled waste receiving station; and storage areas for process chemicals, petroleum products, solvents, fertilizers, herbicides, and pesticides.
3. Potential Pollutant Sources. The permittee shall document in the SWP3 the following additional sources and activities that have potential pollutants associated with them, if present at the site: grit, screenings, and other solids handling, storage, or disposal areas; sludge drying beds; dried sludge piles; compost piles; septage or hauled waste receiving station; and access roads and rail lines.
4. Wastewater and Wash Water Requirements. The permittee shall either retain a copy, or reference the location where a copy is located, of all current TPDES permits issued for wastewater and industrial, vehicle and equipment wash water discharges for the facility in the SWP3. If a TPDES permit has not yet been issued, a copy of the pending application(s) must also be kept or referenced in the SWP3. If the wastewater or wash water is handled in another manner, then the SWP3 must describe the disposal method and all pertinent documentation must be retained onsite.
5. Additional Inspection Requirements. In addition to the information that must be included in the inspections required in Part III of this permit, the following areas must be inspected as well: access roads and rail lines; grit, screenings, and other solids handling, storage, or disposal areas; sludge drying beds; dried sludge piles; compost piles; and septage or hauled waste receiving station.

### Benchmark Monitoring Requirements

The following subsections must conduct benchmark monitoring according to the requirements in Part IV of this general permit and conduct evaluations on the effectiveness of the facility SWP3 based on the following benchmark values:

**Table 31. Benchmark Monitoring Requirements in Subsections in Sector T**

| **Activity Code** | **Description of Industrial Activity** | **Benchmark Parameter** | **Benchmark Value** |
| --- | --- | --- | --- |
| TW | Certain Wastewater Treatment Plants | BOD5 | 15 mg/L |

## Sector U of Industrial Activity - Food and Kindred Products Facilities

### Description of Industrial Activity

The requirements under this section apply to stormwater discharges from activities identified and described as Sector U. Sector U industrial activities are described by the following SIC codes:

**SECTOR U: FOOD AND KINDRED PRODUCTS FACILITIES**

SIC Codes SIC Code Description

2011 – 2015 Meat Products

2021 – 2026 Dairy Products

2032 - 2038 Canned, Frozen and Preserved Fruits, Vegetables and Food Specialties

2041 - 2048 Grain Mill Products

2051 - 2053 Bakery Products

2061 - 2068 Sugar and Confectionery Products

2074 - 2079 Fats and Oils

2082 - 2087 Beverages

2091 - 2099 Miscellaneous Food Preparations and Kindred Products

2111 - 2141 Tobacco Products

(See Part II, Section A.1.b for a detailed list of SIC codes)

### Limitations on Coverage

Prohibition of Wastewater Discharges. The following discharges are not authorized by this permit: boiler blowdown, cooling tower overflow and blowdown, ammonia refrigeration purging, and vehicle washing and clean-out operations.

### Additional SWP3 Requirements

Employee Training Program and Employee Education. The program must include training in pest control application procedures and chemical storage procedures.

Inventory of Exposed Materials. The inventory must include a list of the pesticides, rodenticides, herbicides, and fungicides applied or stored on the facility property.

Narrative Description. A narrative description of all activities and potential sources of pollutants that may reasonably be expected to add significant amounts of pollutants to stormwater discharges from pest control and chemical storage procedures must be included.

Site Map. The site map must clearly show the location of vent stacks for cooking, drying, and similar operations, dry product vacuum transfer lines; animal holding pens; spoiled product and broken product container storage areas; and any other processing or storage areas exposed to stormwater.

Best Management Practices. This section of the SWP3 must include BMPs for cleaning procedures for vent hoods, storage and baking racks, bins and refuse containers, and other similar cleaning activities, to ensure that cleaning these items does not contribute pollutants to stormwater runoff.

### Benchmark Monitoring Requirements

The following subsections must conduct benchmark monitoring according to the requirements in Part IV of this general permit and conduct evaluations on the effectiveness of the facility SWP3 based on the following benchmark values:

**Table 32. Benchmark Monitoring Requirements in Subsections in Sector U**

| **SIC Code** | **Description of Industrial Activity** | **Benchmark Parameter** | **Benchmark Value** |
| --- | --- | --- | --- |
| 2041-2048 | Grain Mill Products | TSS | 50 mg/L |
| 2074-2079 | Fats and Oils | COD  Nitrate + Nitrite N TSS | 60 mg/L  0.68 mg/L  50 mg/L |

## Sector V of Industrial Activity - Textile Mills, Apparel, and Other Fabric Product Manufacturing Facilities

### Description of Industrial Activity

The requirements under this section apply to stormwater discharges from activities identified and described as Sector V. Sector V industrial activities are described by the following SIC codes:

**SECTOR V: TEXTILE MILLS, APPAREL, AND OTHER FABRIC PRODUCT MANUFACTURING FACILITIES**

SIC Codes Description of the Industrial Activity

2211 – 2299 Textile Mill Products

2311 – 2399 Apparel and Other Finished Products Made From Fabrics and Similar Materials

3131 – 3199 Leather and Leather Products, except Leather Tanning and Finishing (See Sector Z)

(See Part II, Section A.1.b for a detailed list of SIC codes)

### Limitations on Coverage

Prohibition of Wastewater Discharges. The following discharges are not allowed under this general permit: wastewater resulting from wet processing or from any processes relating to the production; reused or recycled water; and waters used in cooling towers. These types of discharges must be authorized under a separate TPDES permit or other authorized means.

### Additional SWP3 Requirements

1. The permittee shall minimize the discharge of pollutants from the following areas:
   1. Material handling areas. The permittee shall plainly label and store all containerized materials (e.g., fuels, petroleum products, solvents, and dyes) in a protected area and away from drains, and shall minimize the potential for stormwater to contact such storage areas. When storing empty chemical drums or containers, the permittee shall ensure that the drums and containers are clean and

that there is no contact of residuals with precipitation or runoff, and shall properly collect and dispose of wash water from drum and container cleanings.

* 1. Material storage areas
  2. Fueling areas.
  3. Above-Ground Storage Tank areas, including the associated piping and valves.

1. Employee Training. Employee training must include the following activities, as applicable:
   1. use of reused and recycled waters;
   2. solvents management, proper disposal of dyes;
   3. spill prevention and control;
   4. fueling procedures; and
   5. management and proper disposal of any solvents, petroleum products, spent lubricants, dyes, and other chemicals used at the facility.
2. Narrative Description. The SWP3 must include a narrative description of all activities and potential sources of pollutants that may reasonably be expected to add significant amounts of pollutants to stormwater discharges from industry specific activities in the SWP3 and including the following: backwinding; beaming; bleaching; backing; bonding carbonizing; carding; cut and sew operations; desizing; drawing; dyeing; flocking; fulling; knitting; mercerizing; opening; packing; plying; scouring; slashing; spinning; synthetic-felt processing; textile waste processing; tufting; turning; weaving; web forming; winging; yarn spinning; and yarn texturing.
3. Spill Prevention and Response Measures. The SWP3 must include measures to inspect, evaluate, and replace connections, valves, transfer lines and pipes that carry chemicals, dyes, or waste. All chemicals must be stored in a protected area, away from drains, and clearly labeled.
4. The SWP3 must include specific measures to prevent or minimize contamination of stormwater runoff from above ground storage tank areas.
5. Routine Facility Inspections. Inspection procedures must be developed according to the standard periodic inspection requirements described in Part III, Section B.2. of this general permit, but must be conducted at least once per month in material storage areas, material transfer lines and areas, spill prevention, good housekeeping practices, management of process waste products, and all structural and non-structural management practices.

## Sector W of Industrial Activity - Wood and Metal Furniture and Fixture Manufacturing Facilities

### Description of Industrial Activity

The requirements under this section apply to stormwater discharges from activities identified and described as Sector W. There are no additional requirements under this section that apply to stormwater discharges from activities identified and described as Sector W. Sector W industrial activities are described by the following SIC codes:

**SECTOR W: FURNITURE AND FIXTURES**

SIC Codes SIC Code Description

2434 Wood Kitchen Cabinets

2511 – 2599 Furniture and Fixtures

(See Part II, Section A.1.b for a detailed list of SIC codes)

## Sector X of Industrial Activity - Printing and Publishing Facilities

### Description of Industrial Activity

The requirements under this section apply to stormwater discharges from activities identified and described as Sector X. Sector X industrial activities are described by the following SIC codes:

**SECTOR X: PRINTING AND PUBLISHING**

SIC Codes SIC Code Description

2711 – 2796 Printing, Publishing, and Allied Industries

(See Part II, Section A.1.b for a detailed list of SIC codes)

### Covered Stormwater Discharges

Facilities described by any of the SIC codes listed above, that conduct publishing or designing activities without printing, are designated for coverage under this general permit and are not required to submit an NOI for coverage nor an NEC for a no exposure exclusion. These facilities must comply with the following permit requirements and are not subject to additional requirements that are listed in this permit:

1. The facility must maintain conditions that ensure there is no exposure of industrial activities to stormwater; and
2. The facility operator must comply with the requirements of Part III, Section E. of this general permit, related to Standard Permit Conditions, except that the operator is not required to submit an NOI or NEC form, prepare a SWP3, or conduct analytical monitoring.

The facility operator must apply for coverage if either of the requirements listed above are not met. If the TCEQ determines that additional controls are required other than those listed above, or if there is a concern regarding the discharge of elevated levels of pollutants, then the TCEQ may require a facility described by SIC codes 2711 – 2796 and that does not have any printing activities to obtain coverage and meet all permit conditions through submittal of an NOI or an individual permit application.

### Additional SWP3 Requirements

1. Spill Prevention and Response Measures.
   1. The spill prevention and response measures section of the SWP3 must include measures to inspect, evaluate, and replace connections, valves, transfer lines, and pipes that carry chemicals or wastes.
   2. All chemicals (e.g., fuels, solvents, dyes, inks) must be stored in a protected area, away from drains, and clearly labeled.
   3. The SWP3 must include specific measures to prevent or minimize contamination of stormwater runoff from above ground storage tank areas and fueling areas.
2. Material Storage Areas. The permittee shall minimize the discharge of pollutants from storage areas for containerized materials (e.g., skids, pallets, solvents, bulk inks, hazardous waste, empty drums, portable and mobile containers of plant debris, wood crates, steel racks, and fuel oil). These materials must be plainly labeled and stored in a protected area, away from drains.
3. The SWP3 must include a narrative description of all activities and potential sources of pollutants that may reasonably be expected to add significant amounts of pollutants to stormwater discharges from industry specific activities, including blanket wash and solvent mixing operations in the SWP3 as well as the containment area(s) or enclosures for materials that are stored outdoors.
4. Material Handling Area. Minimize contamination of stormwater runoff from material handling operations and areas (e.g., blanket wash, mixing solvents, loading and unloading materials). Consider the following (or their equivalents): using spill and overflow protection, covering fueling areas, and covering or enclosing areas where the transfer of materials may occur. When applicable, address the replacement or repair of leaking connections, valves, transfer lines, and pipes that may carry chemicals or wastewater.
5. Employee Training. The program must include training in the management and disposal of any solvents, other petroleum products, dyes, other chemicals used at the facility, and general good housekeeping practices. These requirements are in addition to the SWP3 requirements in Part III, Section A.4 of this permit.

## Sector Y of Industrial Activity - Rubber and Miscellaneous Plastic Products, and Miscellaneous Manufacturing Facilities

### Description of Industrial Activity

The requirements under this section apply to stormwater discharges from activities identified and described as Sector Y. Sector Y industrial activities are described by the following SIC codes:

**SECTOR Y: RUBBER, MISCELLANEOUS PLASTIC PRODUCTS, AND MISCELLANEOUS MANUFACTURING FACILITIES**

SIC Codes SIC Code Description

3011 Tires and Inner Tubes

3021 Rubber and Plastics Footwear

3052, 3053 Gaskets, Packing, and Sealing Devices and Rubber and Plastics Hose and Belting

3061, 3069 Fabricated Rubber Products, Not Elsewhere Classified

3081 – 3089 Miscellaneous Plastics Products

3931 Musical Instruments

3942 – 3949 Dolls, Toys, Games and Sporting and Athletic Goods

3951 – 3955, except 3952 (see Sector C) - Pens, Pencils, and Other Artists' Materials (except certain inks and paints as specified in Sector C)

3961, 3965 Costume Jewelry, Costume Novelties, Buttons, and Miscellaneous Notions, Except Precious Metal

3991 – 3999 Miscellaneous Manufacturing Industries

(See Part II, Section A.1.b for a detailed list of SIC codes)

### Additional SWP3 Requirements

1. Narrative Description. The SWP3 must include a narrative description that includes a review of the use of any zinc at the facility and possible pathways where zinc could contaminate stormwater runoff.
2. Good Housekeeping Measures. This section of the SWP3 must include specific measures to minimize potential exposure of pollutants to stormwater. The permittee shall implement BMPs for the control of pollutants at rubber, miscellaneous plastic products, and miscellaneous manufacturing facilities, to prevent the discharge of pollutants in stormwater. Pollutant sources that need to be addressed include activities such as: outdoor material unloading/loading, outdoor material storage, waste management, particulate emission management, material storage, dumpsters, dust collectors or baghouses, grinding operations, zinc stearate coating operations, management, education and training, equipment and facilities, operations, good housekeeping, packaging, shipping, recycling, and waste disposal.
   1. Rubber Manufacturing: The operator of a rubber manufacturing facility shall minimize or prevent the discharge of zinc in stormwater runoff. All rubber manufacturing facilities must include specific BMPs and controls to minimize the contamination of stormwater from the handling and storage of zinc. Potential sources of zinc must be identified and the accompanying BMPs must be evaluated and incorporated into the SWP3 and implemented at the facility (as appropriate);
      1. zinc bags must be stored indoors;
      2. the permittee shall ensure headspace in containers to minimize “puffing” losses when the containers are opened;
      3. where feasible, the permittee shall ensure that there is no exposure of waste disposal dumpsters to stormwater (e.g., store indoors or provide a cover and liner for the dumpster);
      4. repair or replace improperly operating dust collectors and baghouses, as appropriate;
      5. minimize dust generation from rubber grinding operations;
      6. reduce the possible contamination of stormwater by drips and spills of zinc stearate slurry; and
      7. identify specific measures for zinc spill cleanup so that the cleanup may be completed without washing the spill into the storm drain.
   2. Plastics Manufacturing: The operator of a plastic products manufacturing facility shall prevent the possibility of discharging plastic materials, including at a

minimum virgin and recycled plastic resin pellets, powders, flakes, powdered additives, regrind, scrap, waste, and recycling material, in stormwater discharges from the facility by implementing control measures (or their equivalents). The control measures must include: minimizing spills, cleaning up of spills promptly and thoroughly, sweeping and/or vacuuming thoroughly, capturing pellets, implementing a containment system, designed to trap particles retained, at each on-site storm drain discharge location down gradient of areas containing plastic materials, employee education and training, and using precautions for proper disposal.

### Benchmark Monitoring Requirements

The following subsections must conduct benchmark monitoring according to the requirements in Part IV of this general permit and conduct evaluations on the effectiveness of the facility SWP3 based on the following benchmark values:

**Table 33. Benchmark Monitoring Requirements for Subsections in Sector Y**

| **SIC Code** | **Description of Industrial Activity** | **Benchmark Parameter** | **Benchmark Value** |
| --- | --- | --- | --- |
| 3011 | Tires and Inner Tubes | Zinc, total | 0.16 mg/L |
| 3021 | Rubber and Plastics Footwear | Zinc, total | 0.16 mg/L |
| 3052, 3053 | Gaskets, Packing, and Sealing Devices; and Rubber and Plastics Hose and Belting | Zinc, total | 0.16 mg/L |
| 3061 | Molded, Extruded, and Lathe-Cut Mechanical Rubber Goods | Zinc, total | 0.16 mg/L |
| 3069 | Fabricated Rubber Products, Not Elsewhere Classified | Zinc, total | 0.16 mg/L |

## 

## Sector Z of Industrial Activity - Leather Tanning and Finishing Facilities

### Description of Industrial Activity

The requirements under this section apply to stormwater discharges from activities identified and described as Sector Z. Sector Z industrial activities are described by the following SIC codes:

**SECTOR Z: LEATHER TANNING AND FINISHING**

SIC Codes SIC Code Description

3111 Leather Tanning and Finishing

(See Part II, Section A.1.b for a detailed list of SIC codes)

### Additional SWP3 Requirements

1. Drainage Area Site Map. The drainage area site map must clearly show the location of the following activities, if these activities are exposed to stormwater: processing and storage areas of the beam house, tan yard and re-tan wet and dry finishing operations; haul roads; access roads; and rail spurs.
2. Potential Pollutant Sources. Document the following sources and activities that have potential pollutants associated with them in the SWP3 (as appropriate): temporary or permanent storage of fresh and brine-cured hides; extraneous hide substances and hair; leather dust, scraps, trimmings, and shavings.
3. Good Housekeeping Measures. The following requirements are in addition to the requirements in Part III, Section A.4. of this general permit, related to Pollution Prevention Measures and Controls. The permittee shall minimize the contact of stormwater from the following areas or materials, in order to reduce the potential to discharge contaminated stormwater:
   1. Storage areas for raw, semi-processed, or finished tannery by-products, including pallets and bales of raw, semi-processed or finished tannery by-products.
   2. Buffing and shaving areas.
   3. Receiving, unloading, and storage areas, if these areas are exposed.
   4. Outdoor storage of contaminated equipment.
   5. Waste Management Areas.
4. Labeling. The permittee shall also label storage containers of all materials (e.g., specific chemicals, hazardous materials, spent solvents, waste materials).

## Sector AA of Industrial Activity - Fabricated Metal Products Facilities

### Description of Industrial Activity

The requirements under this section apply to stormwater discharges from activities identified and described as Sector AA. Sector AA industrial activities are described by the following SIC codes:

**SECTOR AA: FABRICATED METAL PRODUCTS FACILITIES**

SIC Code SIC Code Description

3411 – 3499 Fabricated Metal Products, Except Machinery and Transportation Equipment

3911 – 3915 Jewelry, Silverware, and Plated Ware

(See Part II, Section A.1.b for a detailed list of SIC codes)

### Pollution Prevention Measures and Controls

The following requirements are in addition to the requirements listed in Part III of this general permit.

1. Good Housekeeping Measures. In addition to the Pollution Prevention Measures and Controls SWP3 requirements in Part III, Section A.4. of this general permit, the permittee must implement the following control measures, and must document in the SWP3 the measures being used for each measure. This section of the SWP3 must also define practices to prevent or minimize exposure of stormwater to metal fines and iron dust, solvents and paints, and also from sand where sandblasting operations are conducted.
   1. Raw Steel Handling Storage. Minimize the generation of or recover and properly manage scrap metals, fines, and iron dust. Include measures for containing materials within storage handling areas.
   2. Paints and Painting Equipment. Minimize exposure of paint and painting equipment to stormwater.
2. Spill Prevention and Response Procedures. Ensure that the necessary equipment to implement a cleanup is available to personnel by addressing the following areas:
   1. Metal Fabricating Areas. Maintain clean, dry, orderly conditions in these areas.
   2. Storage Areas for Raw Metal. Keep these areas free of conditions that could cause, or impede appropriate and timely response to, spills or leakage of materials.
   3. Metal Working Fluid Storage Areas. Minimize the potential for stormwater contamination from storage areas for metal working fluids.
   4. Cleaners and Rinse Water. Control and clean up spills of solvents and other liquid cleaners, control sand buildup and disbursement from sand-blasting operations, and prevent exposure of recyclable wastes. Substitute environmentally benign cleaners when possible.
   5. Lubricating Oil and Hydraulic Fluid Operations. Minimize the potential for stormwater contamination from lubricating oil and hydraulic fluid operations. Consider using monitoring equipment or other devices to detect and control leaks and overflows. Consider installing perimeter controls such as dikes, curbs, grass filter strips, or equivalent measures.
   6. Chemical Storage Areas. Minimize stormwater contamination and accidental spillage in chemical storage areas. Include a program to inspect containers and identify proper disposal methods.
3. Additional SWP3 Requirements
   1. Site Map. Document in the SWP3 where any of the following may be exposed to stormwater: raw metal storage areas; finished metal storage areas; scrap disposal collection sites; equipment storage areas; retention and detention basins; temporary and permanent diversion dikes or berms; right-of-way or perimeter diversion devices; sediment traps and barriers; processing areas, including outside painting areas; wood preparation; recycling; and raw material storage.
   2. Potential Pollutant Sources. Document in the SWP3 the following additional sources and activities that have potential pollutants associated with them: loading and unloading operations for paints, chemicals, and raw materials; outdoor storage activities for raw materials, paints, empty containers, corn cobs, chemicals, and scrap metals; outdoor manufacturing or processing activities such as grinding, cutting, degreasing, buffing, and brazing; onsite waste disposal practices for spent solvents, sludge, pickling baths, shavings, ingot pieces, and refuse and waste piles.
4. Additional Inspection Requirements
   1. Inspection procedures must be developed according to the standard periodic inspection requirements described in Part III, Section B. of this general permit and conducted at least once per quarter in the following areas:
      1. raw metal storage areas;
      2. finished product storage areas;
      3. material and chemical storage areas;
      4. recycling areas;
      5. loading and unloading areas;
      6. equipment storage areas;
      7. paint areas; and
      8. vehicle fueling and maintenance areas.
   2. Comprehensive Site Inspections. As part of the annual comprehensive site compliance evaluation in Part III, Section B.5., the permittee must inspect areas associated with the storage of raw metals, spent solvents and chemicals storage areas, outdoor paint areas, and drainage from roof. Potential pollutants include chromium, zinc, lubricating oil, solvents, aluminum, oil and grease, methyl ethyl ketone, steel, and related materials.

### Benchmark Monitoring Requirements

The following subsections must conduct benchmark monitoring according to the requirements in Part IV of this general permit and conduct evaluations on the effectiveness of the facility SWP3 based on the following benchmark values:

**Table 34. Benchmark Monitoring Requirements for Subsections in Sector AA**

| **SIC Code** | **Description of Industrial Activity** | **Benchmark Parameter** | **Benchmark Value** |
| --- | --- | --- | --- |
| 3411-3499\*  3911-3915 | Fabricated Metal Products Except Coating | Aluminum, total Iron, total  Zinc, total  Nitrate + Nitrite N TSS | 1.2 mg/L  1.3 mg/L  0.16 mg/L  0.68 mg/L  50 mg/L |
| 3479 | Fabricated Metal Coating and Engraving | Zinc, total  Nitrate + Nitrite N | * 1. mg/L   0.68 mg/L |

\**Except SIC 3479*

## Section AB. Sector AB of Industrial Activity - Transportation Equipment and Industrial or Commercial Machinery Manufacturing Facilities

### Description of Industrial Activity

The requirements under this section apply to stormwater discharges from activities identified and described as Sector AB. Sector AB industrial activities are described by the following SIC codes:

**SECTOR AB: TRANSPORTATION EQUIPMENT, INDUSTRIAL OR COMMERCIAL MACHINERY MANUFACTURING FACILITIES**

SIC Codes Description of the Industrial Activity

3511 – 3599, except 3571 – 3579 (see Sector AC) - Industrial and Commercial Machinery, except Computer and Office Equipment (see Sector AC)

3711 – 3799, except 3731, 3732 (see Sector R) - Transportation Equipment, except Ship and Boat Building and Repairing (see Sector R)

(See Part II, Section A.1.b for a detailed list of SIC codes)

### Additional SWP3 Requirements

Drainage Area Site Map. The site map must clearly show the location of vents and stacks from metal processing and similar areas.

## Section AC. Sector AC of Industrial Activity – Electronic and Electrical Equipment/ Components, and Photographic/ Optical Goods Manufacturing Facilities

### Description of Industrial Activity

There are no additional requirements under this section that apply to stormwater discharges from activities identified and described as Sector AC. Sector AC industrial activities are described by the following SIC codes:

**SECTOR AC: ELECTRONIC, ELECTRICAL, PHOTOGRAPHIC, AND OPTICAL GOODS**

SIC Codes Description of the Industrial Activity

3571 – 3579 Computer and Office Equipment

3612 – 3699 Electronic, Electrical Equipment and Components, except Computer Equipment

3812 – 3873 Measuring, Analyzing and Controlling Instrument; Photographic and Optical Goods

(See Part II, Section A.1.b for a detailed list of SIC codes)

## Section AD. Sector AD of Industrial Activity - Miscellaneous Industrial Activities

### Description of Industrial Activity

The requirements under this section apply to stormwater discharges from activities identified and described as Sector AD. Sector AD industrial activities are described by the following Industrial Activity Code:

**SECTOR AD: MISCELLANEOUS INDUSTRIAL ACTIVITIES**

Activity Codes and Description of the Industrial Activity

Limited to facilities that are designated by the executive director as needing a permit to control pollution related to stormwater discharges and that do not meet the description of an industrial activity covered by Sectors A-AC

### Limitations on Permit Coverage

1. Facilities may not request general permit coverage under Sector AD. Coverage under this sector is reserved for those facilities that are designated by the executive director as eligible for coverage under this sector of this general permit. The executive director may designate a facility based on site specific considerations such as water quality impacts. A designation may be made based on information obtained during a site inspection or other means, if it is determined that the discharge would be appropriately regulated under this general permit rather than an individual stormwater permit.
2. Facilities that are determined by the executive director to need controls in addition to the requirements in Part II and Part III of this general permit will be required to obtain an individual TPDES permit.

### SWP3 and Other Requirements

The permittee must implement the controls and measures described in Part III of this general permit for all regulated areas of the facility.

### Co-located Activities

Where co-located industrial activities occur (refer to Part II, Section A.3. of this general permit), the additional conditions and requirements in Part V of this general permit for each of these activities also apply.

### Benchmark Monitoring Requirements

All facilities authorized under this section must conduct benchmark monitoring according to the requirements in Part IV of this general permit and conduct evaluations on the effectiveness of the facility SWP3 based on the following benchmark values:

**Table 35. Benchmark Monitoring Requirements for Sector AD**

| **Activity Code** | **Description of Industrial Activity** | **Benchmark Parameter** | **Benchmark**  **Value** |
| --- | --- | --- | --- |
| AD | Miscellaneous Industrial Activities | pH  TSS  COD  Oil and Grease | 6.0-9.0 S.U.  100 mg/L  60 mg/L  10 mg/L |