Texas Commission on Environmental Quality

P. O. Box 13087 Austin, Texas 78711-3087

GENERAL PERMIT TO AUTHORIZE POINT SOURCE DISCHARGE OF BIOLOGICAL PESTICIDES AND CHEMICAL PESTICIDES THAT LEAVE A RESIDUE IN WATER

under provisions of Section 402 of the Clean Water Act,

Chapter 26 of the Texas Water Code,

and 30 Texas Administrative Code Chapter 205

This permit supersedes and replaces

TPDES General Permit No. TXG870000, effective November 2, 2021.

This general permit authorizes the point source discharge of biological pesticides or chemical pesticides (including insecticides, nematicides, rodenticides, fungicides, and herbicides) that leave a residue in water when such applications are made into or over, including near, waters of the United States (U.S.) including exceptional, high, intermediate, limited, or minimal aquatic life use receiving waters as designated in the Texas Surface Water Quality Standards only according to limitations, requirements, and other conditions set forth in this general permit, as well as the rules of the Texas Commission on Environmental Quality (TCEQ or Commission), the laws of the State of Texas, and other orders of the Commission. The issuance of this general permit does not grant to the permittee the right to use private or public property for the conveyance of wastewater along the discharge route. This includes property belonging to, but not limited to, any individual, partnership, corporation, or other entity. Neither does this general permit authorize any invasion of personal rights nor any violation of federal, state, or local laws or regulations. It is the responsibility of the permittee to acquire property rights as may be necessary for the application of pesticides.

This general permit and the authorization contained herein shall expire at midnight five years from the effective date.

EFFECTIVE: November 2, 2026

ISSUED:

For the Commission

TPDES GENERAL PERMIT NO. TXG870000

RELATING TO THE POINT SOURCE DISCHARGE OF

PESTICIDES TO WATERS OF THE U.S.

Table of Contents

Part I.	Definitions	4

Part II.	Permit Applicability and Authorization	12

A.	Categories of Authorized Pesticide Discharges	12

B.	Discharges Eligible for Authorization	14

C.	Limitations on Authorization	14

D.	Obtaining Authorization	16

E.	Permit Expiration	19

F.	Terminating Authorization	20

G.	Alternative TPDES Permit Authorization	20

H.	Severability	21

Part III.	Level I Operators	21

A.	Applicability	21

B.	Effluent Limitations	21

C.	Visual Evaluation Requirements	24

D.	Documentation of Visual Evaluation and Additional Monitoring	24

E.	Pesticide Discharge Management Plan	25

F.	Recordkeeping	28

G.	Reporting and Notification	29

Part IV.	Level II Operators	32

A.	Applicability	32

B.	Effluent Limitations	32

C.	Visual Evaluation Requirement	33

D.	Corrective Action	33

E.	Recordkeeping	34

F.	Reporting and Notification	34

Part V.	Level III Operators	36

A.	Applicability	36

B.	Effluent Limitations	36

C.	Recordkeeping and Reporting	36

Part VI.	Standard Permit Conditions	36

# Part I.	Definitions

The following words and terms, for the purposes of this general permit, shall have the following meanings.

Action Threshold – The point at which pest populations or environmental conditions cannot be tolerated necessitating that pest control action must be taken based on economic, human health, aesthetics, or other effects. An action threshold may be based on current and/or past environmental factors that are or have been demonstrated to be conducive to pest emergence and/or growth, as well as past and/or current pest presence. Action thresholds are those conditions that indicate both the need for control actions and the proper timing of those actions.

Active Ingredient – Any substance (or group of structurally similar substances if specified by the Executive Director) that will prevent, destroy, repel or mitigate any pest, or that functions as a plant regulator, desiccant, or defoliant within the meaning of Federal Insecticide, Fungicide and Rodenticide Act (FIFRA) § 2(a) (7 United States Code (U.S.C.) § 136(a)). Active ingredient also means a pesticidal substance that is intended to be produced and used in a living plant, or in the produce thereof, and the genetic material necessary for the production of that pesticidal substance.

Adverse Incident – An unusual or unexpected incident, that an operator has observed upon inspection or that the permittee or permitting authority otherwise becomes aware that:

(a)	there is evidence that a person or non-target organism has likely been exposed to a pesticide or pesticide residue, and

(b)	the person or non-target organism suffered a toxic or adverse effect documented by the appropriate TCEQ Regional Office.

Agents – Persons who act for the operator or representatives of the operator.

Best Management Practices (BMPs) – Best management practices are examples of control measures that may be implemented to meet effluent limitations. They are schedules of activities, practices (and prohibitions of practices), structures, vegetation, maintenance procedures, and other management practices to prevent or reduce the discharge of pollutants to waters of the U.S. BMPs also include treatment requirements, operating procedures, and practices to control spillage or leaks, or drainage from raw material storage.

Biological Control Agents – Living organisms that can be introduced to a site for the control of a target pest, such as herbivores, predators, parasites, and hyperparasites.

Biological Pesticides (also called Biopesticides) – Include microbial pesticides, biochemical pesticides, and plant-incorporated protectant. A microbial pesticide is a microbial agent intended for preventing, destroying, repelling, or mitigating any pest, or intended for use as a plant regulator, defoliant, or desiccant, that (1) is a eukaryotic microorganism including, but not limited to, protozoa, algae, and fungi; (2) is a prokaryotic microorganism, including, but not limited to, Eubacteria and Archaebacteria; or (3) is a parasitically replicating microscopic element, including but not limited to, viruses.

A biochemical pesticide is a pesticide that: (1) is a naturally-occurring substance or structurally-similar and functionally identical to a naturally-occurring substance; (2) has a history of exposure to humans and the environment demonstrating minimal toxicity, or in the case of a synthetically-derived biochemical pesticide, is equivalent to a naturally-occurring substance that has such a history; and (3) has a non-toxic mode of action to the target pest(s). A plant-incorporated protectant is a pesticidal substance that is intended to be produced and used in a living plant, or in the produce thereof, and the genetic material necessary for production of such a pesticidal substance. It also includes any inert ingredient contained in the plant or produce.

CFR – Code of Federal Regulations.

Chemical Pesticides – All pesticides not otherwise classified as biological pesticides.

Control Measure – Any BMP or other method used to meet the effluent limitations to minimize the discharge of pollutants to waters of the U.S.

Cultural Methods – Manipulation of the habitat to increase pest mortality by making the habitat less suitable to the target pest.

CWA – Clean Water Act, also known as the Federal Water Pollution Control Act, 33 U.S.C. §§ 1251–1387.

Cyanobacteria (blue green algae) – This is a group of unicellular photosynthetic organisms without a well-defined nucleus.

Declared Pest Emergency Situation – A public declaration by the federal, state, or a local government that has determined that there is a pest problem that requires control through the application of a pesticide for pest control beginning less than 10 days after identification of the need for pest control based on:

(a)	significant risk to human health;

(b)	significant economic loss;

(c)	significant risk to:

(1)	endangered species,

(2)	threatened species,

(3)	beneficial organisms, or

(4)	the environment; or

(d)	significant threat to quality of life.

Discharge – When used without qualification, means the "discharge of a pollutant.”

Discharge of a Pollutant – Any addition of any "pollutant" or combination of pollutants to waters of the U.S. from any "point source," or any addition of any pollutant or combination of pollutants to the waters of the "contiguous zone" or the ocean from any point source other than a vessel or other floating craft that is being used as a means of transportation. This includes additions of pollutants into waters of the U.S. from: surface runoff that is collected or channeled by man; discharges through pipes, sewers, or other conveyances, leading into privately owned treatment works.

Edwards Aquifer – As defined in 30 TAC § 213.3 (relating to the Edwards Aquifer), that portion of an arcuate belt of porous, water-bearing, predominantly carbonate rocks known as the Edwards (Balcones Fault Zone) Aquifer trending from west to east to northeast in Kinney, Uvalde, Medina, Bexar, Comal, Hays, Travis, and Williamson Counties; and composed of the Salmon Peak Limestone, McKnight Formation, West Nueces Formation, Devil's River Limestone, Person Formation, Kainer Formation, Edwards Group, and Georgetown Formation. The permeable aquifer units generally overlie the less-permeable Glen Rose Formation to the south, overlie the less-permeable Comanche Peak and Walnut Formations north of the Colorado River, and underlie the less-permeable Del Rio Clay regionally.

Edwards Aquifer Recharge Zone – Generally, that area where the stratigraphic units constituting the Edwards Aquifer crop out, including the outcrops of other geologic formations in proximity to the Edwards Aquifer, where caves, sinkholes, faults, fractures, or other permeable features would create a potential for recharge of surface waters into the Edwards Aquifer. The recharge zone is identified as that area designated as such on official maps located in the offices of the TCEQ and the appropriate underground water conservation district. Also, see 30 TAC § 213.3.

Employees – Persons employed by the operator for wages or salary.

EPA - United States Environmental Protection Agency.

EPA Approved or Established Total Maximum Daily Loads (TMDLs) – "EPA Approved TMDLs" are those that are developed by a state and approved by EPA. "EPA Established TMDLs" are those that are issued by EPA.

FFDCA – Federal Food, Drug and Cosmetic Act, 21 U.S.C. §§ 301–399f.

FIFRA – Federal Insecticide, Fungicide, and Rodenticide Act, 7 U.S.C. §§ 136–136y.

Filamentous Algae – Algae that grows in long strings or mats in water.

For-Hire Commercial Applicator – Includes persons licensed by the Texas Department of Agriculture who make contractual pesticide applications that they or their employer receives compensation (e.g., lawn care firms, pest control companies).

General Permit – A permit issued under the provisions of 30 TAC Chapter 205, General Permits for Waste Discharges authorizing the discharge of waste into waters of the U.S. for one or more categories of waste discharge within a geographical area of the state or the entire state as provided by Texas Water Code (TWC) § 26.040, General Permits.

General Use Pesticide (GUP) – Any pesticide that is typically purchased and used by the general public and does not meet the definition of restricted use pesticide, state limited use pesticide, or regulated herbicide in 4 TAC § 7.1.

Hydrophytic Vegetation – A plant growing in water or a substrate that is at least periodically deficient in oxygen during a growing season as a result of excessive water content.

Inert Ingredient – Any substance (or group of structurally similar substances if designated by the Executive Director), other than an active ingredient that is intentionally included in a pesticide product. (40 CFR 152.3) Inert ingredient also means any substance, such as a selectable marker, other than the active ingredient, where the substance is used to confirm or ensure the presence of the active ingredient, and includes the genetic material necessary for the production of the substance, provided that genetic material is intentionally introduced into a living plant in addition to the active ingredient. (40 CFR 174.3)

Integrated Pest Management (IPM) – Is an effective and environmentally sensitive approach to pest management that relies on a combination of common-sense practices. IPM uses current, comprehensive information on the life cycles of pests and their interaction with the environment. This information, in combination with available pest control methods, is used to manage pest damage by the most economical means and with the least possible hazard to people, property, and the environment.

Jurisdictional Boundary – The limits or territory within which authority may be exercised by the operator.

Mechanical or Physical Methods – Mechanical tools, or physical alterations of the environment, that target pest prevention or removal.

Minimize – To reduce or eliminate pesticide discharges to waters of the U.S. through the use of achievable control measures to the extent technologically available and economically practicable.

Non-Native Plants – A plant living outside of its natural or historical range of distribution. Not all non-native plants are considered to be noxious plants.

Non-Target Organisms – Includes the plant and animal hosts of the target species, the natural enemies of the target species living in the community, and other plants and animals, including vertebrates, living in or near the community that are not the target of the pesticide.

Notice of Change (NOC) – A written submission to the Executive Director from a permittee authorized under a general permit, providing any changes to information previously provided to the commission, or any changes with respect to the nature or operations of the regulated entity or the characteristics of the discharge.

Notice of Intent (NOI) – A written submission to the Executive Director from an applicant requesting authorization under the terms of this general permit.

Notice of Termination (NOT) – A written submission to the Executive Director from a permittee authorized under a general permit requesting termination of authorization under the general permit.

Operator – The person legally responsible for pest management activities resulting in the discharge of pesticides to waters of the U.S. Legally responsible in this context means the person who controls the timing, location, method, and means of pest management. As used in this permit, employees, agents, and for-hire commercial applicators are not operators; however, if employees, agents, and for-hire commercial applicators are hired by an operator who is authorized under the general permit, they will be authorized and covered under the general permit without the need to obtain separate authorization.

Permittee – Any person authorized under this general permit. Permittee also includes any person hired by or under contract with an operator authorized under the general permit.

Pest – Any organism under circumstances that make it deleterious to man or the environment and if it is any:

(a)	vertebrate animal other than humans;

(b)	invertebrate animal, including but not limited to, any insect, other arthropod, nematode, or mollusk such as a slug and snail, but excluding any internal parasite of living humans or other living animals;

(c)	plant growing where it is not wanted, including any moss, algae, liverwort, or other plant of any higher order, and any plant part such as a root; or

(d)	fungus, bacterium, virus, prion, or other microorganism, except for those on or in living humans or other living animals and those on or in processed food or processed animal feed, beverages, drugs (as defined in the Federal Food Drug and Cosmetic Act (FFDCA), 21 U.S.C. § 321(g)(1), and cosmetics (as defined in FFDCA 21 U.S.C. § 321(i)).

Pest Management Area – A contiguous area of land, including any waters of the U.S., where the permittee is responsible for and is authorized to conduct pest management activities as covered by this permit (e.g., for an operator who is a mosquito control district, the pest management area is the total area of the district). See Figure 1.

Pest Management Strategy – An action or no action, taken to reduce the population of target pests below the action threshold.

Pesticide – Any substance or mixture of substances intended for preventing, destroying, repelling, or mitigating any pest, any substance or mixture of substances intended for use as a plant regulator, defoliant, or desiccant, or any nitrogen stabilizer. The term does not include any article that is a "new animal drug" within the meaning of § 201(w) of the FFDCA (21 U.S.C. § 321(w)) that has been determined by the Secretary of Health and Human Services not to be a new animal drug by a regulation establishing conditions of use for the article, or that is an animal feed within the meaning of § 201(x) of that Act (21 U.S.C. § 321(x)) bearing or containing a new animal drug. The term also does not include liquid chemical sterilant products (including any sterilant or subordinate disinfectant claims on those products) for use on a critical or semi-critical device, as defined in FFDCA § 201 (21 U.S.C. §321). For purposes of the preceding sentence, the term "critical device" includes any device that is introduced directly into the human body, either into or in contact with the bloodstream or normally sterile areas of the body and the term "semi-critical device" includes any device that contacts intact mucous membranes, but that does not ordinarily penetrate the blood barrier or otherwise enter normally sterile areas of the body. [FIFRA §2(u)].

The term also applies to insecticides, herbicides, fungicides, rodenticides, and various other substances used to control pests. The definition encompasses all uses of pesticides authorized under FIFRA, including uses authorized under §§ 3 (registration of pesticides, 7 U.S.C. § 136a), 5 (experimental use permits, 7 U.S.C. 
§ 136c), 18 (exemptions of Federal and State agencies (emergency exemptions), 7 U.S.C. § 136p), 24(c) (authority of States, additional uses, 7 U.S.C. § 136v(c)), and 25(b) (authority of Administrator, exemption of pesticides, 7 U.S.C. § 136w(b)).

Note: Drugs used to control diseases of humans or animals (such as livestock and pets) are not considered pesticides; those drugs are regulated by the Food and Drug Administration. Fertilizers, nutrients, and other substances used to promote plant survival and health are not considered plant growth regulators and thus, are not pesticides. Biological control agents, except for certain microorganisms labeled as pesticides, are exempted from regulation as pesticides under this general permit and FIFRA. (Biological control agents include beneficial predators such as birds or ladybugs that eat insect pests, parasitic wasps, fish, etc.).

This permit uses "pesticide" when referring to the pesticide as applied. When referring to the chemical in the pesticide product with pesticidal qualities, the permit uses the term "active ingredient."

Pesticide Product – A pesticide in the particular form (including composition, packaging, and labeling) that the pesticide is, or is intended to be, distributed or sold. The term includes any physical apparatus used to deliver or apply the pesticide if distributed or sold with the pesticide.

Pesticide Use Patterns – The pesticide use patterns describe the type of pests being controlled and/or the location and method of pesticide application.

Pesticide Research and Development – Activities undertaken on a systematic basis to gain new knowledge (research), or the application of research findings or other scientific knowledge for the creation of new or significantly improved products or processes (experimental development). These types of activities are generally categorized under the four-digit code of 5417 under the 2022 North American Industry Classification System (NAICS).

Pesticide Residue – Includes that portion of a pesticide application that is discharged from a point source to waters of the U.S. and no longer provides pesticidal benefits. It also includes any degradates of the pesticide.

Phytoplankton – Photosynthetic plankton, mainly unicellular algae.

Point Source – Any discernible, confined, and discrete conveyance, including but not limited to any pipe, ditch, channel, tunnel, conduit, well, discrete fissure, container, rolling stock, concentrated animal feeding operation, landfill leachate collection system, vessel, or other floating craft from which pollutants are or may be discharged. This term does not include return flows from irrigated agriculture or agricultural stormwater runoff or nonpoint source silvicultural activities.

Political Subdivision – A county, municipality, special district, school district, junior college, district, housing authority, or any other legally established political subdivision of the state.

Pollutant – Dredged spoil, solid waste, incinerator residue, filter backwash, sewage, garbage, sewage sludge, munitions, chemical wastes, biological materials, heat, wrecked or discarded equipment, rock, sand, cellar dirt, and industrial, municipal, and agricultural waste discharged into water. For purposes of this definition, a "biological pesticide" is considered a "biological material," and any "pesticide residue" resulting from use of a "chemical pesticide" is considered a "chemical waste."

Potentially Invasive Plants – Plants that are not indigenous to Texas and have been shown to have invasive tendencies.

Private Entity – A person who is not defined as a public entity.

Public Access – Land owned by a public entity.

Public Entity – A federal, state, city, district, or other political subdivision including a school district, university, public utility (e.g., electric, water, gas), a special district such as a mosquito control district, or a similar entity; an Indian tribe or authorized Indian tribal organization (e.g., as identified by category code 92 (Executive, Legislative, and Other General Government Support) in the 2022 NAICS, and government establishments engaged in other sectors including but not limited to category codes 22 (Utilities – Electric Generation, Transmission, and Distribution) and 71 (Arts, Entertainment, and Recreation) in the 2022 NAICS).

Regulated Herbicide (RH) – A herbicide product that contains any of the following active ingredients:

- 2,4-dichlorophenoxyacetic acid (2,4-D); including acid, amine, choline, ester and salt formulations;

- 2-methyl-4-chlorophenoxyacetic acid (MCPA);

- 3,6-dichloro-o-anisic acid (dicamba); including dimethylamine salt (DMA), sodium salt, diglycoamine salt (DGA), isopropylamine salts (IPA), N, N-Bis-(3-aminopropyl) methylamine (BAPMA), and potassium salt; and

- 3,7-dichloro-8-quinolinecarboxylic acid (quinclorac).

Formulations containing the active ingredients listed above are exempt from being classified as regulated herbicides if they meet one of the following criteria:

- is distributed in a container with a capacity less than or equal to one quart for liquid products or less than or equal to two pounds for dry or solid products;

- specialty fertilizer mixtures that are labeled for ornamental use and registered in the Texas Agriculture Code, Chapter 63, concerning Commercial Fertilizer; or

- products that are ready for use and require no further mixing or dilution before use and are packaged in containers with a capacity of one gallon or less for liquid products and four pounds or less for dry or solid products.

Products containing 2,4-dichlorophenoxyacetic acid (2,4-D) or 3,6-Dichloro-o-anisic acid (dicamba) are exempt from classification as a regulated herbicide when used in accordance with the approved product label for transgenic auxin herbicide tolerant crops, are applied by ground application equipment, AND are applied when winds do not exceed 10 miles per hour.

Restricted Use Pesticide (RUP) – A pesticide classified as a restricted-use pesticide by the EPA.

State Limited Use Pesticide (SLU) – Any pesticide product that contains any of the following active ingredients:

- 2,4-dichlorophenoxyacetic acid (2,4-D); including acid, amine, choline, ester and salt formulations;

- 2,4-dichlorophenoxy butyric acid (2,4-DB);

- 2,4-dichlorophenoxy propionic acid (2,4-DP);

- 2-methyl-4-chlorophenoxyacetic acid (MCPA);

- 3,6-dichloro-o-anisic acid (dicamba); including dimethylamine salt (DMA), sodium salt, diglycoamine salt (DGA), isopropylamine salts (IPA), N, N-Bis-(3-aminopropyl) methylamine (BAPMA), and potassium salt;

- 3,4-dichloropropionanilide (propanil);

- 5-bromo-3-sec-butyl-6-methyluracil (bromacil);

- 2,4-bis(isopropylamino)-6-methoxy-s-triazine (prometon);

- 3,7-dichloro-8-quinolinecarboxylic acid (quinclorac); or

- sodium fluoroacetate (Compound 1080) and sodium cyanide (M44).

Formulations containing the active ingredients listed above are exempt from being classified as State Limited Use Pesticide if they meet one of the following criteria:

- Product is distributed in a container with a capacity less than or equal to one quart for liquid products or less than or equal to two pounds for dry or solid products;

- specialty fertilizer mixtures that are labeled for ornamental use and registered in the Texas Agriculture Code, Chapter 63, concerning Commercial Fertilizer;

- products that are ready for use and require no further mixing; or dilution before use and are packaged in containers with a capacity of one gallon or less for liquid formulations products and four pounds or less for dry or solid products.

TAC – Texas Administrative Code.

Target Pest – The organism toward which pest control measures are being directed.

Texas Pollutant Discharge Elimination System (TPDES) Permit – The state program for issuing, amending, terminating, monitoring, and enforcing permits, and imposing and enforcing pretreatment requirements, under the Clean Water Act §§ 307, 402, 318, and 405, the TWC, and the Texas Administrative Code (TAC) regulations.

Total Maximum Daily Load (TMDL) – The total amount of a substance that a water body can assimilate and still meet the Texas Surface Water Quality Standards. See 30 TAC § 307.3.

Toxic or Adverse Effects – Effects that occur within waters of the U.S. on non-target plants, fish, or wildlife that are unusual or unexpected as a result of exposure to a pesticide residue (e.g., effects to organisms not otherwise described on the pesticide product label or otherwise not expected to be present). Adverse effects to small organisms may not be directly observable.

Treatment Area – An area of land, including any waters of the U.S., within a pest management area where pesticides are being applied at a concentration that is adequate to control the targeted pests within that area. Multiple treatment areas may be located within a single "pest management area." For discharges with the pesticide use pattern of Area-Wide Pest Control Area, a single pest management area will be considered a treatment area.

Figure 1. Example pest management area map with treatment areas

U.S.C. – United States Code.

Water's Edge – The surface area of the channel that is not covered by water during low flow conditions immediately bordering: (1) waters of the U.S. or (2) a conveyance to waters of the U.S. along which water (e.g., runoff, irrigation waters, or floodwaters) flows.

Waters of the United States (waters of the U.S.) – As defined in 40 CFR § 120.2.

Water Quality Standards – As defined in 30 TAC Chapter 307.

# Part II.	Permit Applicability and Authorization

## A.	Categories of Authorized Pesticide Discharges

This permit covers the following groups of operators:

Level IA: Operators that meet the following criteria:

public entities applying Restricted Use Pesticides (RUP), State Limited Use (SLU) Pesticides or Regulated Herbicides (RH) to waters of the U.S. where there is public or private access or private entities applying RUP or SLU pesticide or RH to waters of the U.S. where there is public access; and

who meet the threshold for one of the following pesticide use patterns in one calendar year:

Mosquito and Other Insect Pests Control- Operators treating a pest management area greater than or equal to 6,400 acres and containing waters of the U.S.;

Vegetation and Algae Pest Control- Operators treating a treatment area greater than or equal to 100 acres in water or greater than or equal to 200 linear miles at water's edge;

Animal Pest Control- Operators treating a treatment area greater than or equal to 100 acres in water or greater than or equal to 200 linear miles at water's edge;

Area-wide Pest Control- Operators treating a pest management area greater than or equal to 6,400 acres and containing waters of the U.S.; or

Forest Canopy Pest Control- Operators treating a pest management area greater than or equal to 6,400 acres and containing waters of the U.S.

Level IB: Operators that meet the following criteria:

- public entities applying general use pesticides (GUP) to waters of the U.S. where there is public or private access, private entities applying GUP to waters of the U.S. where there is public access, or private entities applying GUP, RUP or SLU pesticide or RH to waters of the U.S. where there is only private access; and

who meet the pesticide use pattern thresholds in Part II.A.1(b).

Level II: Operators that meet the following criteria:

- Public or private entities applying RUP or SLU pesticides or RH to waters of the U.S. where there is public or private access, or public or private entities applying GUP to one acre or more of waters of the U.S. in one calendar year where there is public or private access; and

who do not meet the pesticide use pattern thresholds in Part II.A.1(b).

Level III: Operators that meet the following criteria:

- Public or private entities applying GUP regardless of the number of applications, to less than one acre of waters of the U.S. in one calendar year where there is public or private access; and

who do not meet the pesticide use pattern thresholds in Part II.A.1(b).

Figure 2. Pesticides General Permit Requirement Matrix – Above Annual Threshold

| Location of Use | Type of Pesticide Used | Permit Requirements |
| --- | --- | --- |
| Use by public entities where there is either public or private access OR | Restricted or State-Limited Use Pesticide or Regulated Herbicide | Level IA Compliance NOI to TCEQ HQ1 Annual report required Application Fee and Annual Fee |
| Use by private entities where there is public access | General Use Pesticide | Level IB Compliance Self-Certification Form to TCEQ Regional Office. No annual report No fees |
| Use by private entities where there is only private access | Restricted or State-Limited Use Pesticide or Regulated Herbicide | Level IB Compliance Self-Certification Form to TCEQ Regional Office No annual report No fees |
|  | General Use Pesticide | Level IB Compliance Self-Certification Form to TCEQ Regional Office No annual report No fees |

Figure 3. Pesticides General Permit Requirement Matrix – Below Annual Threshold

| Type of Pesticide Used | Permit Requirements |
| --- | --- |
| Restricted Use Pesticide, State-Limited Use Pesticide, or Regulated Herbicide | Level II Compliance Self-Certification Form (Onsite) No fees |
| General Use Pesticide 1 acre of waters of the U.S. or more annually | Level II Compliance Self-Certification Form (Onsite) No fees |
| General Use Pesticide Less than 1 acre of waters of the U.S. annually | Level III Compliance No Forms No fees |

1	Single Pest Management Area Notice of Intent (NOI); or Public or private entities with more than five pest management areas within a single county or a county whose pest management area is the same as its jurisdictional boundary may submit a single NOI for a county-wide NOI; or if a person or an entity has more than 10 pest management areas within the state the person or entity can apply for state-wide NOI.

## B.	Discharges Eligible for Authorization

This permit is available to operators who discharge to waters of the U.S. from the application of biological pesticides or chemical pesticides that leave a residue in water when such applications are made into or over, including near, waters of the U.S., when the pesticide application is for one of the following pesticide use patterns:

- Mosquito and Other Insect Pests Control

Pesticide applications to control mosquitoes and nuisance insect pests, such as mayflies, caddisflies, stoneflies or black flies, that develop or are present during a portion of their life cycle in or above standing or flowing water.

Vegetation and Algae Pest Control

Pesticide applications to control invasive or nuisance vegetation, algae and pathogens in waters of the U.S. and at water's edge, including, but not limited to, free-floating plants such as duck weed or watermeal, emergent plants such as cattails, noxious weeds, non-native and potentially invasive plants, filamentous algae, Cyanobacteria, or phytoplankton.

Animal Pest Control

Pesticide applications to control invasive or nuisance animals in waters of the U.S. and at water's edge. Nuisance animals include, but are not limited to, fish, lampreys, insects, mollusks, rodents, or pathogens.

Area-Wide Pest Control

Aerial and ground application of a pesticide to control the population of a target pest where control technologies over large areas are most effective to avoid substantial and widespread economic or social impact. These efforts involve aerial and ground pesticide applications to areas that include a wide range of diverse habitats such that a portion of the pesticide applied will unavoidably be applied over and deposited to waters of the U.S. to target the pests effectively. Examples include, but are not limited to, aerial crop dusting, aerial and ground application for the control of nuisance and disease bearing mosquitoes using pesticides, ground application of pesticides for the maintenance of rights-of-ways, drainage ditches, and other governmental infrastructure for crucial functions of health and safety; urban landscaping, treating orchard pests, or controlling fruit flies.

Forest Canopy Pest Control

Aerial and ground application of a pesticide over a forest canopy to control the population of a pest species (e.g., insect or pathogen) where to target the pests effectively, a portion of the pesticide unavoidably will be applied over and deposited into water. Examples include, but are not limited to, spraying trees to control target pest like aphids or pecan weevils, using pesticides to manage vegetation in forested stands or those planned for reforestation, using herbicides to manage vegetation to maintain rights-of-way, or application of pesticides for fungi, insects, weeds, or vertebrate pests in forest trees management.

## C.	Limitations on Authorization

Irrigation return flows from agriculture, agricultural stormwater runoff or nonpoint source silvicultural activities is exempt from this permit even when they contain pesticides or pesticide residues. The CWA specifically exempts these categories of discharges from requiring TPDES permit authorization. The following discharges otherwise subject to this permit are not eligible for authorization under this permit and the operator must apply for an individual permit or be covered by another applicable general permit prior to discharging.

- Discharges other than use patterns listed in Part II.B.

Discharges to Water Quality-Impaired Receiving Waters

Impaired waters are those that do not meet applicable water quality standard(s) and are listed as category 4 or 5 in the current version of the Texas Integrated Report of Surface Water Quality, and waterbodies listed on the CWA § 303(d) list.

- Discharges of the constituent(s) of concern to impaired water bodies when there is an EPA approved TMDL and TCEQ approved TMDL implementation plan are not eligible for this permit unless they are consistent with the EPA approved TMDL and the TCEQ TMDL implementation plan. Constituents of concern are those for which the water body is listed as impaired.

The Executive Director may amend this general permit or develop a separate general permit for discharges to these water bodies. For discharges not eligible for authorization under this permit, the discharger must apply for and receive an individual permit or other applicable general permit authorization prior to discharging.

Discharges to Waters Designated as Tier 3 for Antidegradation Purposes

An operator is not eligible for authorization under this permit for discharges to waters designated as Tier 3 (outstanding natural resource waters) for anti-degradation purposes under 30 TAC § 307.5(b)(3).

Discharges Currently or Previously Covered by Another Permit

An operator is not eligible for authorization under this permit if any of the following circumstances apply:

- Discharge of pesticides are currently covered under another TPDES permit; or

Discharges from activities where any TPDES permit has been or is in the process of being denied, terminated, or revoked by TCEQ (this does not apply to the routine reissuance of permits every five years).

Discharges are not eligible for authorization under this general permit if prohibited by:

- 30 TAC Chapter 311 (relating to Watershed Protection);

30 TAC Chapter 213 (relating to Edwards Aquifer); or

any other applicable rules or laws.

Compliance with Water Quality Standards

Discharges that would cause or contribute to a violation of water quality standards or that would fail to protect and maintain existing designated uses of receiving waters are not eligible for authorization under this general permit. The Executive Director may require an application for an individual permit or alternative general permit to authorize discharges of pesticides that are determined to cause a violation of water quality standards or are found to cause, or contribute to, the loss of a designated use of receiving waters.

Denial of Authorization

- The Executive Director may deny an application for authorization under this general permit and may require that the applicant apply for an individual permit or alternative general permit if the Executive Director determines that the discharge will not maintain existing uses of receiving waters.

The Executive Director may deny a NOI or revoke authorization under this general permit if the applicant submits any false information in a NOI.

The Executive Director may deny, cancel, revoke, or suspend authorization to discharge under this general permit based on a finding of historical and significant noncompliance with the provisions of this general permit.

The Executive Director shall deny or suspend an applicant's authorization to discharge under this permit based on a rating of "unsatisfactory performer" according to commission rules in 30 TAC § 60.3 (relating to Use of Compliance History). An applicant that is classified as an "unsatisfactory performer" is entitled to a hearing before the commission prior to having its authorization denied or suspended, in accordance with TWC, § 26.040(h).

Denial of authorization to discharge under this general permit or suspension of a permittee's authorization under this general permit will be done according to commission rules in 30 TAC § 205.4 (relating to Authorizations and Notice of Intent).

Federally-Listed Endangered and Threatened Species

Pesticide applications conducted in accordance with the manufacturer's label are authorized for use unless the treatment areas coincide with a designated pesticide use limitation area, as indicated by EPA Endangered Species Protection Bulletins. The operator shall follow the guidance associated with the pesticide use limitation area. Endangered Species Protection Bulletins may be accessed from EPA's website (www.epa.gov/endangered-species/endangered-species-protection-bulletins), by emailing espp@epa.gov, or by calling 800-447-3813.

This general permit does not limit the authority of a home-rule municipality provided by Texas statute.

## D.	Obtaining Authorization

- Operators Required to Submit an NOI

If all the following conditions are met, the operator shall submit a NOI to obtain authorization under this permit, the operator:

- meets the criteria in Part II.A.1;

meets the criteria in Part II.B.; and

is not prohibited in Part II.C.

Application for Authorization to Discharge

- Submission of an NOI is an acknowledgment that the conditions of this general permit are applicable to the proposed discharge, and that the applicant agrees to comply with the conditions of this general permit.

The NOI must contain all information as prescribed on forms provided by the Executive Director.

The operator shall submit an NOI for each pest management area that meets the requirements of Part II.A.1. Public or private entities with more than five pest management areas within a single county or a county whose pest management area is the same as its jurisdictional boundary may submit a single NOI for a county-wide permit. Persons or entities with more than 10 pest management areas may submit a single NOI for a statewide permit.

Applicants must submit the NOI using the online e-permitting system available through the TCEQ website or request and obtain an electronic reporting waiver. Electronic reporting waivers are not transferrable and expire on the same date as the authorization to discharge.

Following review of the NOI, the Executive Director will either confirm authorization by providing a notification and an authorization number to the applicant or notify the applicant that authorization under this general permit is denied.

A copy of the NOI, along with any correspondence from the Executive Director confirming permit authorization, must be retained at the address provided in the NOI.

Contents of the NOI

The NOI form must require, at a minimum, the following information:

- the legal name, address, and telephone number of the applicant;

the site name or identifier of the Pest Management Area(s);

the name of the water body (receiving waters) and TCEQ 4-digit Segment Number that will receive the pesticide discharge;

the county where the Pest Management Area is located;

the contact name and contact address for the Pesticide Discharge Management Plan (PDMP);

the pesticide use pattern(s); and

certification that the PDMP will be prepared and implemented.

Discharge Authorization Date

- Applicants seeking authorization to discharge under this general permit shall submit a completed NOI or a completed Self Certification Form, as applicable, on a form approved by the Executive Director. Applications are not required for facilities that are automatically authorized under this general permit. Provisional authorization to discharge under the terms and conditions of this general permit begins 48 hours after a completed NOI is postmarked for delivery to the TCEQ. For electronic submittal of NOIs, provisional authorization to discharge under the terms and conditions of this general permit begins immediately following confirmation of receipt of the electronic NOI by TCEQ.

Following review of the NOI, the Executive Director will: (1) determine that the NOI is complete and confirm authorization by providing a written notification and an authorization number; (2) determine that the NOI is incomplete and request additional information needed to complete the NOI; or (3) deny authorization in writing. Denial of authorization will be made in accordance with commission rules in 30 TAC § 205.4.

In response to a declared pest emergency situation, authorization to discharge under the terms and conditions of this permit is effective immediately for the area of the declared pest emergency situation and a NOI must be submitted by paper no later than 30 days after commencement of the discharge.

Fees

- An application fee must be submitted with the NOI:

(1)	$100 if submitting a paper NOI; or

(2)	$75 if submitting online through e-permitting.

Annual Water Quality Fees:

(1)	$100 for a pest management area; or

(2)	$500 for a county-wide or statewide permit.

A fee is not required for submission of a Notice of Change (NOC) or Notice of Termination (NOT).

Revocation of Individual Permit

For facilities authorized under an individual permit, the submittal of a NOI constitutes the applicant's intent to be authorized under this general permit and also serves as a request to voluntarily revoke authorization under the individual permit. The individual permit will be revoked following issuance of the acknowledgment letter providing authorization under the general permit.

Change of Operational Control

Authorization under this general permit is not transferable. If the operational control of the pest management area changes, the present permittee shall submit a NOT and the proposed permittee, shall submit a NOI. The NOT and NOI must be submitted not later than 10 days prior to the change in operational control. Any change in a permittee's Charter Number, as registered with the Texas Secretary of State, or any change in the entity status is considered a change in ownership of the company and would require the new permittee to apply for permit authorization as stated above. If the NOT and NOI are submitted as required under this provision, there will be no lapse in authorization.

Notice of Change

A NOC form must be submitted with supplemental or corrected information within 14 days following:

- the time when the permittee knows or should have known that the permittee failed to submit any relevant facts or submitted incorrect information in the NOI; or

the time when relevant facts in the NOI change, including but not limited to: permittee address, permittee phone number, the addition or removal of a pest management area, the site name or identifier of the Pest Management Area, a change in the location of records for the pest management area, a change in the location of the PDMP, or a change in the contact or contact address for the PDMP.

Permittees must submit the NOC using the online e-permitting system available through the TCEQ website unless the permittee obtained an electronic reporting waiver.

Operators Not Required to Submit a NOI

Operators that meet the following requirements may be authorized under this general permit and are not required to submit a Notice of Intent, unless otherwise required by the Executive Director:

- The operator does not meet the criteria in Part II.A.1.;

The operator meets the eligibility provisions outlined in Part II.B.;

The operator is not prohibited from authorization under this general permit in Part II.C;

The operator complies with applicable requirements of this permit; and

The operator complies with the self-certification requirements below:

(1)	Operators that meet the criteria in Part II.A.2, must complete a Self-Certification Form and submit it to the appropriate TCEQ Regional Office.

(2)	Operators that meet the criteria in Part II.A.3, must complete a Self-Certification Form and keep it onsite.

(3)	Operators that meet the criteria in Part II.A.4 are not required to complete a Self-Certification Form.

## E.	Permit Expiration

- Permit Term

This general permit is effective for five years from the effective date. Authorizations for discharge under the provisions of this general permit may be issued until the expiration date of the general permit. This general permit may be amended, revoked, or cancelled by the commission after notice and comment as provided by 30 TAC §§ 205.3 and 205.5.

Permit Renewal

If the commission proposes to reissue this general permit before the expiration date, the general permit will remain in effect after the expiration date for those existing discharges covered by the general permit in accordance with 30 TAC Chapter 205. The general permit will remain in effect for these discharges until the date on which the commission takes final action on the proposal to reissue this general permit. No new NOIs will be accepted or new authorizations honored for authorization under the former general permit after the expiration date.

Application following Renewal

For permittees that are required to submit an NOI or Self-Certification Form, including those covered under the previous general permit, the permittee is required to submit an NOI or Self-Certification Form within 90 days of the effective date of this general permit to continue authorization to discharge pesticides under this general permit. Failure to submit a new NOI or Self-Certification Form by the deadline will result in expiration of the existing authorization to operate under the previous general permit.

For permittees required to complete a Self-Certification Form and keep it onsite, including those permittees covered under the previous general permit, the permittee must complete a new Self-Certification Form within 90 days of the effective date of this general permit to continue authorization to discharge pesticides under this general permit. Failure to complete a new Self-Certification Form by the deadline will result in expiration of the existing authorization to operate under the previous general permit.

A permittee covered under the previous general permit may alternatively submit an individual permit application within 90 days of the effective date of this general permit to apply for an individual permit.

Expiration without Renewal

According to 30 TAC § 205.5(d) (relating to Permit Duration, Amendment, and Renewal), if the commission has made a determination that the general permit will not be renewed at least 90 days before the expiration date, permittees authorized under this general permit shall submit an application for an individual permit or alternative general permit before the expiration date. If the application for an individual permit or alternative general permit is submitted before the general permit expiration date, authorization under this expiring general permit remains in effect until the issuance or denial of an individual permit or alternative general permit.

## F.	Terminating Authorization

- A permittee shall terminate authorization under this general permit through the submittal of a NOT, on a form approved by the Executive Director, when the permittee changes; the discharge becomes authorized under an individual permit or alternative general permit; or when the permittee determines that the annual threshold in Part II.A.1.(b) will not be exceeded during the remainder of the permit term.

Permittees must submit the NOT using the online e-permitting system available through the TCEQ website unless the permittee obtained an electronic reporting waiver.

Authorization to discharge terminates at midnight on the day that the NOT is postmarked for delivery to the TCEQ. For electronic submission of the NOT, authorization to discharge terminates immediately following confirmation of receipt of the electronic NOT form by the TCEQ.

Operators covered under this permit that are not required to submit a NOI are terminated from permit authorization when they no longer have a discharge from the application of pesticides. These operators are not required to submit a NOT to terminate permit authorization.

## G.	Alternative TPDES Permit Authorization

- Individual Permit Alternative

Discharges eligible for authorization under this general permit may alternatively be authorized by an individual permit according to 30 TAC Chapters 281 and 305 (relating to Applications Processing and Consolidated Permits).

Transfer of an Authorization Type

When an individual TPDES permit is issued or authorization to discharge under an alternative TPDES general permit is granted to discharge a pollutant to a waters of the U.S. as a result of a pesticide application, the authorization to discharge under this permit is terminated on the effective date of the individual permit or the date of authorization of authorization under the alternative general permit.

Discharges from facilities currently authorized by a TPDES individual permit, and discharges from facilities currently authorized under another TPDES general permit, may only be authorized under this TPDES general permit if the following conditions are met:

- The discharges meet the applicability and eligibility requirements for authorization under this general permit;

The current individual permit does not contain numeric water quality-based effluent limitations for the discharge (unless the discharges that resulted in the limitations have ceased and any contamination that resulted in these limitations is removed or remediated);

The Executive Director has not determined that continued authorization under an individual permit is required based on consideration of a total maximum daily load (TMDL) model, antibacksliding policy, history of substantive noncompliance, or other site-specific considerations;

A previous application or permit for the discharge has not been denied, terminated, or revoked by the Executive Director as a result of enforcement or water quality related concerns. The Executive Director may provide a waiver to this provision based on new circumstances at the pest management area or if there is a new operator; and

The authorization to discharge under a current individual permit or alternative general permit will be terminated or canceled on the effective date of authorization under this permit.

## H.	Severability

The provisions of this general permit are severable and invalidation of a portion of this permit does not render the whole permit or the remainder of the permit invalid. The commission's intent is that the permit is to remain in effect to the extent possible; in the event that any part of this permit is invalidated, TCEQ will advise the regulated community as to the effect of this invalidation.

# Part III.	Level I Operators

## A.	Applicability

The requirements in this Part apply to permittees that meet the criteria in Part II.A.1 or Part II.A.2, except as noted.

B.	Effluent Limitations

- Technology-Based Effluent Limitations

- Minimize Pesticide Discharges into Waters of the U.S.

The permittee shall develop and implement control measures to minimize discharges resulting from application of pesticides to waters of the U.S. to the extent achievable using best management practices that are technologically available and economically practicable and achievable. To minimize discharges resulting from application of pesticides, the permittee shall:

- In accordance with state law and the pesticide label, use only the amount of pesticide and frequency of pesticide applications necessary to control the target pest, using equipment and application procedures appropriate for this task. In no case exceed the maximum application rate, established under FIFRA, referenced on the pesticide product label. To minimize the total amount of pesticide applied, the permittee shall consider different application rates, frequencies, or both to accomplish effective control in accordance with the following:

Base the rate of application on what is known to be effective against the target pest or as necessary for resistance management; and

Base the frequency of applications on target pest action thresholds to provide effective and economical control and to prevent unnecessary impact on non-target organisms.

Maintain pesticide application equipment in proper operating condition including the requirements to calibrate, clean, and repair such equipment and prevent leaks, spills, or other unintended discharges; and

Assess weather conditions (e.g. temperature, precipitation, and wind speed) in the treatment area to ensure application is consistent with all applicable federal requirements.

Integrated Pest Management (IPM) Practices

A permittee that discharges pollutants as a result of the application of pesticides for the sole purpose of pesticide research and development is not required to fully implement Part III.B.1.(b) for discharges resulting from those pesticide research and development activities but shall implement Part III.B.1.(b) to the extent that its requirements do not compromise the research design. The discharge may not result in an exceedance of the state water quality standards or criterion, whether narrative or numeric. All other permittees shall comply with the following requirements for each pesticide use pattern.

Prior to the first pesticide application and at least once each calendar year thereafter during which a permittee will have a discharge, the permittee shall develop and implement written integrated pest management practices to comply with the non-numeric effluent limitations in the permit for each treatment area and pesticide use pattern as follows:

- Identify the problem

- Identify target pests;

Establish target pest densities or identify environmental condition(s), either current or based on historical data that serve as action threshold(s) for implementing pest management strategies;

Establish procedures to determine target pest densities;

For Vegetation and Algae Pest Control and Animal Pest Control:

a.	Identify possible factors causing or contributing to the target pest problem (e.g., nutrients, invasive species, etc.); and

b.	Identify areas with target pest problems and characterize the extent of the problems, including, for example, water use goals not attained for wildlife habitat, fisheries, vegetation, and recreation.

For Mosquito and Other Insect Pests Control:

a.	Identify known breeding sites for source reduction, larval control, and habitat management; and

b.	Analyze existing surveillance data to identify new or unidentified sources of mosquito or other nuisance insect pest problems as well as sites that have recurring pest problems.

For Area-Wide Pest and Forest Canopy Pest Controls:

a.	Identify current distribution of the target pest and assess potential distribution in the absence of control measures; and

b.	Develop a species-specific control strategy based on developmental and behavioral considerations for each target pest.

Pest Management Strategies.

The permittee shall evaluate, select, and implement one or more of the following management strategies that successfully minimizes discharges of pesticides, while considering effectiveness and efficiency, impact to water quality, impact to non-target organisms, pest resistance, feasibility, and cost effectiveness:

- No action;

Prevention;

Mechanical or physical methods;

Cultural methods;

Biological control agents; and/or

Pesticide application.

Pesticide Use.

If pesticide application is used as a pest management strategy, the permittee shall:

- Apply pesticide only when the action threshold(s) have been met or disease is present;

Reduce the impact on the environment and non-target organisms by evaluating the restrictions, application timing, and application methods in addition to applying the pesticide only when the action thresholds have been met;

For Mosquito and Other Insect Pest Control:

a.	In situations or locations where practicable and feasible for efficacious control, use larvicides as a preferred pest control when the larval action thresholds have been met; and

b.	In situations or locations where larvicide use is not practicable or feasible for efficacious control, use adulticides when adult action thresholds have been met.

For Area-Wide Pest and Forest Canopy Pest Controls: Use pesticides against the most susceptible developmental stage.

Water Quality-Based Effluent Limitations

- Any discharge that causes or contributes to an excursion of any applicable numeric or narrative water quality standard is prohibited and is a violation of this permit.

If at any time a permittee becomes aware, or the Executive Director determines, that the discharge causes or contributes to an excursion of an applicable water quality standard, then the permittee shall take corrective action.

The Executive Director may require a permittee to obtain authorization under an individual permit as necessary to protect water quality.

## C.	Visual Evaluation Requirements

The permittee shall conduct a visual evaluation consisting of spot checks in the treatment area to and around where pesticides are applied for possible and observable toxic or adverse effects as follows:

- Prior to each pesticide application to determine if the target pest action threshold(s) are met and weather conditions are conducive to proper application;

Prior to each pesticide application for Mosquito and Other Insect Pest and Area-Wide Pest Control to identify conditions (e.g. temperature, precipitation, and wind speed in the treatment area) that support development of pest populations and are suitable for control activities;

During the application when considerations for safety and feasibility allow; and

Within a reasonable period of time after each pesticide application, not to exceed the time required for maximum effect indicated on the product label.

## D.	Documentation of Visual Evaluation and Additional Monitoring

Permittees shall keep records of the visual evaluations conducted during pesticide application and post-application, and shall conduct additional monitoring, if required.

- Level IA operators shall document the findings of each visual evaluation. If no visual evaluation was conducted, the permittee shall document why the visual evaluation could not be conducted.

If TCEQ determines that additional monitoring is appropriate to ensure compliance with the permit’s technology-based and water quality-based effluent limitations, TCEQ shall notify the permittee of additional monitoring requirements. The notice shall include the following:

- the reason(s) for the additional monitoring;

locations and parameters to be monitored;

frequency and period of additional monitoring;

sample types; and

reporting requirements.

## E.	Pesticide Discharge Management Plan

The permittee shall prepare a PDMP for each pest management area covered under this permit. The PDMP must be prepared within 90 days of authorization under this general permit. A permittee may refer to procedures in other documents that meet the requirements of this permit in the PDMP, but a copy of the referenced document must be kept in the PDMP and should be made available for review when requested by the Executive Director.

- Contents of Pesticide Discharge Management Plan. A PDMP must contain the following elements:

- Pesticide Discharge Management Team. The permittee shall identify PDMP team members by name or title as well as their individual responsibilities, including:

- Person(s) responsible for managing pests in the pest management area;

Person(s) responsible for developing and revising the PDMP;

Person(s) responsible for developing, revising, and implementing corrective actions and other effluent limitation requirements; and

Person(s) responsible for pesticide applications. If the pesticide applicator is unknown at the time of plan development, indicate whether or not a for-hire applicator will be used and indicate when the applicator will be identified.

Identification of team members must include any written agreement(s) between the permittee and any other operator(s), such as a for-hire commercial pesticide applicator, that specify the division of responsibilities between operators as necessary to comply with the provisions of this permit.

Problem Identification

- Pest problem description. The permittee shall document the following:

- Identify the geographic boundaries of the pest management area and each treatment area and waters of the U.S. within the pest management area on a general location map (e.g., topographic, vicinity map, original United States Geological Survey 7.5 minute quadrangle map, a portion of a city or county map, or other map);

Pesticide use patterns for each treatment area;

Target pest(s);

Action threshold(s) for the pest management area, including data used in developing the action threshold(s) and method(s) to determine when the action threshold(s) has been met;

List of pesticide(s) or any degradates for which the waterbody is impaired; and

Procedures to determine target pest densities.

Evaluation and Selection of Pest Management Strategies. In the PDMP, the permittee shall document the evaluation of pest management strategies for the pest management area. The permittee shall select the pest management strategies that most successfully minimize discharges resulting from application of pesticides, including the use of pesticide and non-pesticide methods. The evaluation must establish if and when the following pest management strategies will be used while considering impact to water quality, impact to non-target organisms, pest resistance, feasibility, and cost effectiveness:

- No action;

Prevention;

Mechanical and physical methods;

Cultural methods;

Biological control agents; and/or

Pesticides.

Response Procedures. The permittee shall document the following procedures in the PDMP:

- Spill Response Procedures. The permittee shall take appropriate measures necessary to prevent spills and to clean up spills of any pesticide. There shall be no disposal of pesticides or residues from storage or application equipment into waters of the U.S. Where potential spills can occur, the permittee shall:

- Identify the procedures for stopping, containing and cleaning up leaks, spills, and other releases;

Make available the necessary equipment to personnel to implement a cleanup. Employees who may cause, detect, or respond to a spill or leak must be trained in these procedures. If possible, one of these employees should be a member of the PDMP team;

Document procedures and schedules for maintenance activities to minimize potential for leaks, spills, and unintended or accidental release of pesticides from pesticide containers;

Document the chain of command notification for spills, both internal to permittee's agency or organization and external;

Document state and federal contacts with phone number;

Document the name, location, and telephone number of the nearest emergency medical facility;

Document the name, location, and telephone number of the nearest hazardous chemical responder (including police and fire department);

Maintain contact information for the National Pesticide Telecommunications Network at 800-858-7378; and

Maintain contact information for the National Response Center at 800-424-8802 or www.epa.gov/emergency-response/national-response-center.

Equipment Maintenance Schedules and Procedures. The permittee shall document in the PDMP the schedules and procedures for maintaining the application equipment in proper operating condition, including calibrating, cleaning, and repairing the equipment.

Adverse Incident Response Procedures. Procedures for responding to adverse incidents must be identified and documented as follows:

- Course of action and timing of responses to any adverse incident;

Chain of command notification for the adverse incident, both internal to the permittee's agency or organization and external;

State and federal contacts with phone numbers;

Name, location, and telephone of nearest emergency medical facility; and

Name, location, and telephone of nearest hazardous chemical responder (including police and fire department).

Visual Evaluations. The permittee shall document the procedures for visual evaluations:

- The process for determining the location of any visual evaluations;

A schedule and procedures for any visual evaluations;

The person (or position) responsible for conducting visual evaluations; and

Procedures for documenting any observed toxic or adverse effects.

Pesticide Discharge Management Plan Modifications

- The PDMP must be reviewed whenever necessary to address any of the triggering conditions for corrective action or when a change in pest control activities significantly changes the type or quantity of pollutants discharged. Changes must be made to the PDMP before the next pesticide application that results in a discharge, if practicable, or if not, as soon as possible thereafter. The revised PDMP must be signed and dated in accordance with Part VI.H. of this permit. The PDMP must be reviewed at a minimum of once per calendar year to ensure compliance with effluent limitations of this permit including the problem description, evaluation and selection of pest management strategies, schedules and procedures, adverse incident action plan, and visual evaluations. The permittee shall modify the PDMP and implement corrective actions if the following occur:

- An unauthorized release or discharge (e.g., spill, leak, or discharge not authorized by this or another TPDES permit) occurs;

The permittee becomes aware, or the Executive Director determines, that the control measures are not adequate or sufficient for the discharge to meet applicable water quality standards;

The Executive Director determines that the permittee failed to:

- Use only the amount of pesticide and frequency of pesticide applications necessary to control the target pest, using equipment and application procedures appropriate for this task;

Perform regular maintenance activities to ensure that the application equipment is in proper operating condition to minimize the potential for leaks, spills, and unintended or accidental release of pesticides to waters of the U.S.; or

Calibrate, clean, and repair equipment on a regular basis to ensure that the application equipment is in proper operating condition.

Executive Director determines that modifications to the control measures are necessary to meet the effluent limits in this permit; or

The permittee observes or is otherwise made aware of a toxic or adverse effect.

If the PDMP is required to be revised by Part III.D.2.(a)(1) for reasons other than for toxic or adverse effect, spills, or leaks, the permittee shall make the revisions and implement corrective actions before the next pesticide application that results in a discharge, or as soon as practicable. If revisions and corrective actions cannot be made prior to the next pesticide application, the permittee shall document in the PDMP the reasons why. The permittee shall also document in the PDMP within five days the following information:

- Identification of the condition(s) triggering the need for corrective action;

A brief description of the circumstances of the situation;

Date the problem was identified;

Summary of corrective action taken or to be taken;

Date corrective action was initiated; and

Date corrective action was completed or expected to be completed.

Pesticide Discharge Management Plan Availability

The permittee shall retain a copy of the PDMP either onsite or at the address provided on the NOI and these documents must be immediately available to the Executive Director upon request. Documents in the public record file of the commission are available to a member of the public upon request.

Signature Requirements.

- Permittees shall sign, date, and certify the PDMP in accordance with 30 Texas Administrative Code §305.44.

## F.	Recordkeeping

The permittee shall keep written records in the PDMP as required by this permit. These records must be accurate and complete to demonstrate compliance with the conditions of this permit. The permittee may harmonize state law (4 TAC 
§ 7.33), FIFRA, and CWA recordkeeping practices, where appropriate.

The permittee is required to keep a copy of the following records either onsite or at the location provided in the NOI for a period of at least five years from the date the record was created and these documents must be made available to the Executive Director upon request:

- This permit (an electronic copy is acceptable);

Any adverse incident reports;

Any spill or leak reports;

NOI or Self-Certification Form, as applicable, submitted to TCEQ along with any correspondence to or from TCEQ specific to authorization under this permit;

Acknowledgment certificate issued by TCEQ, if applicable;

Pesticide Application Records: The following information must be recorded in the PDMP for each treatment area as soon as possible but no later than 14 days after implementing pest management strategies (non-pesticide methods and pesticide application):

- The name(s) of the record keeper;

Pesticide applicator's name;

Target pest(s);

Pest management strategies used and what action threshold(s) have been met;

Date of pre- and post-application surveillance and visual evaluations;

Date pest management strategy was conducted;

Name and total amount (in gallons or pounds) of pesticide product applied, including the product's EPA registration numbers;

Concentration (%) of active ingredient in formulation;

Identify of which treatment area or portion of a treatment area was treated;

Any observed toxic or adverse effects to non-target organisms;

A copy of any modifications made to the PDMP during the term of the permit; and

Date that application equipment was calibrated, cleaned, and repaired, if applicable;

Pesticide Discharge Management Plan;

All annual reports, if applicable, and any other report(s) required to be prepared or filed under this general permit; and

Record of visual evaluation that was conducted including:

- the date, time, and location where visual evaluation was conducted;

any possible or observable adverse incidents caused by application of pesticides; and

if no visual evaluation was conducted, the reason why the visual evaluation could not be conducted.

## G.	Reporting and Notification

- Annual Reporting. A permittee that meets the criteria in Part II.A.1 shall prepare and keep onsite an annual report that is readily available for review by a TCEQ representative. When the permittee terminates permit authorization, the permittee shall submit an annual report for the portion of the year up through the date of the termination. The annual report is due no later than 45 days after permit termination date. The annual report must contain the following information:

- Operator's name;

Authorization number(s);

Contact person’s name, title, e-mail address (if any), and phone number;

For each treatment area, report the following:

- Identification of any waters or other treatment area, including size, either by name or by location, to which pesticide has been applied;

Pesticide use pattern(s) (i.e., mosquito and other insect pest, vegetation and algae pest, animal pest, area-wide pest, or forest canopy pest);

Name and total amount (in gallons or pounds) of pesticide product applied, including the product's EPA registration number;

Target pest(s);

Company name(s) and contact information for pesticide applicator(s), if different from the NOI submitter;

Whether or not the permittee was required to take corrective action, if so provide brief description of corrective actions taken;

Whether this pest control activity was addressed in the PDMP prior to pesticide application;

Whether or not the permittee provided written report(s) to TCEQ of an adverse incident; and

Copies of visual evaluation records required in Part III.E.9.

Potential Adverse Incident Notification

If a permittee knows or should have known or has been informed of an adverse incident, the permittee shall notify the appropriate TCEQ Regional Office within 24 hours of becoming aware of the potential adverse incident or call the TCEQ 24–hour Spill Reporting Line at 1-800-832-8224. If the permittee is unable to notify TCEQ within 24 hours, the permittee shall do so as soon as possible and provide the rationale why the permittee was unable to provide the notification within 24 hours.

When providing the 24-hour notice for any potential adverse incident, the permittee shall include at least the following information:

- Name and telephone number of the person providing notification;

Permittee name and mailing address;

TCEQ authorization number for the pest management area;

Name and telephone number of a contact person, if different from the person providing the 24-hour notice;

How and when the person providing notification became aware of the adverse incident;

Description of the location of the adverse incident;

Description of the adverse incident identified;

The pesticide product, including EPA pesticide registration number for each pesticide that was applied in the area of the adverse incident; and

Description of any corrective actions the permittee has taken or will take to correct, repair, remedy, cleanup, or otherwise address any adverse effects.

Adverse Incident Written Report

Within 14 days of becoming aware of an adverse incident, the permittee shall provide a written report of the adverse incident to the appropriate TCEQ Regional Office. The adverse incident report must include at least the following information:

- Information required to be provided in Part III.F.2;

Date and time the permittee provided 24-hour notice to TCEQ of the adverse incident;

Location of the adverse incident, including the names of any waters affected and appearance of those waters (sheen, color, clarity, etc.);

Description of the circumstances of the adverse incident including species affected, number of individuals and approximate size of dead or distressed organisms;

Magnitude of the effect (e.g., aquatic square area or total stream distance affected);

Pesticide application rate, application site (e.g., water's edge, above, or direct to water), and method of application;

Description of the habitat and the circumstances under which the adverse incident occurred (including any available ambient water data);

If laboratory tests were performed, an indication of which test(s) were performed, and when, and provide a summary of the test results immediately upon availability (if not available at the time of submission of the 14-day report);

If applicable, explain why the permittee believes the adverse incident could not have been caused by exposure to the pesticide;

Description of any corrective actions the permittee has taken or will take to prevent recurrence; and

Target and non-target organism(s) that were affected.

Spill or Leak Notification

The permittee shall notify the appropriate TCEQ Regional Office within 24 hours of becoming aware of a spill or leak that resulted in a discharge to waters of the U.S. If the permittee is unable to notify the appropriate TCEQ Regional Office within 24 hours, the permittee shall do so as soon as possible and also provide the rationale for why the permittee was unable to provide the notification within 24 hours. The notification must include at least the following information:

- Name and telephone number of the person providing notice;

Permittee name and mailing address;

TCEQ authorization number for the pest management area;

Name and telephone number of a contact person, if different from the person providing the 24-hour notice;

How and when the person providing notification became aware of the spill or leak;

Description of the location of the spill or leak;

Description of the spill or leak identified;

EPA pesticide registration number of each pesticide product spilled or leaked, and the known or estimated quantities spilled or leaked that were discharged to waters of the U.S.; and

Description of any steps the permittee has taken or will take to contain the spill or leak.

Spill or Leak Written Report

Within 14 days of becoming aware of a spill or leak, the permittee shall provide a written report of the spill or leak to the appropriate TCEQ Regional Office. The spill or leak report must include the following information:

- Information required to be provided in Part III.F.4;

Summary of corrective action taken or to be taken;

Date corrective action was initiated; and

Date corrective action was completed or expected to be completed.

Other Reporting Requirement.

The permittee shall report any noncompliance, other than that required by Part III.F. 1-5 above that may endanger human health or safety, or the environment to TCEQ. Report of this information must be provided orally or by email to the appropriate TCEQ Regional Office within 24 hours of knowing of the noncompliance. A written submission of this information must also be provided within five working days of knowledge of the noncompliance. The written submission must contain a description of the noncompliance and its cause; the potential danger to human health or safety, or the environment; and the period of noncompliance, including exact dates and times. If the noncompliance has not been corrected, written submission must also contain the anticipated time it is expected to continue, and steps taken or planned to reduce, eliminate, and prevent reoccurrence of the noncompliance and to mitigate its adverse effects.

# Part IV.	Level II Operators

## A.	Applicability

This Part applies to permittees that meet the criteria in Part II.A.3.

## B.	Effluent Limitations

- Technology-Based Effluent Limitations

Minimize Pesticide Discharges into Waters of the United States. The permittee shall develop and implement control measures to minimize discharges resulting from the application of pesticides to waters of the U.S. to the extent achievable using best management practices that are technologically available and economically practicable and achievable. To minimize discharges resulting from application of pesticides, the permittee shall:

- In accordance with state law and the pesticide label, use only the amount of pesticide and frequency of pesticide applications necessary to control the target pest, using equipment and application procedures appropriate for this task. In no case exceed the maximum application rate, established under FIFRA, referenced on the pesticide product label. To minimize the total amount of pesticide applied, the permittee shall consider different application rates, frequencies, or both to accomplish effective control in accordance with the following:

- Base the rate of application on what is known to be effective against the target pest or as necessary for resistance management; and

Base the frequency of applications on the lowest frequency possible to provide effective and economical control and to prevent unnecessary impact on non-target organisms.

Maintain pesticide application equipment in proper operating condition including requirement to calibrate, clean, and repair such equipment and prevent leaks, spills, or other unintended discharges; and

Assess weather conditions (e.g. temperature, precipitation, and wind speed) in the treatment area to ensure application is consistent with all applicable federal requirements.

Water Quality-Based Effluent Limitations

- Any discharge that causes or contributes to an excursion of any applicable numeric or narrative water quality standard is prohibited and is a violation of this permit.

If at any time a permittee becomes aware, or the Executive Director determines, that the discharge causes or contributes to an excursion of an applicable water quality standard, then the permittee shall take corrective action.

The Executive Director may require a permittee to obtain authorization under an individual permit as necessary to protect water quality.

## C.	Visual Evaluation Requirement

The permittee shall conduct a visual evaluation consisting of spot checks in the treatment area to and around where pesticides are applied for possible and observable toxic or adverse effects as follows:

- Within a reasonable period of time after each pesticide application, not to exceed the time required for maximum effect indicated on the product label; and

During the application when considerations for safety and feasibility allow.

## D.	Corrective Action

- Situations Requiring Revision of Control Measures

The permittee shall review and revise control measures if any of the following situations occur to ensure that the situation is eliminated and will not be repeated:

- An unauthorized release or discharge (e.g., spill, leak, or discharge not authorized by this or another TPDES permit) occurs;

The permittee becomes aware, or the Executive Director determines, that the control measures are not adequate or sufficient for the discharge to meet applicable water quality standards;

The Executive Director determines that the permittee failed to:

- Use only the amount of pesticide and frequency of pesticide applications necessary to control the target pest, using equipment and application procedures appropriate for this task;

Perform regular maintenance activities to ensure that the application equipment is in proper operating condition to minimize the potential for leaks, spills, and unintended or accidental release of pesticides to waters of the U.S.; or

Calibrate, clean, and repair equipment on a regular basis to ensure that the application equipment is in proper operating condition.

TCEQ determines that modifications to the control measures are necessary to meet the effluent limits in this permit; or

The permittee observes or is otherwise made aware of a toxic or adverse effect.

Corrective Action Documentation

For situations requiring revision of control measures other than for toxic or adverse effects, a permittee shall document the situation triggering corrective action within 24 hours of becoming aware of that situation. The documentation must include the following information:

- Identification of the condition(s) triggering the need for corrective action;

A brief description of the circumstances of the situation;

Date the problem was identified;

Date corrective action was initiated; and

Date corrective action was completed or expected to be completed.

Corrective Action Deadlines.

If a permittee determines that changes to control measures are necessary, those changes must be made before the next pesticide application that results in a discharge, or as soon as practicable.

## E.	Recordkeeping

The permittee shall keep a copy of the following records on site for a minimum of 5 years from the date the record was created and shall submit them to the Executive Director within five days of a written request by the Executive Director:

- This permit (an electronic copy is acceptable);

Any Adverse Incident Reports; and

Self-Certification Form.

## F.	Reporting and Notification

- Potential Adverse Incident Notification. If a permittee knows or has been informed of an adverse incident, the permittee shall notify the appropriate TCEQ Regional Office within 24 hours of becoming aware of the potential adverse incident or call the TCEQ 24–hour Spill Reporting Line at 1-800-832-8224. If the permittee is unable to notify TCEQ within 24 hours, the permittee shall do so as soon as possible and provide the rationale why the permittee was unable to provide the notification within 24 hours.

When providing the 24-hour notice for any potential adverse incident, the permittee shall include at least the following information:

- Name and telephone number of the person providing notification;

Permittee name and mailing address;

Name and telephone number of a contact person, if different from the person providing the 24-hour notice;

How and when the person providing notification became aware of the adverse incident;

Description of the location of the adverse incident;

Description of the adverse incident identified;

The pesticide product, including EPA pesticide registration number for each pesticide that was applied in the area of the adverse incident; and

Description of any corrective actions the permittee has taken or will take to prevent recurrence.

Adverse Incident Written Report. Within 14 days of becoming aware of an adverse incident, the permittee shall provide a written report of the adverse incident to the appropriate TCEQ Regional Office. The adverse incident report shall include at least the following information:

- Information required to be provided in Part IV.E.2;

Date and time the permittee provided 24-hour notice to the commission of the adverse incident;

Location of the adverse incident, including the names of any waters affected and appearance of those waters (sheen, color, clarity, etc.);

Description of the circumstances of the adverse incident including species affected, number of individuals and approximate size of dead or distressed organisms;

Magnitude of the effect (e.g. aquatic square area or total stream distance affected);

Pesticide application rate, application site (e.g., water's edge, above, or direct to water), and method of application;

Description of the habitat and the circumstances under which the adverse incident occurred (including any available ambient water data);

If laboratory tests were performed, which test(s) were performed, and when, and provide a summary of the test results immediately upon availability (if not available at the time of submission of the 14-day report);

If applicable, explain why the permittee believes the adverse incident could not have been caused by exposure to the pesticide;

Description of any corrective actions the permittee has taken or will take to prevent recurrence; and

Target and non-target organism(s) that were affected.

# Part V.	Level III Operators

## A.	Applicability

This Part applies to a permittee that meets the criteria in Part II.A.4.

## B.	Effluent Limitations

The permittee shall implement control measures to minimize discharges resulting from the application of pesticides to waters of the U.S. to the extent achievable using best management practices. To minimize discharges resulting from application of pesticides, the permittee shall:

- Apply in accordance with state law and the pesticide label; and

Store pesticides and dispose of unused pesticides and their containers according to the label instructions.

## C.	Recordkeeping and Reporting

Recordkeeping and reporting are not required.

# Part VI.	Standard Permit Conditions

The permittee has a duty to comply with all conditions in this general permit. Failure to comply with any condition is a violation of the general permit and the statutes under which the general permit is issued. Any violation may be grounds for enforcement action, for terminating authorization under this general permit, or for requiring a permittee to apply for and obtain a TPDES individual permit.

The permittee shall furnish any information, at the request of the Executive Director, that is necessary to determine whether cause exists for revoking, suspending, or terminating authorization under this general permit. The requested information must be provided within a reasonable time frame and in no case later than 30 days from the date of the request.

Inspection and entry shall be allowed under TWC Chapters 26-28; Texas Health and Safety Code §§ 361.032,361.033, and 361.037; and 40 CFR § 122.41(i). The statement in TWC § 26.014 that commission entry into a pest management area must occur in accordance with an establishment's rules and regulations concerning safety, internal security, and fire protection is not grounds for denial or restriction of entry to any part of the pest management area, but merely describes the commission's duty to observe appropriate rules and regulations during an inspection.

All records, reports, drawings, and other documentation required by this general permit must be maintained for a minimum period of five years from the date of the record and either be kept on-site or made readily available for review by an authorized representative of the commission upon request. This period may be extended at the request of the Executive Director.

NOIs, NOTs, and NOCs must be signed in accordance with the requirements of 30 TAC § 305.44(a) (relating to Signatories to Applications). Pesticides Discharge Management Plans, reports, and other information requested or required by the Executive Director must be signed in accordance with the requirements of 30 TAC § 305.128 (relating to Signatories to Reports).

Authorization under this general permit may be suspended or revoked for the reasons stated in 30 TAC § 205.4. Notifying the TCEQ of planned changes or an anticipated noncompliance does not stay any general permit condition.

This general permit does not convey any property rights of any sort, or any exclusive privilege.

If the permittee becomes aware that the permittee failed to submit any relevant facts in an NOI, NOT, or NOC, or submitted incorrect information in an NOI, NOT, or NOC or in any report to the Executive Director, the permittee shall promptly submit those correct facts or information.

The permittee is subject to administrative, civil, and criminal penalties, as applicable, under TWC §§ 7.051, 7.101, 7.148, and 7.149 for violations including, but not limited to, the following:

- Violating CWA §§ 301, 302, 306, 307, 308, 318, or 405 (33 U.S.C. §§ 1311, 1312, 1316, 1317, 1318, 1328, or 1345, or any condition or limitation implementing any sections in a general permit issued under CWA § 402, or any requirement imposed in a pretreatment program approved under CWA §§ 402(a)(3) or (b)(8) (33 U.S.C. §§ 1342(a)(3) or (b)(8));

- Intentionally or knowingly tampering with, modifying, disabling, or failing to use pollution control or monitoring devices, systems, methods, or practices required under this permit; and

- Intentionally or knowingly makes or causes to be made a false material statement, representation, or certification in, or omits or causes to be omitted material information from, an application, notice, record, report, plan, or other document, including monitoring device data, filed or required to be maintained by this permit.