**ENGLISH TEMPLATE FOR TPDES or TLAP NEW/RENEWAL/AMENDMENT APPLICATIONS**

**DOMESTIC WASTEWATER**

*The following summary is provided for this pending water quality permit application being reviewed by the Texas Commission on Environmental Quality as required by 30 Texas Administrative Code Chapter 39. The information provided in this summary may change during the technical review of the application and are not federal enforceable representations of the permit application*.

Clayton Properties Group, Inc., (CN606081289 ) proposes to operate Warren Tract WWTP RN#111609178. a wastewater treatment facility. The facility is located 0.9 miles west southwest of the intersection of County Road 207 and County Road 211, in 10. Enter city name here., Williamson County, Texas 78753.

This is a new application to treat up to 170,000 gpd of domestic strength wastewater. This permit will not authorize a discharge of pollutants into water in the state.

Discharges from the facility are expected to contain five-day carbonaceous biochemical oxygen demand (CBOD5), total suspended solids (TSS), ammonia nitrogen (NH3-N), and *Escherichia coli*. Domestic strength wastewater will be treated byan activated sludge system consisting of several cast-in place structures. The system will have a primary screen, an equalization basin, multiple process trains consisting of anoxic, pre-aeration, and a sludge holding basin. The facility will utilize UV disinfection.