**ENGLISH TEMPLATE FOR TPDES or TLAP NEW/RENEWAL/AMENDMENT APPLICATIONS**

**DOMESTIC WASTEWATER**

*The following summary is provided for this pending water quality permit application being reviewed by the Texas Commission on Environmental Quality as required by 30 Texas Administrative Code Chapter 39. The information provided in this summary may change during the technical review of the application and are not federal enforceable representations of the permit application*.

CR Austin Resort, LLC (CN606147999) proposes to operate CR Austin Resort Wastewater Treatment Plant RN111751996, a wastewater treatment facility. The facility will be located 1.30 miles headed northwest on Flying X Road from the intersection of Flying X Road and FM 407, in Spicewood, Burnet County, Texas 78669.

This application is a new application to attain a permit for a wastewater treatment plant that will treat and dispose of wastewater produced by CR Austin Resort and residential developments. The proposed permit involves a single-phase buildout of the facility with a final capacity of 0.1 MGD. The wastewater treatment facility is scheduled to begin construction in January 2024. This permit will not authorize a discharge of pollutants into water in the state.

Discharges from the facility are expected to contain low levels of Biochemical Oxygen Demand (BOD), Total Suspended Solids (TSS), Ammonia Nitrogen (NH3-N), and *Escherichia coli*. Domestic wastewater will be treated byan activated sludge process plant, and specific treatment units include an influent bar screen, anoxic basin, aeration basin, clarifier, chlorine contact basin, and cloth-disc filters.