PLAIN LANGUAGE SUMMARY

TLAP NEW APPLICATION

DOMESTIC WASTEWATER

*The following summary is provided for this pending water quality permit application being reviewed by the Texas Commission on Environmental Quality as required by 30 Texas Administrative Code Chapter 39. The information provided in this summary may change during the technical review of the application and are not federal enforceable representations of the permit application.*

The Seguin Independent School District (CN601109523) proposes to operate the McQueeney Elementary School On-Site Sewage Facility (RN111845772), a low-pressure dosing drain field with septic tanks. The facility will be located at 6625 FM 725, near the City of New Braunfels, in Guadalupe County, Texas 78130.

This is a new application to authorize the disposal of treated wastewater at a volume not to exceed a daily average flow of 11,000 gallons per day via low-pressure dosing on 2.75 acres of drain field. This permit will not authorize a discharge of pollutants into water in the state.

The treated domestic wastewater from the facility is expected to contain five-day biochemical oxygen demand (BOD5). Domestic wastewater will be treated by two septic tanks in a series.