**ENGLISH:**

Texas Renaissance Festivals, LLC (CN606086635 ) operates the Texas Renaissance Wastewater Treatment Operation RN 102860368. a treated wastewater effluent land application process. The facility is located at 21778 FM 1774, in Todd Mission, Grimes County, Texas 77363.

This application is to request approval to dispose of a daily average flow not to exceed 400,000 gallons per day of treated domestic wastewater effluent via a spray irrigation on a minimum area of 8.68 acres. This permit will not authorize a discharge of pollutants into waters of the state.

Discharges from the facility are expected to contain five-day carbonaceous biochemical oxygen demand (CBOD5), total suspended solids (TSS), ammonia nitrogen (NH3-N), and *Escherichia coli*. Additional potential pollutants are included in the Domestic Technical Report 1.0, Section 7 (Pollutant Analysis of Treated Effluent) in the permit application package.The domestic wastewater from the Texas Renaissance Wastewater Treatment Operation is treated bya process operation with treatment units including septic tanks, a lift station, an aerated storage pond, and spray irrigation.