**ENGLISH TEMPLATE FOR TPDES or TLAP NEW/RENEWAL/AMENDMENT APPLICATIONS**

**DOMESTIC WASTEWATER**

*The following summary is provided for this pending water quality permit application being reviewed by the Texas Commission on Environmental Quality as required by 30 Texas Administrative Code Chapter 39. The information provided in this summary may change during the technical review of the application and are not federal enforceable representations of the permit application*.

United Properties Development LLC, Travis County Water Control and Improvement District No. 17 (CN605870054, CN600669048 ) proposes to operate Lakeway WWTP RN111462917. a wastewater treatment facility. The facility will be located 1100’ east of the intersection of General Williamson Drive and Ranch-to-Market 620N, in Austin, Travis County, Texas 78734.

Application for a TLAP permit to authorize the disposal of treated wastewater at a volume not to exceed a daily average flow of 45,000 gallons per day via drip irrigation system and subsurface application on approximately 10.33 acres. This permit will not authorize a discharge of pollutants into water in the state.

Discharges from the facility are expected to contains Discharges from the facility are expected to contain five-day carbonaceous biochemical oxygen demand (CBOD5), total suspended solids (TSS), ammonia nitrogen (NH3-N), and *Escherichia coli*. Domestic Wastewater will be treated byan activated sludge process plant and the treatment units include a bar screen, an equalization basin, an aeration basin, a final clarifier, an aerobic sludge digester, tertiary filters, and a chlorine contact chamber. In addition, the facility includes a temporary storage that equals to at least three days of the daily average flow.