Section 15. Plain Language Summary (Instructions Page 40)

This information is required for new, major amendment, and renewal applications. It is not required for minor amendment or minor modification applications.

If you are subject to the alternative language notice requirements in [30 Texas Administrative Code §39.426](https://texreg.sos.state.tx.us/public/readtac%24ext.TacPage?sl=T&app=9&p_dir=N&p_rloc=66532&p_tloc=&p_ploc=1&pg=17&p_tac=&ti=30&pt=1&ch=39&rl=351), **you must provide a translated copy of the completed plain language summary in the appropriate alternative language as part of your application package**. For your convenience, a Spanish template has been provided below.

**ENGLISH TEMPLATE FOR TPDES or TLAP NEW/RENEWAL/AMENDMENT APPLICATIONS**

**DOMESTIC WASTEWATER**

*The following summary is provided for this pending water quality permit application being reviewed by the Texas Commission on Environmental Quality as required by 30 Texas Administrative Code Chapter 39. The information provided in this summary may change during the technical review of the application and are not federal enforceable representations of the permit application*.

705 Limmerloop JV LLC (CN606082733) proposes to operate Limmer Loop Wastewater Treatment Facility (RN111611463), an activated sludge facility operated in conventional mode. The facility will be located approximately 650 feet northeast of the intersection of Limmer Loop (County Road 109) and Etna Way, in Williamson County, Texas 78665.

This application is for a new permit to discharge at a daily average flow of 50,000 gallons per day of treated domestic wastewater.

Discharges from the facility are expected to contain five-day carbonaceous biochemical oxygen demand (CBOD5), total suspended solids (TSS), ammonia nitrogen (NH3-N), and *Escherichia coli*. Domestic wastewater will be treated byan activated sludge process plant operated in conventional mode. Treatment units will include a bar screen, aeration basins, a final clarifier, sludge digesters, and a chlorine contact chamber.