## Plain Language Summary Template and Instructions for Texas Pollutant Discharge Elimination System (TPDES) and Texas Land Application (TLAP) Permit Applications

**ENGLISH TEMPLATE FOR TPDES or TLAP NEW/RENEWAL/AMENDMENT APPLICATIONS**

**DOMESTIC WASTEWATER**

*The following summary is provided for this pending water quality permit application being reviewed by the Texas Commission on Environmental Quality as required by 30 Texas Administrative Code Chapter 39. The information provided in this summary may change during the technical review of the application and are not federal enforceable representations of the permit application*.

Aldine Independent School District, Chrisman Road (CN601501182 ) operates Chrisman Road Wastewater Treatment Facility RN101719953. a Aldine ISD. The facility is located 13300 Chrisman Road, in Houston, Harris County, Texas 77039.

Renewal to discharge 60,000 gallons per day of treated domestic wastewater

Discharges from the facility are expected to containCBOD5, Total Suspended Solids, Ammonia Nitrogen, Nitrate Nitrogen, Total Kjeldahl Nitrogen, Sulfate, Chloride, Total Phosphorus, pH, Dissolved Oxygen, Chlorine Residual, E.coli, Total Dissolved Solids, Electrical Conductivity, Alkalinity. Domestic wastewater is treated by *an activated sludge process plant and the treatment units include a bar screen, an aeriation basin, a clarifier, a chlorine contact chamber, and an aerobic digester*.