**ENGLISH TEMPLATE FOR TPDES or TLAP NEW/RENEWAL/AMENDMENT APPLICATIONS**

**DOMESTIC WASTEWATER**

*The following summary is provided for this pending water quality permit application being reviewed by the Texas Commission on Environmental Quality as required by 30 Texas Administrative Code Chapter 39. The information provided in this summary may change during the technical review of the application and are not federal enforceable representations of the permit application*.

Ali Mohammad Solhjou (CN602736845 ) operates Pin Oak MHP RN101457653. a wastewater treatment plant. The facility is located 9215 Airline Drive, in Houston, Harris County, Texas 77037.

Renewal including Amendment to discharge 30,000 gallons per day of treated domestic wastewater

Discharges from the facility are expected to contain carbonaceous biochemical oxygen demand, total suspended solids, ammonia nitrogen..Domestic wastewater is treated byComplete Mix, Activated Sludge System: Influent Line; Aeration Basin; Final Clarifier; Aerobic Digester; Chlorine Contact; and outfall pipe.