## Plain Language Summary Template and Instructions for Texas Pollutant Discharge Elimination System (TPDES) and Texas Land Application (TLAP) Permit Applications

Alta Frontera, LLC (CN606063162) proposes to operate the Crowley Frontier wastewater treatment plant (RN111577813), a trickling filter over clarifier process plant. The facility will be located at 1178 High Frontier Road, just outside of the City of Fort Davis, Texas in Jeff Davis County, Texas, 79734.

This application is for a new application to discharge at a daily average flow of 20,000 gallons per day of treated domestic wastewater.

Discharges from the facility are expected to contain five-day carbonaceous biochemical oxygen demand (CBOD5), total suspended solids (TSS), ammonia nitrogen (NH3-N), and *Escherichia coli*. Additional potential pollutants are included in the Domestic Technical Report 1.0, Section 7, Pollutant Analysis of Treated Effluent in the permit application package. Domestic wastewater will be treated by a trickling filter over clarifier plant and the treatment units will include a settling and equalization tank, two treatment units and a storage tank with chlorination system as well as a dechlorination chamber.