Aqua Texas Inc.

WQ0014141001

English Plain Language Summary

Aqua Texas Inc., (CN604062463) operates the Old Egypt Wastewater Treatment Facility (RN102344116), a domestic wastewater permit. The facility is located at 32515 FM 2978 Road, Magnolia, Montgomery County, Texas 77354.

Renewal to discharge 450,000 gallons per day of treated domestic wastewater. Discharges from the facility are expected to contain: CBOD(5), Total Suspended Solids, Ammonia Nitrogen, and E. coli. . The facility is a .45 MGD facility operated in the single stage nitrification variation of the activated sludge process. The treatment units include the following: aeration basin, clarifier chlorine contact chamber and digester.