*The following summary is provided for this pending water quality permit application being reviewed by the Texas Commission on Environmental Quality as required by 30 Texas Administrative Code Chapter 39. The information provided in this summary may change during the technical review of the application and are not federal enforceable representations of the permit application*.

Astro Rosenberg, L.P. (CN606005254) proposes to operate the Fort Bend County MUD No. 250 wastewater treatment plant (RN111474219), an activated sludge process plant operated in the extended aeration mode. The facility will be approximately 1.3 miles southwest of the intersection of Farm-Market Road 360 and State Highway 59, in Fort Bend County, Texas 77417.

This application is for a new application to discharge at a daily average flow of 1,200,000 gallons per day of treated domestic wastewater.

Discharges from the facility are expected to contain five-day carbonaceous biochemical oxygen demand (CBOD5), total suspended solids (TSS), ammonia nitrogen (NH3-N), and *Escherichia coli*. Additional potential pollutants are included in the Domestic Technical Report 1.0, Section 7. Pollutant Analysis of Treated Effluent in the permit application package. Domestic wastewater will be treated by an activated sludge process plant and the treatment units will include a bar screen, aeration basins, final clarifiers, sludge digesters, and chlorine contact chambers.