The following summary is provided for this pending water quality permit application being reviewed by the Texas Commission on Environmental Quality as required by 30 Texas Administrative Code Chapter 39.  The information provided in this summary may change during the technical review of the application and are not federal enforceable representations of the permit application.

Cayetano Development, LLC (CN606037752) proposes to operate the Luna Rosa Wastewater Treatment Plant (RN111533311), an activated sludge process operated in the single stage nitrification mode. The facility will be located approximately 1.4 miles northeast in the intersection of Lytton Lane and County Road 175 in Caldwell County, Texas 78616.

This application is for a new application to discharge at a daily average flow of 405,000 gallons per day of treated domestic wastewater.

Discharges from the facility are expected to contain five-day carbonaceous biochemical oxygen demand (CBOD5), total suspended solids (TSS), ammonia nitrogen (NH3-N), and Escherichia coli. Additional potential pollutants are included in the Domestic Technical Report 1.0, Section 7. Pollutant Analysis of Treated Effluent in the permit application package. Domestic wastewater will be treated by an activated sludge process plant and the treatment units will include a bar screen, aeration basins, final clarifiers, sludge digesters, and chlorine contact chambers.