## Plain Language Summary for Texas Pollutant Discharge Elimination System (TPDES) and Texas Land Application (TLAP) Permit Applications

The City of Angus, Texas (CN 601424849) operates the City of Angus wastewater treatment plant (RN 102806734), a package plant using continuous extended aeration treatment. The facility is located approximately 6 miles northwest of intersection of State Highway 739 and I-45, in Navarro County, Tx.

This application is for a new application to discharge at a daily average flow of 120,000 gallons per day of treated domestic wastewater.

Discharges from the facility are expected to contain five-day carbonaceous biochemical oxygen demand (CBOD5), total suspended solids (TSS) and ammonia nitrogen (NH3-N). Additional potential pollutants are included in the Domestic Technical Report 1.0, Section 7. Pollutant Analysis of Treated Effluent in the permit application package. The treatment units will include a bar screen, aeration basins, final clarifiers, sludge digesters and a chlorine contact chamber.