**ENGLISH TEMPLATE FOR TPDES or TLAP NEW/RENEWAL/AMENDMENT APPLICATIONS**

**DOMESTIC WASTEWATER**

*The following summary is provided for this pending water quality permit application being reviewed by the Texas Commission on Environmental Quality as required by 30 Texas Administrative Code Chapter 39. The information provided in this summary may change during the technical review of the application and are not federal enforceable representations of the permit application*.

City of College Station (CN600732598 ) operates Lick Creek Wastewater Treatment Facility (RN101612927), an activated sludge process plant. The facility is located at 14802 Rock Prairie Road, in College Station, Brazos County, Texas 77845.

This application is for a renewal to discharge 5,000,000 gallons per day of treated domestic wastewater.

Discharges from the facility are expected to contain five-day carbonaceous biochemical oxygen demand (CBOD5), total suspended solids, ammonia nitrogen, and E. Coli. Additional pollutants are included in the Domestic Technical Report 1.0 Section 7. Pollutant Analysis of Treated Effluent and Domestic Technical Report Worksheet 4 in the application package. Domestic wastewater is treated by an activated sludge process plant and treatment units include aeration basins, clarifiers, a sludge holding tank, and UV disinfection.