Section 15. Plain Language Summary (Instructions Page 40)

This information is required for new, major amendment, and renewal applications. It is not required for minor amendment or minor modification applications.

If you are subject to the alternative language notice requirements in [30 Texas Administrative Code §39.426](https://texreg.sos.state.tx.us/public/readtac$ext.TacPage?sl=T&app=9&p_dir=N&p_rloc=66532&p_tloc=&p_ploc=1&pg=17&p_tac=&ti=30&pt=1&ch=39&rl=351), **you must provide a translated copy of the completed plain language summary in the appropriate alternative language as part of your application package**. For your convenience, a Spanish template has been provided below.

**ENGLISH TEMPLATE FOR TPDES or TLAP NEW/RENEWAL/AMENDMENT APPLICATIONS**

**DOMESTIC WASTEWATER**

*The following summary is provided for this pending water quality permit application being reviewed by the Texas Commission on Environmental Quality as required by 30 Texas Administrative Code Chapter 39. The information provided in this summary may change during the technical review of the application and are not federal enforceable representations of the permit application*.

City of Crystal City (CN: 600679203) ) operates Crystal City Wastewater Treatment Plant (RN 101918233). a domestic wastewater treatment plant consisting of extended aeration biological treatment, final clarification and chlorination.. The facility is located Located at the terminus of Plant Street, approximately 0.2 miles northwest of the intersection of Plant Street and U.S. Highway 83, approximately two blocks west of the intersection of State Highway 393 and U.S. Highway 83, in Crystal City, Zavala County, Texas 78839.

City of Crystal City is requesting a renewal without changes of the wastewater permit, WQ0010098-001.

Discharges from the facility are expected to contain treated domestic wastewater, including small amounts of degradable organic compounds and suspended solids. Highly treated domestic wastewater is treated bybiological treatment using extended aeration, followed by final clarification and chlorination. Sludge is treated by thickening, applied to drying beds and hauled to an approved landfill.