**Domestic Wastewater TPDES Renewal application**

The City of Dilley (CN600738298) operates the City of Dilley Wastewater Treatment Plant (RN103124137), an activated sludge process plant operated in the complete mix mode. The facility is located approximately 3,000 feet east of the intersection of White Street and Houston Street, along Crawford Road, in Frio County, Texas 78014

This application is for a renewal to discharge at an annual average flow of 800,000 gallons per day of treated domestic wastewater via Outfall Number 001.

Discharges from the facility are expected to contain five-day carbonaceous biochemical oxygen demand (CBOD5), total suspended solids (TSS), ammonia nitrogen (NH3-N), and *Escherichia coli*. Additional potential pollutants are included in the Domestic Technical Report 1.0, Section 7. Pollutant Analysis of Treated Effluent and Domestic Worksheet 4.0 in the permit application package. Domestic wastewater is treated by an activated sludge process plant and the treatment units include a bar screen, aeration basins, final clarifiers, chlorine contact chambers and a sludge drying bed.