*The following summary is provided for this pending water quality permit application being reviewed by the Texas Commission on Environmental Quality as required by 30 Texas Administrative Code Chapter 39. The information provided in this summary may change during the technical review of the application and are not federal enforceable representations of the permit application*.

The City of Hackberry, (CN601574031 ) operates the Hackberry Wastewater Treatment Facility RN102077054. an activated sludge process plant operating in the complete mix mode. The facility is located at 119 Maxwell Rd, in Frisco, Denton County, Texas 75036.

This application is for the renewal to discharge an annual average flow of 580,000 gallons per day of treated domestic wastewater via outfall 002.

Discharges from the facility are expected to contain five-day carbonaceous biochemical oxygen demand (CBOD5), total suspended solids (TSS), ammonia nitrogen (NH3-N), Total Phosphorus (TP) and *Escherichia coli*. Additional potential pollutants are included in the Domestic Technical Report 1.0, Section 7. Domestic wastewater is treated by bar screen, aeration basins, final clarifiers, sludge digesters, sludge dewatering boxes, chlorine contact basins, and disk filters.