## Plain Language Summary Template and Instructions for Texas Pollutant Discharge Elimination System (TPDES) and Texas Land Application (TLAP) Permit Applications

**INDUSTRIAL WASTEWATER/STORMWATER**

*The following summary is provided for this pending water quality permit application being reviewed by the Texas Commission on Environmental Quality as required by 30 Texas Administrative Code Chapter 39. The information provided in this summary may change during the technical review of the application and are not federal enforceable representations of the permit application*.

City of Kyle (CN600334510 ) operates the City of Kyle Wastewater Treatment Facility (RN102182680) an activated sludge treatment plant for domestic wastewater. The facility is located 941 New Bridge Drive, in Kyle, Hays County, Texas 78640.

The application requests authorization to discharge stormwater runoff from the treatment facility site at an intermittent and variable flow rate.

Discharges from the facility are expected to contain 5-day biochemical oxygen demand at levels below the specified benchmark for stormwater discharges from a domestic wastewater treatment plant. Only stormwater runoff is to be discharged. The stormwater runoff will not receive any treatment prior to discharge. Best management practices and structural controls, in accordance with the facilities stormwater pollution prevention plan, are implemented to prevent the introduction of pollutants.