**ENGLISH TEMPLATE FOR TPDES or TLAP NEW/RENEWAL/AMENDMENT APPLICATIONS**

**DOMESTIC WASTEWATER**

*The following summary is provided for this pending water quality permit application being reviewed by the Texas Commission on Environmental Quality as required by 30 Texas Administrative Code Chapter 39. The information provided in this summary may change during the technical review of the application and are not federal enforceable representations of the permit application*.

City of League City (CN600554661 ) operates the Dallas Salmon Wastewater Treatment Plant RN102996790. an activated sludge process plant to treat domestic wastewater. The facility is located at 703 N. Wisconsin Ave, in League City, Galveston County, Texas 77573.

This application is for the renewal to discharge an annual average flow of 12,000,000 gallons per day of treated domestic wastewater via Outfall 001.

Discharges from the facility are expected to contain five-day Carbonaceous Biochemical Oxygen Demand (CBOD5), total suspended solids (TSS), ammonia-nitrogen (NH3-N), and *enterococci*. Domestic wastewater is treated byan activated sludge process with treatment units including bar screens, grit removal, aeration basins, clarifiers, filtration, and UV disinfection.