The City of Wichita Falls Texas (CN600129316) operates the City of Wichita Falls Resource Recovery treatment plant (RN101611275), an activated sludge process plant operated in extended aeration mode with step air feed. The facility is located at 1005 River Road, in the City of Wichita Falls, Wichita County, 76305.

This application is for a renewal to a volume not to exceed an annual average flow of 19,910,000 gallons per day via Outfall 001 and an annual average flow of 16,000,000 gallons per day via Outfall 002.

Discharges from the facility are expected to contain five-day carbonaceous biochemical oxygen demand (CBOD5), total suspended solids (TSS), ammonia nitrogen (NH3-N), and *Escherichia coli*. Additional potential pollutants are included in the Domestic Technical Report 1.0, Section 7. Pollutant Analysis of Treated Effluent and Domestic Worksheet 4.0 in the permit application package. Domestic wastewater is treated by an activated sludge process plant and the treatment units include a bar screen, a grit chamber, aeration basins, final clarifiers, sludge digesters, a belt filter press, chlorine contact chambers and a dechlorination chamber and reaeration zone.

APPLICATION. City of Wichita Falls, P.O. Box 1431, Wichita Falls, Texas 76301, has applied to the Texas Commission on Environmental Quality (TCEQ) to renew Texas Pollutant Discharge Elimination System (TPDES) Permit No. WQ0010509001 (EPA I.D. No. TX0047686) to authorize the discharge of treated wastewater at a volume not to exceed an annual average flow of 19,910,000 gallons per day via Outfall 001 and 16,000,000 gallons per day via Outfall 002. The wastewater treatment plant is located at 1005 River Road, Wichita Falls in Wichita County, Texas 76305. The discharge route is from Outfall 001 directly to Wichita River Below Diversion Lake and via Outfall 002 directly to Lake Arrowhead. TCEQ received this application on August 16, 2022. The permit application is available for viewing and copying at Memorial Auditorium, 1300 7th Street, Room 402, Wichita Falls, in Wichita County, Texas and at Henrietta City Hall, 101 North Main, Henrietta, in Clay County, Texas.

This link to an electronic map of the site or facility's general location is provided as a public courtesy and not part of the application or notice. For the exact location, refer to the application.

<https://tceq.maps.arcgis.com/apps/webappviewer/index.html?id=db5bac44afbc468bbddd360f8168250f&marker=-98.471944%2C33.924166&level=12>

Further information may also be obtained from City of Wichita Falls at the address stated above or by calling Mr. Harold Burris, City of Wichita Falls, at 940-397-2535.