**ENGLISH TEMPLATE FOR TPDES or TLAP NEW/RENEWAL/AMENDMENT APPLICATIONS**

**DOMESTIC WASTEWATER**

*The following summary is provided for this pending water quality permit application being reviewed by the Texas Commission on Environmental Quality as required by 30 Texas Administrative Code Chapter 39. The information provided in this summary may change during the technical review of the application and are not federal enforceable representations of the permit application*.

CSWR-Texas Utility Operating Company, LLC (CN605844786 ) operates the Abraxas Corporation Wastewater Treatment Facility (RN101521391), an activated sludge process plant. The facility is located at 3301 Cattlebaron Road, in Fort Worth, Parker County, Texas 76108.

This application is to amend Texas Pollutant Discharge Elimination System (TPDES) Permit No. WQ0015010001 (EPA I.D. No. TX0133116). The amendment includes expanding the facility and increasing the discharge of treated domestic wastewater to a volume not to exceed a daily average flow of 75,000 gallons per day. The discharge route is from the plant site to a man-made pond; thence to an unnamed drainage ditch; thence to an unnamed tributary; thence to Haywire Lake #2; thence to the unnamed tributary; thence to an unnamed impoundment; thence to the unnamed tributary; thence to Haywire Lake #1; thence to the unnamed tributary; thence to Silver Creek; thence to Lake Worth. The existing discharge route will remain unaltered.

Discharges from the facility are expected to contain five-day carbonaceous biochemical oxygen demand (CBOD5), total suspended solids (TSS), and *Escherichia coli*. Domestic wastewater will be treated byan activated sludge process plant and the treatment units include a bar screen, a grit chamber, aeration basins, final clarifiers, sludge digesters, and chlorine contact chambers.