*The following summary is provided for this pending water quality permit application being reviewed by the Texas Commission on Environmental Quality as required by 30 Texas Administrative Code Chapter 39. The information provided in this summary may change during the technical review of the application and are not federal enforceable representations of the permit application*.

Enterprise Products Operating LLC (CN603211277) operates Beaumont Marine East Terminal (RN100228717), a marine loading facility and a petroleum bulk storage terminal. The facility is located at 19295 Old Mansfield Ferry Road, in Vidor, Orange County, Texas 77662.

The permittee is requesting authorization to discharge up to approximately 2.213 million gallons per day (MGD) of blowdown water from two proposed Wet Surface Air Coolers (WSACs) and reject water from a reverse osmosis (RO) system. The discharge of WSACs blowdown water, RO reject water and hydrostatic testing water will flow towards Outfall 020 which then discharges into the classified segment water body 0601-Neches River Tidal of the Neches River freshwater system. No treatment system will be employed before the discharge reaches Outfall 020. This permit will not authorize a discharge of pollutants into water in the state.

This facility is not subject to federal effluent limitation guidelines at 40 CFR Chapter I Subchapter N. Discharges from the facility are not expected to contain pollutants. The permittee proposes to discharge blowdown/process wastewater from two proposed WSACs and RO reject water toward Outfall 020. The blowdown/process wastewater and RO reject water will not flow through a wastewater treatment system before the discharge reaches Outfall 020.