**ENGLISH TEMPLATE FOR TPDES or TLAP NEW/RENEWAL/AMENDMENT APPLICATIONS**

**INDUSTRIAL WASTEWATER/STORMWATER**

*The following summary is provided for this pending water quality permit application being reviewed by the Texas Commission on Environmental Quality as required by 30 Texas Administrative Code Chapter 39. The information provided in this summary may change during the technical review of the application and are not federal enforceable representations of the permit application*.

Equistar Chemicals, LP (CN600124705) operates the Equistar Chemicals Channelview Complex (RN100542281), which manufactures organic chemicals and thermoplastic resins. The facility is located at 8280 Sheldon Road, in Channelview, Harris County, Texas 77530. The application is to amend TPDES Permit No. WQ0000391000 to remove monitoring and the daily maximum concentration limit for total aluminum and monitoring for total zinc for Outfalls 003/003A/003B/003C, and to remove monitoring and the daily maximum concentration limit for total zinc for Outfall 004. Outfalls 003/003A/003B/003C and Outfall 004 discharge stormwater and other non-process wastewaters at an intermittent and flow-variable rate. Pollutants that are expected in the discharges include oil and grease, suspended solids, aluminum, and zinc. Other pollutants that may be present in the discharges are listed in Worksheet 2 of the 2019 TPDES application. Waters discharged from the outfalls do not require treatment before discharge.