*The following summary is provided for this pending water quality permit application being reviewed by the Texas Commission on Environmental Quality as required by 30 Texas Administrative Code Chapter 39. The information provided in this summary may change during the technical review of the application and are not federal enforceable representations of the permit application*.

Fort Bend County Municipal Utility District No. 30 (CN600738025 ) operates Fort Bend County MUD 30 WWTF (RN102546173), a domestic wastewater treatment facility. The facility is located at 7539 Tetela Drive, in Houston, Fort Bend County, Texas 77083.

This application is for the renewal of a permit to discharge at an annual average flow of 1,500,000 gallons per day of treated domestic wastewater.

Discharges from the facility are expected to contain five-day carbonaceous biochemical oxygen demand (CBOD5), total suspended solids (TSS), ammonia nitrogen (NH3-N), and *Escherichia coli*.. Domestic wastewater is treated by *an activated sludge process plant operated in the extended aeration mode. Treatment units include a bar screen, a fine screen, two oxidation ditches, two final clarifiers, two aerobic sludge digesters, a filter belt press, and an ultra-violet disinfection basin.*