Plain Language Summary - **TPDES New Application**

Greenwood Ventures Group LLC (CN606011039) proposes to operate the Lockhart Landing Wastewater Treatment Plant (RN111484846), an activated sludge process plant operated in the extended aeration mode. The facility will be located approximately 1.87 miles southwest of the intersection of County Road 214 and U.S. Highway 183, in Caldwell County, Texas 78644.

This application is for a new application to discharge at a daily average flow of 975,000 gallons per day of treated domestic wastewater.

Discharges from the facility are expected to contain five-day carbonaceous biochemical oxygen demand (CBOD5), total suspended solids (TSS), ammonia nitrogen (NH3-N), and *Escherichia coli*. Additional potential pollutants are included in the Domestic Technical Report 1.0, Section 7. Pollutant Analysis of Treated Effluent in the permit application package. Domestic wastewater will be treated in an activated sludge process plant and the treatment units will include a bar screen, aeration basins, clarifiers, and chlorine contact chambers. A sludge digester will also be used for sludge holding prior to haul off.