*The following summary is provided for this pending water quality permit application being reviewed by the Texas Commission on Environmental Quality as required by 30 Texas Administrative Code Chapter 39. The information provided in this summary may change during the technical review of the application and are not federal enforceable representations of the permit application*.

Harris County Municipal Utility District No. 200 (CN600740468) operates the HCMUD No. 200 wastewater treatment plant (RN102849288), an activated sludge process plant operated in the complete mix mode. The facility is located at 13050 Stonefield Drive, in Harris County, Texas 77014.

This application is for a renewal to discharge at an annual average flow of 1,440,000 gallons per day of treated domestic wastewater.

Discharges from the facility are expected to contain five-day biochemical oxygen demand (BOD5), total suspended solids (TSS), and *Escherichia coli*. Additional potential pollutants are included in the Domestic Technical Report 1.0, Section 7. Pollutant Analysis of Treated Effluent and Domestic Worksheet 4.0 in the permit application package. Domestic wastewater is treated by an activated sludge process plant and the treatment units include a bar screen, rotating biological contractors, aeration basins, final clarifiers, sludge digesters, a belt filter press, chlorine contact basins and a dechlorination basin.