**ENGLISH TEMPLATE FOR TPDES or TLAP NEW/RENEWAL/AMENDMENT APPLICATIONS**

**DOMESTIC WASTEWATER**

*The following summary is provided for this pending water quality permit application being reviewed by the Texas Commission on Environmental Quality as required by 30 Texas Administrative Code Chapter 39. The information provided in this summary may change during the technical review of the application and are not federal enforceable representations of the permit application*.

Haven at Treeline, LLC (CN606004000 ) proposes to operate Haven at Treeline RN111472205. a domestic wastewater treatment TPDES new application The facility will be located 17488 North Eldridge Parkway., in Tomball, Harris County, Texas 77377.

Authorize the discharge of treated wastewater at a volume not to exceed a daily average flow of 48,000 gallons per day.

Discharges from the facility are expected to contain14. List all expected pollutants here..Domestic Wastewater will be treated byDomestic wastewater will be treated by an activated sludge process plant and the treatment units will include a bar screen, a grit chamber, aeration basins, final clarifiers, sludge digesters, a belt filter press, chlorine contact chambers and a dechlorination chamber. .