**ENGLISH TEMPLATE FOR TPDES or TLAP NEW/RENEWAL/AMENDMENT APPLICATIONS**

**DOMESTIC WASTEWATER**

*The following summary is provided for this pending water quality permit application being reviewed by the Texas Commission on Environmental Quality as required by 30 Texas Administrative Code Chapter 39. The information provided in this summary may change during the technical review of the application and are not federal enforceable representations of the permit application*.

Hydril USA Distribution LLC (CN604574160 ) operates Hydril USA Distribution WWTP RN101621167, a domestic wastewater treatment facility. The facility is located at 3300 North Sam Houston Parkway East, in Houston, Harris County, Texas 77032.

This application is to renew an existing permit to discharge 50,000 gallons of treated domestic wastewater daily.

Discharges from the facility are expected to contain CBOD, TSS, Ammonia Nitrogen, Nitrate Nitrogen, Sulfates, Chloride, Phosphorous, Dissolved Oxygen, Chlorine Residual, and E. Coli. Domestic wastewater will be treated by an activated sludge process includingWet Well/Equalization, Trash Screen, Extended Aeration Process, Primary Sedimentation (Clarifier/Settling Basin), Dual-Filter Media Filtration Basin, Backwash and Contact Basin, and Chlorination.