## Plain Language Summary Template and Instructions for Texas Pollutant Discharge Elimination System (TPDES) and Texas Land Application (TLAP) Permit Applications

**ENGLISH TEMPLATE FOR TPDES or TLAP NEW/RENEWAL/AMENDMENT APPLICATIONS**

**DOMESTIC WASTEWATER**

*The following summary is provided for this pending water quality permit application being reviewed by the Texas Commission on Environmental Quality as required by 30 Texas Administrative Code Chapter 39. The information provided in this summary may change during the technical review of the application and are not federal enforceable representations of the permit application*.

I-30 Greenville Utility Services, LLC (CN606218923 ) proposes to operate the I-30 Greenville Utility Services Wastewater Treatment Plant (RN111876074), an activated sludge process plant operated in complete mix mode. The facility will be located approximately 1,000 feet northeast of the intersection of Farm-to-Market Road 499 and I-30 Frontage Road, in Greenville, Hunt County, Texas 75401.

This application is for a new permit to discharge at a daily average flow not to exceed 240,000 gallons per day of treated domestic wastewater.

Discharges from the facility are expected to contain five-day carbonaceous biochemical oxygen demand (CBOD5), total suspended solids (TSS), ammonia nitrogen (NH3-N), and Escherichia coli. Domestic wastewater will be treated byan activated sludge process plant and the treatment units will include aeration basins, clarifiers, aerobic digesters, and a chlorine contact chamber.