**ENGLISH TEMPLATE FOR TPDES or TLAP NEW/RENEWAL/AMENDMENT APPLICATIONS**

**DOMESTIC WASTEWATER**

*The following summary is provided for this pending water quality permit application being reviewed by the Texas Commission on Environmental Quality as required by 30 Texas Administrative Code Chapter 39. The information provided in this summary may change during the technical review of the application and are not federal enforceable representations of the permit application*.

Jivanji N. Burhani (CN604144402) operates Truck Stop FM 565 and I-10 RN106517097. a Shell branded truck stop. The facility is located Baytown, TX, in Cove, TX, Chambers County, Texas 77523.

Renewal of Texas Pollutant Discharge Elimination System to authorize the discharge of treated wastewater at a volume not to exceed a daily average flow of 10,000 gallons per day. This permit will not authorize a discharge of pollutants into water in the state.

Discharges from the facility are expected to contain Carbonaceous Biochemical Oxygen Demand total suspended solids, ammonia nitrogen, and *Escherichia coli*. treated domestic (bathroom ) sewage with utensil clean-up from fast-food;  plates, cups  and cutlery are paper are treated bygoing into the lift station, aeration basin, thence to clarifier; thence thru chlorine contact.to discharge. The extended aeration process also included are blowers, chlorination equipment, method for flow-measurement, security fence, and controls*.*