**ENGLISH TEMPLATE FOR TPDES or TLAP NEW/RENEWAL/AMENDMENT APPLICATIONS**

**DOMESTIC WASTEWATER**

*The following summary is provided for this pending water quality permit application being reviewed by the Texas Commission on Environmental Quality as required by 30 Texas Administrative Code Chapter 39. The information provided in this summary may change during the technical review of the application and are not federal enforceable representations of the permit application*.

Landra Partners, LLC (CN606082196 ) proposes to operate Grayson County WWTP #1 RN111610614. an activated sludge plant operating in the extended aeration mode. The facility will be located The proposed wastewater facility will be located approximately 3,600 feet Northwest of the intersection of U.S. Highway 82 and U.S. Highway 69, in Grayson County, Texas 75414.

This application is for a new permit to discharge at an annual average flow of 55,000 gallons per day of treated domestic wastewater via one outfall into an unnamed tributary of Mill Creek.

Discharges from the facility are expected to contain five-day carbonaceous biochemical oxygen demand, total suspended solids (TSS), and Ammonia Nitrogen (NH3-N).Domestic wastewater will be treated byan activated sludge process plant and the treatment units include aeration basins, final clarifiers, sludge digesters, and chlorine contact chambers.