## Plain Language Summary

*The following summary is provided for this pending water quality permit application being reviewed by the Texas Commission on Environmental Quality as required by 30 Texas Administrative Code Chapter 39. The information provided in this summary may change during the technical review of the application and are not federal enforceable representations of the permit application*.

Municipal Utility District No. 4B of Kaufman County (CN 603166927 ) proposes to operate Las Lomas Wastewater Treatment Plant RN 10522878. an activated sludge process plant. The facility will be located approximately 1,450 feet southwest of the intersection of Norton Drive and FM 148, in the City of Terrell ETJ, Kaufman County, Texas 75160.

This application is to amend an existing permit and increase plant capacity to 950,000 gallons per day.

Discharges from the facility are expected to contain five-day carbonaceous biochemical oxygen demand (CBOD5), total suspended solids (TSS), ammonia-nitrogen (NH3-N), and *Escheria coli*. Additional pollutants are included in the Domestic Technical Report 1.0, Section 7.Domestic wastewater will be treated byan activated sludge process plant and the treatment units will include a bar screen, grit chamber, aeration basins, final clarifiers, sludge digesters, chlorine contact chambers.