**ENGLISH TEMPLATE FOR TPDES or TLAP NEW/RENEWAL/AMENDMENT APPLICATIONS**

**DOMESTIC WASTEWATER**

*The following summary is provided for this pending water quality permit application being reviewed by the Texas Commission on Environmental Quality as required by 30 Texas Administrative Code Chapter 39. The information provided in this summary may change during the technical review of the application and are not federal enforceable representations of the permit application*.

MAS Houston Revocable Trust (CN606043602) proposes to operate MAS Houston Revocable Trust RN105728620. a Domestic permit. The facility is located 1800 Baker Road, in Houston, Harris County, Texas 77094.

Proposed permit to authorize the discharge of treated wastewater at a volume not to exceed a daily average flow of 40,000 gallons per day.

Discharges from the facility are expected to contain. Domestic wasterwater will be treated by activated sludge process plant and the treatment units include a bar screen, a grit chamber, aeration basins, final clarifiers, sludge digesters, a belt filter press, chlorine contact chambers and a dechlorination chamber.