​​Nitsch and Son Utility Company, Inc ​ (​CN 600663249​ ) ​ operates​ ​​Lantana Wastewater Treatment Plant​​ ​RN102340072​, ​an activated sludge process plant operated in the complete mix mode​. The facility ​is​ located ​at approximately 8131 Northline Drive, Houston, in Harris County, Texas, 77037

This application is a renewal application to discharge at a daily average flow of 250,000 gallons per day of treated domestic wastewater.

Discharges from the facility are expected to contain five-day carbonaceous biochemical oxygen demand (CBOD5), total suspended solids (TSS), ammonia nitrogen (NH3-N), and *Escherichia coli*. Additional potential pollutants are included in the Domestic Technical Report 1.0, Section 7. Pollutant Analysis of Treated Effluent in the permit application package. Domestic wastewater will be treated by an activated sludge process plant and the treatment units will include a bar screen, aeration basins, final clarifiers, sludge digesters and chlorine contact chambers.