**ENGLISH TEMPLATE FOR TPDES or TLAP NEW/RENEWAL/AMENDMENT APPLICATIONS**

**DOMESTIC WASTEWATER**

*The following summary is provided for this pending water quality permit application being reviewed by the Texas Commission on Environmental Quality as required by 30 Texas Administrative Code Chapter 39. The information provided in this summary may change during the technical review of the application and are not federal enforceable representations of the permit application*.

OurCalling, Inc (CN606086395 ) proposes to operate Ourcommunity Ferris WWTP (RN111617692). a Membrane bioreactor WWTP. The facility will be located 231 Wickliffe Rd, in Ferris, Ellis County, Texas 75124.

This application is for a new permit to discharge at a daily average flow of 90,000 gallons per day of treated domestic wastewater..

Discharges from the facility are expected to containfive-day carbonaceous biochemical oxygen demand (CBOD5), total suspended solids (TSS), and Escherichia coli. Additional potential pollutants are included in the Domestic Technical Report 1.0, Section 7. Pollutant Analysis of Treated Effluent in the application package. Domestic wastewater will be treated by *a mixed bed biofilm reactor (MBBR) wastewater treatment system, and the treatment units will include an influent pump station, headworks, flow equalization, secondary treatment, an operations building, a flow meter vault, and a sludge digester*.