**ENGLISH TEMPLATE FOR TPDES or TLAP NEW/RENEWAL/AMENDMENT APPLICATIONS**

**DOMESTIC WASTEWATER**

*The following summary is provided for this pending water quality permit application being reviewed by the Texas Commission on Environmental Quality as required by 30 Texas Administrative Code Chapter 39. The information provided in this summary may change during the technical review of the application and are not federal enforceable representations of the permit application*.

Paloma Wastewater, LLC and MJD Endevors, LLC (CN606106987/CN606106979 ) proposes to operate Paloma Meadows WWTP RN111663829, a wastewater treatment facility. The facility will be located 0.7 miles west of the intersection of County Road 221 and County Road 222, in Caldwell County, Texas 78644.

This is an application for the land application of 200,000 gallons per day of treated domestic wastewater. This permit will not authorize a discharge of pollutants into water in the state.

Discharges from the facility are expected to contain five-day carbonaceous biochemical oxygen demand (CBOD5), total suspended solids (TSS), ammonia nitrogen (NH3-N), and *Escherichia coli*. Domestic strength wastewater will be treated byThe system will have a primary screen, an aeration basin, a sludge holding basin, and a final clarifier. The facility will utilize chlorine disinfection.