**TPDES RENEWAL APPLICATION**

**DOMESTIC WASTEWATER**

*The following summary is provided for this pending water quality permit application being reviewed by the Texas Commission on Environmental Quality as required by 30 Texas Administrative Code Chapter 39. The information provided in this summary may change during the technical review of the application and are not federal enforceable representations of the permit application*.

Rankin Park Maintenance and Utilities Co., Inc. (CN#601533276) operates Rankin Park Maintenance & Utility Co., Inc. Wastewater Treatment Facility RN104680830 a permitted Wastewater Treatment Facility authorized to treat municipal waste and discharge with an average daily flow of 0.05 MGD. The facility is located 4500 feet East of Intersection I-45 and Rankin Road; and 1150 feet North of Rankin Road, in Harris County, Houston, Texas 77268.

This permit will not authorize a discharge of pollutants into water in the state.

Renewal of TPDES #WQ0014621001

Discharges from the facility are expected to contain See appropriate application Form Sheet 10054. Domestic wastewater is treated by flow from lift station through bar screen; thence into aeration bason; thence through clarifier; thence through chlorine contact basin. Also, the plant has blowers, chlorinator, security, and controls.